## Data & Charts
%INJECTION STATUS | TIME | TIME (s) | A-1 CO2 conc (DCV) | A-1 CO2 conc (PPM) | A-2 CO2 conc (DCV) | A-2 CO2 conc (PPM) | A-4 CO2 conc (DCV) | A-4 CO2 conc (PPM) | Helium Injection (computer) (lpm) | Sample Time (s) | Measured CO2 Injection (lpm) | Measured CO2 Injection (CFM)
OFF | 13:03 | 0 | 1.0085 | 426.0387 | 1.0233 | 430.9455 | 0.5701 | 446.868 | 3.07 | 600 | 5.4861 | 0.19374
OFF | 13:03 | 5 | 1.0069 | 425.4098 | 1.0217 | 430.3158 | 0.5674 | 445.3135 | Helium Injection (computer) (CFM) | 1500 | 5.4789 | 0.19349
OFF | 13:03 | 10 | 1.0058 | 424.9775 | 1.0195 | 429.45 | 0.568 | 445.659 | 0.10842 | 2400 | 5.543 | 0.19575
OFF | 13:03 | 15 | 1.0042 | 424.3487 | 1.0206 | 429.8829 | 0.5619 | 442.1471
OFF | 13:03 | 20 | 1.0014 | 423.2482 | 1.0173 | 428.5842 | 0.5658 | 444.3924
OFF | 13:03 | 25 | 1.0009 | 423.0517 | 1.0162 | 428.1513 | 0.5669 | 445.0257
OFF | 13:03 | 30 | 1.002 | 423.484 | 1.0151 | 427.7185 | 0.5685 | 445.9468
OFF | 13:03 | 35 | 0.9965 | 421.3224 | 1.0135 | 427.0888 | 0.5614 | 441.8592
OFF | 13:04 | 40 | 1.0003 | 422.8159 | 1.0135 | 427.0888 | 0.5663 | 444.6802
OFF | 13:04 | 45 | 1.0003 | 422.8159 | 1.0118 | 426.4198 | 0.5619 | 442.1471
OFF | 13:04 | 50 | 1.002 | 423.484 | 1.0151 | 427.7185 | 0.5614 | 441.8592
OFF | 13:04 | 55 | 0.99 | 418.7678 | 1.0102 | 425.7901 | 0.5658 | 444.3924
OFF | 13:04 | 60 | 0.9971 | 421.5582 | 1.0069 | 424.4914 | 0.5559 | 438.6927
OFF | 13:04 | 65 | 0.9976 | 421.7548 | 1.0074 | 424.6882 | 0.5608 | 441.5138
OFF | 13:04 | 70 | 0.9987 | 422.1871 | 1.0069 | 424.4914 | 0.5537 | 437.4261
OFF | 13:04 | 75 | 0.9932 | 420.0255 | 1.0058 | 424.0585 | 0.5565 | 439.0382
OFF | 13:04 | 80 | 0.9927 | 419.8289 | 1.0047 | 423.6256 | 0.5641 | 443.4137
OFF | 13:04 | 85 | 0.9938 | 420.2613 | 1.0025 | 422.7599 | 0.5548 | 438.0594
OFF | 13:04 | 90 | 0.9927 | 419.8289 | 1.0036 | 423.1927 | 0.5647 | 443.7591
OFF | 13:04 | 95 | 0.9916 | 419.3966 | 1.002 | 422.5631 | 0.5603 | 441.2259
OFF | 13:05 | 100 | 0.9916 | 419.3966 | 1.0009 | 422.1302 | 0.563 | 442.7804
OFF | 13:05 | 105 | 0.9889 | 418.3355 | 1.0014 | 422.327 | 0.5526 | 436.7929
OFF | 13:05 | 110 | 0.9905 | 418.9643 | 1.0009 | 422.1302 | 0.563 | 442.7804
OFF | 13:05 | 115 | 0.9867 | 417.4708 | 0.9998 | 421.6973 | 0.5543 | 437.7716
OFF | 13:05 | 120 | 0.9889 | 418.3355 | 1.0003 | 421.8941 | 0.5641 | 443.4137
OFF | 13:05 | 125 | 0.99 | 418.7678 | 0.9982 | 421.0676 | 0.5554 | 438.4049
OFF | 13:05 | 130 | 0.991 | 419.1608 | 1.0014 | 422.327 | 0.5592 | 440.5926
OFF | 13:05 | 135 | 0.99 | 418.7678 | 1.0009 | 422.1302 | 0.5641 | 443.4137
OFF | 13:05 | 140 | 0.991 | 419.1608 | 1.0025 | 422.7599 | 0.5587 | 440.3048
OFF | 13:05 | 145 | 0.9867 | 417.4708 | 0.9976 | 420.8315 | 0.5603 | 441.2259
OFF | 13:05 | 150 | 0.9867 | 417.4708 | 0.9971 | 420.6347 | 0.5521 | 436.505
OFF | 13:05 | 155 | 0.9861 | 417.235 | 0.9976 | 420.8315 | 0.5587 | 440.3048
OFF | 13:06 | 160 | 0.9872 | 417.6674 | 0.9971 | 420.6347 | 0.551 | 435.8717
OFF | 13:06 | 165 | 0.99 | 418.7678 | 0.9982 | 421.0676 | 0.5483 | 434.3173
OFF | 13:06 | 170 | 0.9883 | 418.0997 | 1.002 | 422.5631 | 0.5477 | 433.9718
OFF | 13:06 | 175 | 0.9883 | 418.0997 | 0.9987 | 421.2644 | 0.5461 | 433.0507
OFF | 13:06 | 180 | 0.9872 | 417.6674 | 0.996 | 420.2018 | 0.5516 | 436.2171
OFF | 13:06 | 185 | 0.9845 | 416.6062 | 0.9943 | 419.5328 | 0.5362 | 427.3511
OFF | 13:06 | 190 | 0.9867 | 417.4708 | 0.9971 | 420.6347 | 0.545 | 432.4174
OFF | 13:06 | 195 | 0.9861 | 417.235 | 0.996 | 420.2018 | 0.5406 | 429.8842
OFF | 13:06 | 200 | 0.9768 | 413.5799 | 0.9954 | 419.9657 | 0.5434 | 431.4962
OFF | 13:06 | 205 | 0.9883 | 418.0997 | 0.9938 | 419.336 | 0.5494 | 434.9506
OFF | 13:06 | 210 | 0.9867 | 417.4708 | 0.9971 | 420.6347 | 0.5428 | 431.1508
OFF | 13:06 | 215 | 0.9872 | 417.6674 | 0.9943 | 419.5328 | 0.5526 | 436.7929
OFF | 13:07 | 220 | 0.9878 | 417.9032 | 0.9954 | 419.9657 | 0.5494 | 434.9506
OFF | 13:07 | 225 | 0.9861 | 417.235 | 0.9965 | 420.3986 | 0.5543 | 437.7716
OFF | 13:07 | 230 | 0.9867 | 417.4708 | 0.9927 | 418.9032 | 0.5548 | 438.0594
OFF | 13:07 | 235 | 0.985 | 416.8027 | 0.9927 | 418.9032 | 0.5461 | 433.0507
OFF | 13:07 | 240 | 0.9856 | 417.0385 | 0.9943 | 419.5328 | 0.5587 | 440.3048
OFF | 13:07 | 245 | 0.9834 | 416.1739 | 0.9943 | 419.5328 | 0.5483 | 434.3173
OFF | 13:07 | 250 | 0.9834 | 416.1739 | 0.9932 | 419.0999 | 0.5554 | 438.4049
OFF | 13:07 | 255 | 0.9856 | 417.0385 | 0.9927 | 418.9032 | 0.5532 | 437.1383
OFF | 13:07 | 260 | 0.9861 | 417.235 | 0.9916 | 418.4703 | 0.5466 | 433.3385
OFF | 13:07 | 265 | 0.9823 | 415.7415 | 0.991 | 418.2341 | 0.5505 | 435.5838
OFF | 13:07 | 270 | 0.985 | 416.8027 | 0.9927 | 418.9032 | 0.5461 | 433.0507
OFF | 13:07 | 275 | 0.9845 | 416.6062 | 0.991 | 418.2341 | 0.5434 | 431.4962
OFF | 13:08 | 280 | 0.9905 | 418.9643 | 0.9938 | 419.336 | 0.5488 | 434.6051
OFF | 13:08 | 285 | 0.9823 | 415.7415 | 0.9894 | 417.6045 | 0.545 | 432.4174
OFF | 13:08 | 290 | 0.9867 | 417.4708 | 0.9905 | 418.0374 | 0.5537 | 437.4261
OFF | 13:08 | 295 | 0.9746 | 412.7153 | 0.991 | 418.2341 | 0.545 | 432.4174
OFF | 13:08 | 300 | 0.9818 | 415.545 | 0.991 | 418.2341 | 0.5477 | 433.9718
OFF | 13:08 | 305 | 0.9818 | 415.545 | 0.99 | 417.8406 | 0.5472 | 433.684
OFF | 13:08 | 310 | 0.9828 | 415.9381 | 0.99 | 417.8406 | 0.5428 | 431.1508
OFF | 13:08 | 315 | 0.985 | 416.8027 | 0.9878 | 416.9748 | 0.5494 | 434.9506
OFF | 13:08 | 320 | 0.9812 | 415.3092 | 0.9878 | 416.9748 | 0.5477 | 433.9718
OFF | 13:08 | 325 | 0.9828 | 415.9381 | 0.9905 | 418.0374 | 0.5466 | 433.3385
OFF | 13:08 | 330 | 0.985 | 416.8027 | 0.9916 | 418.4703 | 0.5434 | 431.4962
OFF | 13:08 | 335 | 0.9823 | 415.7415 | 0.9872 | 416.7387 | 0.5499 | 435.2384
OFF | 13:09 | 340 | 0.9818 | 415.545 | 0.9872 | 416.7387 | 0.5428 | 431.1508
OFF | 13:09 | 345 | 0.9818 | 415.545 | 0.9878 | 416.9748 | 0.5505 | 435.5838
OFF | 13:09 | 350 | 0.9812 | 415.3092 | 0.9883 | 417.1716 | 0.5499 | 435.2384
OFF | 13:09 | 355 | 0.9818 | 415.545 | 0.9872 | 416.7387 | 0.5412 | 430.2297
OFF | 13:09 | 360 | 0.9812 | 415.3092 | 0.9943 | 419.5328 | 0.5439 | 431.7841
OFF | 13:09 | 365 | 0.9818 | 415.545 | 0.9927 | 418.9032 | 0.5472 | 433.684
OFF | 13:09 | 370 | 0.9779 | 414.0123 | 0.9921 | 418.667 | 0.5434 | 431.4962
OFF | 13:09 | 375 | 0.9801 | 414.8769 | 0.9872 | 416.7387 | 0.5434 | 431.4962
OFF | 13:09 | 380 | 0.9823 | 415.7415 | 0.9889 | 417.4077 | 0.5483 | 434.3173
OFF | 13:09 | 385 | 0.9812 | 415.3092 | 0.9856 | 416.109 | 0.5477 | 433.9718
OFF | 13:09 | 390 | 0.9812 | 415.3092 | 0.9845 | 415.6761 | 0.5499 | 435.2384
OFF | 13:09 | 395 | 0.9807 | 415.1127 | 0.9856 | 416.109 | 0.5423 | 430.863
OFF | 13:10 | 400 | 0.9779 | 414.0123 | 0.9872 | 416.7387 | 0.5494 | 434.9506
OFF | 13:10 | 405 | 0.9807 | 415.1127 | 0.9845 | 415.6761 | 0.5423 | 430.863
OFF | 13:10 | 410 | 0.9812 | 415.3092 | 0.9856 | 416.109 | 0.5477 | 433.9718
OFF | 13:10 | 415 | 0.9801 | 414.8769 | 0.9861 | 416.3058 | 0.5554 | 438.4049
OFF | 13:10 | 420 | 0.9785 | 414.2481 | 0.9845 | 415.6761 | 0.5423 | 430.863
OFF | 13:10 | 425 | 0.9774 | 413.8157 | 0.9856 | 416.109 | 0.5483 | 434.3173
OFF | 13:10 | 430 | 0.9774 | 413.8157 | 0.985 | 415.8729 | 0.5461 | 433.0507
OFF | 13:10 | 435 | 0.9785 | 414.2481 | 0.9845 | 415.6761 | 0.5483 | 434.3173
OFF | 13:10 | 440 | 0.9801 | 414.8769 | 0.9856 | 416.109 | 0.5444 | 432.072
OFF | 13:10 | 445 | 0.9768 | 413.5799 | 0.9839 | 415.44 | 0.545 | 432.4174
OFF | 13:10 | 450 | 0.979 | 414.4446 | 0.9856 | 416.109 | 0.5466 | 433.3385
OFF | 13:10 | 455 | 0.9785 | 414.2481 | 0.9867 | 416.5419 | 0.545 | 432.4174
OFF | 13:11 | 460 | 0.9774 | 413.8157 | 0.9845 | 415.6761 | 0.551 | 435.8717
OFF | 13:11 | 465 | 0.9763 | 413.3834 | 0.9839 | 415.44 | 0.5461 | 433.0507
OFF | 13:11 | 470 | 0.9796 | 414.6804 | 0.9839 | 415.44 | 0.5461 | 433.0507
OFF | 13:11 | 475 | 0.979 | 414.4446 | 0.9839 | 415.44 | 0.5395 | 429.2509
OFF | 13:11 | 480 | 0.9807 | 415.1127 | 0.9823 | 414.8103 | 0.5362 | 427.3511
OFF | 13:11 | 485 | 0.9812 | 415.3092 | 0.9818 | 414.6136 | 0.5505 | 435.5838
OFF | 13:11 | 490 | 0.9779 | 414.0123 | 0.9856 | 416.109 | 0.5384 | 428.6176
OFF | 13:11 | 495 | 0.9774 | 413.8157 | 0.9823 | 414.8103 | 0.5455 | 432.7052
OFF | 13:11 | 500 | 0.9774 | 413.8157 | 0.985 | 415.8729 | 0.5352 | 426.7753
OFF | 13:11 | 505 | 0.979 | 414.4446 | 0.9834 | 415.2432 | 0.5401 | 429.5964
OFF | 13:11 | 510 | 0.9796 | 414.6804 | 0.9845 | 415.6761 | 0.5439 | 431.7841
OFF | 13:11 | 515 | 0.9823 | 415.7415 | 0.9823 | 414.8103 | 0.5395 | 429.2509
OFF | 13:12 | 520 | 0.9774 | 413.8157 | 0.985 | 415.8729 | 0.5444 | 432.072
OFF | 13:12 | 525 | 0.979 | 414.4446 | 0.9845 | 415.6761 | 0.5439 | 431.7841
OFF | 13:12 | 530 | 0.9763 | 413.3834 | 0.9823 | 414.8103 | 0.5373 | 427.9844
OFF | 13:12 | 535 | 0.9774 | 413.8157 | 0.9883 | 417.1716 | 0.5516 | 436.2171
OFF | 13:12 | 540 | 0.9796 | 414.6804 | 0.9845 | 415.6761 | 0.5412 | 430.2297
OFF | 13:12 | 545 | 0.9812 | 415.3092 | 0.9867 | 416.5419 | 0.545 | 432.4174
OFF | 13:12 | 550 | 0.9818 | 415.545 | 0.9845 | 415.6761 | 0.5483 | 434.3173
OFF | 13:12 | 555 | 0.9796 | 414.6804 | 0.9823 | 414.8103 | 0.5428 | 431.1508
OFF | 13:12 | 560 | 0.979 | 414.4446 | 0.9867 | 416.5419 | 0.545 | 432.4174
OFF | 13:12 | 565 | 0.9801 | 414.8769 | 0.9845 | 415.6761 | 0.5406 | 429.8842
OFF | 13:12 | 570 | 0.9774 | 413.8157 | 0.9856 | 416.109 | 0.5472 | 433.684
OFF | 13:12 | 575 | 0.9779 | 414.0123 | 0.9839 | 415.44 | 0.5494 | 434.9506
OFF | 13:13 | 580 | 0.9818 | 415.545 | 0.9839 | 415.44 | 0.5401 | 429.5964
OFF | 13:13 | 585 | 0.9796 | 414.6804 | 0.9845 | 415.6761 | 0.5483 | 434.3173
OFF | 13:13 | 590 | 0.9818 | 415.545 | 0.9828 | 415.0071 | 0.5412 | 430.2297
OFF | 13:13 | 595 | 0.9796 | 414.6804 | 0.9828 | 415.0071 | 0.5472 | 433.684
ON | 13:13 | 600 | 0.9807 | 415.1127 | 0.9839 | 415.44 | 0.5384 | 428.6176
ON | 13:13 | 605 | 0.9807 | 415.1127 | 0.9845 | 415.6761 | 0.5428 | 431.1508
ON | 13:13 | 610 | 0.9801 | 414.8769 | 0.9823 | 414.8103 | 0.5455 | 432.7052
ON | 13:13 | 615 | 0.9812 | 415.3092 | 1.0124 | 426.6559 | 0.5434 | 431.4962
ON | 13:13 | 620 | 0.9823 | 415.7415 | 1.1949 | 498.477 | 0.5483 | 434.3173
ON | 13:13 | 625 | 0.9828 | 415.9381 | 5.0143 | 2001.5636 | 0.5439 | 431.7841
ON | 13:13 | 630 | 0.9796 | 414.6804 | 3.9768 | 1593.2659 | 0.5395 | 429.2509
ON | 13:13 | 635 | 0.9856 | 417.0385 | 2.6042 | 1053.0928 | 0.5406 | 429.8842
ON | 13:14 | 640 | 1.0523 | 443.2529 | 5.011 | 2000.265 | 0.5423 | 430.863
ON | 13:14 | 645 | 1.0211 | 430.9907 | 5.0099 | 1999.8321 | 0.545 | 432.4174
ON | 13:14 | 650 | 1.0719 | 450.9561 | 5.017 | 2002.6263 | 0.5439 | 431.7841
ON | 13:14 | 655 | 1.0709 | 450.5631 | 2.1401 | 870.451 | 0.5494 | 434.9506
ON | 13:14 | 660 | 1.0528 | 443.4495 | 3.8614 | 1547.8513 | 0.5379 | 428.3298
ON | 13:14 | 665 | 1.4524 | 600.5002 | 3.6635 | 1469.9698 | 0.5455 | 432.7052
ON | 13:14 | 670 | 1.2223 | 510.0664 | 2.4385 | 987.8833 | 0.5417 | 430.5175
ON | 13:14 | 675 | 1.1217 | 470.5286 | 3.0967 | 1246.9113 | 0.5434 | 431.4962
ON | 13:14 | 680 | 1.1009 | 462.3537 | 2.8567 | 1152.4617 | 0.5494 | 434.9506
ON | 13:14 | 685 | 1.1337 | 475.2448 | 3.2607 | 1311.4519 | 0.5455 | 432.7052
ON | 13:14 | 690 | 1.1343 | 475.4806 | 5.0126 | 2000.8946 | 0.5543 | 437.7716
ON | 13:14 | 695 | 1.1895 | 497.1753 | 1.987 | 810.2 | 0.557 | 439.326
ON | 13:15 | 700 | 1.1698 | 489.4328 | 5.0121 | 2000.6979 | 0.5537 | 437.4261
ON | 13:15 | 705 | 1.2174 | 508.1405 | 4.5289 | 1810.5394 | 0.5619 | 442.1471
ON | 13:15 | 710 | 1.2469 | 519.7346 | 4.0713 | 1630.4554 | 0.5603 | 441.2259
ON | 13:15 | 715 | 1.2348 | 514.9791 | 3.0765 | 1238.9618 | 0.5701 | 446.868
ON | 13:15 | 720 | 1.3086 | 543.984 | 3.5925 | 1442.0284 | 0.5734 | 448.7679
ON | 13:15 | 725 | 1.4579 | 602.6619 | 2.0663 | 841.4077 | 0.5696 | 446.5801
ON | 13:15 | 730 | 1.2622 | 525.7478 | 3.1672 | 1274.6559 | 0.5871 | 456.6552
ON | 13:15 | 735 | 1.2944 | 538.4031 | 4.7114 | 1882.3604 | 0.5871 | 456.6552
ON | 13:15 | 740 | 1.3403 | 556.4427 | 5.0126 | 2000.8946 | 0.5893 | 457.9218
ON | 13:15 | 745 | 1.295 | 538.6389 | 2.4112 | 977.1397 | 0.6002 | 464.1971
ON | 13:15 | 750 | 1.3906 | 576.2116 | 2.5156 | 1018.2252 | 0.5958 | 461.664
ON | 13:15 | 755 | 1.3655 | 566.3468 | 3.0666 | 1235.0658 | 0.6013 | 464.8304
ON | 13:16 | 760 | 1.3715 | 568.7049 | 5.0132 | 2001.1307 | 0.6111 | 470.4725
ON | 13:16 | 765 | 1.3671 | 566.9756 | 3.3071 | 1329.7122 | 0.6089 | 469.2059
ON | 13:16 | 770 | 1.3179 | 547.639 | 3.4268 | 1376.8189 | 0.621 | 476.1721
ON | 13:16 | 775 | 1.4174 | 586.7445 | 5.0121 | 2000.6979 | 0.6188 | 474.9055
ON | 13:16 | 780 | 1.5896 | 654.4226 | 5.0121 | 2000.6979 | 0.6281 | 480.2597
ON | 13:16 | 785 | 1.5355 | 633.1602 | 2.7479 | 1109.6446 | 0.6346 | 484.0019
ON | 13:16 | 790 | 1.4896 | 615.1206 | 3.4219 | 1374.8905 | 0.6357 | 484.6352
ON | 13:16 | 795 | 1.5169 | 625.85 | 3.247 | 1306.0604 | 0.6412 | 487.8017
ON | 13:16 | 800 | 1.4546 | 601.3649 | 3.089 | 1243.8811 | 0.6472 | 491.256
ON | 13:16 | 805 | 1.4486 | 599.0068 | 2.6785 | 1082.3329 | 0.6538 | 495.0557
ON | 13:16 | 810 | 1.4519 | 600.3037 | 4.5382 | 1814.1992 | 0.6571 | 496.9556
ON | 13:16 | 815 | 1.477 | 610.1685 | 4.9935 | 1993.3781 | 0.6505 | 493.1559
ON | 13:17 | 820 | 1.4245 | 589.535 | 5.0115 | 2000.4617 | 0.6571 | 496.9556
ON | 13:17 | 825 | 1.4245 | 589.535 | 4.8607 | 1941.1159 | 0.6549 | 495.689
ON | 13:17 | 830 | 1.4699 | 607.3781 | 5.0143 | 2001.5636 | 0.6565 | 496.6102
ON | 13:17 | 835 | 1.4617 | 604.1553 | 5.0132 | 2001.1307 | 0.6581 | 497.5313
ON | 13:17 | 840 | 1.5798 | 650.571 | 5.011 | 2000.265 | 0.6625 | 500.0645
ON | 13:17 | 845 | 1.4256 | 589.9673 | 4.8853 | 1950.797 | 0.6663 | 502.2522
ON | 13:17 | 850 | 1.4776 | 610.4043 | 3.681 | 1476.8567 | 0.6729 | 506.052
ON | 13:17 | 855 | 1.4426 | 596.6487 | 5.0126 | 2000.8946 | 0.6745 | 506.9731
ON | 13:17 | 860 | 1.448 | 598.7709 | 5.0121 | 2000.6979 | 0.6855 | 513.3061
ON | 13:17 | 865 | 1.5191 | 626.7147 | 5.011 | 2000.265 | 0.6778 | 508.873
ON | 13:17 | 870 | 1.4535 | 600.9326 | 5.0126 | 2000.8946 | 0.6915 | 516.7604
ON | 13:17 | 875 | 1.5224 | 628.0117 | 4.2042 | 1682.7568 | 0.6838 | 512.3273
ON | 13:18 | 880 | 1.5732 | 647.9771 | 5.0137 | 2001.3275 | 0.6953 | 518.9481
ON | 13:18 | 885 | 1.6377 | 673.3268 | 3.4219 | 1374.8905 | 0.6899 | 515.8392
ON | 13:18 | 890 | 1.5546 | 640.6669 | 4.9951 | 1994.0077 | 0.6942 | 518.3148
ON | 13:18 | 895 | 1.5945 | 656.3484 | 5.0132 | 2001.1307 | 0.7013 | 522.4024
ON | 13:18 | 900 | 1.5727 | 647.7806 | 5.0154 | 2001.9965 | 0.7013 | 522.4024
ON | 13:18 | 905 | 1.6137 | 663.8944 | 5.0072 | 1998.7694 | 0.7139 | 529.6565
ON | 13:18 | 910 | 1.5147 | 624.9854 | 4.1872 | 1676.0667 | 0.7139 | 529.6565
ON | 13:18 | 915 | 1.5169 | 625.85 | 4.5873 | 1833.522 | 0.7172 | 531.5564
ON | 13:18 | 920 | 1.5158 | 625.4177 | 2.8507 | 1150.1004 | 0.7161 | 530.9231
ON | 13:18 | 925 | 1.5153 | 625.2212 | 2.6381 | 1066.4338 | 0.721 | 533.7441
ON | 13:18 | 930 | 1.5136 | 624.5531 | 2.6408 | 1067.4964 | 0.7194 | 532.823
ON | 13:18 | 935 | 1.9176 | 783.3332 | 2.6402 | 1067.2603 | 0.7232 | 535.0107
ON | 13:19 | 940 | 1.6836 | 691.3665 | 2.6353 | 1065.3319 | 0.7216 | 534.0896
ON | 13:19 | 945 | 1.6886 | 693.3315 | 5.0115 | 2000.4617 | 0.7292 | 538.465
ON | 13:19 | 950 | 1.5295 | 630.8021 | 5.0099 | 1999.8321 | 0.7265 | 536.9106
ON | 13:19 | 955 | 1.6913 | 694.3927 | 5.011 | 2000.265 | 0.7325 | 540.3649
ON | 13:19 | 960 | 1.6831 | 691.17 | 5.0121 | 2000.6979 | 0.7363 | 542.5526
ON | 13:19 | 965 | 1.6525 | 679.1436 | 4.4704 | 1787.5172 | 0.7347 | 541.6315
ON | 13:19 | 970 | 1.5246 | 628.8763 | 4.9383 | 1971.6546 | 0.7412 | 545.3736
ON | 13:19 | 975 | 1.6312 | 670.7722 | 5.0126 | 2000.8946 | 0.7396 | 544.4525
ON | 13:19 | 980 | 1.659 | 681.6982 | 3.3853 | 1360.4869 | 0.7374 | 543.1859
ON | 13:19 | 985 | 1.7312 | 710.0742 | 5.0001 | 1995.9754 | 0.7462 | 548.2523
ON | 13:19 | 990 | 1.571 | 647.1124 | 5.0121 | 2000.6979 | 0.7445 | 547.2735
ON | 13:19 | 995 | 1.647 | 676.9819 | 5.0104 | 2000.0287 | 0.7533 | 552.3399
ON | 13:20 | 1000 | 1.53 | 630.9986 | 4.3184 | 1727.6991 | 0.75 | 550.44
ON | 13:20 | 1005 | 1.6142 | 664.0909 | 4.4682 | 1786.6515 | 0.7576 | 554.8155
ON | 13:20 | 1010 | 1.6104 | 662.5974 | 2.5162 | 1018.4614 | 0.7565 | 554.1822
ON | 13:20 | 1015 | 1.6093 | 662.1651 | 5.0115 | 2000.4617 | 0.7554 | 553.5489
ON | 13:20 | 1020 | 1.6568 | 680.8335 | 2.7703 | 1118.4598 | 0.7576 | 554.8155
ON | 13:20 | 1025 | 1.5191 | 626.7147 | 3.2208 | 1295.7496 | 0.7626 | 557.6941
ON | 13:20 | 1030 | 1.5617 | 643.4573 | 4.4048 | 1761.701 | 0.7565 | 554.1822
ON | 13:20 | 1035 | 1.6476 | 677.2178 | 2.2505 | 913.8978 | 0.7609 | 556.7154
ON | 13:20 | 1040 | 1.6798 | 689.873 | 2.4243 | 982.295 | 0.7642 | 558.6152
ON | 13:20 | 1045 | 1.606 | 660.8681 | 3.7565 | 1506.569 | 0.7691 | 561.4363
ON | 13:20 | 1050 | 1.6421 | 675.0561 | 3.3055 | 1329.0825 | 0.7658 | 559.5364
ON | 13:20 | 1055 | 1.6585 | 681.5017 | 2.1024 | 855.6145 | 0.7664 | 559.8818
ON | 13:21 | 1060 | 1.6295 | 670.1041 | 4.9897 | 1991.8825 | 0.7735 | 563.9694
ON | 13:21 | 1065 | 1.6847 | 691.7988 | 5.0099 | 1999.8321 | 0.7582 | 555.1609
ON | 13:21 | 1070 | 1.7509 | 717.8167 | 4.8667 | 1943.4772 | 0.774 | 564.2573
ON | 13:21 | 1075 | 1.7148 | 703.6287 | 5.011 | 2000.265 | 0.7669 | 560.1697
ON | 13:21 | 1080 | 1.8176 | 744.0312 | 5.0099 | 1999.8321 | 0.78 | 567.7116
ON | 13:21 | 1085 | 1.6355 | 672.4622 | 3.0524 | 1229.4775 | 0.7746 | 564.6027
ON | 13:21 | 1090 | 1.7738 | 726.8169 | 5.0121 | 2000.6979 | 0.7691 | 561.4363
ON | 13:21 | 1095 | 1.7208 | 705.9868 | 4.9727 | 1985.1924 | 0.7691 | 561.4363
ON | 13:21 | 1100 | 1.7738 | 726.8169 | 3.6373 | 1459.659 | 0.7636 | 558.2698
ON | 13:21 | 1105 | 1.8044 | 738.8433 | 4.9864 | 1990.5839 | 0.7642 | 558.6152
ON | 13:21 | 1110 | 1.6585 | 681.5017 | 3.9642 | 1588.3073 | 0.7718 | 562.9907
ON | 13:21 | 1115 | 1.6634 | 683.4275 | 4.1593 | 1665.0869 | 0.768 | 560.803
ON | 13:22 | 1120 | 1.747 | 716.2839 | 5.0121 | 2000.6979 | 0.7713 | 562.7028
ON | 13:22 | 1125 | 1.6317 | 670.9687 | 2.9606 | 1193.3505 | 0.7675 | 560.5151
ON | 13:22 | 1130 | 1.782 | 730.0396 | 3.054 | 1230.1071 | 0.774 | 564.2573
ON | 13:22 | 1135 | 1.7618 | 722.1007 | 2.6785 | 1082.3329 | 0.7784 | 566.7904
ON | 13:22 | 1140 | 1.6711 | 686.4537 | 3.0109 | 1213.1456 | 0.7615 | 557.0608
ON | 13:22 | 1145 | 1.6743 | 687.7114 | 3.2951 | 1324.9896 | 0.7675 | 560.5151
ON | 13:22 | 1150 | 1.6727 | 687.0826 | 2.5812 | 1044.0414 | 0.7686 | 561.1484
ON | 13:22 | 1155 | 1.5393 | 634.6537 | 3.9543 | 1584.4112 | 0.7746 | 564.6027
ON | 13:22 | 1160 | 1.618 | 665.5844 | 5.0115 | 2000.4617 | 0.7751 | 564.8906
ON | 13:22 | 1165 | 1.6711 | 686.4537 | 4.613 | 1843.636 | 0.7718 | 562.9907
ON | 13:22 | 1170 | 1.6038 | 660.0035 | 5.0137 | 2001.3275 | 0.7773 | 566.1572
ON | 13:22 | 1175 | 1.6645 | 683.8598 | 4.3501 | 1740.1744 | 0.779 | 567.1359
ON | 13:23 | 1180 | 1.6541 | 679.7724 | 4.9809 | 1988.4193 | 0.7708 | 562.415
ON | 13:23 | 1185 | 1.6339 | 671.8334 | 3.2044 | 1289.2956 | 0.779 | 567.1359
ON | 13:23 | 1190 | 1.7848 | 731.1401 | 5.0126 | 2000.8946 | 0.7757 | 565.236
ON | 13:23 | 1195 | 1.6776 | 689.0084 | 3.6269 | 1455.5662 | 0.7768 | 565.8693
ON | 13:23 | 1200 | 1.6399 | 674.1915 | 5.0121 | 2000.6979 | 0.785 | 570.5902
ON | 13:23 | 1205 | 1.6235 | 667.746 | 5.0126 | 2000.8946 | 0.7806 | 568.057
ON | 13:23 | 1210 | 1.5858 | 652.9291 | 3.464 | 1391.4586 | 0.785 | 570.5902
ON | 13:23 | 1215 | 1.6492 | 677.8466 | 4.126 | 1651.982 | 0.7806 | 568.057
ON | 13:23 | 1220 | 1.565 | 644.7543 | 4.4305 | 1771.815 | 0.7844 | 570.2448
ON | 13:23 | 1225 | 1.5508 | 639.1734 | 4.1216 | 1650.2505 | 0.7757 | 565.236
ON | 13:23 | 1230 | 1.6388 | 673.7592 | 2.8223 | 1138.9239 | 0.7768 | 565.8693
ON | 13:23 | 1235 | 1.7328 | 710.7031 | 3.4241 | 1375.7563 | 0.7899 | 573.4112
ON | 13:24 | 1240 | 1.6301 | 670.3399 | 4.2211 | 1689.4076 | 0.7779 | 566.5026
ON | 13:24 | 1245 | 1.6087 | 661.9293 | 5.0017 | 1996.605 | 0.7954 | 576.5777
ON | 13:24 | 1250 | 1.5623 | 643.6931 | 2.6976 | 1089.8495 | 0.7932 | 575.3111
ON | 13:24 | 1255 | 1.747 | 716.2839 | 5.0126 | 2000.8946 | 0.7888 | 572.7779
ON | 13:24 | 1260 | 1.6295 | 670.1041 | 5.0115 | 2000.4617 | 0.7921 | 574.6778
ON | 13:24 | 1265 | 1.6563 | 680.637 | 2.9371 | 1184.1023 | 0.7899 | 573.4112
ON | 13:24 | 1270 | 1.6814 | 690.5018 | 4.8164 | 1923.6821 | 0.7822 | 568.9782
ON | 13:24 | 1275 | 1.6443 | 675.9208 | 3.7641 | 1509.5599 | 0.7882 | 572.4325
ON | 13:24 | 1280 | 1.7006 | 698.0478 | 3.4334 | 1379.4162 | 0.7926 | 574.9657
ON | 13:24 | 1285 | 1.7159 | 704.061 | 3.5367 | 1420.0689 | 0.7893 | 573.0658
ON | 13:24 | 1290 | 1.7082 | 701.0348 | 3.6592 | 1468.2775 | 0.7882 | 572.4325
ON | 13:24 | 1295 | 1.7941 | 734.7952 | 5.0121 | 2000.6979 | 0.7893 | 573.0658
ON | 13:25 | 1300 | 1.6798 | 689.873 | 2.772 | 1119.1289 | 0.7866 | 571.5113
ON | 13:25 | 1305 | 1.7011 | 698.2443 | 2.2079 | 897.133 | 0.7926 | 574.9657
ON | 13:25 | 1310 | 1.9023 | 777.3199 | 5.0104 | 2000.0287 | 0.7877 | 572.1446
ON | 13:25 | 1315 | 1.7831 | 730.472 | 5.0115 | 2000.4617 | 0.7904 | 573.6991
ON | 13:25 | 1320 | 1.8722 | 765.49 | 2.8201 | 1138.0582 | 0.797 | 577.4988
ON | 13:25 | 1325 | 1.6339 | 671.8334 | 2.4467 | 991.1104 | 0.7872 | 571.8568
ON | 13:25 | 1330 | 1.6448 | 676.1173 | 4.8547 | 1938.7547 | 0.7954 | 576.5777
ON | 13:25 | 1335 | 1.6541 | 679.7724 | 5.0137 | 2001.3275 | 0.7899 | 573.4112
ON | 13:25 | 1340 | 1.6563 | 680.637 | 5.0126 | 2000.8946 | 0.7904 | 573.6991
ON | 13:25 | 1345 | 1.6525 | 679.1436 | 4.208 | 1684.2524 | 0.7932 | 575.3111
ON | 13:25 | 1350 | 1.6558 | 680.4405 | 4.9246 | 1966.2631 | 0.7921 | 574.6778
ON | 13:25 | 1355 | 1.6618 | 682.7986 | 3.8133 | 1528.922 | 0.7904 | 573.6991
ON | 13:26 | 1360 | 1.6492 | 677.8466 | 4.7716 | 1906.0514 | 0.8025 | 580.6653
ON | 13:26 | 1365 | 1.6224 | 667.3137 | 5.0137 | 2001.3275 | 0.7954 | 576.5777
ON | 13:26 | 1370 | 1.5103 | 623.2561 | 3.6105 | 1449.1122 | 0.7975 | 577.7867
ON | 13:26 | 1375 | 1.6743 | 687.7114 | 2.8693 | 1157.4203 | 0.7921 | 574.6778
ON | 13:26 | 1380 | 1.5371 | 633.789 | 3.2875 | 1321.9987 | 0.7888 | 572.7779
ON | 13:26 | 1385 | 1.6946 | 695.6897 | 4.6486 | 1857.6461 | 0.7882 | 572.4325
ON | 13:26 | 1390 | 1.7077 | 700.8383 | 3.1 | 1248.21 | 0.779 | 567.1359
ON | 13:26 | 1395 | 1.6476 | 677.2178 | 4.3889 | 1755.4436 | 0.7833 | 569.6115
ON | 13:26 | 1400 | 1.5907 | 654.8549 | 2.5326 | 1024.9154 | 0.7839 | 569.9569
ON | 13:26 | 1405 | 1.5885 | 653.9903 | 3.1907 | 1283.9041 | 0.7893 | 573.0658
ON | 13:26 | 1410 | 1.6459 | 676.5496 | 2.8747 | 1159.5455 | 0.7784 | 566.7904
ON | 13:26 | 1415 | 1.6005 | 658.7065 | 4.0085 | 1605.7411 | 0.7844 | 570.2448
ON | 13:27 | 1420 | 1.6372 | 673.1303 | 4.7147 | 1883.6591 | 0.7795 | 567.4237
ON | 13:27 | 1425 | 1.6497 | 678.0431 | 2.7036 | 1092.2107 | 0.7784 | 566.7904
ON | 13:27 | 1430 | 1.9132 | 781.6039 | 3.8685 | 1550.6455 | 0.7817 | 568.6903
ON | 13:27 | 1435 | 1.6907 | 694.1569 | 4.9995 | 1995.7392 | 0.7921 | 574.6778
ON | 13:27 | 1440 | 1.7077 | 700.8383 | 4.9973 | 1994.8735 | 0.7817 | 568.6903
ON | 13:27 | 1445 | 1.5749 | 648.6452 | 3.6154 | 1451.0405 | 0.7861 | 571.2235
ON | 13:27 | 1450 | 1.653 | 679.3401 | 5.011 | 2000.265 | 0.7861 | 571.2235
ON | 13:27 | 1455 | 1.6765 | 688.576 | 4.9274 | 1967.365 | 0.7768 | 565.8693
ON | 13:27 | 1460 | 1.7826 | 730.2755 | 5.0132 | 2001.1307 | 0.7828 | 569.3236
ON | 13:27 | 1465 | 1.8165 | 743.5988 | 3.5569 | 1428.0184 | 0.7751 | 564.8906
ON | 13:27 | 1470 | 1.6661 | 684.4886 | 3.0579 | 1231.6419 | 0.7844 | 570.2448
ON | 13:27 | 1475 | 1.6071 | 661.3004 | 3.1082 | 1251.4371 | 0.7811 | 568.3449
ON | 13:28 | 1480 | 1.6825 | 690.9342 | 2.4681 | 999.5321 | 0.7833 | 569.6115
ON | 13:28 | 1485 | 1.6497 | 678.0431 | 3.452 | 1386.736 | 0.7844 | 570.2448
ON | 13:28 | 1490 | 1.6246 | 668.1783 | 3.6777 | 1475.5581 | 0.779 | 567.1359
ON | 13:28 | 1495 | 1.6333 | 671.5975 | 2.5719 | 1040.3815 | 0.7817 | 568.6903
ON | 13:28 | 1500 | 1.6705 | 686.2179 | 4.1615 | 1665.9527 | 0.7768 | 565.8693
ON | 13:28 | 1505 | 1.6301 | 670.3399 | 2.7594 | 1114.1702 | 0.7822 | 568.9782
ON | 13:28 | 1510 | 1.6989 | 697.3797 | 4.6338 | 1851.8217 | 0.7817 | 568.6903
ON | 13:28 | 1515 | 1.7514 | 718.0132 | 3.4782 | 1397.0468 | 0.7855 | 570.8781
ON | 13:28 | 1520 | 1.7208 | 705.9868 | 2.2674 | 920.5486 | 0.78 | 567.7116
ON | 13:28 | 1525 | 1.7684 | 724.6945 | 4.4726 | 1788.383 | 0.774 | 564.2573
ON | 13:28 | 1530 | 1.5896 | 654.4226 | 3.7669 | 1510.6618 | 0.7877 | 572.1446
ON | 13:28 | 1535 | 1.8077 | 740.1403 | 2.579 | 1043.1757 | 0.7773 | 566.1572
ON | 13:29 | 1540 | 1.8094 | 740.8084 | 2.1548 | 876.236 | 0.7882 | 572.4325
ON | 13:29 | 1545 | 1.7842 | 730.9043 | 3.2957 | 1325.2258 | 0.7779 | 566.5026
ON | 13:29 | 1550 | 1.7213 | 706.1833 | 3.9642 | 1588.3073 | 0.7872 | 571.8568
ON | 13:29 | 1555 | 1.6164 | 664.9555 | 3.1563 | 1270.3663 | 0.7921 | 574.6778
ON | 13:29 | 1560 | 1.6481 | 677.4143 | 3.3733 | 1355.7645 | 0.7904 | 573.6991
ON | 13:29 | 1565 | 1.6541 | 679.7724 | 2.4571 | 995.2031 | 0.7861 | 571.2235
ON | 13:29 | 1570 | 1.7208 | 705.9868 | 3.2142 | 1293.1523 | 0.7888 | 572.7779
ON | 13:29 | 1575 | 1.9493 | 795.7919 | 3.2246 | 1297.2451 | 0.7872 | 571.8568
ON | 13:29 | 1580 | 1.7804 | 729.4108 | 4.9317 | 1969.0573 | 0.7828 | 569.3236
ON | 13:29 | 1585 | 1.5891 | 654.2261 | 3.8751 | 1553.2428 | 0.7899 | 573.4112
ON | 13:29 | 1590 | 1.7208 | 705.9868 | 5.0121 | 2000.6979 | 0.7926 | 574.9657
ON | 13:29 | 1595 | 1.676 | 688.3795 | 5.0137 | 2001.3275 | 0.7866 | 571.5113
ON | 13:30 | 1600 | 1.6875 | 692.8992 | 4.1101 | 1645.7247 | 0.7948 | 576.2322
ON | 13:30 | 1605 | 1.7022 | 698.6767 | 5.0137 | 2001.3275 | 0.7932 | 575.3111
ON | 13:30 | 1610 | 1.6782 | 689.2442 | 3.5444 | 1423.0992 | 0.7926 | 574.9657
ON | 13:30 | 1615 | 1.6585 | 681.5017 | 5.0132 | 2001.1307 | 0.7986 | 578.42
ON | 13:30 | 1620 | 1.6634 | 683.4275 | 5.0121 | 2000.6979 | 0.7915 | 574.3324
ON | 13:30 | 1625 | 1.6459 | 676.5496 | 5.0121 | 2000.6979 | 0.7877 | 572.1446
ON | 13:30 | 1630 | 1.7372 | 712.4324 | 3.6849 | 1478.3916 | 0.7855 | 570.8781
ON | 13:30 | 1635 | 1.7667 | 724.0264 | 4.1216 | 1650.2505 | 0.7888 | 572.7779
ON | 13:30 | 1640 | 1.6164 | 664.9555 | 4.8973 | 1955.5194 | 0.7822 | 568.9782
ON | 13:30 | 1645 | 1.6765 | 688.576 | 5.0104 | 2000.0287 | 0.7861 | 571.2235
ON | 13:30 | 1650 | 1.6486 | 677.6108 | 5.0093 | 1999.596 | 0.7861 | 571.2235
ON | 13:30 | 1655 | 1.6104 | 662.5974 | 5.0115 | 2000.4617 | 0.7954 | 576.5777
ON | 13:31 | 1660 | 1.5617 | 643.4573 | 5.0132 | 2001.1307 | 0.7888 | 572.7779
ON | 13:31 | 1665 | 1.7126 | 702.764 | 4.5863 | 1833.1285 | 0.7904 | 573.6991
ON | 13:31 | 1670 | 1.7651 | 723.3976 | 4.0096 | 1606.174 | 0.7866 | 571.5113
ON | 13:31 | 1675 | 1.6372 | 673.1303 | 4.8929 | 1953.7879 | 0.7932 | 575.3111
ON | 13:31 | 1680 | 1.5656 | 644.9901 | 5.0132 | 2001.1307 | 0.7926 | 574.9657
ON | 13:31 | 1685 | 1.6596 | 681.934 | 5.0115 | 2000.4617 | 0.7926 | 574.9657
ON | 13:31 | 1690 | 1.5825 | 651.6321 | 4.9782 | 1987.3568 | 0.7975 | 577.7867
ON | 13:31 | 1695 | 1.5481 | 638.1123 | 5.0121 | 2000.6979 | 0.7921 | 574.6778
ON | 13:31 | 1700 | 1.6322 | 671.1652 | 4.1036 | 1643.1668 | 0.7975 | 577.7867
ON | 13:31 | 1705 | 1.618 | 665.5844 | 5.0121 | 2000.6979 | 0.7954 | 576.5777
ON | 13:31 | 1710 | 1.7044 | 699.5413 | 4.7322 | 1890.546 | 0.8003 | 579.3987
ON | 13:31 | 1715 | 1.6886 | 693.3315 | 2.7463 | 1109.0149 | 0.7954 | 576.5777
ON | 13:32 | 1720 | 1.6814 | 690.5018 | 2.9682 | 1196.3414 | 0.7937 | 575.599
ON | 13:32 | 1725 | 1.7454 | 715.6551 | 2.5276 | 1022.9477 | 0.7926 | 574.9657
ON | 13:32 | 1730 | 1.7531 | 718.6814 | 3.7597 | 1507.8284 | 0.7986 | 578.42
ON | 13:32 | 1735 | 1.7071 | 700.6025 | 4.3222 | 1729.1945 | 0.7959 | 576.8655
ON | 13:32 | 1740 | 1.6465 | 676.7854 | 5.0072 | 1998.7694 | 0.797 | 577.4988
ON | 13:32 | 1745 | 1.6946 | 695.6897 | 5.0143 | 2001.5636 | 0.7921 | 574.6778
ON | 13:32 | 1750 | 1.6782 | 689.2442 | 5.0137 | 2001.3275 | 0.7975 | 577.7867
ON | 13:32 | 1755 | 1.6251 | 668.3748 | 5.0115 | 2000.4617 | 0.7981 | 578.1321
ON | 13:32 | 1760 | 1.7175 | 704.6898 | 4.8202 | 1925.1775 | 0.8057 | 582.5076
ON | 13:32 | 1765 | 1.7213 | 706.1833 | 3.8718 | 1551.9442 | 0.8074 | 583.4863
ON | 13:32 | 1770 | 1.735 | 711.5677 | 3.7105 | 1488.4662 | 0.8014 | 580.032
ON | 13:32 | 1775 | 1.741 | 713.9258 | 5.0115 | 2000.4617 | 0.8041 | 581.5864
ON | 13:33 | 1780 | 1.7454 | 715.6551 | 2.7736 | 1119.7586 | 0.8019 | 580.3199
ON | 13:33 | 1785 | 1.6503 | 678.2789 | 2.7922 | 1127.0784 | 0.8003 | 579.3987
ON | 13:33 | 1790 | 1.782 | 730.0396 | 5.0121 | 2000.6979 | 0.797 | 577.4988
ON | 13:33 | 1795 | 1.7853 | 731.3366 | 3.2694 | 1314.8756 | 0.7954 | 576.5777
ON | 13:33 | 1800 | 1.7131 | 702.9605 | 4.7617 | 1902.1555 | 0.791 | 574.0445
ON | 13:33 | 1805 | 1.6798 | 689.873 | 4.0664 | 1628.5271 | 0.8003 | 579.3987
ON | 13:33 | 1810 | 1.6574 | 681.0694 | 3.2044 | 1289.2956 | 0.7964 | 577.1534
ON | 13:33 | 1815 | 1.7126 | 702.764 | 3.3673 | 1353.4033 | 0.8014 | 580.032
ON | 13:33 | 1820 | 1.6186 | 665.8202 | 5.0121 | 2000.6979 | 0.7893 | 573.0658
ON | 13:33 | 1825 | 1.6087 | 661.9293 | 5.0115 | 2000.4617 | 0.7844 | 570.2448
ON | 13:33 | 1830 | 1.6563 | 680.637 | 2.8917 | 1166.2356 | 0.7937 | 575.599
ON | 13:33 | 1835 | 1.7317 | 710.2707 | 3.8428 | 1540.5315 | 0.7839 | 569.9569
ON | 13:34 | 1840 | 1.6749 | 687.9472 | 2.948 | 1188.3919 | 0.7882 | 572.4325
ON | 13:34 | 1845 | 1.6683 | 685.3533 | 3.7417 | 1500.7446 | 0.7899 | 573.4112
ON | 13:34 | 1850 | 1.6552 | 680.2047 | 5.0121 | 2000.6979 | 0.785 | 570.5902
ON | 13:34 | 1855 | 1.6268 | 669.0429 | 5.0126 | 2000.8946 | 0.7926 | 574.9657
ON | 13:34 | 1860 | 1.6754 | 688.1437 | 4.1309 | 1653.9104 | 0.7844 | 570.2448
ON | 13:34 | 1865 | 1.6454 | 676.3531 | 2.5714 | 1040.1847 | 0.7959 | 576.8655
ON | 13:34 | 1870 | 1.5754 | 648.8417 | 5.0077 | 1998.9662 | 0.7915 | 574.3324
ON | 13:34 | 1875 | 1.5836 | 652.0645 | 5.0126 | 2000.8946 | 0.7954 | 576.5777
ON | 13:34 | 1880 | 1.6869 | 692.6634 | 5.0137 | 2001.3275 | 0.7926 | 574.9657
ON | 13:34 | 1885 | 1.682 | 690.7377 | 3.915 | 1568.9451 | 0.7932 | 575.3111
ON | 13:34 | 1890 | 1.6634 | 683.4275 | 3.3416 | 1343.2892 | 0.7839 | 569.9569
ON | 13:34 | 1895 | 1.6404 | 674.388 | 4.9421 | 1973.1501 | 0.7959 | 576.8655
ON | 13:35 | 1900 | 1.6875 | 692.8992 | 4.2036 | 1682.5207 | 0.7882 | 572.4325
ON | 13:35 | 1905 | 1.7602 | 721.4718 | 2.4877 | 1007.2455 | 0.7964 | 577.1534
ON | 13:35 | 1910 | 1.7115 | 702.3317 | 5.0061 | 1998.3367 | 0.7954 | 576.5777
ON | 13:35 | 1915 | 1.6836 | 691.3665 | 3.4952 | 1403.737 | 0.791 | 574.0445
ON | 13:35 | 1920 | 1.8569 | 759.4768 | 4.9908 | 1992.3154 | 0.7986 | 578.42
ON | 13:35 | 1925 | 1.6066 | 661.104 | 3.276 | 1317.473 | 0.797 | 577.4988
ON | 13:35 | 1930 | 1.723 | 706.8515 | 4.0495 | 1621.8762 | 0.7932 | 575.3111
ON | 13:35 | 1935 | 1.6902 | 693.9604 | 3.8357 | 1537.7374 | 0.7915 | 574.3324
ON | 13:35 | 1940 | 1.6284 | 669.6718 | 4.4245 | 1769.4537 | 0.8003 | 579.3987
ON | 13:35 | 1945 | 1.7181 | 704.9256 | 2.8288 | 1141.4819 | 0.7921 | 574.6778
ON | 13:35 | 1950 | 1.7044 | 699.5413 | 3.0781 | 1239.5915 | 0.7948 | 576.2322
ON | 13:35 | 1955 | 1.8821 | 769.3809 | 4.0003 | 1602.514 | 0.78 | 567.7116
ON | 13:36 | 1960 | 1.7449 | 715.4586 | 4.7016 | 1878.5037 | 0.7877 | 572.1446
ON | 13:36 | 1965 | 1.7744 | 727.0527 | 2.7206 | 1098.9009 | 0.791 | 574.0445
ON | 13:36 | 1970 | 1.67 | 686.0214 | 3.5624 | 1430.1829 | 0.7899 | 573.4112
ON | 13:36 | 1975 | 1.7995 | 736.9175 | 3.1579 | 1270.996 | 0.797 | 577.4988
ON | 13:36 | 1980 | 1.7509 | 717.8167 | 4.9984 | 1995.3064 | 0.7954 | 576.5777
ON | 13:36 | 1985 | 1.8083 | 740.3761 | 5.0132 | 2001.1307 | 0.7997 | 579.0533
ON | 13:36 | 1990 | 1.7695 | 725.1269 | 5.0121 | 2000.6979 | 0.7986 | 578.42
ON | 13:36 | 1995 | 1.7279 | 708.7773 | 3.9133 | 1568.2761 | 0.8003 | 579.3987
ON | 13:36 | 2000 | 1.7722 | 726.188 | 3.4739 | 1395.3546 | 0.7926 | 574.9657
ON | 13:36 | 2005 | 1.8974 | 775.3942 | 4.7852 | 1911.4037 | 0.7981 | 578.1321
ON | 13:36 | 2010 | 1.8842 | 770.2063 | 5.0132 | 2001.1307 | 0.7866 | 571.5113
ON | 13:36 | 2015 | 1.7246 | 707.4803 | 4.9875 | 1991.0168 | 0.7872 | 571.8568
ON | 13:37 | 2020 | 1.8148 | 742.9307 | 5.0099 | 1999.8321 | 0.785 | 570.5902
ON | 13:37 | 2025 | 1.6711 | 686.4537 | 3.9041 | 1564.6555 | 0.7932 | 575.3111
ON | 13:37 | 2030 | 1.7186 | 705.1222 | 5.0126 | 2000.8946 | 0.791 | 574.0445
ON | 13:37 | 2035 | 1.6891 | 693.5281 | 3.9194 | 1570.6767 | 0.7904 | 573.6991
ON | 13:37 | 2040 | 1.6804 | 690.1088 | 2.9945 | 1206.6915 | 0.7954 | 576.5777
ON | 13:37 | 2045 | 1.7755 | 727.485 | 4.9716 | 1984.7595 | 0.7899 | 573.4112
ON | 13:37 | 2050 | 1.9717 | 804.5955 | 2.9272 | 1180.2063 | 0.7904 | 573.6991
ON | 13:37 | 2055 | 1.9258 | 786.5559 | 2.6971 | 1089.6527 | 0.7844 | 570.2448
ON | 13:37 | 2060 | 1.6175 | 665.3878 | 2.3926 | 969.8198 | 0.7877 | 572.1446
ON | 13:37 | 2065 | 1.647 | 676.9819 | 4.7169 | 1884.5248 | 0.7882 | 572.4325
ON | 13:37 | 2070 | 1.7377 | 712.6289 | 2.5069 | 1014.8015 | 0.7893 | 573.0658
ON | 13:37 | 2075 | 1.665 | 684.0563 | 2.2472 | 912.5991 | 0.7888 | 572.7779
ON | 13:38 | 2080 | 1.7853 | 731.3366 | 4.5726 | 1827.737 | 0.7964 | 577.1534
ON | 13:38 | 2085 | 1.7454 | 715.6551 | 3.7406 | 1500.3118 | 0.7877 | 572.1446
ON | 13:38 | 2090 | 1.6831 | 691.17 | 2.7736 | 1119.7586 | 0.7943 | 575.9444
ON | 13:38 | 2095 | 1.7498 | 717.3844 | 3.716 | 1490.6307 | 0.7893 | 573.0658
ON | 13:38 | 2100 | 1.623 | 667.5495 | 3.5897 | 1440.9265 | 0.7926 | 574.9657
ON | 13:38 | 2105 | 1.6568 | 680.8335 | 3.7559 | 1506.3329 | 0.7937 | 575.599
ON | 13:38 | 2110 | 1.6158 | 664.7197 | 5.011 | 2000.265 | 0.7877 | 572.1446
ON | 13:38 | 2115 | 1.6153 | 664.5232 | 4.5715 | 1827.304 | 0.7943 | 575.9444
ON | 13:38 | 2120 | 1.6142 | 664.0909 | 4.6497 | 1858.079 | 0.7904 | 573.6991
ON | 13:38 | 2125 | 1.6164 | 664.9555 | 3.5635 | 1430.6158 | 0.7954 | 576.5777
ON | 13:38 | 2130 | 1.6164 | 664.9555 | 3.5657 | 1431.4816 | 0.7943 | 575.9444
ON | 13:38 | 2135 | 1.7285 | 709.0131 | 3.5651 | 1431.2454 | 0.7932 | 575.3111
ON | 13:39 | 2140 | 1.7536 | 718.8779 | 3.563 | 1430.419 | 0.8025 | 580.6653
ON | 13:39 | 2145 | 1.6175 | 665.3878 | 5.0121 | 2000.6979 | 0.7943 | 575.9444
ON | 13:39 | 2150 | 1.6568 | 680.8335 | 5.0126 | 2000.8946 | 0.7926 | 574.9657
ON | 13:39 | 2155 | 1.618 | 665.5844 | 5.0132 | 2001.1307 | 0.8036 | 581.2986
ON | 13:39 | 2160 | 1.6519 | 678.9078 | 5.0121 | 2000.6979 | 0.7937 | 575.599
ON | 13:39 | 2165 | 1.7656 | 723.5941 | 5.011 | 2000.265 | 0.7992 | 578.7654
ON | 13:39 | 2170 | 1.6847 | 691.7988 | 4.9689 | 1983.697 | 0.7932 | 575.3111
ON | 13:39 | 2175 | 1.8864 | 771.0709 | 5.0126 | 2000.8946 | 0.8057 | 582.5076
ON | 13:39 | 2180 | 1.6011 | 658.9423 | 4.7748 | 1907.3107 | 0.7964 | 577.1534
ON | 13:39 | 2185 | 1.7979 | 736.2886 | 4.8754 | 1946.9009 | 0.8008 | 579.6866
ON | 13:39 | 2190 | 1.8591 | 760.3415 | 5.0104 | 2000.0287 | 0.7915 | 574.3324
ON | 13:39 | 2195 | 1.9083 | 779.6781 | 4.9962 | 1994.4406 | 0.7899 | 573.4112
ON | 13:40 | 2200 | 1.618 | 665.5844 | 3.9133 | 1568.2761 | 0.7866 | 571.5113
ON | 13:40 | 2205 | 1.5787 | 650.1387 | 5.0126 | 2000.8946 | 0.8025 | 580.6653
ON | 13:40 | 2210 | 1.7164 | 704.2575 | 5.011 | 2000.265 | 0.7943 | 575.9444
ON | 13:40 | 2215 | 1.6219 | 667.1171 | 3.6471 | 1463.5157 | 0.8052 | 582.2197
ON | 13:40 | 2220 | 1.5743 | 648.4094 | 5.0121 | 2000.6979 | 0.7997 | 579.0533
ON | 13:40 | 2225 | 1.5787 | 650.1387 | 4.9711 | 1984.5626 | 0.7964 | 577.1534
ON | 13:40 | 2230 | 1.6071 | 661.3004 | 5.011 | 2000.265 | 0.7893 | 573.0658
ON | 13:40 | 2235 | 1.6257 | 668.6106 | 5.0088 | 1999.3992 | 0.7954 | 576.5777
ON | 13:40 | 2240 | 1.6727 | 687.0826 | 5.0121 | 2000.6979 | 0.7937 | 575.599
ON | 13:40 | 2245 | 1.588 | 653.7938 | 5.0143 | 2001.5636 | 0.7954 | 576.5777
ON | 13:40 | 2250 | 1.6213 | 666.8813 | 5.0132 | 2001.1307 | 0.7992 | 578.7654
ON | 13:40 | 2255 | 1.6962 | 696.3185 | 3.9664 | 1589.173 | 0.8003 | 579.3987
ON | 13:41 | 2260 | 1.7367 | 712.2359 | 5.0121 | 2000.6979 | 0.7937 | 575.599
ON | 13:41 | 2265 | 1.7153 | 703.8252 | 3.323 | 1335.9694 | 0.8068 | 583.1409
ON | 13:41 | 2270 | 1.7793 | 728.9785 | 4.9345 | 1970.1592 | 0.8019 | 580.3199
ON | 13:41 | 2275 | 1.723 | 706.8515 | 5.011 | 2000.265 | 0.8046 | 581.8743
ON | 13:41 | 2280 | 1.7235 | 707.048 | 5.011 | 2000.265 | 0.7975 | 577.7867
ON | 13:41 | 2285 | 1.659 | 681.6982 | 4.9744 | 1985.8614 | 0.7943 | 575.9444
ON | 13:41 | 2290 | 1.7618 | 722.1007 | 5.011 | 2000.265 | 0.8063 | 582.853
ON | 13:41 | 2295 | 1.664 | 683.6633 | 3.3356 | 1340.928 | 0.8014 | 580.032
ON | 13:41 | 2300 | 1.7339 | 711.1354 | 4.4753 | 1789.4455 | 0.8008 | 579.6866
ON | 13:41 | 2305 | 1.7777 | 728.3496 | 4.7278 | 1888.8144 | 0.7986 | 578.42
ON | 13:41 | 2310 | 1.7317 | 710.2707 | 5.0121 | 2000.6979 | 0.7959 | 576.8655
ON | 13:41 | 2315 | 1.7186 | 705.1222 | 5.0044 | 1997.6675 | 0.8025 | 580.6653
ON | 13:42 | 2320 | 1.6076 | 661.4969 | 5.0121 | 2000.6979 | 0.8068 | 583.1409
ON | 13:42 | 2325 | 1.6875 | 692.8992 | 5.0132 | 2001.1307 | 0.8057 | 582.5076
ON | 13:42 | 2330 | 1.7684 | 724.6945 | 5.0115 | 2000.4617 | 0.8057 | 582.5076
ON | 13:42 | 2335 | 1.6005 | 658.7065 | 5.0121 | 2000.6979 | 0.8008 | 579.6866
ON | 13:42 | 2340 | 1.8438 | 754.3283 | 5.011 | 2000.265 | 0.7986 | 578.42
ON | 13:42 | 2345 | 1.7449 | 715.4586 | 5.0104 | 2000.0287 | 0.8008 | 579.6866
ON | 13:42 | 2350 | 1.8165 | 743.5988 | 5.0148 | 2001.7604 | 0.7992 | 578.7654
ON | 13:42 | 2355 | 1.6623 | 682.9951 | 4.3419 | 1736.9473 | 0.8074 | 583.4863
ON | 13:42 | 2360 | 1.6738 | 687.5149 | 4.0402 | 1618.2164 | 0.8036 | 581.2986
ON | 13:42 | 2365 | 1.741 | 713.9258 | 4.8995 | 1956.3852 | 0.8118 | 586.0195
ON | 13:42 | 2370 | 1.7547 | 719.3102 | 5.011 | 2000.265 | 0.8118 | 586.0195
ON | 13:42 | 2375 | 1.7235 | 707.048 | 5.0104 | 2000.0287 | 0.815 | 587.8618
ON | 13:43 | 2380 | 1.6814 | 690.5018 | 4.9771 | 1986.9239 | 0.8046 | 581.8743
ON | 13:43 | 2385 | 1.6689 | 685.5891 | 4.6338 | 1851.8217 | 0.8019 | 580.3199
ON | 13:43 | 2390 | 1.7328 | 710.7031 | 5.0121 | 2000.6979 | 0.8052 | 582.2197
ON | 13:43 | 2395 | 1.7022 | 698.6767 | 4.5196 | 1806.8793 | 0.803 | 580.9531
OFF | 13:43 | 2400 | 1.7755 | 727.485 | 4.9776 | 1987.1207 | 0.8052 | 582.2197
OFF | 13:43 | 2405 | 1.7864 | 731.7689 | 3.4957 | 1403.9337 | 0.8101 | 585.0408
OFF | 13:43 | 2410 | 1.6978 | 696.9474 | 3.9407 | 1579.0591 | 0.8139 | 587.2285
OFF | 13:43 | 2415 | 1.694 | 695.4539 | 4.22 | 1688.9747 | 0.8112 | 585.6741
OFF | 13:43 | 2420 | 1.618 | 665.5844 | 3.382 | 1359.1883 | 0.8096 | 584.7529
OFF | 13:43 | 2425 | 1.7673 | 724.2622 | 4.0161 | 1608.732 | 0.8008 | 579.6866
OFF | 13:43 | 2430 | 1.694 | 695.4539 | 3.1841 | 1281.3067 | 0.809 | 584.4075
OFF | 13:43 | 2435 | 1.6547 | 680.0082 | 2.6637 | 1076.5085 | 0.7997 | 579.0533
OFF | 13:44 | 2440 | 1.6251 | 668.3748 | 2.2248 | 903.7838 | 0.8052 | 582.2197
OFF | 13:44 | 2445 | 1.7525 | 718.4456 | 2.1756 | 884.4216 | 0.803 | 580.9531
OFF | 13:44 | 2450 | 1.6891 | 693.5281 | 2.93 | 1181.3082 | 0.7937 | 575.599
OFF | 13:44 | 2455 | 1.6847 | 691.7988 | 1.9433 | 793.0023 | 0.8019 | 580.3199
OFF | 13:44 | 2460 | 1.5792 | 650.3352 | 1.9837 | 808.9013 | 0.803 | 580.9531
OFF | 13:44 | 2465 | 1.6448 | 676.1173 | 1.8602 | 760.2991 | 0.8085 | 584.1196
OFF | 13:44 | 2470 | 1.6071 | 661.3004 | 1.7367 | 711.6969 | 0.8014 | 580.032
OFF | 13:44 | 2475 | 1.5601 | 642.8285 | 1.8159 | 742.8653 | 0.797 | 577.4988
OFF | 13:44 | 2480 | 1.6005 | 658.7065 | 1.7388 | 712.5234 | 0.7997 | 579.0533
OFF | 13:44 | 2485 | 1.5836 | 652.0645 | 1.6814 | 689.9341 | 0.7855 | 570.8781
OFF | 13:44 | 2490 | 1.6169 | 665.152 | 1.6962 | 695.7586 | 0.7861 | 571.2235
OFF | 13:44 | 2495 | 1.5492 | 638.5446 | 1.7022 | 698.1198 | 0.7926 | 574.9657
OFF | 13:45 | 2500 | 1.5382 | 634.2214 | 1.7449 | 714.9239 | 0.78 | 567.7116
OFF | 13:45 | 2505 | 1.4469 | 598.3386 | 1.8208 | 744.7936 | 0.7822 | 568.9782
OFF | 13:45 | 2510 | 1.5054 | 621.3303 | 1.6645 | 683.2833 | 0.7768 | 565.8693
OFF | 13:45 | 2515 | 1.4251 | 589.7708 | 1.518 | 625.6297 | 0.78 | 567.7116
OFF | 13:45 | 2520 | 1.4065 | 582.4606 | 1.5011 | 618.9789 | 0.7702 | 562.0695
OFF | 13:45 | 2525 | 1.4081 | 583.0895 | 1.4994 | 618.3099 | 0.7669 | 560.1697
OFF | 13:45 | 2530 | 1.4038 | 581.3995 | 1.4633 | 604.1031 | 0.7631 | 557.9819
OFF | 13:45 | 2535 | 1.418 | 586.9804 | 1.418 | 586.2757 | 0.7615 | 557.0608
OFF | 13:45 | 2540 | 1.3021 | 541.4293 | 1.4344 | 592.7298 | 0.7494 | 550.0946
OFF | 13:45 | 2545 | 1.342 | 557.1108 | 1.5153 | 624.5672 | 0.7549 | 553.261
OFF | 13:45 | 2550 | 1.3086 | 543.984 | 1.448 | 598.0819 | 0.7478 | 549.1734
OFF | 13:45 | 2555 | 1.3114 | 545.0845 | 1.3792 | 571.0064 | 0.7516 | 551.3612
OFF | 13:46 | 2560 | 1.3316 | 553.0234 | 1.3425 | 556.5634 | 0.7385 | 543.8192
OFF | 13:46 | 2565 | 1.248 | 520.167 | 1.4223 | 587.9679 | 0.7369 | 542.8981
OFF | 13:46 | 2570 | 1.2622 | 525.7478 | 1.3808 | 571.636 | 0.7374 | 543.1859
OFF | 13:46 | 2575 | 1.254 | 522.5251 | 1.3945 | 577.0275 | 0.7369 | 542.8981
OFF | 13:46 | 2580 | 1.272 | 529.5994 | 1.307 | 542.5928 | 0.7199 | 533.1108
OFF | 13:46 | 2585 | 1.2217 | 509.8305 | 1.3551 | 561.5221 | 0.7139 | 529.6565
OFF | 13:46 | 2590 | 1.2348 | 514.9791 | 1.4983 | 617.877 | 0.7123 | 528.7354
OFF | 13:46 | 2595 | 1.2365 | 515.6472 | 1.9668 | 802.2505 | 0.7019 | 522.7479
OFF | 13:46 | 2600 | 1.2217 | 509.8305 | 1.8176 | 743.5343 | 0.7106 | 527.7566
OFF | 13:46 | 2605 | 1.2245 | 510.931 | 2.2663 | 920.1157 | 0.7035 | 523.669
OFF | 13:46 | 2610 | 1.2299 | 513.0533 | 1.4633 | 604.1031 | 0.7052 | 524.6478
OFF | 13:46 | 2615 | 1.2119 | 505.9789 | 1.2988 | 539.3657 | 0.6893 | 515.4938
OFF | 13:47 | 2620 | 1.2048 | 503.1885 | 1.3223 | 548.6139 | 0.6915 | 516.7604
OFF | 13:47 | 2625 | 1.1873 | 496.3106 | 1.7919 | 733.4203 | 0.68 | 510.1396
OFF | 13:47 | 2630 | 1.1971 | 500.1623 | 1.8657 | 762.4636 | 0.6784 | 509.2184
OFF | 13:47 | 2635 | 1.1605 | 485.7777 | 1.3578 | 562.5846 | 0.6756 | 507.6064
OFF | 13:47 | 2640 | 1.1829 | 494.5813 | 1.4546 | 600.6793 | 0.6653 | 501.6765
OFF | 13:47 | 2645 | 1.1769 | 492.2232 | 3.0945 | 1246.0456 | 0.6707 | 504.7854
OFF | 13:47 | 2650 | 1.161 | 485.9742 | 2.0696 | 842.7064 | 0.6587 | 497.8768
OFF | 13:47 | 2655 | 1.1583 | 484.9131 | 1.3956 | 577.4604 | 0.6642 | 501.0432
OFF | 13:47 | 2660 | 1.166 | 487.9393 | 2.3374 | 948.0964 | 0.6598 | 498.5101
OFF | 13:47 | 2665 | 1.1485 | 481.0615 | 1.9701 | 803.5492 | 0.6538 | 495.0557
OFF | 13:47 | 2670 | 1.1397 | 477.6029 | 1.4349 | 592.9266 | 0.6461 | 490.6227
OFF | 13:47 | 2675 | 1.1479 | 480.8257 | 1.9088 | 779.4252 | 0.6483 | 491.8893
OFF | 13:48 | 2680 | 1.1337 | 475.2448 | 1.6213 | 666.2824 | 0.6445 | 489.7016
OFF | 13:48 | 2685 | 1.1572 | 484.4807 | 1.3912 | 575.7288 | 0.6374 | 485.6139
OFF | 13:48 | 2690 | 1.1479 | 480.8257 | 1.3021 | 540.6644 | 0.6434 | 489.0683
OFF | 13:48 | 2695 | 1.1326 | 474.8124 | 1.2977 | 538.9329 | 0.6374 | 485.6139
OFF | 13:48 | 2700 | 1.1359 | 476.1094 | 1.2578 | 523.2306 | 0.6368 | 485.2685
OFF | 13:48 | 2705 | 1.1452 | 479.7645 | 1.2294 | 512.0541 | 0.6264 | 479.281
OFF | 13:48 | 2710 | 1.1365 | 476.3452 | 1.1977 | 499.5789 | 0.6352 | 484.3474
OFF | 13:48 | 2715 | 1.1244 | 471.5897 | 1.1873 | 495.486 | 0.6275 | 479.9143
OFF | 13:48 | 2720 | 1.1255 | 472.022 | 1.166 | 487.1036 | 0.627 | 479.6264
OFF | 13:48 | 2725 | 1.114 | 467.5023 | 1.1917 | 497.2176 | 0.633 | 483.0808
OFF | 13:48 | 2730 | 1.1239 | 471.3932 | 1.1463 | 479.3509 | 0.6221 | 476.8054
OFF | 13:48 | 2735 | 1.1102 | 466.0088 | 1.1436 | 478.2883 | 0.6303 | 481.5263
OFF | 13:49 | 2740 | 1.1075 | 464.9476 | 1.2152 | 506.4658 | 0.621 | 476.1721
OFF | 13:49 | 2745 | 1.1129 | 467.07 | 1.1452 | 478.918 | 0.6177 | 474.2722
OFF | 13:49 | 2750 | 1.1091 | 465.5765 | 1.1244 | 470.7324 | 0.6275 | 479.9143
OFF | 13:49 | 2755 | 1.1009 | 462.3537 | 1.1124 | 466.0099 | 0.6155 | 473.0056
OFF | 13:49 | 2760 | 1.096 | 460.4279 | 1.1075 | 464.0815 | 0.6177 | 474.2722
OFF | 13:49 | 2765 | 1.0911 | 458.5021 | 1.1086 | 464.5145 | 0.6144 | 472.3724
OFF | 13:49 | 2770 | 1.0873 | 457.0086 | 1.1113 | 465.577 | 0.6079 | 468.6302
OFF | 13:49 | 2775 | 1.084 | 455.7117 | 1.1835 | 493.9906 | 0.61 | 469.8392
OFF | 13:49 | 2780 | 1.0763 | 452.6854 | 1.0949 | 459.1229 | 0.6018 | 465.1183
OFF | 13:49 | 2785 | 1.0807 | 454.4147 | 1.0873 | 456.132 | 0.6024 | 465.4637
OFF | 13:49 | 2790 | 1.0654 | 448.4015 | 1.0878 | 456.3288 | 0.5964 | 462.0094
OFF | 13:49 | 2795 | 1.0714 | 450.7596 | 1.0818 | 453.9676 | 0.5936 | 460.3974
OFF | 13:50 | 2800 | 1.0583 | 445.6111 | 1.0774 | 452.236 | 0.6029 | 465.7516
OFF | 13:50 | 2805 | 1.0577 | 445.3753 | 1.073 | 450.5044 | 0.5953 | 461.3761
OFF | 13:50 | 2810 | 1.0566 | 444.9429 | 1.073 | 450.5044 | 0.5986 | 463.276
OFF | 13:50 | 2815 | 1.0539 | 443.8818 | 1.0692 | 449.009 | 0.5947 | 461.0307
OFF | 13:50 | 2820 | 1.0561 | 444.7464 | 1.061 | 445.7819 | 0.5969 | 462.2973
OFF | 13:50 | 2825 | 1.049 | 441.956 | 1.0621 | 446.2149 | 0.5964 | 462.0094
OFF | 13:50 | 2830 | 1.0517 | 443.0171 | 1.0594 | 445.1523 | 0.592 | 459.4762
OFF | 13:50 | 2835 | 1.049 | 441.956 | 1.0616 | 446.0181 | 0.5997 | 463.9093
OFF | 13:50 | 2840 | 1.0457 | 440.659 | 1.0572 | 444.2865 | 0.5882 | 457.2885
OFF | 13:50 | 2845 | 1.0386 | 437.8686 | 1.0506 | 441.6891 | 0.5849 | 455.3886
OFF | 13:50 | 2850 | 1.0375 | 437.4363 | 1.0512 | 441.9253 | 0.5854 | 455.6765
OFF | 13:50 | 2855 | 1.037 | 437.2397 | 1.0523 | 442.3581 | 0.5849 | 455.3886
OFF | 13:51 | 2860 | 1.0353 | 436.5716 | 1.0457 | 439.7608 | 0.592 | 459.4762
OFF | 13:51 | 2865 | 1.0348 | 436.3751 | 1.0446 | 439.3279 | 0.5833 | 454.4675
OFF | 13:51 | 2870 | 1.0342 | 436.1393 | 1.0392 | 437.2027 | 0.5783 | 451.5889
OFF | 13:51 | 2875 | 1.031 | 434.8816 | 1.0392 | 437.2027 | 0.5805 | 452.8555
OFF | 13:51 | 2880 | 1.0255 | 432.72 | 1.0397 | 437.3995 | 0.5816 | 453.4888
OFF | 13:51 | 2885 | 1.0266 | 433.1523 | 1.0392 | 437.2027 | 0.5745 | 449.4012
OFF | 13:51 | 2890 | 1.0233 | 431.8554 | 1.037 | 436.337 | 0.5751 | 449.7466
OFF | 13:51 | 2895 | 1.0244 | 432.2877 | 1.0326 | 434.6054 | 0.574 | 449.1133
OFF | 13:51 | 2900 | 1.0255 | 432.72 | 1.0353 | 435.668 | 0.5734 | 448.7679
OFF | 13:51 | 2905 | 1.0195 | 430.3619 | 1.0271 | 432.4409 | 0.5619 | 442.1471
OFF | 13:51 | 2910 | 1.02 | 430.5584 | 1.0315 | 434.1725 | 0.563 | 442.7804
OFF | 13:51 | 2915 | 1.0189 | 430.1261 | 1.0293 | 433.3067 | 0.5608 | 441.5138
OFF | 13:52 | 2920 | 1.0178 | 429.6937 | 1.0282 | 432.8738 | 0.557 | 439.326
OFF | 13:52 | 2925 | 1.0167 | 429.2614 | 1.0266 | 432.2442 | 0.5652 | 444.0469
OFF | 13:52 | 2930 | 1.0031 | 423.9164 | 1.0392 | 437.2027 | 0.5625 | 442.4925
OFF | 13:52 | 2935 | 1.0135 | 428.0038 | 1.0244 | 431.3784 | 0.5608 | 441.5138
OFF | 13:52 | 2940 | 1.0042 | 424.3487 | 1.0222 | 430.5126 | 0.5619 | 442.1471
OFF | 13:52 | 2945 | 1.0151 | 428.6326 | 1.0244 | 431.3784 | 0.5581 | 439.9593
OFF | 13:52 | 2950 | 1.0124 | 427.5715 | 1.02 | 429.6468 | 0.5658 | 444.3924
OFF | 13:52 | 2955 | 1.0113 | 427.1391 | 1.0189 | 429.2139 | 0.5663 | 444.6802
OFF | 13:52 | 2960 | 1.0074 | 425.6064 | 1.0238 | 431.1423 | 0.5625 | 442.4925
OFF | 13:52 | 2965 | 1.0091 | 426.2745 | 1.0271 | 432.4409 | 0.5647 | 443.7591
OFF | 13:52 | 2970 | 1.0124 | 427.5715 | 1.0184 | 429.0171 | 0.5636 | 443.1258
OFF | 13:52 | 2975 | 1.008 | 425.8422 | 1.0162 | 428.1513 | 0.5565 | 439.0382
OFF | 13:53 | 2980 | 1.0058 | 424.9775 | 1.0135 | 427.0888 | 0.5565 | 439.0382
OFF | 13:53 | 2985 | 1.0053 | 424.781 | 1.0135 | 427.0888 | 0.5576 | 439.6715
OFF | 13:53 | 2990 | 1.0047 | 424.5452 | 1.0151 | 427.7185 | 0.5526 | 436.7929
OFF | 13:53 | 2995 | 1.0047 | 424.5452 | 1.0124 | 426.6559 | 0.5614 | 441.8592
OFF | 13:53 | 3000 | 1.0036 | 424.1129 | 1.0184 | 429.0171 | 0.5537 | 437.4261
OFF | 13:53 | 3005 | 1.0047 | 424.5452 | 1.0173 | 428.5842 | 0.5559 | 438.6927
OFF | 13:53 | 3010 | 1.0096 | 426.471 | 1.0113 | 426.223 | 0.5641 | 443.4137
OFF | 13:53 | 3015 | 1.0025 | 423.6806 | 1.0124 | 426.6559 | 0.5554 | 438.4049
OFF | 13:53 | 3020 | 1.0025 | 423.6806 | 1.0096 | 425.554 | 0.5483 | 434.3173
OFF | 13:53 | 3025 | 1.0042 | 424.3487 | 1.008 | 424.9243 | 0.5499 | 435.2384
OFF | 13:53 | 3030 | 1.002 | 423.484 | 1.0102 | 425.7901 | 0.5543 | 437.7716
OFF | 13:53 | 3035 | 1.0014 | 423.2482 | 1.0107 | 425.9869 | 0.5576 | 439.6715
OFF | 13:54 | 3040 | 1.0009 | 423.0517 | 1.0096 | 425.554 | 0.5494 | 434.9506
OFF | 13:54 | 3045 | 1.0009 | 423.0517 | 1.0074 | 424.6882 | 0.5581 | 439.9593
OFF | 13:54 | 3050 | 1.0003 | 422.8159 | 1.0085 | 425.1211 | 0.5576 | 439.6715
OFF | 13:54 | 3055 | 0.9971 | 421.5582 | 1.0053 | 423.8618 | 0.5455 | 432.7052
OFF | 13:54 | 3060 | 0.9954 | 420.8901 | 1.0042 | 423.4289 | 0.551 | 435.8717
OFF | 13:54 | 3065 | 0.9965 | 421.3224 | 1.0031 | 422.996 | 0.5505 | 435.5838
OFF | 13:54 | 3070 | 0.9965 | 421.3224 | 1.0047 | 423.6256 | 0.551 | 435.8717
OFF | 13:54 | 3075 | 0.9971 | 421.5582 | 1.0047 | 423.6256 | 0.5494 | 434.9506
OFF | 13:54 | 3080 | 0.9949 | 420.6936 | 1.0047 | 423.6256 | 0.551 | 435.8717
OFF | 13:54 | 3085 | 0.9965 | 421.3224 | 1.0058 | 424.0585 | 0.5494 | 434.9506
OFF | 13:54 | 3090 | 0.9965 | 421.3224 | 1.0058 | 424.0585 | 0.5494 | 434.9506
OFF | 13:54 | 3095 | 1.0003 | 422.8159 | 1.002 | 422.5631 | 0.5466 | 433.3385
OFF | 13:55 | 3100 | 0.9965 | 421.3224 | 1.0042 | 423.4289 | 0.5576 | 439.6715
OFF | 13:55 | 3105 | 0.9927 | 419.8289 | 1.0009 | 422.1302 | 0.5494 | 434.9506
OFF | 13:55 | 3110 | 0.9965 | 421.3224 | 1.0003 | 421.8941 | 0.5472 | 433.684
OFF | 13:55 | 3115 | 0.9938 | 420.2613 | 1.0058 | 424.0585 | 0.5526 | 436.7929
OFF | 13:55 | 3120 | 0.996 | 421.1259 | 1.0009 | 422.1302 | 0.5494 | 434.9506
OFF | 13:55 | 3125 | 0.9976 | 421.7548 | 1.0031 | 422.996 | 0.551 | 435.8717
OFF | 13:55 | 3130 | 0.9949 | 420.6936 | 1.0025 | 422.7599 | 0.5477 | 433.9718
OFF | 13:55 | 3135 | 0.9954 | 420.8901 | 1.0042 | 423.4289 | 0.551 | 435.8717
OFF | 13:55 | 3140 | 0.9943 | 420.4578 | 1.0014 | 422.327 | 0.551 | 435.8717
OFF | 13:55 | 3145 | 0.9949 | 420.6936 | 0.9998 | 421.6973 | 0.5466 | 433.3385
OFF | 13:55 | 3150 | 0.9921 | 419.5931 | 1.0014 | 422.327 | 0.5521 | 436.505
OFF | 13:55 | 3155 | 0.9954 | 420.8901 | 1.0014 | 422.327 | 0.5516 | 436.2171
OFF | 13:56 | 3160 | 0.9938 | 420.2613 | 0.9982 | 421.0676 | 0.551 | 435.8717
OFF | 13:56 | 3165 | 0.9938 | 420.2613 | 1.0014 | 422.327 | 0.5537 | 437.4261
OFF | 13:56 | 3170 | 0.9932 | 420.0255 | 0.9971 | 420.6347 | 0.5516 | 436.2171
OFF | 13:56 | 3175 | 0.9927 | 419.8289 | 0.9976 | 420.8315 | 0.5554 | 438.4049
OFF | 13:56 | 3180 | 0.9916 | 419.3966 | 0.9992 | 421.4612 | 0.5516 | 436.2171
OFF | 13:56 | 3185 | 0.9943 | 420.4578 | 0.9954 | 419.9657 | 0.5548 | 438.0594
OFF | 13:56 | 3190 | 0.9943 | 420.4578 | 0.9976 | 420.8315 | 0.551 | 435.8717
OFF | 13:56 | 3195 | 0.9894 | 418.532 | 0.996 | 420.2018 | 0.5477 | 433.9718
OFF | 13:56 | 3200 | 0.9916 | 419.3966 | 0.9971 | 420.6347 | 0.5537 | 437.4261
OFF | 13:56 | 3205 | 0.9927 | 419.8289 | 0.9938 | 419.336 | 0.5526 | 436.7929
OFF | 13:56 | 3210 | 0.9921 | 419.5931 | 0.9943 | 419.5328 | 0.5559 | 438.6927
OFF | 13:56 | 3215 | 0.991 | 419.1608 | 0.9976 | 420.8315 | 0.5532 | 437.1383
OFF | 13:57 | 3220 | 0.9916 | 419.3966 | 0.9932 | 419.0999 | 0.5537 | 437.4261
OFF | 13:57 | 3225 | 0.9905 | 418.9643 | 0.9965 | 420.3986 | 0.5483 | 434.3173
OFF | 13:57 | 3230 | 0.99 | 418.7678 | 0.996 | 420.2018 | 0.5532 | 437.1383
OFF | 13:57 | 3235 | 0.99 | 418.7678 | 1.0249 | 431.5751 | 0.5472 | 433.684
OFF | 13:57 | 3240 | 0.9921 | 419.5931 | 0.9992 | 421.4612 | 0.5461 | 433.0507
OFF | 13:57 | 3245 | 0.9916 | 419.3966 | 0.9976 | 420.8315 | 0.5521 | 436.505
OFF | 13:57 | 3250 | 0.9905 | 418.9643 | 0.996 | 420.2018 | 0.5521 | 436.505
OFF | 13:57 | 3255 | 0.99 | 418.7678 | 0.9954 | 419.9657 | 0.5461 | 433.0507
OFF | 13:57 | 3260 | 0.9889 | 418.3355 | 0.9954 | 419.9657 | 0.5499 | 435.2384
OFF | 13:57 | 3265 | 0.9894 | 418.532 | 0.996 | 420.2018 | 0.5526 | 436.7929
OFF | 13:57 | 3270 | 0.9938 | 420.2613 | 0.9943 | 419.5328 | 0.5483 | 434.3173
OFF | 13:57 | 3275 | 0.9916 | 419.3966 | 0.9954 | 419.9657 | 0.5548 | 438.0594
OFF | 13:58 | 3280 | 0.9905 | 418.9643 | 0.9954 | 419.9657 | 0.5537 | 437.4261
OFF | 13:58 | 3285 | 0.991 | 419.1608 | 0.9943 | 419.5328 | 0.5488 | 434.6051
OFF | 13:58 | 3290 | 0.9927 | 419.8289 | 0.9943 | 419.5328 | 0.5412 | 430.2297
OFF | 13:58 | 3295 | 0.9905 | 418.9643 | 0.9943 | 419.5328 | 0.5444 | 432.072
OFF | 13:58 | 3300 | 0.9921 | 419.5931 | 0.9965 | 420.3986 | 0.5412 | 430.2297
OFF | 13:58 | 3305 | 0.9938 | 420.2613 | 0.9938 | 419.336 | 0.5483 | 434.3173
OFF | 13:58 | 3310 | 0.99 | 418.7678 | 0.9932 | 419.0999 | 0.5521 | 436.505
OFF | 13:58 | 3315 | 0.99 | 418.7678 | 0.9976 | 420.8315 | 0.5477 | 433.9718
OFF | 13:58 | 3320 | 0.9905 | 418.9643 | 0.9971 | 420.6347 | 0.5483 | 434.3173
OFF | 13:58 | 3325 | 0.99 | 418.7678 | 0.9954 | 419.9657 | 0.5494 | 434.9506
OFF | 13:58 | 3330 | 0.991 | 419.1608 | 0.9971 | 420.6347 | 0.5477 | 433.9718
OFF | 13:58 | 3335 | 0.9878 | 417.9032 | 0.9949 | 419.7689 | 0.545 | 432.4174
OFF | 13:59 | 3340 | 0.9856 | 417.0385 | 0.9949 | 419.7689 | 0.5379 | 428.3298
OFF | 13:59 | 3345 | 0.9834 | 416.1739 | 0.9954 | 419.9657 | 0.5423 | 430.863
OFF | 13:59 | 3350 | 0.9818 | 415.545 | 1.0064 | 424.2947 | 0.5423 | 430.863
OFF | 13:59 | 3355 | 0.979 | 414.4446 | 0.9965 | 420.3986 | 0.5352 | 426.7753
OFF | 13:59 | 3360 | 0.9818 | 415.545 | 0.9998 | 421.6973 | 0.5444 | 432.072
OFF | 13:59 | 3365 | 0.979 | 414.4446 | 0.9932 | 419.0999 | 0.545 | 432.4174
OFF | 13:59 | 3370 | 0.9801 | 414.8769 | 0.9949 | 419.7689 | 0.5423 | 430.863
OFF | 13:59 | 3375 | 0.9768 | 413.5799 | 0.9927 | 418.9032 | 0.5428 | 431.1508
OFF | 13:59 | 3380 | 0.9785 | 414.2481 | 0.9927 | 418.9032 | 0.5455 | 432.7052
OFF | 13:59 | 3385 | 0.9768 | 413.5799 | 0.9954 | 419.9657 | 0.5412 | 430.2297
OFF | 13:59 | 3390 | 0.9752 | 412.9511 | 0.9943 | 419.5328 | 0.5526 | 436.7929
OFF | 14:00 | 3395 | 0.9785 | 414.2481 | 0.9927 | 418.9032 | 0.5499 | 435.2384
OFF | 14:00 | 3400 | 0.9785 | 414.2481 | 0.99 | 417.8406 | 0.5494 | 434.9506
OFF | 14:00 | 3405 | 0.9774 | 413.8157 | 0.9894 | 417.6045 | 0.551 | 435.8717
OFF | 14:00 | 3410 | 0.9719 | 411.6541 | 0.9878 | 416.9748 | 0.5543 | 437.7716
OFF | 14:00 | 3415 | 0.9763 | 413.3834 | 0.9883 | 417.1716 | 0.5499 | 435.2384
OFF | 14:00 | 3420 | 0.9741 | 412.5188 | 0.9883 | 417.1716 | 0.5368 | 427.6965
OFF | 14:00 | 3425 | 0.9741 | 412.5188 | 0.9856 | 416.109 | 0.5472 | 433.684
OFF | 14:00 | 3430 | 0.9746 | 412.7153 | 0.9872 | 416.7387 | 0.5439 | 431.7841
OFF | 14:00 | 3435 | 0.9725 | 411.89 | 0.9894 | 417.6045 | 0.5412 | 430.2297
OFF | 14:00 | 3440 | 0.9741 | 412.5188 | 0.9878 | 416.9748 | 0.539 | 428.9631
OFF | 14:00 | 3445 | 0.9752 | 412.9511 | 0.9861 | 416.3058 | 0.5455 | 432.7052
OFF | 14:00 | 3450 | 0.9736 | 412.3223 | 0.9856 | 416.109 | 0.5379 | 428.3298
OFF | 14:00 | 3455 | 0.9763 | 413.3834 | 0.985 | 415.8729 | 0.5401 | 429.5964
OFF | 14:01 | 3460 | 0.9757 | 413.1476 | 0.9856 | 416.109 | 0.5346 | 426.4299
OFF | 14:01 | 3465 | 0.9774 | 413.8157 | 0.99 | 417.8406 | 0.539 | 428.9631
OFF | 14:01 | 3470 | 0.9812 | 415.3092 | 0.9889 | 417.4077 | 0.5423 | 430.863
OFF | 14:01 | 3475 | 0.973 | 412.0865 | 0.9894 | 417.6045 | 0.5466 | 433.3385
OFF | 14:01 | 3480 | 0.9725 | 411.89 | 0.9894 | 417.6045 | 0.5384 | 428.6176
OFF | 14:01 | 3485 | 0.9757 | 413.1476 | 0.9867 | 416.5419 | 0.5483 | 434.3173
OFF | 14:01 | 3490 | 0.9746 | 412.7153 | 0.9878 | 416.9748 | 0.5499 | 435.2384
OFF | 14:01 | 3495 | 0.9752 | 412.9511 | 0.9878 | 416.9748 | 0.5439 | 431.7841
OFF | 14:01 | 3500 | 0.9774 | 413.8157 | 0.9889 | 417.4077 | 0.551 | 435.8717
OFF | 14:01 | 3505 | 0.973 | 412.0865 | 0.9878 | 416.9748 | 0.551 | 435.8717
OFF | 14:01 | 3510 | 0.9746 | 412.7153 | 0.9861 | 416.3058 | 0.5466 | 433.3385
OFF | 14:01 | 3515 | 0.9741 | 412.5188 | 0.9872 | 416.7387 | 0.5428 | 431.1508
OFF | 14:02 | 3520 | 0.9746 | 412.7153 | 0.9872 | 416.7387 | 0.5472 | 433.684
OFF | 14:02 | 3525 | 0.973 | 412.0865 | 0.9867 | 416.5419 | 0.5455 | 432.7052
OFF | 14:02 | 3530 | 0.9741 | 412.5188 | 0.9861 | 416.3058 | 0.5428 | 431.1508
OFF | 14:02 | 3535 | 0.9746 | 412.7153 | 0.9845 | 415.6761 | 0.5423 | 430.863
OFF | 14:02 | 3540 | 0.9746 | 412.7153 | 0.9894 | 417.6045 | 0.5406 | 429.8842
OFF | 14:02 | 3545 | 0.9757 | 413.1476 | 0.9872 | 416.7387 | 0.5395 | 429.2509
OFF | 14:02 | 3550 | 0.9741 | 412.5188 | 0.9878 | 416.9748 | 0.5302 | 423.8967
OFF | 14:02 | 3555 | 0.973 | 412.0865 | 0.9878 | 416.9748 | 0.5352 | 426.7753
OFF | 14:02 | 3560 | 0.9807 | 415.1127 | 0.9867 | 416.5419 | 0.5455 | 432.7052
OFF | 14:02 | 3565 | 0.9746 | 412.7153 | 0.9867 | 416.5419 | 0.5423 | 430.863
OFF | 14:02 | 3570 | 0.9741 | 412.5188 | 0.9856 | 416.109 | 0.5406 | 429.8842
OFF | 14:02 | 3575 | 0.9763 | 413.3834 | 0.9883 | 417.1716 | 0.5428 | 431.1508
OFF | 14:03 | 3580 | 0.9746 | 412.7153 | 0.9878 | 416.9748 | 0.5455 | 432.7052
OFF | 14:03 | 3585 | 0.9752 | 412.9511 | 0.9883 | 417.1716 | 0.5439 | 431.7841
OFF | 14:03 | 3590 | 0.9741 | 412.5188 | 0.9883 | 417.1716 | 0.5368 | 427.6965
OFF | 14:03 | 3595 | 0.9741 | 412.5188 | 0.9889 | 417.4077 | 0.5401 | 429.5964

## CO2 Concentration Averages
| Gas Off (pre-test) |  |  |  | Gas Off (post-test)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS) |  | A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 416.9216 | 419.243 | 435.3702 | Concentration (ppm): | 417.4276 | 420.2379 | 433.9167
Gas On (steady-state)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 696.5463 | 1681.4639 | 575.1421
Standard Deviation: | 31.3646 | 345.1182 | 4.4451
Standard Deviation of Average: | 7.0133 | 77.1708 | 0.99395
95% Confidence Interval | 13.7461 | 151.2547 | 1.9481
Percent Difference
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
| 67.0689 | 301.0714 | 32.1041

## Rotometer Readings
(Reading 1)
Temperature (°C) | 31.3
Temperature (k) | 304.45
P_atm (hPa) | 981
P_atm (psi) | 14.2282
dV | 0.33
P_flow (psi) | 0.066
Reading | 84
Corresponding Flowrate (table) (lpm) | 5.66
Actual Flowrate (lpm) | 5.4861
(Reading 2)
Temperature (°C) | 32.1
Temperature (k) | 305.25
P_atm (hPa) | 981
P_atm (psi) | 14.2282
dV | 0.33
P_flow (psi) | 0.066
Reading | 84
Corresponding Flowrate (table) (lpm) | 5.66
Actual Flowrate (lpm) | 5.4789
(Reading 3)
Temperature (°C) | 32.5
Temperature (k) | 305.65
P_atm (hPa) | 981
P_atm (psi) | 14.2282
dV | 0.33
P_flow (psi) | 0.066
Reading | 85
Corresponding Flowrate (table) (lpm) | 5.73
Actual Flowrate (lpm) | 5.543