## Data & Charts
%INJECTION STATUS | TIME | TIME (s) | A-1 CO2 conc (DCV) | A-1 CO2 conc (PPM) | A-2 CO2 conc (DCV) | A-2 CO2 conc (PPM) | A-4 CO2 conc (DCV) | A-4 CO2 conc (PPM) | Helium Injection (computer) (lpm) | Sample Time (s) | Measured CO2 Injection (lpm) | Measured CO2 Injection (CFM)
OFF | 14:10 | 0 | 0.9572 | 405.8767 | 0.9692 | 409.655 | 0.5319 | 424.8755 | 3.07 | 600 | 5.0937 | 0.17988
OFF | 14:10 | 5 | 0.9577 | 406.0733 | 0.9681 | 409.2221 | 0.5335 | 425.7966 | Helium Injection (computer) (CFM) | 1500 | 5.0887 | 0.17971
OFF | 14:11 | 10 | 0.9555 | 405.2086 | 0.9664 | 408.5531 | 0.5259 | 421.4212 | 0.10842 | 2400 | 5.0862 | 0.17962
OFF | 14:11 | 15 | 0.9555 | 405.2086 | 0.9664 | 408.5531 | 0.5352 | 426.7753
OFF | 14:11 | 20 | 0.9572 | 405.8767 | 0.9659 | 408.3563 | 0.528 | 422.6302
OFF | 14:11 | 25 | 0.9539 | 404.5798 | 0.9648 | 407.9234 | 0.528 | 422.6302
OFF | 14:11 | 30 | 0.9555 | 405.2086 | 0.9659 | 408.3563 | 0.5362 | 427.3511
OFF | 14:11 | 35 | 0.9533 | 404.344 | 0.9659 | 408.3563 | 0.527 | 422.0544
OFF | 14:11 | 40 | 0.9522 | 403.9116 | 0.9697 | 409.8517 | 0.5297 | 423.6089
OFF | 14:11 | 45 | 0.9555 | 405.2086 | 0.9648 | 407.9234 | 0.5357 | 427.0632
OFF | 14:11 | 50 | 0.9533 | 404.344 | 0.9664 | 408.5531 | 0.5313 | 424.53
OFF | 14:11 | 55 | 0.9528 | 404.1474 | 0.9664 | 408.5531 | 0.5291 | 423.2635
OFF | 14:11 | 60 | 0.9544 | 404.7763 | 0.9648 | 407.9234 | 0.5357 | 427.0632
OFF | 14:11 | 65 | 0.9528 | 404.1474 | 0.9654 | 408.1595 | 0.5297 | 423.6089
OFF | 14:12 | 70 | 0.9522 | 403.9116 | 0.9675 | 408.9859 | 0.5373 | 427.9844
OFF | 14:12 | 75 | 0.9522 | 403.9116 | 0.9632 | 407.2937 | 0.5357 | 427.0632
OFF | 14:12 | 80 | 0.9577 | 406.0733 | 0.9654 | 408.1595 | 0.5362 | 427.3511
OFF | 14:12 | 85 | 0.9528 | 404.1474 | 0.9654 | 408.1595 | 0.5428 | 431.1508
OFF | 14:12 | 90 | 0.9555 | 405.2086 | 0.9648 | 407.9234 | 0.5308 | 424.2422
OFF | 14:12 | 95 | 0.9555 | 405.2086 | 0.9637 | 407.4905 | 0.5335 | 425.7966
OFF | 14:12 | 100 | 0.9528 | 404.1474 | 0.9643 | 407.7266 | 0.5423 | 430.863
OFF | 14:12 | 105 | 0.9522 | 403.9116 | 0.9643 | 407.7266 | 0.5384 | 428.6176
OFF | 14:12 | 110 | 0.9528 | 404.1474 | 0.9643 | 407.7266 | 0.5379 | 428.3298
OFF | 14:12 | 115 | 0.9511 | 403.4793 | 0.9643 | 407.7266 | 0.5384 | 428.6176
OFF | 14:12 | 120 | 0.955 | 405.0121 | 0.9648 | 407.9234 | 0.5335 | 425.7966
OFF | 14:12 | 125 | 0.955 | 405.0121 | 0.9637 | 407.4905 | 0.5368 | 427.6965
OFF | 14:13 | 130 | 0.9539 | 404.5798 | 0.9637 | 407.4905 | 0.5412 | 430.2297
OFF | 14:13 | 135 | 0.9539 | 404.5798 | 0.9654 | 408.1595 | 0.5384 | 428.6176
OFF | 14:13 | 140 | 0.955 | 405.0121 | 0.9648 | 407.9234 | 0.5335 | 425.7966
OFF | 14:13 | 145 | 0.9593 | 406.7021 | 0.9659 | 408.3563 | 0.5428 | 431.1508
OFF | 14:13 | 150 | 0.9528 | 404.1474 | 0.9643 | 407.7266 | 0.5423 | 430.863
OFF | 14:13 | 155 | 0.9517 | 403.7151 | 0.9632 | 407.2937 | 0.539 | 428.9631
OFF | 14:13 | 160 | 0.9544 | 404.7763 | 0.9659 | 408.3563 | 0.5379 | 428.3298
OFF | 14:13 | 165 | 0.9544 | 404.7763 | 0.9632 | 407.2937 | 0.5291 | 423.2635
OFF | 14:13 | 170 | 0.9522 | 403.9116 | 0.9643 | 407.7266 | 0.5384 | 428.6176
OFF | 14:13 | 175 | 0.9528 | 404.1474 | 0.9632 | 407.2937 | 0.5313 | 424.53
OFF | 14:13 | 180 | 0.9506 | 403.2828 | 0.9632 | 407.2937 | 0.5346 | 426.4299
OFF | 14:13 | 185 | 0.9572 | 405.8767 | 0.9659 | 408.3563 | 0.539 | 428.9631
OFF | 14:14 | 190 | 0.9555 | 405.2086 | 0.9632 | 407.2937 | 0.5379 | 428.3298
OFF | 14:14 | 195 | 0.9522 | 403.9116 | 0.9643 | 407.7266 | 0.5324 | 425.1633
OFF | 14:14 | 200 | 0.9539 | 404.5798 | 0.9664 | 408.5531 | 0.5379 | 428.3298
OFF | 14:14 | 205 | 0.9544 | 404.7763 | 0.9615 | 406.6247 | 0.5264 | 421.709
OFF | 14:14 | 210 | 0.955 | 405.0121 | 0.9654 | 408.1595 | 0.5335 | 425.7966
OFF | 14:14 | 215 | 0.9528 | 404.1474 | 0.9621 | 406.8608 | 0.539 | 428.9631
OFF | 14:14 | 220 | 0.9528 | 404.1474 | 0.967 | 408.7892 | 0.539 | 428.9631
OFF | 14:14 | 225 | 0.9539 | 404.5798 | 0.9637 | 407.4905 | 0.5286 | 422.9756
OFF | 14:14 | 230 | 0.9555 | 405.2086 | 0.9643 | 407.7266 | 0.5291 | 423.2635
OFF | 14:14 | 235 | 0.9577 | 406.0733 | 0.9643 | 407.7266 | 0.5335 | 425.7966
OFF | 14:14 | 240 | 0.9566 | 405.6409 | 0.9648 | 407.9234 | 0.5368 | 427.6965
OFF | 14:14 | 245 | 0.9528 | 404.1474 | 0.9659 | 408.3563 | 0.5308 | 424.2422
OFF | 14:15 | 250 | 0.9528 | 404.1474 | 0.967 | 408.7892 | 0.533 | 425.5088
OFF | 14:15 | 255 | 0.9506 | 403.2828 | 0.9664 | 408.5531 | 0.5357 | 427.0632
OFF | 14:15 | 260 | 0.9561 | 405.4444 | 0.9654 | 408.1595 | 0.5357 | 427.0632
OFF | 14:15 | 265 | 0.955 | 405.0121 | 0.9659 | 408.3563 | 0.5308 | 424.2422
OFF | 14:15 | 270 | 0.9539 | 404.5798 | 0.9643 | 407.7266 | 0.5302 | 423.8967
OFF | 14:15 | 275 | 0.9539 | 404.5798 | 0.9659 | 408.3563 | 0.5368 | 427.6965
OFF | 14:15 | 280 | 0.9577 | 406.0733 | 0.9637 | 407.4905 | 0.5384 | 428.6176
OFF | 14:15 | 285 | 0.955 | 405.0121 | 0.9643 | 407.7266 | 0.5379 | 428.3298
OFF | 14:15 | 290 | 0.9555 | 405.2086 | 0.9643 | 407.7266 | 0.5384 | 428.6176
OFF | 14:15 | 295 | 0.9561 | 405.4444 | 0.9637 | 407.4905 | 0.5384 | 428.6176
OFF | 14:15 | 300 | 0.9544 | 404.7763 | 0.9632 | 407.2937 | 0.5412 | 430.2297
OFF | 14:15 | 305 | 0.9528 | 404.1474 | 0.9648 | 407.9234 | 0.5401 | 429.5964
OFF | 14:16 | 310 | 0.9544 | 404.7763 | 0.9654 | 408.1595 | 0.5417 | 430.5175
OFF | 14:16 | 315 | 0.9572 | 405.8767 | 0.9648 | 407.9234 | 0.5373 | 427.9844
OFF | 14:16 | 320 | 0.9555 | 405.2086 | 0.9664 | 408.5531 | 0.5335 | 425.7966
OFF | 14:16 | 325 | 0.9544 | 404.7763 | 0.9648 | 407.9234 | 0.5373 | 427.9844
OFF | 14:16 | 330 | 0.9544 | 404.7763 | 0.9632 | 407.2937 | 0.5384 | 428.6176
OFF | 14:16 | 335 | 0.9577 | 406.0733 | 0.967 | 408.7892 | 0.5362 | 427.3511
OFF | 14:16 | 340 | 0.9572 | 405.8767 | 0.967 | 408.7892 | 0.5357 | 427.0632
OFF | 14:16 | 345 | 0.9588 | 406.5056 | 0.9637 | 407.4905 | 0.5357 | 427.0632
OFF | 14:16 | 350 | 0.9577 | 406.0733 | 0.9686 | 409.4188 | 0.5357 | 427.0632
OFF | 14:16 | 355 | 0.9599 | 406.9379 | 0.9681 | 409.2221 | 0.533 | 425.5088
OFF | 14:16 | 360 | 0.9588 | 406.5056 | 0.9659 | 408.3563 | 0.5395 | 429.2509
OFF | 14:16 | 365 | 0.9582 | 406.2698 | 0.9681 | 409.2221 | 0.5406 | 429.8842
OFF | 14:17 | 370 | 0.9582 | 406.2698 | 0.9654 | 408.1595 | 0.5368 | 427.6965
OFF | 14:17 | 375 | 0.9566 | 405.6409 | 0.9714 | 410.5208 | 0.5346 | 426.4299
OFF | 14:17 | 380 | 0.9572 | 405.8767 | 0.9664 | 408.5531 | 0.5417 | 430.5175
OFF | 14:17 | 385 | 0.9604 | 407.1344 | 0.967 | 408.7892 | 0.5444 | 432.072
OFF | 14:17 | 390 | 0.9582 | 406.2698 | 0.9664 | 408.5531 | 0.5406 | 429.8842
OFF | 14:17 | 395 | 0.9593 | 406.7021 | 0.9664 | 408.5531 | 0.5357 | 427.0632
OFF | 14:17 | 400 | 0.9582 | 406.2698 | 0.9681 | 409.2221 | 0.5357 | 427.0632
OFF | 14:17 | 405 | 0.9566 | 405.6409 | 0.9637 | 407.4905 | 0.5335 | 425.7966
OFF | 14:17 | 410 | 0.9588 | 406.5056 | 0.9664 | 408.5531 | 0.5384 | 428.6176
OFF | 14:17 | 415 | 0.9577 | 406.0733 | 0.9654 | 408.1595 | 0.5302 | 423.8967
OFF | 14:17 | 420 | 0.9572 | 405.8767 | 0.9675 | 408.9859 | 0.5368 | 427.6965
OFF | 14:17 | 425 | 0.9604 | 407.1344 | 0.9648 | 407.9234 | 0.5368 | 427.6965
OFF | 14:18 | 430 | 0.9572 | 405.8767 | 0.9648 | 407.9234 | 0.5346 | 426.4299
OFF | 14:18 | 435 | 0.9593 | 406.7021 | 0.9675 | 408.9859 | 0.5362 | 427.3511
OFF | 14:18 | 440 | 0.9577 | 406.0733 | 0.9659 | 408.3563 | 0.5406 | 429.8842
OFF | 14:18 | 445 | 0.9577 | 406.0733 | 0.9659 | 408.3563 | 0.5357 | 427.0632
OFF | 14:18 | 450 | 0.9582 | 406.2698 | 0.9654 | 408.1595 | 0.5357 | 427.0632
OFF | 14:18 | 455 | 0.9577 | 406.0733 | 0.967 | 408.7892 | 0.5352 | 426.7753
OFF | 14:18 | 460 | 0.9588 | 406.5056 | 0.9659 | 408.3563 | 0.5412 | 430.2297
OFF | 14:18 | 465 | 0.9582 | 406.2698 | 0.9659 | 408.3563 | 0.5412 | 430.2297
OFF | 14:18 | 470 | 0.9599 | 406.9379 | 0.9675 | 408.9859 | 0.5434 | 431.4962
OFF | 14:18 | 475 | 0.9599 | 406.9379 | 0.9626 | 407.0576 | 0.5439 | 431.7841
OFF | 14:18 | 480 | 0.961 | 407.3702 | 0.9664 | 408.5531 | 0.539 | 428.9631
OFF | 14:18 | 485 | 0.9593 | 406.7021 | 0.9643 | 407.7266 | 0.5352 | 426.7753
OFF | 14:19 | 490 | 0.9599 | 406.9379 | 0.9659 | 408.3563 | 0.5373 | 427.9844
OFF | 14:19 | 495 | 0.9588 | 406.5056 | 0.9637 | 407.4905 | 0.5362 | 427.3511
OFF | 14:19 | 500 | 0.9561 | 405.4444 | 0.9637 | 407.4905 | 0.5308 | 424.2422
OFF | 14:19 | 505 | 0.9572 | 405.8767 | 0.9654 | 408.1595 | 0.527 | 422.0544
OFF | 14:19 | 510 | 0.9555 | 405.2086 | 0.9632 | 407.2937 | 0.5346 | 426.4299
OFF | 14:19 | 515 | 0.9582 | 406.2698 | 0.9697 | 409.8517 | 0.5291 | 423.2635
OFF | 14:19 | 520 | 0.9566 | 405.6409 | 0.967 | 408.7892 | 0.5302 | 423.8967
OFF | 14:19 | 525 | 0.9555 | 405.2086 | 0.9643 | 407.7266 | 0.5319 | 424.8755
OFF | 14:19 | 530 | 0.9593 | 406.7021 | 0.9659 | 408.3563 | 0.533 | 425.5088
OFF | 14:19 | 535 | 0.9566 | 405.6409 | 0.9648 | 407.9234 | 0.5341 | 426.1421
OFF | 14:19 | 540 | 0.9555 | 405.2086 | 0.9664 | 408.5531 | 0.5352 | 426.7753
OFF | 14:19 | 545 | 0.9577 | 406.0733 | 0.9654 | 408.1595 | 0.5406 | 429.8842
OFF | 14:20 | 550 | 0.9577 | 406.0733 | 0.9637 | 407.4905 | 0.5373 | 427.9844
OFF | 14:20 | 555 | 0.9577 | 406.0733 | 0.9648 | 407.9234 | 0.5357 | 427.0632
OFF | 14:20 | 560 | 0.9561 | 405.4444 | 0.9637 | 407.4905 | 0.5379 | 428.3298
OFF | 14:20 | 565 | 0.9604 | 407.1344 | 0.967 | 408.7892 | 0.5384 | 428.6176
OFF | 14:20 | 570 | 0.9599 | 406.9379 | 0.9659 | 408.3563 | 0.5373 | 427.9844
OFF | 14:20 | 575 | 0.9604 | 407.1344 | 0.967 | 408.7892 | 0.5335 | 425.7966
OFF | 14:20 | 580 | 0.9604 | 407.1344 | 0.9648 | 407.9234 | 0.5362 | 427.3511
OFF | 14:20 | 585 | 0.9588 | 406.5056 | 0.9637 | 407.4905 | 0.5357 | 427.0632
OFF | 14:20 | 590 | 0.9593 | 406.7021 | 0.967 | 408.7892 | 0.5352 | 426.7753
OFF | 14:20 | 595 | 0.9572 | 405.8767 | 0.9648 | 407.9234 | 0.5434 | 431.4962
ON | 14:20 | 600 | 0.9588 | 406.5056 | 0.9664 | 408.5531 | 0.5434 | 431.4962
ON | 14:20 | 605 | 0.9588 | 406.5056 | 0.9648 | 407.9234 | 0.5423 | 430.863
ON | 14:21 | 610 | 0.9593 | 406.7021 | 1.0189 | 429.2139 | 0.5379 | 428.3298
ON | 14:21 | 615 | 0.9615 | 407.5667 | 0.9883 | 417.1716 | 0.5395 | 429.2509
ON | 14:21 | 620 | 0.9604 | 407.1344 | 4.3654 | 1746.1955 | 0.5346 | 426.4299
ON | 14:21 | 625 | 0.9626 | 407.999 | 5.0159 | 2002.1933 | 0.5362 | 427.3511
ON | 14:21 | 630 | 0.9621 | 407.8026 | 5.011 | 2000.265 | 0.5406 | 429.8842
ON | 14:21 | 635 | 0.9615 | 407.5667 | 2.7665 | 1116.9644 | 0.5362 | 427.3511
ON | 14:21 | 640 | 0.9643 | 408.6672 | 4.952 | 1977.0461 | 0.539 | 428.9631
ON | 14:21 | 645 | 0.9654 | 409.0995 | 3.7341 | 1497.7538 | 0.5406 | 429.8842
ON | 14:21 | 650 | 0.9883 | 418.0997 | 5.0137 | 2001.3275 | 0.5406 | 429.8842
ON | 14:21 | 655 | 1.0867 | 456.7728 | 4.9077 | 1959.6123 | 0.5352 | 426.7753
ON | 14:21 | 660 | 1.3895 | 575.7793 | 2.4396 | 988.3162 | 0.5434 | 431.4962
ON | 14:21 | 665 | 1.1993 | 501.0269 | 5.0115 | 2000.4617 | 0.5401 | 429.5964
ON | 14:22 | 670 | 1.2015 | 501.8916 | 4.425 | 1769.6506 | 0.5466 | 433.3385
ON | 14:22 | 675 | 1.1321 | 474.6159 | 3.98 | 1594.5252 | 0.5543 | 437.7716
ON | 14:22 | 680 | 1.1518 | 482.3585 | 3.5214 | 1414.0477 | 0.5592 | 440.5926
ON | 14:22 | 685 | 1.1386 | 477.1706 | 4.9798 | 1987.9866 | 0.5603 | 441.2259
ON | 14:22 | 690 | 1.1813 | 493.9525 | 5.0126 | 2000.8946 | 0.5718 | 447.8467
ON | 14:22 | 695 | 1.2327 | 514.1538 | 5.0143 | 2001.5636 | 0.5811 | 453.2009
ON | 14:22 | 700 | 1.1703 | 489.6293 | 3.8182 | 1530.8505 | 0.5772 | 450.9556
ON | 14:22 | 705 | 1.1474 | 480.6292 | 5.0115 | 2000.4617 | 0.5882 | 457.2885
ON | 14:22 | 710 | 1.2452 | 519.0665 | 4.7399 | 1893.5763 | 0.5953 | 461.3761
ON | 14:22 | 715 | 1.3584 | 563.5564 | 5.0093 | 1999.596 | 0.6035 | 466.097
ON | 14:22 | 720 | 1.2365 | 515.6472 | 5.0132 | 2001.1307 | 0.6133 | 471.7391
ON | 14:22 | 725 | 1.2594 | 524.6474 | 4.9984 | 1995.3064 | 0.6226 | 477.0933
ON | 14:23 | 730 | 1.2747 | 530.6606 | 4.3211 | 1728.7618 | 0.6303 | 481.5263
ON | 14:23 | 735 | 1.36 | 564.1852 | 5.0099 | 1999.8321 | 0.645 | 489.9894
ON | 14:23 | 740 | 1.2529 | 522.0928 | 5.0121 | 2000.6979 | 0.6565 | 496.6102
ON | 14:23 | 745 | 1.2502 | 521.0316 | 3.9549 | 1584.6474 | 0.656 | 496.3223
ON | 14:23 | 750 | 1.2873 | 535.6126 | 5.0115 | 2000.4617 | 0.6663 | 502.2522
ON | 14:23 | 755 | 1.3267 | 551.0976 | 4.8803 | 1948.8293 | 0.6756 | 507.6064
ON | 14:23 | 760 | 1.3289 | 551.9623 | 5.0115 | 2000.4617 | 0.6817 | 511.1183
ON | 14:23 | 765 | 1.3868 | 574.7182 | 5.0126 | 2000.8946 | 0.6964 | 519.5814
ON | 14:23 | 770 | 1.3256 | 550.6653 | 5.005 | 1997.9037 | 0.7166 | 531.211
ON | 14:23 | 775 | 1.4191 | 587.4127 | 5.0126 | 2000.8946 | 0.7183 | 532.1897
ON | 14:23 | 780 | 1.342 | 557.1108 | 5.0154 | 2001.9965 | 0.7243 | 535.644
ON | 14:23 | 785 | 1.3272 | 551.2942 | 5.0121 | 2000.6979 | 0.7265 | 536.9106
ON | 14:24 | 790 | 1.4191 | 587.4127 | 4.5157 | 1805.3445 | 0.7325 | 540.3649
ON | 14:24 | 795 | 1.3841 | 573.657 | 5.011 | 2000.265 | 0.7407 | 545.0858
ON | 14:24 | 800 | 1.3906 | 576.2116 | 5.0126 | 2000.8946 | 0.7412 | 545.3736
ON | 14:24 | 805 | 1.3753 | 570.1984 | 4.5043 | 1800.8583 | 0.7511 | 551.0733
ON | 14:24 | 810 | 1.3447 | 558.172 | 4.6956 | 1876.1424 | 0.7554 | 553.5489
ON | 14:24 | 815 | 1.3824 | 572.9889 | 5.0126 | 2000.8946 | 0.7593 | 555.7942
ON | 14:24 | 820 | 1.5251 | 629.0728 | 4.2353 | 1694.996 | 0.7702 | 562.0695
ON | 14:24 | 825 | 1.3475 | 559.2724 | 3.4427 | 1383.0761 | 0.7773 | 566.1572
ON | 14:24 | 830 | 1.3578 | 563.3206 | 4.929 | 1967.9946 | 0.7746 | 564.6027
ON | 14:24 | 835 | 1.4633 | 604.7842 | 5.0143 | 2001.5636 | 0.7828 | 569.3236
ON | 14:24 | 840 | 1.4223 | 588.6703 | 4.5524 | 1819.7875 | 0.7893 | 573.0658
ON | 14:24 | 845 | 1.4491 | 599.2033 | 3.5405 | 1421.5643 | 0.7943 | 575.9444
ON | 14:25 | 850 | 1.412 | 584.6222 | 5.0077 | 1998.9662 | 0.7932 | 575.3111
ON | 14:25 | 855 | 1.4699 | 607.3781 | 4.6688 | 1865.5955 | 0.7997 | 579.0533
ON | 14:25 | 860 | 1.4393 | 595.3517 | 3.5498 | 1425.2243 | 0.8036 | 581.2986
ON | 14:25 | 865 | 1.4601 | 603.5265 | 5.0132 | 2001.1307 | 0.8134 | 586.9406
ON | 14:25 | 870 | 1.5322 | 631.8632 | 5.0115 | 2000.4617 | 0.8227 | 592.2949
ON | 14:25 | 875 | 1.4595 | 603.2907 | 5.011 | 2000.265 | 0.8221 | 591.9494
ON | 14:25 | 880 | 1.4683 | 606.7493 | 4.6081 | 1841.7077 | 0.8238 | 592.9282
ON | 14:25 | 885 | 1.4644 | 605.2165 | 5.0154 | 2001.9965 | 0.8325 | 597.9369
ON | 14:25 | 890 | 1.4546 | 601.3649 | 4.7798 | 1909.2785 | 0.8303 | 596.6703
ON | 14:25 | 895 | 1.4683 | 606.7493 | 4.5376 | 1813.9631 | 0.8303 | 596.6703
ON | 14:25 | 900 | 1.5131 | 624.3566 | 5.0132 | 2001.1307 | 0.832 | 597.6491
ON | 14:25 | 905 | 1.5065 | 621.7626 | 4.8492 | 1936.5901 | 0.8336 | 598.5702
ON | 14:26 | 910 | 1.4841 | 612.959 | 4.4414 | 1776.1046 | 0.8396 | 602.0245
ON | 14:26 | 915 | 1.5699 | 646.6801 | 5.0099 | 1999.8321 | 0.8396 | 602.0245
ON | 14:26 | 920 | 1.5377 | 634.0249 | 5.0159 | 2002.1933 | 0.844 | 604.5577
ON | 14:26 | 925 | 1.4715 | 608.0069 | 3.9319 | 1575.5959 | 0.8604 | 613.9995
ON | 14:26 | 930 | 1.4945 | 617.0464 | 5.0143 | 2001.5636 | 0.856 | 611.4663
ON | 14:26 | 935 | 1.4961 | 617.6752 | 3.5897 | 1440.9265 | 0.8642 | 616.1872
ON | 14:26 | 940 | 1.4967 | 617.9111 | 5.0001 | 1995.9754 | 0.8757 | 622.808
ON | 14:26 | 945 | 1.4972 | 618.1075 | 4.7694 | 1905.1857 | 0.8845 | 627.8744
ON | 14:26 | 950 | 1.495 | 617.2429 | 5.0093 | 1999.596 | 0.8806 | 625.629
ON | 14:26 | 955 | 1.4972 | 618.1075 | 4.1036 | 1643.1668 | 0.8866 | 629.0834
ON | 14:26 | 960 | 1.4704 | 607.5746 | 3.5903 | 1441.1627 | 0.8927 | 632.5953
ON | 14:26 | 965 | 1.4606 | 603.723 | 5.0132 | 2001.1307 | 0.8845 | 627.8744
ON | 14:27 | 970 | 1.6443 | 675.9208 | 5.0154 | 2001.9965 | 0.8834 | 627.2411
ON | 14:27 | 975 | 1.571 | 647.1124 | 5.0126 | 2000.8946 | 0.8943 | 633.5164
ON | 14:27 | 980 | 1.5087 | 622.6273 | 5.0143 | 2001.5636 | 0.8828 | 626.8956
ON | 14:27 | 985 | 1.512 | 623.9242 | 5.0143 | 2001.5636 | 0.8943 | 633.5164
ON | 14:27 | 990 | 1.5328 | 632.099 | 4.3343 | 1733.9564 | 0.891 | 631.6165
ON | 14:27 | 995 | 1.518 | 626.2824 | 5.0104 | 2000.0287 | 0.8932 | 632.8831
ON | 14:27 | 1000 | 1.4825 | 612.3301 | 4.9153 | 1962.6031 | 0.897 | 635.0708
ON | 14:27 | 1005 | 1.5267 | 629.7016 | 5.0126 | 2000.8946 | 0.891 | 631.6165
ON | 14:27 | 1010 | 1.5071 | 621.9984 | 5.0148 | 2001.7604 | 0.8927 | 632.5953
ON | 14:27 | 1015 | 1.5322 | 631.8632 | 4.3698 | 1747.9271 | 0.8965 | 634.783
ON | 14:27 | 1020 | 1.524 | 628.6405 | 5.0121 | 2000.6979 | 0.8899 | 630.9832
ON | 14:27 | 1025 | 1.4956 | 617.4787 | 5.0115 | 2000.4617 | 0.8987 | 636.0496
ON | 14:28 | 1030 | 1.5349 | 632.9244 | 5.0148 | 2001.7604 | 0.9036 | 638.8706
ON | 14:28 | 1035 | 1.6754 | 688.1437 | 4.7475 | 1896.5671 | 0.9123 | 643.8794
ON | 14:28 | 1040 | 1.5929 | 655.7196 | 5.0115 | 2000.4617 | 0.9189 | 647.6791
ON | 14:28 | 1045 | 1.5284 | 630.3697 | 4.8333 | 1930.3329 | 0.9227 | 649.8668
ON | 14:28 | 1050 | 1.5519 | 639.6057 | 5.0115 | 2000.4617 | 0.9118 | 643.5915
ON | 14:28 | 1055 | 1.5907 | 654.8549 | 4.0402 | 1618.2164 | 0.9227 | 649.8668
ON | 14:28 | 1060 | 1.553 | 640.038 | 4.9634 | 1981.5324 | 0.9265 | 652.0546
ON | 14:28 | 1065 | 1.5513 | 639.3699 | 5.0099 | 1999.8321 | 0.92 | 648.3124
ON | 14:28 | 1070 | 1.5202 | 627.147 | 5.0121 | 2000.6979 | 0.9271 | 652.4
ON | 14:28 | 1075 | 1.4989 | 618.7757 | 5.0115 | 2000.4617 | 0.9238 | 650.5001
ON | 14:28 | 1080 | 1.5235 | 628.444 | 4.5228 | 1808.1387 | 0.9205 | 648.6002
ON | 14:28 | 1085 | 1.518 | 626.2824 | 5.0104 | 2000.0287 | 0.9353 | 657.1209
ON | 14:29 | 1090 | 1.5535 | 640.2346 | 5.0115 | 2000.4617 | 0.9255 | 651.4788
ON | 14:29 | 1095 | 1.495 | 617.2429 | 5.0132 | 2001.1307 | 0.9238 | 650.5001
ON | 14:29 | 1100 | 1.518 | 626.2824 | 4.8065 | 1919.786 | 0.9402 | 659.9419
ON | 14:29 | 1105 | 1.676 | 688.3795 | 3.6089 | 1448.4825 | 0.9375 | 658.3875
ON | 14:29 | 1110 | 1.594 | 656.1519 | 3.4525 | 1386.9329 | 0.9408 | 660.2874
ON | 14:29 | 1115 | 1.5349 | 632.9244 | 5.0126 | 2000.8946 | 0.932 | 655.221
ON | 14:29 | 1120 | 1.5349 | 632.9244 | 5.0115 | 2000.4617 | 0.9156 | 645.7792
ON | 14:29 | 1125 | 1.5426 | 635.9507 | 3.3662 | 1352.9703 | 0.9282 | 653.0333
ON | 14:29 | 1130 | 1.518 | 626.2824 | 5.0077 | 1998.9662 | 0.9298 | 653.9544
ON | 14:29 | 1135 | 1.6306 | 670.5364 | 5.0137 | 2001.3275 | 0.9287 | 653.3211
ON | 14:29 | 1140 | 1.5798 | 650.571 | 4.2741 | 1710.2652 | 0.9304 | 654.2999
ON | 14:29 | 1145 | 1.524 | 628.6405 | 5.0115 | 2000.4617 | 0.9353 | 657.1209
ON | 14:30 | 1150 | 1.5634 | 644.1255 | 4.5442 | 1816.5604 | 0.9326 | 655.5665
ON | 14:30 | 1155 | 1.5667 | 645.4224 | 5.0115 | 2000.4617 | 0.9468 | 663.7417
ON | 14:30 | 1160 | 1.5147 | 624.9854 | 5.0126 | 2000.8946 | 0.9369 | 658.0421
ON | 14:30 | 1165 | 1.5978 | 657.6454 | 5.011 | 2000.265 | 0.9271 | 652.4
ON | 14:30 | 1170 | 1.582 | 651.4356 | 4.0008 | 1602.7109 | 0.9331 | 655.8543
ON | 14:30 | 1175 | 1.5196 | 626.9112 | 5.0137 | 2001.3275 | 0.9249 | 651.1334
ON | 14:30 | 1180 | 1.5836 | 652.0645 | 5.0115 | 2000.4617 | 0.9162 | 646.1247
ON | 14:30 | 1185 | 1.6235 | 667.746 | 4.7737 | 1906.878 | 0.9238 | 650.5001
ON | 14:30 | 1190 | 1.5885 | 653.9903 | 5.0126 | 2000.8946 | 0.9194 | 647.967
ON | 14:30 | 1195 | 1.5705 | 646.9159 | 5.0148 | 2001.7604 | 0.9107 | 642.9582
ON | 14:30 | 1200 | 1.6301 | 670.3399 | 5.011 | 2000.265 | 0.9167 | 646.4125
ON | 14:30 | 1205 | 1.4666 | 606.0811 | 5.0115 | 2000.4617 | 0.9091 | 642.0371
ON | 14:31 | 1210 | 1.4918 | 615.9852 | 4.8771 | 1947.5699 | 0.9101 | 642.6128
ON | 14:31 | 1215 | 1.5858 | 652.9291 | 5.011 | 2000.265 | 0.9085 | 641.6916
ON | 14:31 | 1220 | 1.6989 | 697.3797 | 5.0121 | 2000.6979 | 0.9151 | 645.4914
ON | 14:31 | 1225 | 1.6142 | 664.0909 | 5.0126 | 2000.8946 | 0.9036 | 638.8706
ON | 14:31 | 1230 | 1.623 | 667.5495 | 5.0028 | 1997.0379 | 0.9112 | 643.2461
ON | 14:31 | 1235 | 1.6432 | 675.4885 | 5.0154 | 2001.9965 | 0.914 | 644.8581
ON | 14:31 | 1240 | 1.6623 | 682.9951 | 5.0132 | 2001.1307 | 0.9156 | 645.7792
ON | 14:31 | 1245 | 1.6716 | 686.6502 | 5.0121 | 2000.6979 | 0.914 | 644.8581
ON | 14:31 | 1250 | 1.536 | 633.3567 | 5.0126 | 2000.8946 | 0.9096 | 642.3249
ON | 14:31 | 1255 | 1.6836 | 691.3665 | 4.4753 | 1789.4455 | 0.9156 | 645.7792
ON | 14:31 | 1260 | 1.6694 | 685.7856 | 5.0143 | 2001.5636 | 0.914 | 644.8581
ON | 14:31 | 1265 | 1.5984 | 657.8812 | 5.0143 | 2001.5636 | 0.9189 | 647.6791
ON | 14:32 | 1270 | 1.5552 | 640.9027 | 5.0115 | 2000.4617 | 0.9233 | 650.2123
ON | 14:32 | 1275 | 1.5634 | 644.1255 | 4.4993 | 1798.8905 | 0.9178 | 647.0458
ON | 14:32 | 1280 | 1.5934 | 655.9161 | 4.2397 | 1696.7275 | 0.9255 | 651.4788
ON | 14:32 | 1285 | 1.6694 | 685.7856 | 4.2238 | 1690.4703 | 0.9189 | 647.6791
ON | 14:32 | 1290 | 1.6131 | 663.6586 | 5.0126 | 2000.8946 | 0.9205 | 648.6002
ON | 14:32 | 1295 | 1.5951 | 656.5842 | 5.0148 | 2001.7604 | 0.9162 | 646.1247
ON | 14:32 | 1300 | 1.5989 | 658.0777 | 5.0115 | 2000.4617 | 0.9173 | 646.758
ON | 14:32 | 1305 | 1.5967 | 657.213 | 5.0126 | 2000.8946 | 0.9162 | 646.1247
ON | 14:32 | 1310 | 1.6312 | 670.7722 | 3.5569 | 1428.0184 | 0.9156 | 645.7792
ON | 14:32 | 1315 | 1.5923 | 655.4838 | 3.5132 | 1410.8207 | 0.9244 | 650.8456
ON | 14:32 | 1320 | 1.6847 | 691.7988 | 5.0115 | 2000.4617 | 0.9255 | 651.4788
ON | 14:32 | 1325 | 1.5934 | 655.9161 | 5.0137 | 2001.3275 | 0.932 | 655.221
ON | 14:33 | 1330 | 1.5114 | 623.6884 | 5.0154 | 2001.9965 | 0.9397 | 659.6541
ON | 14:33 | 1335 | 1.5672 | 645.6189 | 5.011 | 2000.265 | 0.9391 | 659.3087
ON | 14:33 | 1340 | 1.6328 | 671.401 | 3.0415 | 1225.1879 | 0.9342 | 656.4876
ON | 14:33 | 1345 | 1.6574 | 681.0694 | 3.0076 | 1211.8469 | 0.9468 | 663.7417
ON | 14:33 | 1350 | 1.7919 | 733.9306 | 4.9044 | 1958.3135 | 0.944 | 662.1297
ON | 14:33 | 1355 | 1.6126 | 663.462 | 5.0115 | 2000.4617 | 0.9451 | 662.763
ON | 14:33 | 1360 | 1.547 | 637.68 | 5.0115 | 2000.4617 | 0.938 | 658.6754
ON | 14:33 | 1365 | 1.5885 | 653.9903 | 3.9259 | 1573.2347 | 0.9391 | 659.3087
ON | 14:33 | 1370 | 1.5765 | 649.2741 | 5.0154 | 2001.9965 | 0.9315 | 654.9332
ON | 14:33 | 1375 | 1.5459 | 637.2476 | 5.0115 | 2000.4617 | 0.9211 | 648.9457
ON | 14:33 | 1380 | 1.5513 | 639.3699 | 4.2637 | 1706.1725 | 0.9331 | 655.8543
ON | 14:33 | 1385 | 1.6224 | 667.3137 | 5.0137 | 2001.3275 | 0.9315 | 654.9332
ON | 14:34 | 1390 | 1.5524 | 639.8022 | 4.9099 | 1960.4781 | 0.9468 | 663.7417
ON | 14:34 | 1395 | 1.6033 | 659.807 | 4.6819 | 1870.7509 | 0.9462 | 663.3963
ON | 14:34 | 1400 | 1.5339 | 632.5314 | 5.0121 | 2000.6979 | 0.9353 | 657.1209
ON | 14:34 | 1405 | 1.524 | 628.6405 | 4.9093 | 1960.2419 | 0.9473 | 664.0296
ON | 14:34 | 1410 | 1.6333 | 671.5975 | 5.0137 | 2001.3275 | 0.9397 | 659.6541
ON | 14:34 | 1415 | 1.6328 | 671.401 | 3.6291 | 1456.432 | 0.9511 | 666.2173
ON | 14:34 | 1420 | 1.6404 | 674.388 | 5.0143 | 2001.5636 | 0.95 | 665.584
ON | 14:34 | 1425 | 1.5891 | 654.2261 | 5.0115 | 2000.4617 | 0.9375 | 658.3875
ON | 14:34 | 1430 | 1.5574 | 641.7673 | 5.0121 | 2000.6979 | 0.9544 | 668.1172
ON | 14:34 | 1435 | 1.6957 | 696.122 | 5.0137 | 2001.3275 | 0.9539 | 667.8293
ON | 14:34 | 1440 | 1.7334 | 710.9389 | 5.0121 | 2000.6979 | 0.9495 | 665.2962
ON | 14:34 | 1445 | 1.565 | 644.7543 | 5.0165 | 2002.4294 | 0.9561 | 669.0959
ON | 14:35 | 1450 | 1.5781 | 649.9029 | 4.4272 | 1770.5162 | 0.9539 | 667.8293
ON | 14:35 | 1455 | 1.6497 | 678.0431 | 5.0104 | 2000.0287 | 0.95 | 665.584
ON | 14:35 | 1460 | 1.5885 | 653.9903 | 5.0148 | 2001.7604 | 0.938 | 658.6754
ON | 14:35 | 1465 | 1.6115 | 663.0297 | 5.0132 | 2001.1307 | 0.9429 | 661.4964
ON | 14:35 | 1470 | 1.6492 | 677.8466 | 5.0028 | 1997.0379 | 0.9468 | 663.7417
ON | 14:35 | 1475 | 1.5585 | 642.1997 | 5.0143 | 2001.5636 | 0.9462 | 663.3963
ON | 14:35 | 1480 | 1.6213 | 666.8813 | 5.0121 | 2000.6979 | 0.9533 | 667.4839
ON | 14:35 | 1485 | 1.6191 | 666.0167 | 5.0115 | 2000.4617 | 0.9566 | 669.3838
ON | 14:35 | 1490 | 1.6016 | 659.1389 | 5.0126 | 2000.8946 | 0.9588 | 670.6503
ON | 14:35 | 1495 | 1.5672 | 645.6189 | 5.0126 | 2000.8946 | 0.9544 | 668.1172
ON | 14:35 | 1500 | 1.5366 | 633.5925 | 5.011 | 2000.265 | 0.955 | 668.4626
ON | 14:35 | 1505 | 1.5333 | 632.2956 | 4.0998 | 1641.6713 | 0.955 | 668.4626
ON | 14:36 | 1510 | 1.5803 | 650.7675 | 5.0143 | 2001.5636 | 0.9533 | 667.4839
ON | 14:36 | 1515 | 1.6377 | 673.3268 | 5.0137 | 2001.3275 | 0.9577 | 670.017
ON | 14:36 | 1520 | 1.5863 | 653.1256 | 4.9798 | 1987.9866 | 0.9555 | 668.7505
ON | 14:36 | 1525 | 1.6858 | 692.2311 | 4.9175 | 1963.469 | 0.961 | 671.9169
ON | 14:36 | 1530 | 1.5765 | 649.2741 | 5.0143 | 2001.5636 | 0.9577 | 670.017
ON | 14:36 | 1535 | 1.5716 | 647.3482 | 5.0132 | 2001.1307 | 0.949 | 665.0083
ON | 14:36 | 1540 | 1.5617 | 643.4573 | 4.2632 | 1705.9757 | 0.9621 | 672.5502
ON | 14:36 | 1545 | 1.5776 | 649.7064 | 4.1325 | 1654.5401 | 0.9555 | 668.7505
ON | 14:36 | 1550 | 1.5672 | 645.6189 | 4.1539 | 1662.9619 | 0.9533 | 667.4839
ON | 14:36 | 1555 | 1.5513 | 639.3699 | 5.0121 | 2000.6979 | 0.944 | 662.1297
ON | 14:36 | 1560 | 1.6011 | 658.9423 | 4.3873 | 1754.814 | 0.9435 | 661.8418
ON | 14:36 | 1565 | 1.512 | 623.9242 | 5.0115 | 2000.4617 | 0.9402 | 659.9419
ON | 14:37 | 1570 | 1.4912 | 615.7494 | 4.2665 | 1707.2744 | 0.9435 | 661.8418
ON | 14:37 | 1575 | 1.6082 | 661.7327 | 5.0126 | 2000.8946 | 0.938 | 658.6754
ON | 14:37 | 1580 | 1.53 | 630.9986 | 5.0104 | 2000.0287 | 0.9424 | 661.2085
ON | 14:37 | 1585 | 1.53 | 630.9986 | 5.0132 | 2001.1307 | 0.944 | 662.1297
ON | 14:37 | 1590 | 1.5513 | 639.3699 | 5.0104 | 2000.0287 | 0.9336 | 656.1422
ON | 14:37 | 1595 | 1.6093 | 662.1651 | 5.0121 | 2000.6979 | 0.9282 | 653.0333
ON | 14:37 | 1600 | 1.5038 | 620.7015 | 4.5584 | 1822.1488 | 0.9326 | 655.5665
ON | 14:37 | 1605 | 1.5355 | 633.1602 | 4.9126 | 1961.5406 | 0.9227 | 649.8668
ON | 14:37 | 1610 | 1.5852 | 652.6933 | 5.0132 | 2001.1307 | 0.9271 | 652.4
ON | 14:37 | 1615 | 1.5727 | 647.7806 | 3.9762 | 1593.0298 | 0.9304 | 654.2999
ON | 14:37 | 1620 | 1.6246 | 668.1783 | 4.8082 | 1920.455 | 0.9205 | 648.6002
ON | 14:37 | 1625 | 1.6437 | 675.685 | 5.0115 | 2000.4617 | 0.9282 | 653.0333
ON | 14:38 | 1630 | 1.5235 | 628.444 | 4.8946 | 1954.4568 | 0.9255 | 651.4788
ON | 14:38 | 1635 | 1.5623 | 643.6931 | 4.9744 | 1985.8614 | 0.9271 | 652.4
ON | 14:38 | 1640 | 1.5503 | 638.9769 | 5.0126 | 2000.8946 | 0.9293 | 653.6666
ON | 14:38 | 1645 | 1.5557 | 641.0992 | 5.0132 | 2001.1307 | 0.9167 | 646.4125
ON | 14:38 | 1650 | 1.5738 | 648.2129 | 3.985 | 1596.4929 | 0.9233 | 650.2123
ON | 14:38 | 1655 | 1.5727 | 647.7806 | 5.0022 | 1996.8018 | 0.9216 | 649.2335
ON | 14:38 | 1660 | 1.5798 | 650.571 | 4.9716 | 1984.7595 | 0.9091 | 642.0371
ON | 14:38 | 1665 | 1.5994 | 658.2742 | 5.0137 | 2001.3275 | 0.9151 | 645.4914
ON | 14:38 | 1670 | 1.5273 | 629.9374 | 5.0132 | 2001.1307 | 0.9145 | 645.1459
ON | 14:38 | 1675 | 1.5142 | 624.7889 | 4.7071 | 1880.6681 | 0.9183 | 647.3337
ON | 14:38 | 1680 | 1.5634 | 644.1255 | 5.0154 | 2001.9965 | 0.9249 | 651.1334
ON | 14:38 | 1685 | 1.5421 | 635.7541 | 5.0115 | 2000.4617 | 0.9255 | 651.4788
ON | 14:39 | 1690 | 1.6536 | 679.5759 | 5.0121 | 2000.6979 | 0.9353 | 657.1209
ON | 14:39 | 1695 | 1.5027 | 620.2691 | 4.0861 | 1636.2798 | 0.9342 | 656.4876
ON | 14:39 | 1700 | 1.5803 | 650.7675 | 5.0126 | 2000.8946 | 0.9336 | 656.1422
ON | 14:39 | 1705 | 1.5907 | 654.8549 | 5.0159 | 2002.1933 | 0.9429 | 661.4964
ON | 14:39 | 1710 | 1.5541 | 640.4704 | 5.0121 | 2000.6979 | 0.9391 | 659.3087
ON | 14:39 | 1715 | 1.5951 | 656.5842 | 5.0132 | 2001.1307 | 0.9424 | 661.2085
ON | 14:39 | 1720 | 1.5994 | 658.2742 | 5.0121 | 2000.6979 | 0.932 | 655.221
ON | 14:39 | 1725 | 1.577 | 649.4705 | 4.5458 | 1817.1902 | 0.9418 | 660.8631
ON | 14:39 | 1730 | 1.5869 | 653.3614 | 4.6825 | 1870.987 | 0.9353 | 657.1209
ON | 14:39 | 1735 | 1.5267 | 629.7016 | 4.4031 | 1761.032 | 0.9347 | 656.7755
ON | 14:39 | 1740 | 1.5464 | 637.4441 | 4.3949 | 1757.8049 | 0.9326 | 655.5665
ON | 14:39 | 1745 | 1.5956 | 656.7807 | 5.0126 | 2000.8946 | 0.9211 | 648.9457
ON | 14:40 | 1750 | 1.5852 | 652.6933 | 5.0121 | 2000.6979 | 0.9238 | 650.5001
ON | 14:40 | 1755 | 1.5891 | 654.2261 | 4.5125 | 1804.0852 | 0.9145 | 645.1459
ON | 14:40 | 1760 | 1.5989 | 658.0777 | 5.0154 | 2001.9965 | 0.9134 | 644.5126
ON | 14:40 | 1765 | 1.6175 | 665.3878 | 3.6433 | 1462.0203 | 0.9244 | 650.8456
ON | 14:40 | 1770 | 1.6443 | 675.9208 | 3.3498 | 1346.5163 | 0.9233 | 650.2123
ON | 14:40 | 1775 | 1.5415 | 635.5183 | 5.0126 | 2000.8946 | 0.9233 | 650.2123
ON | 14:40 | 1780 | 1.5442 | 636.5795 | 5.0115 | 2000.4617 | 0.9276 | 652.6879
ON | 14:40 | 1785 | 1.5366 | 633.5925 | 5.0126 | 2000.8946 | 0.9315 | 654.9332
ON | 14:40 | 1790 | 1.641 | 674.6238 | 5.0126 | 2000.8946 | 0.9244 | 650.8456
ON | 14:40 | 1795 | 1.5524 | 639.8022 | 4.894 | 1954.2208 | 0.9298 | 653.9544
ON | 14:40 | 1800 | 1.5563 | 641.335 | 5.0137 | 2001.3275 | 0.9271 | 652.4
ON | 14:40 | 1805 | 1.6213 | 666.8813 | 5.0165 | 2002.4294 | 0.9309 | 654.5877
ON | 14:41 | 1810 | 1.5344 | 632.7279 | 5.0121 | 2000.6979 | 0.9249 | 651.1334
ON | 14:41 | 1815 | 1.6246 | 668.1783 | 3.9789 | 1594.0923 | 0.9309 | 654.5877
ON | 14:41 | 1820 | 1.5967 | 657.213 | 4.5179 | 1806.2104 | 0.9347 | 656.7755
ON | 14:41 | 1825 | 1.5738 | 648.2129 | 5.0154 | 2001.9965 | 0.938 | 658.6754
ON | 14:41 | 1830 | 1.541 | 635.3218 | 5.011 | 2000.265 | 0.9402 | 659.9419
ON | 14:41 | 1835 | 1.6115 | 663.0297 | 5.0126 | 2000.8946 | 0.9418 | 660.8631
ON | 14:41 | 1840 | 1.5541 | 640.4704 | 3.1967 | 1286.2654 | 0.9495 | 665.2962
ON | 14:41 | 1845 | 1.5699 | 646.6801 | 4.9301 | 1968.4275 | 0.9424 | 661.2085
ON | 14:41 | 1850 | 1.5404 | 635.086 | 5.0143 | 2001.5636 | 0.9358 | 657.4088
ON | 14:41 | 1855 | 1.5202 | 627.147 | 5.0126 | 2000.8946 | 0.9424 | 661.2085
ON | 14:41 | 1860 | 1.5634 | 644.1255 | 3.358 | 1349.7433 | 0.938 | 658.6754
ON | 14:41 | 1865 | 1.6049 | 660.4358 | 5.0115 | 2000.4617 | 0.9522 | 666.8506
ON | 14:42 | 1870 | 1.6705 | 686.2179 | 5.0148 | 2001.7604 | 0.9511 | 666.2173
ON | 14:42 | 1875 | 1.5595 | 642.5927 | 5.011 | 2000.265 | 0.9473 | 664.0296
ON | 14:42 | 1880 | 1.606 | 660.8681 | 5.0132 | 2001.1307 | 0.9495 | 665.2962
ON | 14:42 | 1885 | 1.5738 | 648.2129 | 5.011 | 2000.265 | 0.95 | 665.584
ON | 14:42 | 1890 | 1.6175 | 665.3878 | 4.9908 | 1992.3154 | 0.949 | 665.0083
ON | 14:42 | 1895 | 1.594 | 656.1519 | 4.5272 | 1809.8704 | 0.9522 | 666.8506
ON | 14:42 | 1900 | 1.5257 | 629.3086 | 4.9897 | 1991.8825 | 0.949 | 665.0083
ON | 14:42 | 1905 | 1.665 | 684.0563 | 4.8137 | 1922.6196 | 0.9495 | 665.2962
ON | 14:42 | 1910 | 1.9001 | 776.4553 | 5.0017 | 1996.605 | 0.9435 | 661.8418
ON | 14:42 | 1915 | 1.7859 | 731.5724 | 5.0132 | 2001.1307 | 0.9561 | 669.0959
ON | 14:42 | 1920 | 1.6005 | 658.7065 | 5.0148 | 2001.7604 | 0.9604 | 671.5715
ON | 14:42 | 1925 | 1.6 | 658.51 | 5.0121 | 2000.6979 | 0.9528 | 667.196
ON | 14:43 | 1930 | 1.6016 | 659.1389 | 5.017 | 2002.6263 | 0.9582 | 670.3049
ON | 14:43 | 1935 | 1.5781 | 649.9029 | 3.6209 | 1453.205 | 0.9604 | 671.5715
ON | 14:43 | 1940 | 1.6486 | 677.6108 | 5.0121 | 2000.6979 | 0.9539 | 667.8293
ON | 14:43 | 1945 | 1.6618 | 682.7986 | 5.0115 | 2000.4617 | 0.9599 | 671.2836
ON | 14:43 | 1950 | 1.6399 | 674.1915 | 5.0126 | 2000.8946 | 0.949 | 665.0083
ON | 14:43 | 1955 | 1.6044 | 660.2393 | 5.0121 | 2000.6979 | 0.9468 | 663.7417
ON | 14:43 | 1960 | 1.5415 | 635.5183 | 4.742 | 1894.4027 | 0.944 | 662.1297
ON | 14:43 | 1965 | 1.6033 | 659.807 | 5.011 | 2000.265 | 0.9544 | 668.1172
ON | 14:43 | 1970 | 1.5699 | 646.6801 | 5.011 | 2000.265 | 0.9582 | 670.3049
ON | 14:43 | 1975 | 1.588 | 653.7938 | 4.8486 | 1936.354 | 0.9533 | 667.4839
ON | 14:43 | 1980 | 1.6399 | 674.1915 | 4.3616 | 1744.7 | 0.9386 | 659.0208
ON | 14:43 | 1985 | 1.8252 | 747.0181 | 5.0137 | 2001.3275 | 0.9429 | 661.4964
ON | 14:44 | 1990 | 1.6629 | 683.2309 | 4.3118 | 1725.1018 | 0.9358 | 657.4088
ON | 14:44 | 1995 | 1.6022 | 659.3747 | 5.0132 | 2001.1307 | 0.9397 | 659.6541
ON | 14:44 | 2000 | 1.5912 | 655.0514 | 5.0132 | 2001.1307 | 0.9429 | 661.4964
ON | 14:44 | 2005 | 1.5869 | 653.3614 | 5.0132 | 2001.1307 | 0.9451 | 662.763
ON | 14:44 | 2010 | 1.6306 | 670.5364 | 4.2719 | 1709.3996 | 0.9479 | 664.375
ON | 14:44 | 2015 | 1.5328 | 632.099 | 5.0159 | 2002.1933 | 0.9418 | 660.8631
ON | 14:44 | 2020 | 1.6142 | 664.0909 | 5.0126 | 2000.8946 | 0.9413 | 660.5752
ON | 14:44 | 2025 | 1.6038 | 660.0035 | 3.6417 | 1461.3906 | 0.9517 | 666.5627
ON | 14:44 | 2030 | 1.5841 | 652.261 | 5.0148 | 2001.7604 | 0.9506 | 665.9294
ON | 14:44 | 2035 | 1.5989 | 658.0777 | 5.0121 | 2000.6979 | 0.949 | 665.0083
ON | 14:44 | 2040 | 1.559 | 642.3962 | 5.0104 | 2000.0287 | 0.9446 | 662.4751
ON | 14:44 | 2045 | 1.5114 | 623.6884 | 5.0159 | 2002.1933 | 0.9451 | 662.763
ON | 14:45 | 2050 | 1.5918 | 655.2872 | 3.6072 | 1447.8135 | 0.9353 | 657.1209
ON | 14:45 | 2055 | 1.5994 | 658.2742 | 5.0115 | 2000.4617 | 0.9293 | 653.6666
ON | 14:45 | 2060 | 1.5814 | 651.1998 | 4.4299 | 1771.5789 | 0.9326 | 655.5665
ON | 14:45 | 2065 | 1.6076 | 661.4969 | 3.9248 | 1572.8018 | 0.9265 | 652.0546
ON | 14:45 | 2070 | 1.5749 | 648.6452 | 5.011 | 2000.265 | 0.9282 | 653.0333
ON | 14:45 | 2075 | 1.5497 | 638.7411 | 5.0126 | 2000.8946 | 0.9315 | 654.9332
ON | 14:45 | 2080 | 1.6 | 658.51 | 5.0083 | 1999.2023 | 0.9298 | 653.9544
ON | 14:45 | 2085 | 1.6011 | 658.9423 | 5.0132 | 2001.1307 | 0.9331 | 655.8543
ON | 14:45 | 2090 | 1.5973 | 657.4489 | 4.0555 | 1624.2375 | 0.9353 | 657.1209
ON | 14:45 | 2095 | 1.5727 | 647.7806 | 5.011 | 2000.265 | 0.9386 | 659.0208
ON | 14:45 | 2100 | 1.5481 | 638.1123 | 5.0132 | 2001.1307 | 0.9347 | 656.7755
ON | 14:45 | 2105 | 1.5623 | 643.6931 | 5.0121 | 2000.6979 | 0.9364 | 657.7542
ON | 14:46 | 2110 | 1.553 | 640.038 | 5.0132 | 2001.1307 | 0.9304 | 654.2999
ON | 14:46 | 2115 | 1.5486 | 638.3088 | 3.8106 | 1527.8595 | 0.9298 | 653.9544
ON | 14:46 | 2120 | 1.5623 | 643.6931 | 5.0072 | 1998.7694 | 0.9408 | 660.2874
ON | 14:46 | 2125 | 1.5759 | 649.0382 | 5.0143 | 2001.5636 | 0.9326 | 655.5665
ON | 14:46 | 2130 | 1.5934 | 655.9161 | 5.0121 | 2000.6979 | 0.9353 | 657.1209
ON | 14:46 | 2135 | 1.5994 | 658.2742 | 3.7488 | 1503.5388 | 0.9462 | 663.3963
ON | 14:46 | 2140 | 1.5984 | 657.8812 | 5.011 | 2000.265 | 0.9539 | 667.8293
ON | 14:46 | 2145 | 1.5984 | 657.8812 | 4.2129 | 1686.1807 | 0.9446 | 662.4751
ON | 14:46 | 2150 | 1.5989 | 658.0777 | 5.0165 | 2002.4294 | 0.9479 | 664.375
ON | 14:46 | 2155 | 1.6005 | 658.7065 | 5.0121 | 2000.6979 | 0.9451 | 662.763
ON | 14:46 | 2160 | 1.5902 | 654.6584 | 5.0159 | 2002.1933 | 0.9506 | 665.9294
ON | 14:46 | 2165 | 1.5727 | 647.7806 | 5.0121 | 2000.6979 | 0.9451 | 662.763
ON | 14:47 | 2170 | 1.5131 | 624.3566 | 4.6617 | 1862.8013 | 0.9468 | 663.7417
ON | 14:47 | 2175 | 1.5508 | 639.1734 | 4.9503 | 1976.3771 | 0.9375 | 658.3875
ON | 14:47 | 2180 | 1.518 | 626.2824 | 5.0132 | 2001.1307 | 0.9298 | 653.9544
ON | 14:47 | 2185 | 1.5169 | 625.85 | 5.0115 | 2000.4617 | 0.938 | 658.6754
ON | 14:47 | 2190 | 1.5945 | 656.3484 | 5.0066 | 1998.5333 | 0.9287 | 653.3211
ON | 14:47 | 2195 | 1.5863 | 653.1256 | 5.0132 | 2001.1307 | 0.9298 | 653.9544
ON | 14:47 | 2200 | 1.5508 | 639.1734 | 5.0126 | 2000.8946 | 0.9309 | 654.5877
ON | 14:47 | 2205 | 1.6623 | 682.9951 | 5.0099 | 1999.8321 | 0.9255 | 651.4788
ON | 14:47 | 2210 | 1.7219 | 706.4191 | 4.9197 | 1964.3348 | 0.9238 | 650.5001
ON | 14:47 | 2215 | 1.6377 | 673.3268 | 5.0126 | 2000.8946 | 0.9189 | 647.6791
ON | 14:47 | 2220 | 1.5448 | 636.8153 | 5.0143 | 2001.5636 | 0.9162 | 646.1247
ON | 14:47 | 2225 | 1.5628 | 643.8897 | 5.0126 | 2000.8946 | 0.9238 | 650.5001
ON | 14:48 | 2230 | 1.5601 | 642.8285 | 5.0126 | 2000.8946 | 0.914 | 644.8581
ON | 14:48 | 2235 | 1.5749 | 648.6452 | 5.0132 | 2001.1307 | 0.9244 | 650.8456
ON | 14:48 | 2240 | 1.4983 | 618.5399 | 5.0143 | 2001.5636 | 0.9238 | 650.5001
ON | 14:48 | 2245 | 1.541 | 635.3218 | 5.0115 | 2000.4617 | 0.9167 | 646.4125
ON | 14:48 | 2250 | 1.5787 | 650.1387 | 5.0132 | 2001.1307 | 0.9309 | 654.5877
ON | 14:48 | 2255 | 1.6115 | 663.0297 | 3.1606 | 1272.0585 | 0.9265 | 652.0546
ON | 14:48 | 2260 | 1.5371 | 633.789 | 5.0165 | 2002.4294 | 0.9326 | 655.5665
ON | 14:48 | 2265 | 1.5421 | 635.7541 | 4.2298 | 1692.8316 | 0.9402 | 659.9419
ON | 14:48 | 2270 | 1.6656 | 684.2921 | 3.7789 | 1515.3843 | 0.9331 | 655.8543
ON | 14:48 | 2275 | 1.6585 | 681.5017 | 4.9749 | 1986.0581 | 0.9309 | 654.5877
ON | 14:48 | 2280 | 1.6421 | 675.0561 | 5.0154 | 2001.9965 | 0.9298 | 653.9544
ON | 14:48 | 2285 | 1.682 | 690.7377 | 5.011 | 2000.265 | 0.9386 | 659.0208
ON | 14:49 | 2290 | 1.7317 | 710.2707 | 5.0121 | 2000.6979 | 0.9326 | 655.5665
ON | 14:49 | 2295 | 1.582 | 651.4356 | 5.0126 | 2000.8946 | 0.9435 | 661.8418
ON | 14:49 | 2300 | 1.6 | 658.51 | 5.0132 | 2001.1307 | 0.9386 | 659.0208
ON | 14:49 | 2305 | 1.6328 | 671.401 | 5.0115 | 2000.4617 | 0.9402 | 659.9419
ON | 14:49 | 2310 | 1.6104 | 662.5974 | 5.0186 | 2003.2558 | 0.9375 | 658.3875
ON | 14:49 | 2315 | 1.6476 | 677.2178 | 4.4726 | 1788.383 | 0.9364 | 657.7542
ON | 14:49 | 2320 | 1.5951 | 656.5842 | 5.0154 | 2001.9965 | 0.9347 | 656.7755
ON | 14:49 | 2325 | 1.5825 | 651.6321 | 4.8465 | 1935.5276 | 0.9309 | 654.5877
ON | 14:49 | 2330 | 1.594 | 656.1519 | 4.0342 | 1615.8551 | 0.9293 | 653.6666
ON | 14:49 | 2335 | 1.6886 | 693.3315 | 3.5985 | 1444.3897 | 0.9244 | 650.8456
ON | 14:49 | 2340 | 1.5727 | 647.7806 | 3.3826 | 1359.4244 | 0.9189 | 647.6791
ON | 14:49 | 2345 | 1.6481 | 677.4143 | 5.0132 | 2001.1307 | 0.9156 | 645.7792
ON | 14:50 | 2350 | 1.6279 | 669.4753 | 4.273 | 1709.8323 | 0.9173 | 646.758
ON | 14:50 | 2355 | 1.6339 | 671.8334 | 3.2454 | 1305.4307 | 0.9091 | 642.0371
ON | 14:50 | 2360 | 1.6514 | 678.7112 | 4.4966 | 1797.828 | 0.9129 | 644.2248
ON | 14:50 | 2365 | 1.6497 | 678.0431 | 5.0137 | 2001.3275 | 0.9162 | 646.1247
ON | 14:50 | 2370 | 1.5792 | 650.3352 | 5.0132 | 2001.1307 | 0.9238 | 650.5001
ON | 14:50 | 2375 | 1.5585 | 642.1997 | 5.0143 | 2001.5636 | 0.9331 | 655.8543
ON | 14:50 | 2380 | 1.5295 | 630.8021 | 5.0137 | 2001.3275 | 0.9244 | 650.8456
ON | 14:50 | 2385 | 1.5825 | 651.6321 | 4.114 | 1647.2595 | 0.9358 | 657.4088
ON | 14:50 | 2390 | 1.5366 | 633.5925 | 4.9771 | 1986.9239 | 0.9342 | 656.4876
ON | 14:50 | 2395 | 1.5699 | 646.6801 | 5.0132 | 2001.1307 | 0.9435 | 661.8418
OFF | 14:50 | 2400 | 1.5552 | 640.9027 | 3.9188 | 1570.4406 | 0.938 | 658.6754
OFF | 14:50 | 2405 | 1.5289 | 630.5663 | 5.0121 | 2000.6979 | 0.95 | 665.584
OFF | 14:51 | 2410 | 1.5918 | 655.2872 | 5.0115 | 2000.4617 | 0.9457 | 663.1084
OFF | 14:51 | 2415 | 1.5322 | 631.8632 | 3.6586 | 1468.0415 | 0.938 | 658.6754
OFF | 14:51 | 2420 | 1.5459 | 637.2476 | 5.0121 | 2000.6979 | 0.9364 | 657.7542
OFF | 14:51 | 2425 | 1.6022 | 659.3747 | 5.011 | 2000.265 | 0.9331 | 655.8543
OFF | 14:51 | 2430 | 1.5699 | 646.6801 | 3.2383 | 1302.6366 | 0.9238 | 650.5001
OFF | 14:51 | 2435 | 1.506 | 621.5661 | 5.0115 | 2000.4617 | 0.9331 | 655.8543
OFF | 14:51 | 2440 | 1.5497 | 638.7411 | 4.1183 | 1648.9518 | 0.9347 | 656.7755
OFF | 14:51 | 2445 | 1.5492 | 638.5446 | 2.7124 | 1095.6739 | 0.9336 | 656.1422
OFF | 14:51 | 2450 | 1.5601 | 642.8285 | 2.4309 | 984.8924 | 0.9386 | 659.0208
OFF | 14:51 | 2455 | 1.5339 | 632.5314 | 2.7676 | 1117.3973 | 0.9265 | 652.0546
OFF | 14:51 | 2460 | 1.5011 | 619.6403 | 2.3855 | 967.0257 | 0.9424 | 661.2085
OFF | 14:51 | 2465 | 1.5071 | 621.9984 | 2.4965 | 1010.7086 | 0.9353 | 657.1209
OFF | 14:52 | 2470 | 1.4994 | 618.9722 | 2.1423 | 871.3167 | 0.9342 | 656.4876
OFF | 14:52 | 2475 | 1.4546 | 601.3649 | 2.1712 | 882.6901 | 0.926 | 651.7667
OFF | 14:52 | 2480 | 1.4814 | 611.8978 | 1.9963 | 813.8599 | 0.9222 | 649.579
OFF | 14:52 | 2485 | 1.4562 | 601.9937 | 1.9471 | 794.4977 | 0.9216 | 649.2335
OFF | 14:52 | 2490 | 1.4212 | 588.238 | 1.8668 | 762.8965 | 0.9238 | 650.5001
OFF | 14:52 | 2495 | 1.4453 | 597.7098 | 1.752 | 717.7181 | 0.9189 | 647.6791
OFF | 14:52 | 2500 | 1.3983 | 579.2379 | 1.6946 | 695.1289 | 0.908 | 641.4038
OFF | 14:52 | 2505 | 1.3901 | 576.0151 | 1.629 | 669.3126 | 0.9019 | 637.8919
OFF | 14:52 | 2510 | 1.3622 | 565.0499 | 1.5667 | 644.7951 | 0.9063 | 640.425
OFF | 14:52 | 2515 | 1.3644 | 565.9145 | 1.5344 | 632.0838 | 0.891 | 631.6165
OFF | 14:52 | 2520 | 1.3354 | 554.5169 | 1.4781 | 609.9275 | 0.8801 | 625.3412
OFF | 14:52 | 2525 | 1.3382 | 555.6174 | 1.4776 | 609.7307 | 0.8724 | 620.9081
OFF | 14:53 | 2530 | 1.3015 | 541.1935 | 1.454 | 600.4432 | 0.8511 | 608.6453
OFF | 14:53 | 2535 | 1.3097 | 544.4163 | 1.4021 | 580.0184 | 0.8517 | 608.9907
OFF | 14:53 | 2540 | 1.278 | 531.9576 | 1.442 | 595.7207 | 0.8462 | 605.8243
OFF | 14:53 | 2545 | 1.2917 | 537.3419 | 1.3852 | 573.3676 | 0.832 | 597.6491
OFF | 14:53 | 2550 | 1.2627 | 525.9443 | 1.3677 | 566.4807 | 0.8292 | 596.037
OFF | 14:53 | 2555 | 1.2545 | 522.7216 | 1.3496 | 559.3576 | 0.8118 | 586.0195
OFF | 14:53 | 2560 | 1.2665 | 527.4378 | 1.3349 | 553.5726 | 0.8079 | 583.7742
OFF | 14:53 | 2565 | 1.2398 | 516.9442 | 1.3289 | 551.2113 | 0.8036 | 581.2986
OFF | 14:53 | 2570 | 1.243 | 518.2019 | 1.2988 | 539.3657 | 0.7872 | 571.8568
OFF | 14:53 | 2575 | 1.2272 | 511.9922 | 1.2901 | 535.9419 | 0.7833 | 569.6115
OFF | 14:53 | 2580 | 1.2212 | 509.634 | 1.2819 | 532.7149 | 0.7768 | 565.8693
OFF | 14:53 | 2585 | 1.1993 | 501.0269 | 1.2622 | 524.9622 | 0.7615 | 557.0608
OFF | 14:54 | 2590 | 1.1982 | 500.5946 | 1.2491 | 519.8068 | 0.7565 | 554.1822
OFF | 14:54 | 2595 | 1.1829 | 494.5813 | 1.248 | 519.3739 | 0.7505 | 550.7279
OFF | 14:54 | 2600 | 1.1753 | 491.5944 | 1.2376 | 515.2811 | 0.7467 | 548.5401
OFF | 14:54 | 2605 | 1.1638 | 487.0747 | 1.2179 | 507.5284 | 0.739 | 544.1071
OFF | 14:54 | 2610 | 1.1512 | 482.1226 | 1.2124 | 505.3639 | 0.7308 | 539.3862
OFF | 14:54 | 2615 | 1.1441 | 479.3322 | 1.2119 | 505.1671 | 0.7314 | 539.7316
OFF | 14:54 | 2620 | 1.1501 | 481.6903 | 1.202 | 501.2711 | 0.7194 | 532.823
OFF | 14:54 | 2625 | 1.1507 | 481.9261 | 1.1999 | 500.4447 | 0.721 | 533.7441
OFF | 14:54 | 2630 | 1.1157 | 468.1704 | 1.2031 | 501.704 | 0.7046 | 524.3023
OFF | 14:54 | 2635 | 1.1201 | 469.8997 | 1.2053 | 502.5698 | 0.697 | 519.9269
OFF | 14:54 | 2640 | 1.1228 | 470.9609 | 1.1818 | 493.3216 | 0.6975 | 520.2147
OFF | 14:54 | 2645 | 1.1179 | 469.0351 | 1.1665 | 487.3004 | 0.6915 | 516.7604
OFF | 14:55 | 2650 | 1.1053 | 464.083 | 1.1627 | 485.805 | 0.6789 | 509.5063
OFF | 14:55 | 2655 | 1.0905 | 458.2663 | 1.1523 | 481.7121 | 0.6773 | 508.5851
OFF | 14:55 | 2660 | 1.0949 | 459.9956 | 1.1452 | 478.918 | 0.6702 | 504.4975
OFF | 14:55 | 2665 | 1.0905 | 458.2663 | 1.1375 | 475.8878 | 0.6653 | 501.6765
OFF | 14:55 | 2670 | 1.0873 | 457.0086 | 1.1348 | 474.8252 | 0.6653 | 501.6765
OFF | 14:55 | 2675 | 1.0889 | 457.6375 | 1.1239 | 470.5356 | 0.6527 | 494.4224
OFF | 14:55 | 2680 | 1.0698 | 450.1308 | 1.1206 | 469.2369 | 0.6505 | 493.1559
OFF | 14:55 | 2685 | 1.0752 | 452.2531 | 1.1162 | 467.5053 | 0.6467 | 490.9681
OFF | 14:55 | 2690 | 1.0818 | 454.847 | 1.1031 | 462.35 | 0.6456 | 490.3348
OFF | 14:55 | 2695 | 1.0676 | 449.2662 | 1.0998 | 461.0513 | 0.6346 | 484.0019
OFF | 14:55 | 2700 | 1.0687 | 449.6985 | 1.1009 | 461.4842 | 0.6335 | 483.3686
OFF | 14:55 | 2705 | 1.0523 | 443.2529 | 1.0911 | 457.6275 | 0.6352 | 484.3474
OFF | 14:56 | 2710 | 1.0539 | 443.8818 | 1.09 | 457.1946 | 0.6281 | 480.2597
OFF | 14:56 | 2715 | 1.0479 | 441.5236 | 1.0845 | 455.0301 | 0.6319 | 482.4475
OFF | 14:56 | 2720 | 1.0452 | 440.4625 | 1.0834 | 454.5972 | 0.6297 | 481.1809
OFF | 14:56 | 2725 | 1.0463 | 440.8948 | 1.0752 | 451.3702 | 0.6243 | 478.072
OFF | 14:56 | 2730 | 1.0452 | 440.4625 | 1.0714 | 449.8748 | 0.6215 | 476.46
OFF | 14:56 | 2735 | 1.0386 | 437.8686 | 1.0725 | 450.3076 | 0.6128 | 471.4512
OFF | 14:56 | 2740 | 1.0375 | 437.4363 | 1.067 | 448.1432 | 0.6232 | 477.4387
OFF | 14:56 | 2745 | 1.0364 | 437.0039 | 1.061 | 445.7819 | 0.6155 | 473.0056
OFF | 14:56 | 2750 | 1.0299 | 434.4493 | 1.0594 | 445.1523 | 0.61 | 469.8392
OFF | 14:56 | 2755 | 1.031 | 434.8816 | 1.0561 | 443.8536 | 0.61 | 469.8392
OFF | 14:56 | 2760 | 1.026 | 432.9165 | 1.0517 | 442.122 | 0.6079 | 468.6302
OFF | 14:56 | 2765 | 1.0184 | 429.9295 | 1.0506 | 441.6891 | 0.6018 | 465.1183
OFF | 14:57 | 2770 | 1.0206 | 430.7942 | 1.0457 | 439.7608 | 0.6018 | 465.1183
OFF | 14:57 | 2775 | 1.0217 | 431.2265 | 1.0424 | 438.4621 | 0.6024 | 465.4637
OFF | 14:57 | 2780 | 1.0129 | 427.768 | 1.0413 | 438.0292 | 0.598 | 462.9306
OFF | 14:57 | 2785 | 1.0156 | 428.8291 | 1.0392 | 437.2027 | 0.5964 | 462.0094
OFF | 14:57 | 2790 | 1.0096 | 426.471 | 1.0359 | 435.9041 | 0.5882 | 457.2885
OFF | 14:57 | 2795 | 1.0058 | 424.9775 | 1.0359 | 435.9041 | 0.5915 | 459.1884
OFF | 14:57 | 2800 | 1.0047 | 424.5452 | 1.0331 | 434.8022 | 0.5909 | 458.8429
OFF | 14:57 | 2805 | 1.0058 | 424.9775 | 1.0304 | 433.7396 | 0.5778 | 451.301
OFF | 14:57 | 2810 | 1.0124 | 427.5715 | 1.0271 | 432.4409 | 0.5822 | 453.8342
OFF | 14:57 | 2815 | 1.008 | 425.8422 | 1.026 | 432.008 | 0.5767 | 450.6677
OFF | 14:57 | 2820 | 1.0058 | 424.9775 | 1.0222 | 430.5126 | 0.5789 | 451.9343
OFF | 14:57 | 2825 | 1.002 | 423.484 | 1.0206 | 429.8829 | 0.5833 | 454.4675
OFF | 14:58 | 2830 | 1.0014 | 423.2482 | 1.0211 | 430.0797 | 0.5778 | 451.301
OFF | 14:58 | 2835 | 0.9976 | 421.7548 | 1.0228 | 430.7487 | 0.5729 | 448.48
OFF | 14:58 | 2840 | 0.9982 | 421.9906 | 1.0206 | 429.8829 | 0.5729 | 448.48
OFF | 14:58 | 2845 | 0.9987 | 422.1871 | 1.0156 | 427.9152 | 0.5778 | 451.301
OFF | 14:58 | 2850 | 0.9987 | 422.1871 | 1.0195 | 429.45 | 0.5762 | 450.3799
OFF | 14:58 | 2855 | 0.9949 | 420.6936 | 1.014 | 427.2856 | 0.5745 | 449.4012
OFF | 14:58 | 2860 | 0.9938 | 420.2613 | 1.0118 | 426.4198 | 0.5762 | 450.3799
OFF | 14:58 | 2865 | 0.9856 | 417.0385 | 1.0146 | 427.5217 | 0.5723 | 448.1346
OFF | 14:58 | 2870 | 0.9916 | 419.3966 | 1.0129 | 426.8527 | 0.5696 | 446.5801
OFF | 14:58 | 2875 | 0.9916 | 419.3966 | 1.0129 | 426.8527 | 0.5729 | 448.48
OFF | 14:58 | 2880 | 0.9894 | 418.532 | 1.0107 | 425.9869 | 0.5701 | 446.868
OFF | 14:58 | 2885 | 0.9921 | 419.5931 | 1.0124 | 426.6559 | 0.5712 | 447.5013
OFF | 14:59 | 2890 | 0.9861 | 417.235 | 1.0064 | 424.2947 | 0.5696 | 446.5801
OFF | 14:59 | 2895 | 0.9883 | 418.0997 | 1.0053 | 423.8618 | 0.5652 | 444.0469
OFF | 14:59 | 2900 | 0.9889 | 418.3355 | 1.0042 | 423.4289 | 0.563 | 442.7804
OFF | 14:59 | 2905 | 0.9889 | 418.3355 | 1.008 | 424.9243 | 0.5669 | 445.0257
OFF | 14:59 | 2910 | 0.9861 | 417.235 | 1.0053 | 423.8618 | 0.5598 | 440.9381
OFF | 14:59 | 2915 | 0.9889 | 418.3355 | 1.0036 | 423.1927 | 0.5581 | 439.9593
OFF | 14:59 | 2920 | 0.9845 | 416.6062 | 1.0025 | 422.7599 | 0.5619 | 442.1471
OFF | 14:59 | 2925 | 0.9856 | 417.0385 | 1.002 | 422.5631 | 0.5619 | 442.1471
OFF | 14:59 | 2930 | 0.9845 | 416.6062 | 1.002 | 422.5631 | 0.5592 | 440.5926
OFF | 14:59 | 2935 | 0.9845 | 416.6062 | 1.0003 | 421.8941 | 0.5516 | 436.2171
OFF | 14:59 | 2940 | 0.9839 | 416.3704 | 0.9965 | 420.3986 | 0.5608 | 441.5138
OFF | 14:59 | 2945 | 0.9818 | 415.545 | 0.9998 | 421.6973 | 0.5581 | 439.9593
OFF | 15:00 | 2950 | 0.9818 | 415.545 | 0.996 | 420.2018 | 0.5576 | 439.6715
OFF | 15:00 | 2955 | 0.9812 | 415.3092 | 0.9954 | 419.9657 | 0.5581 | 439.9593
OFF | 15:00 | 2960 | 0.9779 | 414.0123 | 0.9982 | 421.0676 | 0.5565 | 439.0382
OFF | 15:00 | 2965 | 0.9801 | 414.8769 | 0.9938 | 419.336 | 0.551 | 435.8717
OFF | 15:00 | 2970 | 0.979 | 414.4446 | 0.991 | 418.2341 | 0.5521 | 436.505
OFF | 15:00 | 2975 | 0.9746 | 412.7153 | 0.991 | 418.2341 | 0.5554 | 438.4049
OFF | 15:00 | 2980 | 0.9741 | 412.5188 | 0.99 | 417.8406 | 0.5581 | 439.9593
OFF | 15:00 | 2985 | 0.9741 | 412.5188 | 0.9905 | 418.0374 | 0.5548 | 438.0594
OFF | 15:00 | 2990 | 0.9752 | 412.9511 | 0.9894 | 417.6045 | 0.5526 | 436.7929
OFF | 15:00 | 2995 | 0.9741 | 412.5188 | 0.9883 | 417.1716 | 0.563 | 442.7804
OFF | 15:00 | 3000 | 0.9725 | 411.89 | 0.9878 | 416.9748 | 0.5592 | 440.5926
OFF | 15:00 | 3005 | 0.9719 | 411.6541 | 0.9878 | 416.9748 | 0.5543 | 437.7716
OFF | 15:01 | 3010 | 0.9725 | 411.89 | 0.9878 | 416.9748 | 0.5592 | 440.5926
OFF | 15:01 | 3015 | 0.9736 | 412.3223 | 0.9861 | 416.3058 | 0.5554 | 438.4049
OFF | 15:01 | 3020 | 0.9779 | 414.0123 | 0.9861 | 416.3058 | 0.5565 | 439.0382
OFF | 15:01 | 3025 | 0.9746 | 412.7153 | 0.9883 | 417.1716 | 0.5565 | 439.0382
OFF | 15:01 | 3030 | 0.9757 | 413.1476 | 0.9861 | 416.3058 | 0.5532 | 437.1383
OFF | 15:01 | 3035 | 0.9736 | 412.3223 | 0.985 | 415.8729 | 0.5505 | 435.5838
OFF | 15:01 | 3040 | 0.9714 | 411.4576 | 0.9878 | 416.9748 | 0.5516 | 436.2171
OFF | 15:01 | 3045 | 0.9746 | 412.7153 | 0.9861 | 416.3058 | 0.5466 | 433.3385
OFF | 15:01 | 3050 | 0.9686 | 410.3572 | 0.9856 | 416.109 | 0.545 | 432.4174
OFF | 15:01 | 3055 | 0.9692 | 410.593 | 0.9845 | 415.6761 | 0.5505 | 435.5838
OFF | 15:01 | 3060 | 0.9692 | 410.593 | 0.9823 | 414.8103 | 0.5466 | 433.3385
OFF | 15:01 | 3065 | 0.9681 | 410.1607 | 0.9856 | 416.109 | 0.5488 | 434.6051
OFF | 15:02 | 3070 | 0.9664 | 409.4925 | 0.9834 | 415.2432 | 0.5434 | 431.4962
OFF | 15:02 | 3075 | 0.9692 | 410.593 | 0.9807 | 414.1807 | 0.5395 | 429.2509
OFF | 15:02 | 3080 | 0.967 | 409.7283 | 0.9818 | 414.6136 | 0.5477 | 433.9718
OFF | 15:02 | 3085 | 0.9675 | 409.9248 | 0.9823 | 414.8103 | 0.5455 | 432.7052
OFF | 15:02 | 3090 | 0.9675 | 409.9248 | 0.9785 | 413.3149 | 0.5439 | 431.7841
OFF | 15:02 | 3095 | 0.9675 | 409.9248 | 0.9768 | 412.6459 | 0.5461 | 433.0507
OFF | 15:02 | 3100 | 0.9664 | 409.4925 | 0.979 | 413.5116 | 0.5483 | 434.3173
OFF | 15:02 | 3105 | 0.9659 | 409.296 | 0.9779 | 413.0788 | 0.5434 | 431.4962
OFF | 15:02 | 3110 | 0.9637 | 408.4314 | 0.9779 | 413.0788 | 0.5483 | 434.3173
OFF | 15:02 | 3115 | 0.9714 | 411.4576 | 0.9768 | 412.6459 | 0.5483 | 434.3173
OFF | 15:02 | 3120 | 0.9632 | 408.2349 | 0.9741 | 411.5833 | 0.5499 | 435.2384
OFF | 15:02 | 3125 | 0.9637 | 408.4314 | 0.9768 | 412.6459 | 0.5526 | 436.7929
OFF | 15:03 | 3130 | 0.9703 | 411.0253 | 0.979 | 413.5116 | 0.5554 | 438.4049
OFF | 15:03 | 3135 | 0.9686 | 410.3572 | 0.9752 | 412.0162 | 0.5444 | 432.072
OFF | 15:03 | 3140 | 0.9659 | 409.296 | 0.9801 | 413.9445 | 0.5412 | 430.2297
OFF | 15:03 | 3145 | 0.9648 | 408.8637 | 0.9774 | 412.882 | 0.5477 | 433.9718
OFF | 15:03 | 3150 | 0.967 | 409.7283 | 0.9768 | 412.6459 | 0.5444 | 432.072
OFF | 15:03 | 3155 | 0.9659 | 409.296 | 0.9757 | 412.213 | 0.5395 | 429.2509
OFF | 15:03 | 3160 | 0.9544 | 404.7763 | 0.9763 | 412.4491 | 0.5417 | 430.5175
OFF | 15:03 | 3165 | 0.9632 | 408.2349 | 0.9725 | 410.9537 | 0.5423 | 430.863
OFF | 15:03 | 3170 | 0.9659 | 409.296 | 0.9757 | 412.213 | 0.5439 | 431.7841
OFF | 15:03 | 3175 | 0.961 | 407.3702 | 0.9757 | 412.213 | 0.5401 | 429.5964
OFF | 15:03 | 3180 | 0.9648 | 408.8637 | 0.973 | 411.1504 | 0.5362 | 427.3511
OFF | 15:03 | 3185 | 0.9637 | 408.4314 | 0.9763 | 412.4491 | 0.5412 | 430.2297
OFF | 15:04 | 3190 | 0.9632 | 408.2349 | 0.9714 | 410.5208 | 0.5373 | 427.9844
OFF | 15:04 | 3195 | 0.9632 | 408.2349 | 0.9719 | 410.7175 | 0.5488 | 434.6051
OFF | 15:04 | 3200 | 0.9588 | 406.5056 | 0.9736 | 411.3865 | 0.5461 | 433.0507
OFF | 15:04 | 3205 | 0.9577 | 406.0733 | 0.9741 | 411.5833 | 0.5362 | 427.3511
OFF | 15:04 | 3210 | 0.961 | 407.3702 | 0.9736 | 411.3865 | 0.5384 | 428.6176
OFF | 15:04 | 3215 | 0.9517 | 403.7151 | 0.9736 | 411.3865 | 0.5379 | 428.3298
OFF | 15:04 | 3220 | 0.9566 | 405.6409 | 0.9714 | 410.5208 | 0.5352 | 426.7753
OFF | 15:04 | 3225 | 0.9577 | 406.0733 | 0.9703 | 410.0879 | 0.5324 | 425.1633
OFF | 15:04 | 3230 | 0.9604 | 407.1344 | 0.9692 | 409.655 | 0.5346 | 426.4299
OFF | 15:04 | 3235 | 0.9615 | 407.5667 | 0.9703 | 410.0879 | 0.5423 | 430.863
OFF | 15:04 | 3240 | 0.9621 | 407.8026 | 0.9725 | 410.9537 | 0.5384 | 428.6176
OFF | 15:04 | 3245 | 0.9626 | 407.999 | 0.9697 | 409.8517 | 0.5357 | 427.0632
OFF | 15:05 | 3250 | 0.9637 | 408.4314 | 0.9697 | 409.8517 | 0.5352 | 426.7753
OFF | 15:05 | 3255 | 0.9697 | 410.7895 | 0.9703 | 410.0879 | 0.5401 | 429.5964
OFF | 15:05 | 3260 | 0.9626 | 407.999 | 0.9725 | 410.9537 | 0.5466 | 433.3385
OFF | 15:05 | 3265 | 0.9626 | 407.999 | 0.9746 | 411.7801 | 0.5373 | 427.9844
OFF | 15:05 | 3270 | 0.9621 | 407.8026 | 0.9719 | 410.7175 | 0.539 | 428.9631
OFF | 15:05 | 3275 | 0.9621 | 407.8026 | 0.973 | 411.1504 | 0.5472 | 433.684
OFF | 15:05 | 3280 | 0.9604 | 407.1344 | 0.9719 | 410.7175 | 0.5412 | 430.2297
OFF | 15:05 | 3285 | 0.9604 | 407.1344 | 0.9741 | 411.5833 | 0.5406 | 429.8842
OFF | 15:05 | 3290 | 0.9637 | 408.4314 | 0.9719 | 410.7175 | 0.5483 | 434.3173
OFF | 15:05 | 3295 | 0.9637 | 408.4314 | 0.9714 | 410.5208 | 0.5417 | 430.5175
OFF | 15:05 | 3300 | 0.9621 | 407.8026 | 0.9725 | 410.9537 | 0.5439 | 431.7841
OFF | 15:05 | 3305 | 0.9632 | 408.2349 | 0.9719 | 410.7175 | 0.5461 | 433.0507
OFF | 15:06 | 3310 | 0.9615 | 407.5667 | 0.9714 | 410.5208 | 0.5477 | 433.9718
OFF | 15:06 | 3315 | 0.9621 | 407.8026 | 0.973 | 411.1504 | 0.5494 | 434.9506
OFF | 15:06 | 3320 | 0.9599 | 406.9379 | 0.9686 | 409.4188 | 0.5537 | 437.4261
OFF | 15:06 | 3325 | 0.9599 | 406.9379 | 0.9703 | 410.0879 | 0.5488 | 434.6051
OFF | 15:06 | 3330 | 0.9588 | 406.5056 | 0.9692 | 409.655 | 0.5444 | 432.072
OFF | 15:06 | 3335 | 0.9615 | 407.5667 | 0.967 | 408.7892 | 0.5472 | 433.684
OFF | 15:06 | 3340 | 0.9599 | 406.9379 | 0.9697 | 409.8517 | 0.5434 | 431.4962
OFF | 15:06 | 3345 | 0.9593 | 406.7021 | 0.9703 | 410.0879 | 0.5362 | 427.3511
OFF | 15:06 | 3350 | 0.9566 | 405.6409 | 0.9681 | 409.2221 | 0.5466 | 433.3385
OFF | 15:06 | 3355 | 0.9593 | 406.7021 | 0.9708 | 410.2846 | 0.5395 | 429.2509
OFF | 15:06 | 3360 | 0.9561 | 405.4444 | 0.9692 | 409.655 | 0.5395 | 429.2509
OFF | 15:06 | 3365 | 0.9572 | 405.8767 | 0.9692 | 409.655 | 0.5423 | 430.863
OFF | 15:07 | 3370 | 0.9528 | 404.1474 | 0.967 | 408.7892 | 0.5417 | 430.5175
OFF | 15:07 | 3375 | 0.9539 | 404.5798 | 0.9697 | 409.8517 | 0.5455 | 432.7052
OFF | 15:07 | 3380 | 0.9544 | 404.7763 | 0.9708 | 410.2846 | 0.5423 | 430.863
OFF | 15:07 | 3385 | 0.9522 | 403.9116 | 0.9686 | 409.4188 | 0.5379 | 428.3298
OFF | 15:07 | 3390 | 0.9528 | 404.1474 | 0.9703 | 410.0879 | 0.5341 | 426.1421
OFF | 15:07 | 3395 | 0.9561 | 405.4444 | 0.9681 | 409.2221 | 0.5395 | 429.2509
OFF | 15:07 | 3400 | 0.9511 | 403.4793 | 0.9708 | 410.2846 | 0.5341 | 426.1421
OFF | 15:07 | 3405 | 0.9533 | 404.344 | 0.9697 | 409.8517 | 0.5324 | 425.1633
OFF | 15:07 | 3410 | 0.9522 | 403.9116 | 0.9686 | 409.4188 | 0.5384 | 428.6176
OFF | 15:07 | 3415 | 0.9522 | 403.9116 | 0.9703 | 410.0879 | 0.5395 | 429.2509
OFF | 15:07 | 3420 | 0.9522 | 403.9116 | 0.9692 | 409.655 | 0.5341 | 426.1421
OFF | 15:07 | 3425 | 0.9528 | 404.1474 | 0.9686 | 409.4188 | 0.5401 | 429.5964
OFF | 15:08 | 3430 | 0.9588 | 406.5056 | 0.9708 | 410.2846 | 0.5324 | 425.1633
OFF | 15:08 | 3435 | 0.9522 | 403.9116 | 0.967 | 408.7892 | 0.528 | 422.6302
OFF | 15:08 | 3440 | 0.9506 | 403.2828 | 0.9648 | 407.9234 | 0.5346 | 426.4299
OFF | 15:08 | 3445 | 0.9495 | 402.8505 | 0.9654 | 408.1595 | 0.5401 | 429.5964
OFF | 15:08 | 3450 | 0.9495 | 402.8505 | 0.9654 | 408.1595 | 0.5341 | 426.1421
OFF | 15:08 | 3455 | 0.9511 | 403.4793 | 0.967 | 408.7892 | 0.5275 | 422.3423
OFF | 15:08 | 3460 | 0.9517 | 403.7151 | 0.9643 | 407.7266 | 0.5308 | 424.2422
OFF | 15:08 | 3465 | 0.9517 | 403.7151 | 0.9648 | 407.9234 | 0.5341 | 426.1421
OFF | 15:08 | 3470 | 0.9522 | 403.9116 | 0.9659 | 408.3563 | 0.533 | 425.5088
OFF | 15:08 | 3475 | 0.9533 | 404.344 | 0.9659 | 408.3563 | 0.5297 | 423.6089
OFF | 15:08 | 3480 | 0.9522 | 403.9116 | 0.9643 | 407.7266 | 0.5373 | 427.9844
OFF | 15:08 | 3485 | 0.9533 | 404.344 | 0.967 | 408.7892 | 0.5319 | 424.8755
OFF | 15:09 | 3490 | 0.9522 | 403.9116 | 0.9675 | 408.9859 | 0.5362 | 427.3511
OFF | 15:09 | 3495 | 0.9511 | 403.4793 | 0.9637 | 407.4905 | 0.5341 | 426.1421
OFF | 15:09 | 3500 | 0.9528 | 404.1474 | 0.9664 | 408.5531 | 0.5352 | 426.7753
OFF | 15:09 | 3505 | 0.9544 | 404.7763 | 0.967 | 408.7892 | 0.5357 | 427.0632
OFF | 15:09 | 3510 | 0.9511 | 403.4793 | 0.9664 | 408.5531 | 0.5373 | 427.9844
OFF | 15:09 | 3515 | 0.9506 | 403.2828 | 0.967 | 408.7892 | 0.5308 | 424.2422
OFF | 15:09 | 3520 | 0.9495 | 402.8505 | 0.9686 | 409.4188 | 0.533 | 425.5088
OFF | 15:09 | 3525 | 0.9506 | 403.2828 | 0.9648 | 407.9234 | 0.5319 | 424.8755
OFF | 15:09 | 3530 | 0.9506 | 403.2828 | 0.9675 | 408.9859 | 0.5368 | 427.6965
OFF | 15:09 | 3535 | 0.9522 | 403.9116 | 0.9654 | 408.1595 | 0.5324 | 425.1633
OFF | 15:09 | 3540 | 0.9539 | 404.5798 | 0.9643 | 407.7266 | 0.528 | 422.6302
OFF | 15:09 | 3545 | 0.9511 | 403.4793 | 0.9664 | 408.5531 | 0.5297 | 423.6089
OFF | 15:10 | 3550 | 0.9528 | 404.1474 | 0.967 | 408.7892 | 0.5357 | 427.0632
OFF | 15:10 | 3555 | 0.9539 | 404.5798 | 0.9675 | 408.9859 | 0.5319 | 424.8755
OFF | 15:10 | 3560 | 0.95 | 403.047 | 0.9654 | 408.1595 | 0.5291 | 423.2635
OFF | 15:10 | 3565 | 0.9517 | 403.7151 | 0.9643 | 407.7266 | 0.5286 | 422.9756
OFF | 15:10 | 3570 | 0.95 | 403.047 | 0.9675 | 408.9859 | 0.5341 | 426.1421
OFF | 15:10 | 3575 | 0.9484 | 402.4182 | 0.967 | 408.7892 | 0.5352 | 426.7753
OFF | 15:10 | 3580 | 0.9511 | 403.4793 | 0.9621 | 406.8608 | 0.5324 | 425.1633
OFF | 15:10 | 3585 | 0.9479 | 402.2217 | 0.9632 | 407.2937 | 0.5313 | 424.53
OFF | 15:10 | 3590 | 0.9479 | 402.2217 | 0.9626 | 407.0576 | 0.5291 | 423.2635
OFF | 15:10 | 3595 | 0.9511 | 403.4793 | 0.9648 | 407.9234 | 0.527 | 422.0544

## CO2 Concentration Averages
| Gas Off (pre-test) |  |  |  | Gas Off (post-test)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS) |  | A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 405.4359 | 408.1641 | 427.1006 | Concentration (ppm): | 406.8468 | 410.9582 | 429.9543
Gas On (steady-state)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 654.9255 | 1905.4976 | 658.5087
Standard Deviation: | 21.4117 | 178.7439 | 7.0977
Standard Deviation of Average: | 4.7878 | 39.9683 | 1.5871
95% Confidence Interval | 9.3841 | 78.338 | 3.1107
Percent Difference
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
| 61.5361 | 366.8459 | 54.1812

## Rotometer Readings
(Reading 1)
Temperature (°C) | 30.8
Temperature (k) | 303.95
P_atm (hPa) | 978
P_atm (psi) | 14.1847
dV | 0.3
P_flow (psi) | 0.06
Reading | 78
Corresponding Flowrate (table) (lpm) | 5.26
Actual Flowrate (lpm) | 5.0937
(Reading 2)
Temperature (°C) | 31.4
Temperature (k) | 304.55
P_atm (hPa) | 978
P_atm (psi) | 14.1847
dV | 0.3
P_flow (psi) | 0.06
Reading | 78
Corresponding Flowrate (table) (lpm) | 5.26
Actual Flowrate (lpm) | 5.0887
(Reading 3)
Temperature (°C) | 31.7
Temperature (k) | 304.85
P_atm (hPa) | 978
P_atm (psi) | 14.1847
dV | 0.3
P_flow (psi) | 0.06
Reading | 78
Corresponding Flowrate (table) (lpm) | 5.26
Actual Flowrate (lpm) | 5.0862