## Data & Charts
%INJECTION STATUS | TIME | TIME (s) | A-1 CO2 conc (DCV) | A-1 CO2 conc (PPM) | A-2 CO2 conc (DCV) | A-2 CO2 conc (PPM) | A-4 CO2 conc (DCV) | A-4 CO2 conc (PPM) | Helium Injection (computer) (lpm) | Sample Time (s) | Measured CO2 Injection (lpm) | Measured CO2 Injection (CFM)
OFF | 10:31 | 0 | 1.1725 | 490.494 | 1.1195 | 468.804 | 0.6308 | 481.8142 | 3.07 | 600 | 4.9316 | 0.17416
OFF | 10:31 | 5 | 1.172 | 490.2975 | 1.1211 | 469.4337 | 0.6357 | 484.6352 | Helium Injection (computer) (CFM) | 1500 | 4.9263 | 0.17397
OFF | 10:31 | 10 | 1.166 | 487.9393 | 1.1201 | 469.0402 | 0.6407 | 487.5138 | 0.10842 | 2400 | 4.9271 | 0.174
OFF | 10:31 | 15 | 1.1725 | 490.494 | 1.1233 | 470.2995 | 0.6297 | 481.1809
OFF | 10:31 | 20 | 1.1709 | 489.8651 | 1.1184 | 468.3711 | 0.6341 | 483.7141
OFF | 10:31 | 25 | 1.1725 | 490.494 | 1.1179 | 468.1744 | 0.6303 | 481.5263
OFF | 10:32 | 30 | 1.172 | 490.2975 | 1.1179 | 468.1744 | 0.6346 | 484.0019
OFF | 10:32 | 35 | 1.1742 | 491.1621 | 1.1184 | 468.3711 | 0.6253 | 478.6477
OFF | 10:32 | 40 | 1.172 | 490.2975 | 1.1168 | 467.7415 | 0.6346 | 484.0019
OFF | 10:32 | 45 | 1.1742 | 491.1621 | 1.1201 | 469.0402 | 0.6357 | 484.6352
OFF | 10:32 | 50 | 1.1736 | 490.9263 | 1.119 | 468.6072 | 0.6363 | 484.9807
OFF | 10:32 | 55 | 1.1747 | 491.3586 | 1.1211 | 469.4337 | 0.639 | 486.5351
OFF | 10:32 | 60 | 1.1742 | 491.1621 | 1.1239 | 470.5356 | 0.6396 | 486.8805
OFF | 10:32 | 65 | 1.1758 | 491.7909 | 1.1195 | 468.804 | 0.6472 | 491.256
OFF | 10:32 | 70 | 1.1774 | 492.4197 | 1.119 | 468.6072 | 0.6423 | 488.435
OFF | 10:32 | 75 | 1.1753 | 491.5944 | 1.1222 | 469.8666 | 0.6401 | 487.1684
OFF | 10:32 | 80 | 1.1791 | 493.0879 | 1.1217 | 469.6698 | 0.6423 | 488.435
OFF | 10:32 | 85 | 1.1796 | 493.2844 | 1.1217 | 469.6698 | 0.645 | 489.9894
OFF | 10:33 | 90 | 1.1802 | 493.5202 | 1.1239 | 470.5356 | 0.6407 | 487.5138
OFF | 10:33 | 95 | 1.1802 | 493.5202 | 1.1233 | 470.2995 | 0.6456 | 490.3348
OFF | 10:33 | 100 | 1.1824 | 494.3848 | 1.125 | 470.9685 | 0.6472 | 491.256
OFF | 10:33 | 105 | 1.1687 | 489.0005 | 1.1228 | 470.1027 | 0.6428 | 488.7228
OFF | 10:33 | 110 | 1.1802 | 493.5202 | 1.1239 | 470.5356 | 0.6423 | 488.435
OFF | 10:33 | 115 | 1.1813 | 493.9525 | 1.1217 | 469.6698 | 0.651 | 493.4437
OFF | 10:33 | 120 | 1.1813 | 493.9525 | 1.1222 | 469.8666 | 0.6439 | 489.3561
OFF | 10:33 | 125 | 1.1851 | 495.446 | 1.1277 | 472.031 | 0.6423 | 488.435
OFF | 10:33 | 130 | 1.1851 | 495.446 | 1.1233 | 470.2995 | 0.6417 | 488.0895
OFF | 10:33 | 135 | 1.184 | 495.0137 | 1.125 | 470.9685 | 0.6407 | 487.5138
OFF | 10:33 | 140 | 1.1878 | 496.5072 | 1.1233 | 470.2995 | 0.6412 | 487.8017
OFF | 10:33 | 145 | 1.1835 | 494.8172 | 1.1239 | 470.5356 | 0.6445 | 489.7016
OFF | 10:34 | 150 | 1.1856 | 495.6425 | 1.1283 | 472.2672 | 0.6505 | 493.1559
OFF | 10:34 | 155 | 1.1862 | 495.8783 | 1.1261 | 471.4014 | 0.6467 | 490.9681
OFF | 10:34 | 160 | 1.1835 | 494.8172 | 1.1266 | 471.5982 | 0.6439 | 489.3561
OFF | 10:34 | 165 | 1.1829 | 494.5813 | 1.1261 | 471.4014 | 0.6499 | 492.8104
OFF | 10:34 | 170 | 1.1867 | 496.0748 | 1.1288 | 472.464 | 0.6423 | 488.435
OFF | 10:34 | 175 | 1.19 | 497.3718 | 1.1261 | 471.4014 | 0.6543 | 495.3436
OFF | 10:34 | 180 | 1.19 | 497.3718 | 1.1277 | 472.031 | 0.6439 | 489.3561
OFF | 10:34 | 185 | 1.1889 | 496.9395 | 1.125 | 470.9685 | 0.645 | 489.9894
OFF | 10:34 | 190 | 1.1884 | 496.743 | 1.125 | 470.9685 | 0.6461 | 490.6227
OFF | 10:34 | 195 | 1.1873 | 496.3106 | 1.1299 | 472.8968 | 0.6467 | 490.9681
OFF | 10:34 | 200 | 1.1244 | 471.5897 | 1.1266 | 471.5982 | 0.6505 | 493.1559
OFF | 10:34 | 205 | 1.1222 | 470.725 | 1.1272 | 471.8343 | 0.6428 | 488.7228
OFF | 10:35 | 210 | 1.1217 | 470.5286 | 1.1293 | 472.6607 | 0.6461 | 490.6227
OFF | 10:35 | 215 | 1.1201 | 469.8997 | 1.1277 | 472.031 | 0.6439 | 489.3561
OFF | 10:35 | 220 | 1.1206 | 470.0962 | 1.1255 | 471.1653 | 0.6494 | 492.5226
OFF | 10:35 | 225 | 1.1233 | 471.1574 | 1.1283 | 472.2672 | 0.645 | 489.9894
OFF | 10:35 | 230 | 1.1261 | 472.2578 | 1.1266 | 471.5982 | 0.6428 | 488.7228
OFF | 10:35 | 235 | 1.1233 | 471.1574 | 1.1255 | 471.1653 | 0.6417 | 488.0895
OFF | 10:35 | 240 | 1.119 | 469.4674 | 1.1277 | 472.031 | 0.6532 | 494.7103
OFF | 10:35 | 245 | 1.1217 | 470.5286 | 1.1261 | 471.4014 | 0.6401 | 487.1684
OFF | 10:35 | 250 | 1.1211 | 470.2927 | 1.1261 | 471.4014 | 0.6532 | 494.7103
OFF | 10:35 | 255 | 1.125 | 471.8255 | 1.1277 | 472.031 | 0.6434 | 489.0683
OFF | 10:35 | 260 | 1.1124 | 466.8735 | 1.1266 | 471.5982 | 0.6489 | 492.2347
OFF | 10:35 | 265 | 1.1239 | 471.3932 | 1.1288 | 472.464 | 0.6489 | 492.2347
OFF | 10:36 | 270 | 1.125 | 471.8255 | 1.1293 | 472.6607 | 0.6445 | 489.7016
OFF | 10:36 | 275 | 1.1222 | 470.725 | 1.1277 | 472.031 | 0.6412 | 487.8017
OFF | 10:36 | 280 | 1.1228 | 470.9609 | 1.1283 | 472.2672 | 0.651 | 493.4437
OFF | 10:36 | 285 | 1.1239 | 471.3932 | 1.1293 | 472.6607 | 0.6461 | 490.6227
OFF | 10:36 | 290 | 1.1244 | 471.5897 | 1.1293 | 472.6607 | 0.6417 | 488.0895
OFF | 10:36 | 295 | 1.1239 | 471.3932 | 1.1283 | 472.2672 | 0.6434 | 489.0683
OFF | 10:36 | 300 | 1.1255 | 472.022 | 1.1326 | 473.9594 | 0.6434 | 489.0683
OFF | 10:36 | 305 | 1.1266 | 472.4543 | 1.1299 | 472.8968 | 0.6456 | 490.3348
OFF | 10:36 | 310 | 1.1272 | 472.6901 | 1.1321 | 473.7626 | 0.6396 | 486.8805
OFF | 10:36 | 315 | 1.1266 | 472.4543 | 1.1299 | 472.8968 | 0.6401 | 487.1684
OFF | 10:36 | 320 | 1.125 | 471.8255 | 1.1299 | 472.8968 | 0.6385 | 486.2472
OFF | 10:36 | 325 | 1.1239 | 471.3932 | 1.1293 | 472.6607 | 0.6417 | 488.0895
OFF | 10:37 | 330 | 1.1228 | 470.9609 | 1.1326 | 473.9594 | 0.6396 | 486.8805
OFF | 10:37 | 335 | 1.1261 | 472.2578 | 1.1293 | 472.6607 | 0.6352 | 484.3474
OFF | 10:37 | 340 | 1.1261 | 472.2578 | 1.1293 | 472.6607 | 0.6368 | 485.2685
OFF | 10:37 | 345 | 1.1266 | 472.4543 | 1.1304 | 473.0936 | 0.6412 | 487.8017
OFF | 10:37 | 350 | 1.1261 | 472.2578 | 1.1321 | 473.7626 | 0.6396 | 486.8805
OFF | 10:37 | 355 | 1.125 | 471.8255 | 1.1266 | 471.5982 | 0.6363 | 484.9807
OFF | 10:37 | 360 | 1.131 | 474.1836 | 1.1288 | 472.464 | 0.6401 | 487.1684
OFF | 10:37 | 365 | 1.1272 | 472.6901 | 1.1315 | 473.5265 | 0.6319 | 482.4475
OFF | 10:37 | 370 | 1.1255 | 472.022 | 1.1299 | 472.8968 | 0.6379 | 485.9018
OFF | 10:37 | 375 | 1.1261 | 472.2578 | 1.1299 | 472.8968 | 0.6439 | 489.3561
OFF | 10:37 | 380 | 1.1261 | 472.2578 | 1.1293 | 472.6607 | 0.6385 | 486.2472
OFF | 10:37 | 385 | 1.1272 | 472.6901 | 1.1288 | 472.464 | 0.6423 | 488.435
OFF | 10:38 | 390 | 1.1326 | 474.8124 | 1.131 | 473.3298 | 0.6341 | 483.7141
OFF | 10:38 | 395 | 1.1283 | 473.1224 | 1.1321 | 473.7626 | 0.6401 | 487.1684
OFF | 10:38 | 400 | 1.1293 | 473.5155 | 1.1299 | 472.8968 | 0.6467 | 490.9681
OFF | 10:38 | 405 | 1.1277 | 472.8866 | 1.1293 | 472.6607 | 0.6412 | 487.8017
OFF | 10:38 | 410 | 1.125 | 471.8255 | 1.1304 | 473.0936 | 0.6478 | 491.6014
OFF | 10:38 | 415 | 1.1321 | 474.6159 | 1.1315 | 473.5265 | 0.6439 | 489.3561
OFF | 10:38 | 420 | 1.1337 | 475.2448 | 1.1321 | 473.7626 | 0.645 | 489.9894
OFF | 10:38 | 425 | 1.1283 | 473.1224 | 1.1299 | 472.8968 | 0.6478 | 491.6014
OFF | 10:38 | 430 | 1.1272 | 472.6901 | 1.1293 | 472.6607 | 0.6385 | 486.2472
OFF | 10:38 | 435 | 1.1315 | 474.3801 | 1.1354 | 475.0613 | 0.6401 | 487.1684
OFF | 10:38 | 440 | 1.1299 | 473.7513 | 1.131 | 473.3298 | 0.6417 | 488.0895
OFF | 10:38 | 445 | 1.1255 | 472.022 | 1.1288 | 472.464 | 0.6385 | 486.2472
OFF | 10:39 | 450 | 1.1321 | 474.6159 | 1.131 | 473.3298 | 0.6417 | 488.0895
OFF | 10:39 | 455 | 1.1277 | 472.8866 | 1.1337 | 474.3923 | 0.6467 | 490.9681
OFF | 10:39 | 460 | 1.1272 | 472.6901 | 1.1283 | 472.2672 | 0.6434 | 489.0683
OFF | 10:39 | 465 | 1.1272 | 472.6901 | 1.1293 | 472.6607 | 0.6472 | 491.256
OFF | 10:39 | 470 | 1.1315 | 474.3801 | 1.1326 | 473.9594 | 0.6521 | 494.077
OFF | 10:39 | 475 | 1.1304 | 473.9478 | 1.1315 | 473.5265 | 0.6417 | 488.0895
OFF | 10:39 | 480 | 1.1348 | 475.6771 | 1.1293 | 472.6607 | 0.6412 | 487.8017
OFF | 10:39 | 485 | 1.1326 | 474.8124 | 1.1299 | 472.8968 | 0.6412 | 487.8017
OFF | 10:39 | 490 | 1.1332 | 475.0483 | 1.131 | 473.3298 | 0.6489 | 492.2347
OFF | 10:39 | 495 | 1.1337 | 475.2448 | 1.1315 | 473.5265 | 0.6461 | 490.6227
OFF | 10:39 | 500 | 1.1321 | 474.6159 | 1.1332 | 474.1955 | 0.6407 | 487.5138
OFF | 10:39 | 505 | 1.1343 | 475.4806 | 1.131 | 473.3298 | 0.6401 | 487.1684
OFF | 10:40 | 510 | 1.1332 | 475.0483 | 1.1348 | 474.8252 | 0.6379 | 485.9018
OFF | 10:40 | 515 | 1.131 | 474.1836 | 1.1304 | 473.0936 | 0.6445 | 489.7016
OFF | 10:40 | 520 | 1.1326 | 474.8124 | 1.1304 | 473.0936 | 0.6494 | 492.5226
OFF | 10:40 | 525 | 1.1343 | 475.4806 | 1.1321 | 473.7626 | 0.6467 | 490.9681
OFF | 10:40 | 530 | 1.1343 | 475.4806 | 1.1332 | 474.1955 | 0.6368 | 485.2685
OFF | 10:40 | 535 | 1.1337 | 475.2448 | 1.1304 | 473.0936 | 0.6374 | 485.6139
OFF | 10:40 | 540 | 1.1321 | 474.6159 | 1.1326 | 473.9594 | 0.633 | 483.0808
OFF | 10:40 | 545 | 1.1359 | 476.1094 | 1.1321 | 473.7626 | 0.6434 | 489.0683
OFF | 10:40 | 550 | 1.1381 | 476.9741 | 1.1315 | 473.5265 | 0.6439 | 489.3561
OFF | 10:40 | 555 | 1.1348 | 475.6771 | 1.1321 | 473.7626 | 0.6396 | 486.8805
OFF | 10:40 | 560 | 1.1397 | 477.6029 | 1.1326 | 473.9594 | 0.6368 | 485.2685
OFF | 10:40 | 565 | 1.137 | 476.5417 | 1.1326 | 473.9594 | 0.6401 | 487.1684
OFF | 10:41 | 570 | 1.1343 | 475.4806 | 1.131 | 473.3298 | 0.6423 | 488.435
OFF | 10:41 | 575 | 1.137 | 476.5417 | 1.1343 | 474.6284 | 0.6379 | 485.9018
OFF | 10:41 | 580 | 1.1359 | 476.1094 | 1.131 | 473.3298 | 0.6379 | 485.9018
OFF | 10:41 | 585 | 1.1343 | 475.4806 | 1.1343 | 474.6284 | 0.6401 | 487.1684
OFF | 10:41 | 590 | 1.1343 | 475.4806 | 1.131 | 473.3298 | 0.6472 | 491.256
OFF | 10:41 | 595 | 1.1348 | 475.6771 | 1.1304 | 473.0936 | 0.6423 | 488.435
ON | 10:41 | 600 | 1.1337 | 475.2448 | 1.1321 | 473.7626 | 0.6346 | 484.0019
ON | 10:41 | 605 | 1.1337 | 475.2448 | 1.131 | 473.3298 | 0.6385 | 486.2472
ON | 10:41 | 610 | 1.1343 | 475.4806 | 1.1321 | 473.7626 | 0.6401 | 487.1684
ON | 10:41 | 615 | 1.1365 | 476.3452 | 1.1321 | 473.7626 | 0.6407 | 487.5138
ON | 10:41 | 620 | 1.1326 | 474.8124 | 1.1332 | 474.1955 | 0.633 | 483.0808
ON | 10:41 | 625 | 1.1337 | 475.2448 | 1.2168 | 507.0955 | 0.6319 | 482.4475
ON | 10:42 | 630 | 1.1359 | 476.1094 | 2.1909 | 890.4428 | 0.6385 | 486.2472
ON | 10:42 | 635 | 1.1359 | 476.1094 | 1.9127 | 780.96 | 0.6401 | 487.1684
ON | 10:42 | 640 | 1.1365 | 476.3452 | 2.2581 | 916.8887 | 0.6346 | 484.0019
ON | 10:42 | 645 | 1.1518 | 482.3585 | 3.358 | 1349.7433 | 0.6374 | 485.6139
ON | 10:42 | 650 | 1.149 | 481.258 | 4.6677 | 1865.1626 | 0.6396 | 486.8805
ON | 10:42 | 655 | 1.1709 | 489.8651 | 4.8055 | 1919.3925 | 0.6396 | 486.8805
ON | 10:42 | 660 | 1.1703 | 489.6293 | 3.8221 | 1532.3852 | 0.6401 | 487.1684
ON | 10:42 | 665 | 1.1736 | 490.9263 | 4.3004 | 1720.6153 | 0.6335 | 483.3686
ON | 10:42 | 670 | 1.1895 | 497.1753 | 3.7237 | 1493.6609 | 0.6325 | 482.7929
ON | 10:42 | 675 | 1.2206 | 509.3982 | 4.1856 | 1675.4369 | 0.6346 | 484.0019
ON | 10:42 | 680 | 1.2512 | 521.4246 | 4.7803 | 1909.4753 | 0.633 | 483.0808
ON | 10:42 | 685 | 1.2507 | 521.2281 | 4.2894 | 1716.2865 | 0.6374 | 485.6139
ON | 10:43 | 690 | 1.2436 | 518.4377 | 4.3353 | 1734.35 | 0.6363 | 484.9807
ON | 10:43 | 695 | 1.2387 | 516.5119 | 4.7688 | 1904.9495 | 0.6461 | 490.6227
ON | 10:43 | 700 | 1.2441 | 518.6342 | 4.2561 | 1703.1817 | 0.6467 | 490.9681
ON | 10:43 | 705 | 1.2573 | 523.8221 | 4.3337 | 1733.7204 | 0.6499 | 492.8104
ON | 10:43 | 710 | 1.2791 | 532.3899 | 4.5551 | 1820.85 | 0.6521 | 494.077
ON | 10:43 | 715 | 1.3179 | 547.639 | 5.0121 | 2000.6979 | 0.651 | 493.4437
ON | 10:43 | 720 | 1.3354 | 554.5169 | 4.3632 | 1745.3298 | 0.6549 | 495.689
ON | 10:43 | 725 | 1.3201 | 548.5037 | 3.188 | 1282.8415 | 0.6592 | 498.1646
ON | 10:43 | 730 | 1.3682 | 567.4079 | 3.522 | 1414.2839 | 0.6527 | 494.4224
ON | 10:43 | 735 | 1.3223 | 549.3683 | 4.3053 | 1722.5439 | 0.6636 | 500.6978
ON | 10:43 | 740 | 1.383 | 573.2247 | 3.7018 | 1485.0424 | 0.668 | 503.2309
ON | 10:43 | 745 | 1.3874 | 574.954 | 4.4009 | 1760.1661 | 0.6647 | 501.3311
ON | 10:44 | 750 | 1.3606 | 564.421 | 4.9766 | 1986.7272 | 0.6625 | 500.0645
ON | 10:44 | 755 | 1.3988 | 579.4344 | 4.9328 | 1969.49 | 0.6653 | 501.6765
ON | 10:44 | 760 | 1.3813 | 572.5565 | 4.7021 | 1878.7004 | 0.6707 | 504.7854
ON | 10:44 | 765 | 1.4163 | 586.3122 | 4.3731 | 1749.2257 | 0.6866 | 513.9394
ON | 10:44 | 770 | 1.4546 | 601.3649 | 5.0132 | 2001.1307 | 0.6817 | 511.1183
ON | 10:44 | 775 | 1.3923 | 576.8797 | 4.091 | 1638.2082 | 0.6833 | 512.0395
ON | 10:44 | 780 | 1.4322 | 592.5612 | 4.525 | 1809.0045 | 0.6827 | 511.694
ON | 10:44 | 785 | 1.4874 | 614.256 | 4.8208 | 1925.4136 | 0.6915 | 516.7604
ON | 10:44 | 790 | 1.4765 | 609.972 | 4.6934 | 1875.2766 | 0.6975 | 520.2147
ON | 10:44 | 795 | 1.4726 | 608.4392 | 4.7967 | 1915.9293 | 0.6981 | 520.5601
ON | 10:44 | 800 | 1.4885 | 614.6883 | 3.3875 | 1361.3528 | 0.7019 | 522.7479
ON | 10:44 | 805 | 1.4983 | 618.5399 | 3.7466 | 1502.6729 | 0.7128 | 529.0232
ON | 10:45 | 810 | 1.4885 | 614.6883 | 3.751 | 1504.4045 | 0.7155 | 530.5777
ON | 10:45 | 815 | 1.4622 | 604.3519 | 3.8724 | 1552.1803 | 0.7226 | 534.6653
ON | 10:45 | 820 | 1.4688 | 606.9458 | 4.2741 | 1710.2652 | 0.7226 | 534.6653
ON | 10:45 | 825 | 1.5645 | 644.5578 | 5.0033 | 1997.2348 | 0.727 | 537.1984
ON | 10:45 | 830 | 1.5333 | 632.2956 | 4.0981 | 1641.0023 | 0.7292 | 538.465
ON | 10:45 | 835 | 1.5262 | 629.5051 | 4.3359 | 1734.586 | 0.7363 | 542.5526
ON | 10:45 | 840 | 1.4737 | 608.8716 | 4.2386 | 1696.2946 | 0.733 | 540.6527
ON | 10:45 | 845 | 1.5656 | 644.9901 | 3.2924 | 1323.927 | 0.7292 | 538.465
ON | 10:45 | 850 | 1.5158 | 625.4177 | 3.9604 | 1586.8119 | 0.7352 | 541.9193
ON | 10:45 | 855 | 1.5667 | 645.4224 | 3.6242 | 1454.5037 | 0.7401 | 544.7404
ON | 10:45 | 860 | 1.5295 | 630.8021 | 4.3359 | 1734.586 | 0.7462 | 548.2523
ON | 10:45 | 865 | 1.5617 | 643.4573 | 5.0126 | 2000.8946 | 0.7478 | 549.1734
ON | 10:46 | 870 | 1.6251 | 668.3748 | 3.5531 | 1426.523 | 0.7472 | 548.828
ON | 10:46 | 875 | 1.5929 | 655.7196 | 4.1746 | 1671.1081 | 0.7462 | 548.2523
ON | 10:46 | 880 | 1.7131 | 702.9605 | 3.6985 | 1483.7437 | 0.7582 | 555.1609
ON | 10:46 | 885 | 1.6257 | 668.6106 | 5.0126 | 2000.8946 | 0.7686 | 561.1484
ON | 10:46 | 890 | 1.6809 | 690.3053 | 5.0115 | 2000.4617 | 0.7647 | 558.9031
ON | 10:46 | 895 | 1.6809 | 690.3053 | 5.0028 | 1997.0379 | 0.7724 | 563.3361
ON | 10:46 | 900 | 1.5442 | 636.5795 | 5.0121 | 2000.6979 | 0.7664 | 559.8818
ON | 10:46 | 905 | 1.5727 | 647.7806 | 5.0175 | 2002.8229 | 0.7762 | 565.5239
ON | 10:46 | 910 | 1.5202 | 627.147 | 5.0137 | 2001.3275 | 0.7828 | 569.3236
ON | 10:46 | 915 | 1.5672 | 645.6189 | 5.0121 | 2000.6979 | 0.7866 | 571.5113
ON | 10:46 | 920 | 1.5421 | 635.7541 | 5.0159 | 2002.1933 | 0.7882 | 572.4325
ON | 10:46 | 925 | 1.5147 | 624.9854 | 5.0154 | 2001.9965 | 0.7937 | 575.599
ON | 10:47 | 930 | 1.5147 | 624.9854 | 5.0126 | 2000.8946 | 0.7948 | 576.2322
ON | 10:47 | 935 | 1.5579 | 641.9638 | 5.0159 | 2002.1933 | 0.7992 | 578.7654
ON | 10:47 | 940 | 1.5606 | 643.025 | 4.3616 | 1744.7 | 0.8008 | 579.6866
ON | 10:47 | 945 | 1.588 | 653.7938 | 4.9782 | 1987.3568 | 0.8101 | 585.0408
ON | 10:47 | 950 | 1.6191 | 666.0167 | 5.0132 | 2001.1307 | 0.7997 | 579.0533
ON | 10:47 | 955 | 1.635 | 672.2657 | 3.7051 | 1486.3411 | 0.8085 | 584.1196
ON | 10:47 | 960 | 1.6011 | 658.9423 | 5.011 | 2000.265 | 0.809 | 584.4075
ON | 10:47 | 965 | 1.6142 | 664.0909 | 4.7256 | 1887.9485 | 0.8118 | 586.0195
ON | 10:47 | 970 | 1.6082 | 661.7327 | 4.8197 | 1924.9806 | 0.8112 | 585.6741
ON | 10:47 | 975 | 1.6049 | 660.4358 | 5.0148 | 2001.7604 | 0.8161 | 588.4951
ON | 10:47 | 980 | 1.6689 | 685.5891 | 4.2703 | 1708.7698 | 0.809 | 584.4075
ON | 10:47 | 985 | 1.6579 | 681.2659 | 4.5786 | 1830.0982 | 0.8123 | 586.3074
ON | 10:48 | 990 | 1.7049 | 699.7378 | 3.8658 | 1549.5829 | 0.8205 | 591.0283
ON | 10:48 | 995 | 1.6339 | 671.8334 | 3.8931 | 1560.3266 | 0.8325 | 597.9369
ON | 10:48 | 1000 | 1.5967 | 657.213 | 3.7597 | 1507.8284 | 0.8243 | 593.216
ON | 10:48 | 1005 | 1.6607 | 682.3663 | 4.5185 | 1806.4464 | 0.826 | 594.1947
ON | 10:48 | 1010 | 1.5929 | 655.7196 | 4.1998 | 1681.0253 | 0.8265 | 594.4826
ON | 10:48 | 1015 | 1.618 | 665.5844 | 5.0104 | 2000.0287 | 0.8281 | 595.4037
ON | 10:48 | 1020 | 1.6251 | 668.3748 | 4.7448 | 1895.5046 | 0.8271 | 594.828
ON | 10:48 | 1025 | 1.6202 | 666.449 | 4.8191 | 1924.7446 | 0.8172 | 589.1284
ON | 10:48 | 1030 | 1.5781 | 649.9029 | 4.988 | 1991.2135 | 0.8232 | 592.5827
ON | 10:48 | 1035 | 1.5907 | 654.8549 | 5.0126 | 2000.8946 | 0.8276 | 595.1159
ON | 10:48 | 1040 | 1.5896 | 654.4226 | 5.0143 | 2001.5636 | 0.8265 | 594.4826
ON | 10:48 | 1045 | 1.6148 | 664.3267 | 3.6132 | 1450.1747 | 0.8254 | 593.8493
ON | 10:49 | 1050 | 1.6366 | 672.8945 | 4.2227 | 1690.0374 | 0.8238 | 592.9282
ON | 10:49 | 1055 | 1.6607 | 682.3663 | 4.0205 | 1610.4636 | 0.8276 | 595.1159
ON | 10:49 | 1060 | 1.6399 | 674.1915 | 5.0121 | 2000.6979 | 0.8227 | 592.2949
ON | 10:49 | 1065 | 1.6558 | 680.4405 | 5.0115 | 2000.4617 | 0.8298 | 596.3825
ON | 10:49 | 1070 | 1.6443 | 675.9208 | 5.0148 | 2001.7604 | 0.8276 | 595.1159
ON | 10:49 | 1075 | 1.6891 | 693.5281 | 4.736 | 1892.0415 | 0.826 | 594.1947
ON | 10:49 | 1080 | 1.6962 | 696.3185 | 4.255 | 1702.7487 | 0.8309 | 597.0158
ON | 10:49 | 1085 | 1.6246 | 668.1783 | 3.9478 | 1581.8532 | 0.8309 | 597.0158
ON | 10:49 | 1090 | 1.6924 | 694.825 | 3.763 | 1509.127 | 0.8298 | 596.3825
ON | 10:49 | 1095 | 1.741 | 713.9258 | 3.6225 | 1453.8346 | 0.8298 | 596.3825
ON | 10:49 | 1100 | 1.6344 | 672.0299 | 4.0746 | 1631.7542 | 0.8303 | 596.6703
ON | 10:49 | 1105 | 1.6404 | 674.388 | 4.343 | 1737.3802 | 0.8347 | 599.2035
ON | 10:50 | 1110 | 1.6984 | 697.1832 | 4.6666 | 1864.7299 | 0.8396 | 602.0245
ON | 10:50 | 1115 | 1.6683 | 685.3533 | 4.0243 | 1611.9591 | 0.838 | 601.1034
ON | 10:50 | 1120 | 1.6623 | 682.9951 | 4.2626 | 1705.7396 | 0.8303 | 596.6703
ON | 10:50 | 1125 | 1.6711 | 686.4537 | 5.0099 | 1999.8321 | 0.8314 | 597.3036
ON | 10:50 | 1130 | 1.7082 | 701.0348 | 5.0137 | 2001.3275 | 0.8287 | 595.7492
ON | 10:50 | 1135 | 1.6202 | 666.449 | 5.0132 | 2001.1307 | 0.832 | 597.6491
ON | 10:50 | 1140 | 1.6853 | 692.0346 | 5.011 | 2000.265 | 0.8342 | 598.9156
ON | 10:50 | 1145 | 1.6574 | 681.0694 | 4.1386 | 1656.9406 | 0.8353 | 599.5489
ON | 10:50 | 1150 | 1.659 | 681.6982 | 4.109 | 1645.2919 | 0.8478 | 606.7454
ON | 10:50 | 1155 | 1.653 | 679.3401 | 4.8503 | 1937.023 | 0.8396 | 602.0245
ON | 10:50 | 1160 | 1.6596 | 681.934 | 4.0199 | 1610.2274 | 0.8489 | 607.3787
ON | 10:50 | 1165 | 1.6443 | 675.9208 | 4.9246 | 1966.2631 | 0.8511 | 608.6453
ON | 10:51 | 1170 | 1.624 | 667.9425 | 3.9002 | 1563.1207 | 0.8385 | 601.3912
ON | 10:51 | 1175 | 1.6711 | 686.4537 | 4.0752 | 1631.9902 | 0.8424 | 603.6365
ON | 10:51 | 1180 | 1.6388 | 673.7592 | 4.6972 | 1876.772 | 0.8456 | 605.4788
ON | 10:51 | 1185 | 1.6929 | 695.0215 | 5.0154 | 2001.9965 | 0.8451 | 605.191
ON | 10:51 | 1190 | 1.6711 | 686.4537 | 4.8404 | 1933.1271 | 0.838 | 601.1034
ON | 10:51 | 1195 | 1.6344 | 672.0299 | 3.9516 | 1583.3487 | 0.8489 | 607.3787
ON | 10:51 | 1200 | 1.664 | 683.6633 | 4.5108 | 1803.4162 | 0.8451 | 605.191
ON | 10:51 | 1205 | 1.6126 | 663.462 | 4.3184 | 1727.6991 | 0.8413 | 603.0032
ON | 10:51 | 1210 | 1.7181 | 704.9256 | 4.2987 | 1719.9463 | 0.8473 | 606.4576
ON | 10:51 | 1215 | 1.5934 | 655.9161 | 4.5354 | 1813.0973 | 0.8522 | 609.2786
ON | 10:51 | 1220 | 1.635 | 672.2657 | 5.0137 | 2001.3275 | 0.8413 | 603.0032
ON | 10:51 | 1225 | 1.6765 | 688.576 | 4.343 | 1737.3802 | 0.8506 | 608.3574
ON | 10:52 | 1230 | 1.5902 | 654.6584 | 4.0254 | 1612.392 | 0.85 | 608.012
ON | 10:52 | 1235 | 1.5962 | 657.0165 | 5.0143 | 2001.5636 | 0.8456 | 605.4788
ON | 10:52 | 1240 | 1.6312 | 670.7722 | 5.0148 | 2001.7604 | 0.8418 | 603.2911
ON | 10:52 | 1245 | 1.6771 | 688.8118 | 5.0154 | 2001.9965 | 0.8478 | 606.7454
ON | 10:52 | 1250 | 1.6935 | 695.2574 | 5.0132 | 2001.1307 | 0.8407 | 602.6578
ON | 10:52 | 1255 | 1.6197 | 666.2525 | 4.8984 | 1955.9523 | 0.8506 | 608.3574
ON | 10:52 | 1260 | 1.5994 | 658.2742 | 5.0121 | 2000.6979 | 0.8413 | 603.0032
ON | 10:52 | 1265 | 1.6547 | 680.0082 | 4.3572 | 1742.9685 | 0.8511 | 608.6453
ON | 10:52 | 1270 | 1.6339 | 671.8334 | 3.7658 | 1510.2289 | 0.8511 | 608.6453
ON | 10:52 | 1275 | 1.6333 | 671.5975 | 3.6614 | 1469.1434 | 0.8435 | 604.2698
ON | 10:52 | 1280 | 1.6913 | 694.3927 | 4.624 | 1847.965 | 0.8555 | 611.1784
ON | 10:52 | 1285 | 1.6224 | 667.3137 | 3.1054 | 1250.3352 | 0.8407 | 602.6578
ON | 10:53 | 1290 | 1.6809 | 690.3053 | 3.347 | 1345.4143 | 0.8429 | 603.9244
ON | 10:53 | 1295 | 1.6825 | 690.9342 | 5.0165 | 2002.4294 | 0.844 | 604.5577
ON | 10:53 | 1300 | 1.6459 | 676.5496 | 5.0159 | 2002.1933 | 0.8418 | 603.2911
ON | 10:53 | 1305 | 1.6421 | 675.0561 | 5.0055 | 1998.1004 | 0.8538 | 610.1997
ON | 10:53 | 1310 | 1.653 | 679.3401 | 5.0126 | 2000.8946 | 0.8424 | 603.6365
ON | 10:53 | 1315 | 1.6208 | 666.6848 | 5.0033 | 1997.2348 | 0.8429 | 603.9244
ON | 10:53 | 1320 | 1.6514 | 678.7112 | 5.0132 | 2001.1307 | 0.8538 | 610.1997
ON | 10:53 | 1325 | 1.665 | 684.0563 | 5.0143 | 2001.5636 | 0.8462 | 605.8243
ON | 10:53 | 1330 | 1.6907 | 694.1569 | 4.7366 | 1892.2775 | 0.8566 | 611.8117
ON | 10:53 | 1335 | 1.6645 | 683.8598 | 5.0115 | 2000.4617 | 0.8555 | 611.1784
ON | 10:53 | 1340 | 1.6142 | 664.0909 | 5.0137 | 2001.3275 | 0.8517 | 608.9907
ON | 10:53 | 1345 | 1.5803 | 650.7675 | 4.1916 | 1677.7982 | 0.8648 | 616.5326
ON | 10:54 | 1350 | 1.5672 | 645.6189 | 3.8833 | 1556.4699 | 0.862 | 614.9206
ON | 10:54 | 1355 | 1.588 | 653.7938 | 4.9738 | 1985.6253 | 0.8599 | 613.7116
ON | 10:54 | 1360 | 1.6071 | 661.3004 | 5.0126 | 2000.8946 | 0.8549 | 610.833
ON | 10:54 | 1365 | 1.6011 | 658.9423 | 4.747 | 1896.3705 | 0.8511 | 608.6453
ON | 10:54 | 1370 | 1.6022 | 659.3747 | 3.6788 | 1475.991 | 0.8577 | 612.445
ON | 10:54 | 1375 | 1.665 | 684.0563 | 4.1943 | 1678.8609 | 0.8577 | 612.445
ON | 10:54 | 1380 | 1.659 | 681.6982 | 4.0139 | 1607.8661 | 0.8555 | 611.1784
ON | 10:54 | 1385 | 1.6596 | 681.934 | 4.7809 | 1909.7114 | 0.8582 | 612.7329
ON | 10:54 | 1390 | 1.6574 | 681.0694 | 4.1457 | 1659.7348 | 0.8588 | 613.0783
ON | 10:54 | 1395 | 1.6579 | 681.2659 | 3.6635 | 1469.9698 | 0.8626 | 615.2661
ON | 10:54 | 1400 | 1.6262 | 668.8071 | 3.8669 | 1550.0158 | 0.8626 | 615.2661
ON | 10:54 | 1405 | 1.5164 | 625.6535 | 3.3241 | 1336.4023 | 0.8615 | 614.6328
ON | 10:55 | 1410 | 1.5672 | 645.6189 | 3.3011 | 1327.3509 | 0.8577 | 612.445
ON | 10:55 | 1415 | 1.7328 | 710.7031 | 3.6925 | 1481.3825 | 0.8609 | 614.2873
ON | 10:55 | 1420 | 1.5721 | 647.5448 | 3.5968 | 1443.7207 | 0.8467 | 606.1121
ON | 10:55 | 1425 | 1.6661 | 684.4886 | 3.9041 | 1564.6555 | 0.8473 | 606.4576
ON | 10:55 | 1430 | 1.5535 | 640.2346 | 3.5701 | 1433.2132 | 0.8451 | 605.191
ON | 10:55 | 1435 | 1.5962 | 657.0165 | 4.0391 | 1617.7835 | 0.8445 | 604.8455
ON | 10:55 | 1440 | 1.6016 | 659.1389 | 5.0132 | 2001.1307 | 0.844 | 604.5577
ON | 10:55 | 1445 | 1.7175 | 704.6898 | 4.4091 | 1763.3932 | 0.8456 | 605.4788
ON | 10:55 | 1450 | 1.6016 | 659.1389 | 3.7062 | 1486.7739 | 0.8473 | 606.4576
ON | 10:55 | 1455 | 1.588 | 653.7938 | 4.2107 | 1685.3149 | 0.856 | 611.4663
ON | 10:55 | 1460 | 1.6208 | 666.6848 | 3.569 | 1432.7803 | 0.8544 | 610.5452
ON | 10:55 | 1465 | 1.5333 | 632.2956 | 4.6617 | 1862.8013 | 0.8538 | 610.1997
ON | 10:56 | 1470 | 1.5934 | 655.9161 | 4.3632 | 1745.3298 | 0.8538 | 610.1997
ON | 10:56 | 1475 | 1.5574 | 641.7673 | 4.4217 | 1768.3518 | 0.8593 | 613.3662
ON | 10:56 | 1480 | 1.5967 | 657.213 | 5.017 | 2002.6263 | 0.8571 | 612.0996
ON | 10:56 | 1485 | 1.6191 | 666.0167 | 5.0001 | 1995.9754 | 0.85 | 608.012
ON | 10:56 | 1490 | 1.5563 | 641.335 | 5.0143 | 2001.5636 | 0.8522 | 609.2786
ON | 10:56 | 1495 | 1.5497 | 638.7411 | 5.0093 | 1999.596 | 0.8462 | 605.8243
ON | 10:56 | 1500 | 1.5863 | 653.1256 | 4.1369 | 1656.2716 | 0.844 | 604.5577
ON | 10:56 | 1505 | 1.5716 | 647.3482 | 4.2435 | 1698.2231 | 0.8451 | 605.191
ON | 10:56 | 1510 | 1.5503 | 638.9769 | 4.3485 | 1739.5446 | 0.8478 | 606.7454
ON | 10:56 | 1515 | 1.6131 | 663.6586 | 5.0121 | 2000.6979 | 0.8445 | 604.8455
ON | 10:56 | 1520 | 1.6618 | 682.7986 | 5.0186 | 2003.2558 | 0.8473 | 606.4576
ON | 10:56 | 1525 | 1.6716 | 686.6502 | 5.0115 | 2000.4617 | 0.856 | 611.4663
ON | 10:57 | 1530 | 1.6115 | 663.0297 | 5.0137 | 2001.3275 | 0.8517 | 608.9907
ON | 10:57 | 1535 | 1.6153 | 664.5232 | 4.8262 | 1927.5388 | 0.8522 | 609.2786
ON | 10:57 | 1540 | 1.6328 | 671.401 | 5.0121 | 2000.6979 | 0.8604 | 613.9995
ON | 10:57 | 1545 | 1.6044 | 660.2393 | 5.0115 | 2000.4617 | 0.8467 | 606.1121
ON | 10:57 | 1550 | 1.641 | 674.6238 | 5.0186 | 2003.2558 | 0.8517 | 608.9907
ON | 10:57 | 1555 | 1.6486 | 677.6108 | 4.4993 | 1798.8905 | 0.85 | 608.012
ON | 10:57 | 1560 | 1.6317 | 670.9687 | 4.7809 | 1909.7114 | 0.8577 | 612.445
ON | 10:57 | 1565 | 1.6727 | 687.0826 | 4.4026 | 1760.8351 | 0.8544 | 610.5452
ON | 10:57 | 1570 | 1.6055 | 660.6716 | 4.0609 | 1626.3627 | 0.8489 | 607.3787
ON | 10:57 | 1575 | 1.6016 | 659.1389 | 4.865 | 1942.808 | 0.8653 | 616.8205
ON | 10:57 | 1580 | 1.6066 | 661.104 | 4.8721 | 1945.6022 | 0.8571 | 612.0996
ON | 10:57 | 1585 | 1.6137 | 663.8944 | 5.0115 | 2000.4617 | 0.8577 | 612.445
ON | 10:58 | 1590 | 1.6886 | 693.3315 | 4.9804 | 1988.2227 | 0.8599 | 613.7116
ON | 10:58 | 1595 | 1.594 | 656.1519 | 4.4337 | 1773.0743 | 0.8549 | 610.833
ON | 10:58 | 1600 | 1.5809 | 651.0033 | 3.9948 | 1600.3496 | 0.8527 | 609.5664
ON | 10:58 | 1605 | 1.612 | 663.2262 | 4.5004 | 1799.3234 | 0.8582 | 612.7329
ON | 10:58 | 1610 | 1.6432 | 675.4885 | 4.4704 | 1787.5172 | 0.8609 | 614.2873
ON | 10:58 | 1615 | 1.6186 | 665.8202 | 4.5092 | 1802.7866 | 0.8588 | 613.0783
ON | 10:58 | 1620 | 1.5705 | 646.9159 | 4.6497 | 1858.079 | 0.862 | 614.9206
ON | 10:58 | 1625 | 1.6071 | 661.3004 | 5.0132 | 2001.1307 | 0.8582 | 612.7329
ON | 10:58 | 1630 | 1.641 | 674.6238 | 4.3047 | 1722.3076 | 0.8593 | 613.3662
ON | 10:58 | 1635 | 1.6831 | 691.17 | 5.0154 | 2001.9965 | 0.8609 | 614.2873
ON | 10:58 | 1640 | 1.6344 | 672.0299 | 5.0115 | 2000.4617 | 0.8653 | 616.8205
ON | 10:58 | 1645 | 1.6213 | 666.8813 | 5.011 | 2000.265 | 0.8675 | 618.0871
ON | 10:59 | 1650 | 1.612 | 663.2262 | 4.7338 | 1891.1756 | 0.8609 | 614.2873
ON | 10:59 | 1655 | 1.5776 | 649.7064 | 5.0126 | 2000.8946 | 0.8702 | 619.6415
ON | 10:59 | 1660 | 1.5601 | 642.8285 | 5.0126 | 2000.8946 | 0.862 | 614.9206
ON | 10:59 | 1665 | 1.5847 | 652.4968 | 4.2769 | 1711.3672 | 0.8588 | 613.0783
ON | 10:59 | 1670 | 1.5863 | 653.1256 | 5.0115 | 2000.4617 | 0.8588 | 613.0783
ON | 10:59 | 1675 | 1.5541 | 640.4704 | 2.9305 | 1181.505 | 0.8642 | 616.1872
ON | 10:59 | 1680 | 1.6246 | 668.1783 | 3.7925 | 1520.7365 | 0.8604 | 613.9995
ON | 10:59 | 1685 | 1.6618 | 682.7986 | 3.4728 | 1394.9217 | 0.8593 | 613.3662
ON | 10:59 | 1690 | 1.6394 | 673.995 | 4.1205 | 1649.8176 | 0.8599 | 613.7116
ON | 10:59 | 1695 | 1.5639 | 644.322 | 4.3862 | 1754.3811 | 0.8609 | 614.2873
ON | 10:59 | 1700 | 1.5967 | 657.213 | 5.0115 | 2000.4617 | 0.8631 | 615.5539
ON | 10:59 | 1705 | 1.6322 | 671.1652 | 5.0132 | 2001.1307 | 0.8571 | 612.0996
ON | 11:00 | 1710 | 1.6268 | 669.0429 | 5.0154 | 2001.9965 | 0.8582 | 612.7329
ON | 11:00 | 1715 | 1.6875 | 692.8992 | 5.0115 | 2000.4617 | 0.8577 | 612.445
ON | 11:00 | 1720 | 1.7044 | 699.5413 | 4.6644 | 1863.864 | 0.8555 | 611.1784
ON | 11:00 | 1725 | 1.676 | 688.3795 | 3.8904 | 1559.264 | 0.8495 | 607.7241
ON | 11:00 | 1730 | 1.6219 | 667.1171 | 4.8995 | 1956.3852 | 0.8495 | 607.7241
ON | 11:00 | 1735 | 1.5765 | 649.2741 | 4.835 | 1931.0019 | 0.8566 | 611.8117
ON | 11:00 | 1740 | 1.6208 | 666.6848 | 4.2637 | 1706.1725 | 0.8686 | 618.7204
ON | 11:00 | 1745 | 1.5787 | 650.1387 | 4.7896 | 1913.1351 | 0.8659 | 617.1659
ON | 11:00 | 1750 | 1.6568 | 680.8335 | 4.208 | 1684.2524 | 0.8648 | 616.5326
ON | 11:00 | 1755 | 1.5847 | 652.4968 | 4.0298 | 1614.1235 | 0.8615 | 614.6328
ON | 11:00 | 1760 | 1.5568 | 641.5315 | 4.4452 | 1777.6 | 0.8506 | 608.3574
ON | 11:00 | 1765 | 1.647 | 676.9819 | 5.0159 | 2002.1933 | 0.862 | 614.9206
ON | 11:01 | 1770 | 1.5694 | 646.4836 | 3.6532 | 1465.9163 | 0.8604 | 613.9995
ON | 11:01 | 1775 | 1.5825 | 651.6321 | 3.9986 | 1601.845 | 0.8538 | 610.1997
ON | 11:01 | 1780 | 1.6011 | 658.9423 | 5.0132 | 2001.1307 | 0.8664 | 617.4538
ON | 11:01 | 1785 | 1.5978 | 657.6454 | 4.964 | 1981.7687 | 0.8702 | 619.6415
ON | 11:01 | 1790 | 1.5836 | 652.0645 | 4.6453 | 1856.3473 | 0.862 | 614.9206
ON | 11:01 | 1795 | 1.5585 | 642.1997 | 4.7399 | 1893.5763 | 0.8648 | 616.5326
ON | 11:01 | 1800 | 1.5809 | 651.0033 | 3.974 | 1592.164 | 0.8719 | 620.6203
ON | 11:01 | 1805 | 1.5973 | 657.4489 | 4.5496 | 1818.6856 | 0.867 | 617.7992
ON | 11:01 | 1810 | 1.6175 | 665.3878 | 4.8776 | 1947.7668 | 0.8697 | 619.3537
ON | 11:01 | 1815 | 1.5967 | 657.213 | 4.8022 | 1918.0937 | 0.873 | 621.2536
ON | 11:01 | 1820 | 1.6328 | 671.401 | 4.9301 | 1968.4275 | 0.8631 | 615.5539
ON | 11:01 | 1825 | 1.623 | 667.5495 | 3.6679 | 1471.7014 | 0.8582 | 612.7329
ON | 11:02 | 1830 | 1.6339 | 671.8334 | 4.2102 | 1685.118 | 0.8648 | 616.5326
ON | 11:02 | 1835 | 1.6322 | 671.1652 | 4.3135 | 1725.7708 | 0.867 | 617.7992
ON | 11:02 | 1840 | 1.5754 | 648.8417 | 4.1041 | 1643.3636 | 0.8659 | 617.1659
ON | 11:02 | 1845 | 1.6355 | 672.4622 | 5.0126 | 2000.8946 | 0.8615 | 614.6328
ON | 11:02 | 1850 | 1.6301 | 670.3399 | 5.0115 | 2000.4617 | 0.8571 | 612.0996
ON | 11:02 | 1855 | 1.6 | 658.51 | 4.9219 | 1965.2004 | 0.8653 | 616.8205
ON | 11:02 | 1860 | 1.6486 | 677.6108 | 4.1817 | 1673.9023 | 0.8577 | 612.445
ON | 11:02 | 1865 | 1.624 | 667.9425 | 4.6048 | 1840.4091 | 0.8582 | 612.7329
ON | 11:02 | 1870 | 1.647 | 676.9819 | 4.5245 | 1808.8077 | 0.8593 | 613.3662
ON | 11:02 | 1875 | 1.6366 | 672.8945 | 3.8827 | 1556.2337 | 0.8686 | 618.7204
ON | 11:02 | 1880 | 1.6279 | 669.4753 | 3.6712 | 1473.0001 | 0.8599 | 613.7116
ON | 11:02 | 1885 | 1.6279 | 669.4753 | 3.7587 | 1507.4348 | 0.8626 | 615.2661
ON | 11:03 | 1890 | 1.6443 | 675.9208 | 3.4974 | 1404.6028 | 0.8582 | 612.7329
ON | 11:03 | 1895 | 1.612 | 663.2262 | 3.405 | 1368.2397 | 0.8604 | 613.9995
ON | 11:03 | 1900 | 1.6558 | 680.4405 | 4.4906 | 1795.4668 | 0.8626 | 615.2661
ON | 11:03 | 1905 | 1.6388 | 673.7592 | 4.8508 | 1937.2198 | 0.856 | 611.4663
ON | 11:03 | 1910 | 1.6312 | 670.7722 | 4.3971 | 1758.6707 | 0.8631 | 615.5539
ON | 11:03 | 1915 | 1.6219 | 667.1171 | 5.0099 | 1999.8321 | 0.8609 | 614.2873
ON | 11:03 | 1920 | 1.6689 | 685.5891 | 4.8924 | 1953.591 | 0.8577 | 612.445
ON | 11:03 | 1925 | 1.6049 | 660.4358 | 4.5863 | 1833.1285 | 0.8549 | 610.833
ON | 11:03 | 1930 | 1.5716 | 647.3482 | 3.9724 | 1591.5343 | 0.8522 | 609.2786
ON | 11:03 | 1935 | 1.5907 | 654.8549 | 4.1817 | 1673.9023 | 0.8626 | 615.2661
ON | 11:03 | 1940 | 1.6536 | 679.5759 | 4.9317 | 1969.0573 | 0.8609 | 614.2873
ON | 11:03 | 1945 | 1.5907 | 654.8549 | 4.7617 | 1902.1555 | 0.8538 | 610.1997
ON | 11:04 | 1950 | 1.6219 | 667.1171 | 5.0017 | 1996.605 | 0.856 | 611.4663
ON | 11:04 | 1955 | 1.541 | 635.3218 | 3.7466 | 1502.6729 | 0.85 | 608.012
ON | 11:04 | 1960 | 1.6618 | 682.7986 | 3.8969 | 1561.822 | 0.8609 | 614.2873
ON | 11:04 | 1965 | 1.6169 | 665.152 | 3.6018 | 1445.6884 | 0.8538 | 610.1997
ON | 11:04 | 1970 | 1.5699 | 646.6801 | 3.8751 | 1553.2428 | 0.85 | 608.012
ON | 11:04 | 1975 | 1.6033 | 659.807 | 3.9292 | 1574.5333 | 0.8484 | 607.0908
ON | 11:04 | 1980 | 1.5765 | 649.2741 | 3.9401 | 1578.8229 | 0.844 | 604.5577
ON | 11:04 | 1985 | 1.6164 | 664.9555 | 4.9126 | 1961.5406 | 0.8489 | 607.3787
ON | 11:04 | 1990 | 1.6776 | 689.0084 | 4.0757 | 1632.1869 | 0.8473 | 606.4576
ON | 11:04 | 1995 | 1.6891 | 693.5281 | 5.0055 | 1998.1004 | 0.8549 | 610.833
ON | 11:04 | 2000 | 1.6957 | 696.122 | 5.0154 | 2001.9965 | 0.8555 | 611.1784
ON | 11:04 | 2005 | 1.6366 | 672.8945 | 5.0115 | 2000.4617 | 0.8538 | 610.1997
ON | 11:05 | 2010 | 1.5951 | 656.5842 | 5.0126 | 2000.8946 | 0.862 | 614.9206
ON | 11:05 | 2015 | 1.5781 | 649.9029 | 4.9241 | 1966.0663 | 0.8582 | 612.7329
ON | 11:05 | 2020 | 1.594 | 656.1519 | 5.0143 | 2001.5636 | 0.8566 | 611.8117
ON | 11:05 | 2025 | 1.5934 | 655.9161 | 5.0132 | 2001.1307 | 0.8653 | 616.8205
ON | 11:05 | 2030 | 1.6016 | 659.1389 | 5.0143 | 2001.5636 | 0.8566 | 611.8117
ON | 11:05 | 2035 | 1.5962 | 657.0165 | 5.0148 | 2001.7604 | 0.8599 | 613.7116
ON | 11:05 | 2040 | 1.6711 | 686.4537 | 4.1555 | 1663.5914 | 0.8664 | 617.4538
ON | 11:05 | 2045 | 1.6771 | 688.8118 | 4.1932 | 1678.428 | 0.862 | 614.9206
ON | 11:05 | 2050 | 1.629 | 669.9076 | 4.8858 | 1950.9937 | 0.8631 | 615.5539
ON | 11:05 | 2055 | 1.6197 | 666.2525 | 4.419 | 1767.2893 | 0.8637 | 615.8993
ON | 11:05 | 2060 | 1.6618 | 682.7986 | 4.9399 | 1972.2842 | 0.8604 | 613.9995
ON | 11:05 | 2065 | 1.6623 | 682.9951 | 5.0165 | 2002.4294 | 0.8593 | 613.3662
ON | 11:06 | 2070 | 1.6853 | 692.0346 | 5.0093 | 1999.596 | 0.867 | 617.7992
ON | 11:06 | 2075 | 1.7142 | 703.3929 | 5.0154 | 2001.9965 | 0.8577 | 612.445
ON | 11:06 | 2080 | 1.6131 | 663.6586 | 4.8076 | 1920.2189 | 0.8588 | 613.0783
ON | 11:06 | 2085 | 1.6366 | 672.8945 | 4.6453 | 1856.3473 | 0.8615 | 614.6328
ON | 11:06 | 2090 | 1.6317 | 670.9687 | 5.0115 | 2000.4617 | 0.867 | 617.7992
ON | 11:06 | 2095 | 1.6355 | 672.4622 | 5.0132 | 2001.1307 | 0.8664 | 617.4538
ON | 11:06 | 2100 | 1.6322 | 671.1652 | 5.0126 | 2000.8946 | 0.8522 | 609.2786
ON | 11:06 | 2105 | 1.5951 | 656.5842 | 5.0126 | 2000.8946 | 0.8549 | 610.833
ON | 11:06 | 2110 | 1.6142 | 664.0909 | 5.011 | 2000.265 | 0.8631 | 615.5539
ON | 11:06 | 2115 | 1.6366 | 672.8945 | 5.0154 | 2001.9965 | 0.8604 | 613.9995
ON | 11:06 | 2120 | 1.6579 | 681.2659 | 4.4081 | 1762.9997 | 0.8527 | 609.5664
ON | 11:06 | 2125 | 1.6312 | 670.7722 | 4.0877 | 1636.9094 | 0.8538 | 610.1997
ON | 11:07 | 2130 | 1.6246 | 668.1783 | 5.0088 | 1999.3992 | 0.8631 | 615.5539
ON | 11:07 | 2135 | 1.6443 | 675.9208 | 5.0159 | 2002.1933 | 0.8631 | 615.5539
ON | 11:07 | 2140 | 1.6279 | 669.4753 | 4.1752 | 1671.3442 | 0.8664 | 617.4538
ON | 11:07 | 2145 | 1.5459 | 637.2476 | 4.3157 | 1726.6366 | 0.8604 | 613.9995
ON | 11:07 | 2150 | 1.6049 | 660.4358 | 3.9729 | 1591.731 | 0.8588 | 613.0783
ON | 11:07 | 2155 | 1.6558 | 680.4405 | 3.9183 | 1570.2437 | 0.8571 | 612.0996
ON | 11:07 | 2160 | 1.706 | 700.1701 | 4.196 | 1679.5299 | 0.8495 | 607.7241
ON | 11:07 | 2165 | 1.6924 | 694.825 | 4.8902 | 1952.7254 | 0.8599 | 613.7116
ON | 11:07 | 2170 | 1.6279 | 669.4753 | 5.0165 | 2002.4294 | 0.8604 | 613.9995
ON | 11:07 | 2175 | 1.6804 | 690.1088 | 5.0148 | 2001.7604 | 0.8517 | 608.9907
ON | 11:07 | 2180 | 1.6623 | 682.9951 | 4.8197 | 1924.9806 | 0.8626 | 615.2661
ON | 11:07 | 2185 | 1.6765 | 688.576 | 5.011 | 2000.265 | 0.8549 | 610.833
ON | 11:08 | 2190 | 1.6536 | 679.5759 | 5.0159 | 2002.1933 | 0.862 | 614.9206
ON | 11:08 | 2195 | 1.6804 | 690.1088 | 4.9897 | 1991.8825 | 0.8571 | 612.0996
ON | 11:08 | 2200 | 1.6574 | 681.0694 | 4.8437 | 1934.4257 | 0.8642 | 616.1872
ON | 11:08 | 2205 | 1.6519 | 678.9078 | 5.0126 | 2000.8946 | 0.8708 | 619.987
ON | 11:08 | 2210 | 1.6541 | 679.7724 | 5.0137 | 2001.3275 | 0.8609 | 614.2873
ON | 11:08 | 2215 | 1.6749 | 687.9472 | 5.0115 | 2000.4617 | 0.8582 | 612.7329
ON | 11:08 | 2220 | 1.7361 | 712 | 3.8385 | 1538.8393 | 0.8566 | 611.8117
ON | 11:08 | 2225 | 1.6814 | 690.5018 | 4.4031 | 1761.032 | 0.8571 | 612.0996
ON | 11:08 | 2230 | 1.6814 | 690.5018 | 5.0165 | 2002.4294 | 0.8599 | 613.7116
ON | 11:08 | 2235 | 1.7301 | 709.6419 | 4.7153 | 1883.8952 | 0.8533 | 609.9119
ON | 11:08 | 2240 | 1.6596 | 681.934 | 5.0165 | 2002.4294 | 0.8549 | 610.833
ON | 11:08 | 2245 | 1.694 | 695.4539 | 5.0126 | 2000.8946 | 0.8462 | 605.8243
ON | 11:09 | 2250 | 1.5973 | 657.4489 | 4.712 | 1882.5964 | 0.8522 | 609.2786
ON | 11:09 | 2255 | 1.6011 | 658.9423 | 4.554 | 1820.4171 | 0.8478 | 606.7454
ON | 11:09 | 2260 | 1.6312 | 670.7722 | 3.939 | 1578.39 | 0.8456 | 605.4788
ON | 11:09 | 2265 | 1.629 | 669.9076 | 3.3973 | 1365.2094 | 0.8544 | 610.5452
ON | 11:09 | 2270 | 1.6224 | 667.3137 | 2.8135 | 1135.4608 | 0.8533 | 609.9119
ON | 11:09 | 2275 | 1.6415 | 674.8203 | 2.632 | 1064.0333 | 0.8429 | 603.9244
ON | 11:09 | 2280 | 1.6886 | 693.3315 | 2.3139 | 938.8482 | 0.8456 | 605.4788
ON | 11:09 | 2285 | 1.6137 | 663.8944 | 2.1953 | 892.1744 | 0.8538 | 610.1997
ON | 11:09 | 2290 | 1.6443 | 675.9208 | 1.9329 | 788.9094 | 0.85 | 608.012
ON | 11:09 | 2295 | 1.6268 | 669.0429 | 1.9154 | 782.0225 | 0.8599 | 613.7116
ON | 11:09 | 2300 | 1.6142 | 664.0909 | 1.8914 | 772.5775 | 0.8626 | 615.2661
ON | 11:09 | 2305 | 1.5923 | 655.4838 | 1.911 | 780.2909 | 0.8549 | 610.833
ON | 11:10 | 2310 | 1.5634 | 644.1255 | 1.8427 | 753.4122 | 0.8593 | 613.3662
ON | 11:10 | 2315 | 1.5399 | 634.8895 | 1.7705 | 724.9985 | 0.8664 | 617.4538
ON | 11:10 | 2320 | 1.5349 | 632.9244 | 1.7405 | 713.1924 | 0.8582 | 612.7329
ON | 11:10 | 2325 | 1.5032 | 620.4657 | 1.7203 | 705.2428 | 0.8571 | 612.0996
ON | 11:10 | 2330 | 1.4874 | 614.256 | 1.7088 | 700.7171 | 0.8511 | 608.6453
ON | 11:10 | 2335 | 1.4857 | 613.5878 | 1.6486 | 677.026 | 0.8577 | 612.445
ON | 11:10 | 2340 | 1.4901 | 615.3171 | 1.6656 | 683.7162 | 0.8566 | 611.8117
ON | 11:10 | 2345 | 1.4841 | 612.959 | 1.6213 | 666.2824 | 0.8506 | 608.3574
ON | 11:10 | 2350 | 1.4409 | 595.9805 | 1.612 | 662.6225 | 0.85 | 608.012
ON | 11:10 | 2355 | 1.4863 | 613.8236 | 1.5683 | 645.4248 | 0.8517 | 608.9907
ON | 11:10 | 2360 | 1.4387 | 595.1159 | 1.5563 | 640.7023 | 0.8467 | 606.1121
ON | 11:10 | 2365 | 1.4322 | 592.5612 | 1.5601 | 642.1977 | 0.8407 | 602.6578
ON | 11:11 | 2370 | 1.4284 | 591.0678 | 1.5306 | 630.5883 | 0.8336 | 598.5702
ON | 11:11 | 2375 | 1.4021 | 580.7313 | 1.524 | 627.991 | 0.8303 | 596.6703
ON | 11:11 | 2380 | 1.4393 | 595.3517 | 1.5093 | 622.2059 | 0.8331 | 598.2823
ON | 11:11 | 2385 | 1.4048 | 581.7925 | 1.5043 | 620.2382 | 0.832 | 597.6491
ON | 11:11 | 2390 | 1.4027 | 580.9671 | 1.4732 | 607.9991 | 0.8281 | 595.4037
ON | 11:11 | 2395 | 1.3956 | 578.1767 | 1.4672 | 605.6379 | 0.8281 | 595.4037
OFF | 11:11 | 2400 | 1.3567 | 562.8882 | 1.4606 | 603.0405 | 0.8221 | 591.9494
OFF | 11:11 | 2405 | 1.3655 | 566.3468 | 1.436 | 593.3594 | 0.82 | 590.7404
OFF | 11:11 | 2410 | 1.3628 | 565.2857 | 1.4371 | 593.7924 | 0.8068 | 583.1409
OFF | 11:11 | 2415 | 1.3518 | 560.9624 | 1.4081 | 582.3797 | 0.8052 | 582.2197
OFF | 11:11 | 2420 | 1.3475 | 559.2724 | 1.389 | 574.8631 | 0.8019 | 580.3199
OFF | 11:11 | 2425 | 1.3316 | 553.0234 | 1.3835 | 572.6986 | 0.8046 | 581.8743
OFF | 11:12 | 2430 | 1.33 | 552.3946 | 1.372 | 568.1729 | 0.8052 | 582.2197
OFF | 11:12 | 2435 | 1.3311 | 552.8269 | 1.3737 | 568.8419 | 0.7986 | 578.42
OFF | 11:12 | 2440 | 1.3234 | 549.8007 | 1.3759 | 569.7077 | 0.8052 | 582.2197
OFF | 11:12 | 2445 | 1.3207 | 548.7395 | 1.3535 | 560.8924 | 0.8008 | 579.6866
OFF | 11:12 | 2450 | 1.2961 | 539.0712 | 1.348 | 558.7279 | 0.8014 | 580.032
OFF | 11:12 | 2455 | 1.2988 | 540.1324 | 1.3305 | 551.841 | 0.7904 | 573.6991
OFF | 11:12 | 2460 | 1.2791 | 532.3899 | 1.3289 | 551.2113 | 0.7861 | 571.2235
OFF | 11:12 | 2465 | 1.2851 | 534.748 | 1.3261 | 550.1094 | 0.7866 | 571.5113
OFF | 11:12 | 2470 | 1.2802 | 532.8222 | 1.3267 | 550.3455 | 0.7839 | 569.9569
OFF | 11:12 | 2475 | 1.2742 | 530.4641 | 1.3223 | 548.6139 | 0.774 | 564.2573
OFF | 11:12 | 2480 | 1.2731 | 530.0318 | 1.3114 | 544.3244 | 0.7669 | 560.1697
OFF | 11:12 | 2485 | 1.2726 | 529.8353 | 1.3043 | 541.5302 | 0.7642 | 558.6152
OFF | 11:13 | 2490 | 1.2633 | 526.1801 | 1.2999 | 539.7987 | 0.7522 | 551.7066
OFF | 11:13 | 2495 | 1.2644 | 526.6125 | 1.3004 | 539.9954 | 0.7489 | 549.8067
OFF | 11:13 | 2500 | 1.2512 | 521.4246 | 1.2879 | 535.0762 | 0.7576 | 554.8155
OFF | 11:13 | 2505 | 1.2534 | 522.2893 | 1.2868 | 534.6433 | 0.7456 | 547.9068
OFF | 11:13 | 2510 | 1.2512 | 521.4246 | 1.2769 | 530.7472 | 0.7467 | 548.5401
OFF | 11:13 | 2515 | 1.2441 | 518.6342 | 1.2742 | 529.6847 | 0.7369 | 542.8981
OFF | 11:13 | 2520 | 1.2436 | 518.4377 | 1.2567 | 522.7977 | 0.7401 | 544.7404
OFF | 11:13 | 2525 | 1.2343 | 514.7826 | 1.2556 | 522.3648 | 0.744 | 546.9857
OFF | 11:13 | 2530 | 1.2245 | 510.931 | 1.2622 | 524.9622 | 0.7369 | 542.8981
OFF | 11:13 | 2535 | 1.2327 | 514.1538 | 1.2545 | 521.9319 | 0.7303 | 539.0983
OFF | 11:13 | 2540 | 1.2288 | 512.621 | 1.2556 | 522.3648 | 0.7358 | 542.2648
OFF | 11:13 | 2545 | 1.2299 | 513.0533 | 1.2512 | 520.6332 | 0.7303 | 539.0983
OFF | 11:14 | 2550 | 1.2359 | 515.4114 | 1.2529 | 521.3023 | 0.7352 | 541.9193
OFF | 11:14 | 2555 | 1.2299 | 513.0533 | 1.2469 | 518.941 | 0.7341 | 541.286
OFF | 11:14 | 2560 | 1.2212 | 509.634 | 1.2354 | 514.4153 | 0.7336 | 540.9982
OFF | 11:14 | 2565 | 1.2195 | 508.9659 | 1.2321 | 513.1166 | 0.7243 | 535.644
OFF | 11:14 | 2570 | 1.2141 | 506.8436 | 1.2305 | 512.487 | 0.7144 | 529.9444
OFF | 11:14 | 2575 | 1.2135 | 506.6078 | 1.225 | 510.3225 | 0.7183 | 532.1897
OFF | 11:14 | 2580 | 1.2239 | 510.6952 | 1.2261 | 510.7554 | 0.7144 | 529.9444
OFF | 11:14 | 2585 | 1.2174 | 508.1405 | 1.2234 | 509.6928 | 0.7073 | 525.8568
OFF | 11:14 | 2590 | 1.2135 | 506.6078 | 1.2212 | 508.827 | 0.7123 | 528.7354
OFF | 11:14 | 2595 | 1.2119 | 505.9789 | 1.2223 | 509.26 | 0.709 | 526.8355
OFF | 11:14 | 2600 | 1.1966 | 499.9657 | 1.219 | 507.9613 | 0.709 | 526.8355
OFF | 11:14 | 2605 | 1.1835 | 494.8172 | 1.219 | 507.9613 | 0.703 | 523.3812
OFF | 11:15 | 2610 | 1.1736 | 490.9263 | 1.2152 | 506.4658 | 0.7134 | 529.3687
OFF | 11:15 | 2615 | 1.1736 | 490.9263 | 1.2119 | 505.1671 | 0.7084 | 526.4901
OFF | 11:15 | 2620 | 1.1676 | 488.5682 | 1.2113 | 504.931 | 0.7019 | 522.7479
OFF | 11:15 | 2625 | 1.1742 | 491.1621 | 1.2086 | 503.8685 | 0.6904 | 516.1271
OFF | 11:15 | 2630 | 1.1703 | 489.6293 | 1.2042 | 502.1369 | 0.697 | 519.9269
OFF | 11:15 | 2635 | 1.1687 | 489.0005 | 1.201 | 500.8775 | 0.6942 | 518.3148
OFF | 11:15 | 2640 | 1.16 | 485.5812 | 1.196 | 498.9098 | 0.6893 | 515.4938
OFF | 11:15 | 2645 | 1.1605 | 485.7777 | 1.1971 | 499.3427 | 0.6931 | 517.6815
OFF | 11:15 | 2650 | 1.1621 | 486.4065 | 1.1988 | 500.0117 | 0.6997 | 521.4813
OFF | 11:15 | 2655 | 1.1643 | 487.2712 | 1.1933 | 497.8473 | 0.6877 | 514.5726
OFF | 11:15 | 2660 | 1.1643 | 487.2712 | 1.1933 | 497.8473 | 0.6948 | 518.6603
OFF | 11:15 | 2665 | 1.1578 | 484.7165 | 1.1895 | 496.3518 | 0.6877 | 514.5726
OFF | 11:16 | 2670 | 1.1583 | 484.9131 | 1.1867 | 495.2499 | 0.6915 | 516.7604
OFF | 11:16 | 2675 | 1.1556 | 483.8519 | 1.1878 | 495.6828 | 0.6904 | 516.1271
OFF | 11:16 | 2680 | 1.1572 | 484.4807 | 1.1895 | 496.3518 | 0.6871 | 514.2272
OFF | 11:16 | 2685 | 1.155 | 483.6161 | 1.1802 | 492.6919 | 0.6877 | 514.5726
OFF | 11:16 | 2690 | 1.1523 | 482.5549 | 1.1824 | 493.5577 | 0.6806 | 510.485
OFF | 11:16 | 2695 | 1.149 | 481.258 | 1.1769 | 491.3932 | 0.686 | 513.5939
OFF | 11:16 | 2700 | 1.1507 | 481.9261 | 1.1791 | 492.259 | 0.68 | 510.1396
OFF | 11:16 | 2705 | 1.1479 | 480.8257 | 1.1796 | 492.4558 | 0.6827 | 511.694
OFF | 11:16 | 2710 | 1.149 | 481.258 | 1.1731 | 489.8978 | 0.6756 | 507.6064
OFF | 11:16 | 2715 | 1.1452 | 479.7645 | 1.1747 | 490.5274 | 0.674 | 506.6853
OFF | 11:16 | 2720 | 1.1512 | 482.1226 | 1.1709 | 489.032 | 0.6822 | 511.4062
OFF | 11:16 | 2725 | 1.1496 | 481.4938 | 1.172 | 489.4649 | 0.6767 | 508.2397
OFF | 11:17 | 2730 | 1.1474 | 480.6292 | 1.1687 | 488.1662 | 0.6658 | 501.9644
OFF | 11:17 | 2735 | 1.1479 | 480.8257 | 1.1676 | 487.7333 | 0.6729 | 506.052
OFF | 11:17 | 2740 | 1.1507 | 481.9261 | 1.1692 | 488.3629 | 0.6729 | 506.052
OFF | 11:17 | 2745 | 1.1441 | 479.3322 | 1.1682 | 487.9694 | 0.6707 | 504.7854
OFF | 11:17 | 2750 | 1.1425 | 478.7034 | 1.166 | 487.1036 | 0.6724 | 505.7641
OFF | 11:17 | 2755 | 1.1474 | 480.6292 | 1.166 | 487.1036 | 0.6773 | 508.5851
OFF | 11:17 | 2760 | 1.1468 | 480.3934 | 1.1665 | 487.3004 | 0.6745 | 506.9731
OFF | 11:17 | 2765 | 1.1441 | 479.3322 | 1.1654 | 486.8675 | 0.6691 | 503.8642
OFF | 11:17 | 2770 | 1.1408 | 478.0352 | 1.1649 | 486.6707 | 0.6724 | 505.7641
OFF | 11:17 | 2775 | 1.1468 | 480.3934 | 1.1649 | 486.6707 | 0.668 | 503.2309
OFF | 11:17 | 2780 | 1.1436 | 479.1357 | 1.1671 | 487.5365 | 0.6658 | 501.9644
OFF | 11:17 | 2785 | 1.1408 | 478.0352 | 1.1632 | 486.0017 | 0.6669 | 502.5977
OFF | 11:18 | 2790 | 1.1447 | 479.568 | 1.1643 | 486.4346 | 0.668 | 503.2309
OFF | 11:18 | 2795 | 1.143 | 478.8999 | 1.161 | 485.1359 | 0.6658 | 501.9644
OFF | 11:18 | 2800 | 1.1414 | 478.271 | 1.1616 | 485.3721 | 0.6718 | 505.4187
OFF | 11:18 | 2805 | 1.1386 | 477.1706 | 1.1616 | 485.3721 | 0.6729 | 506.052
OFF | 11:18 | 2810 | 1.1408 | 478.0352 | 1.1621 | 485.5688 | 0.6718 | 505.4187
OFF | 11:18 | 2815 | 1.1425 | 478.7034 | 1.1578 | 483.8766 | 0.6696 | 504.1521
OFF | 11:18 | 2820 | 1.1452 | 479.7645 | 1.1616 | 485.3721 | 0.6713 | 505.1308
OFF | 11:18 | 2825 | 1.1441 | 479.3322 | 1.1605 | 484.9392 | 0.6631 | 500.4099
OFF | 11:18 | 2830 | 1.1386 | 477.1706 | 1.1583 | 484.0734 | 0.6745 | 506.9731
OFF | 11:18 | 2835 | 1.1414 | 478.271 | 1.161 | 485.1359 | 0.6663 | 502.2522
OFF | 11:18 | 2840 | 1.1468 | 480.3934 | 1.1632 | 486.0017 | 0.6674 | 502.8855
OFF | 11:18 | 2845 | 1.1408 | 478.0352 | 1.1589 | 484.3095 | 0.6735 | 506.3974
OFF | 11:19 | 2850 | 1.1425 | 478.7034 | 1.1605 | 484.9392 | 0.6696 | 504.1521
OFF | 11:19 | 2855 | 1.1414 | 478.271 | 1.16 | 484.7424 | 0.6745 | 506.9731
OFF | 11:19 | 2860 | 1.1425 | 478.7034 | 1.161 | 485.1359 | 0.6724 | 505.7641
OFF | 11:19 | 2865 | 1.1403 | 477.8387 | 1.1578 | 483.8766 | 0.6691 | 503.8642
OFF | 11:19 | 2870 | 1.1403 | 477.8387 | 1.1572 | 483.6405 | 0.6718 | 505.4187
OFF | 11:19 | 2875 | 1.1381 | 476.9741 | 1.1572 | 483.6405 | 0.6625 | 500.0645
OFF | 11:19 | 2880 | 1.1392 | 477.4064 | 1.1594 | 484.5063 | 0.6625 | 500.0645
OFF | 11:19 | 2885 | 1.1375 | 476.7383 | 1.1567 | 483.4437 | 0.6603 | 498.7979
OFF | 11:19 | 2890 | 1.1354 | 475.9129 | 1.1528 | 481.9089 | 0.6581 | 497.5313
OFF | 11:19 | 2895 | 1.1343 | 475.4806 | 1.1523 | 481.7121 | 0.6581 | 497.5313
OFF | 11:19 | 2900 | 1.1343 | 475.4806 | 1.1539 | 482.3418 | 0.6631 | 500.4099
OFF | 11:19 | 2905 | 1.1321 | 474.6159 | 1.1528 | 481.9089 | 0.6658 | 501.9644
OFF | 11:20 | 2910 | 1.1321 | 474.6159 | 1.1518 | 481.5154 | 0.6614 | 499.4312
OFF | 11:20 | 2915 | 1.1315 | 474.3801 | 1.1501 | 480.8464 | 0.6581 | 497.5313
OFF | 11:20 | 2920 | 1.1343 | 475.4806 | 1.1501 | 480.8464 | 0.6631 | 500.4099
OFF | 11:20 | 2925 | 1.131 | 474.1836 | 1.1512 | 481.2793 | 0.6581 | 497.5313
OFF | 11:20 | 2930 | 1.1315 | 474.3801 | 1.1479 | 479.9806 | 0.6587 | 497.8768
OFF | 11:20 | 2935 | 1.1321 | 474.6159 | 1.1485 | 480.2167 | 0.6636 | 500.6978
OFF | 11:20 | 2940 | 1.1321 | 474.6159 | 1.1501 | 480.8464 | 0.6614 | 499.4312
OFF | 11:20 | 2945 | 1.1337 | 475.2448 | 1.1468 | 479.5477 | 0.6642 | 501.0432
OFF | 11:20 | 2950 | 1.1337 | 475.2448 | 1.1479 | 479.9806 | 0.6571 | 496.9556
OFF | 11:20 | 2955 | 1.131 | 474.1836 | 1.1447 | 478.7213 | 0.6636 | 500.6978
OFF | 11:20 | 2960 | 1.1293 | 473.5155 | 1.1474 | 479.7838 | 0.6625 | 500.0645
OFF | 11:20 | 2965 | 1.1283 | 473.1224 | 1.1452 | 478.918 | 0.6587 | 497.8768
OFF | 11:21 | 2970 | 1.1315 | 474.3801 | 1.1436 | 478.2883 | 0.6636 | 500.6978
OFF | 11:21 | 2975 | 1.1304 | 473.9478 | 1.143 | 478.0522 | 0.668 | 503.2309
OFF | 11:21 | 2980 | 1.1326 | 474.8124 | 1.1479 | 479.9806 | 0.6735 | 506.3974
OFF | 11:21 | 2985 | 1.1299 | 473.7513 | 1.1441 | 478.4851 | 0.6806 | 510.485
OFF | 11:21 | 2990 | 1.1315 | 474.3801 | 1.1463 | 479.3509 | 0.6696 | 504.1521
OFF | 11:21 | 2995 | 1.131 | 474.1836 | 1.1457 | 479.1148 | 0.6696 | 504.1521
OFF | 11:21 | 3000 | 1.1315 | 474.3801 | 1.1441 | 478.4851 | 0.6735 | 506.3974
OFF | 11:21 | 3005 | 1.1321 | 474.6159 | 1.1468 | 479.5477 | 0.6696 | 504.1521
OFF | 11:21 | 3010 | 1.1315 | 474.3801 | 1.1425 | 477.8555 | 0.6587 | 497.8768
OFF | 11:21 | 3015 | 1.1304 | 473.9478 | 1.1441 | 478.4851 | 0.6642 | 501.0432
OFF | 11:21 | 3020 | 1.1326 | 474.8124 | 1.1414 | 477.4225 | 0.6669 | 502.5977
OFF | 11:21 | 3025 | 1.1343 | 475.4806 | 1.143 | 478.0522 | 0.6532 | 494.7103
OFF | 11:22 | 3030 | 1.1332 | 475.0483 | 1.1414 | 477.4225 | 0.6625 | 500.0645
OFF | 11:22 | 3035 | 1.131 | 474.1836 | 1.1447 | 478.7213 | 0.6658 | 501.9644
OFF | 11:22 | 3040 | 1.131 | 474.1836 | 1.1419 | 477.6193 | 0.6543 | 495.3436
OFF | 11:22 | 3045 | 1.1299 | 473.7513 | 1.1452 | 478.918 | 0.656 | 496.3223
OFF | 11:22 | 3050 | 1.1359 | 476.1094 | 1.143 | 478.0522 | 0.6581 | 497.5313
OFF | 11:22 | 3055 | 1.1343 | 475.4806 | 1.1441 | 478.4851 | 0.651 | 493.4437
OFF | 11:22 | 3060 | 1.1332 | 475.0483 | 1.1457 | 479.1148 | 0.656 | 496.3223
OFF | 11:22 | 3065 | 1.1326 | 474.8124 | 1.1419 | 477.6193 | 0.6571 | 496.9556
OFF | 11:22 | 3070 | 1.1337 | 475.2448 | 1.1419 | 477.6193 | 0.6543 | 495.3436
OFF | 11:22 | 3075 | 1.1288 | 473.319 | 1.1447 | 478.7213 | 0.651 | 493.4437
OFF | 11:22 | 3080 | 1.1261 | 472.2578 | 1.1419 | 477.6193 | 0.6576 | 497.2435
OFF | 11:22 | 3085 | 1.1283 | 473.1224 | 1.143 | 478.0522 | 0.6581 | 497.5313
OFF | 11:23 | 3090 | 1.1272 | 472.6901 | 1.1414 | 477.4225 | 0.6549 | 495.689
OFF | 11:23 | 3095 | 1.1299 | 473.7513 | 1.143 | 478.0522 | 0.6609 | 499.1433
OFF | 11:23 | 3100 | 1.1272 | 472.6901 | 1.1425 | 477.8555 | 0.6625 | 500.0645
OFF | 11:23 | 3105 | 1.1255 | 472.022 | 1.1403 | 476.9897 | 0.6603 | 498.7979
OFF | 11:23 | 3110 | 1.1337 | 475.2448 | 1.1397 | 476.7536 | 0.6614 | 499.4312
OFF | 11:23 | 3115 | 1.1222 | 470.725 | 1.1397 | 476.7536 | 0.6636 | 500.6978
OFF | 11:23 | 3120 | 1.1299 | 473.7513 | 1.1419 | 477.6193 | 0.6636 | 500.6978
OFF | 11:23 | 3125 | 1.1266 | 472.4543 | 1.1365 | 475.4942 | 0.656 | 496.3223
OFF | 11:23 | 3130 | 1.1228 | 470.9609 | 1.137 | 475.691 | 0.6609 | 499.1433
OFF | 11:23 | 3135 | 1.1244 | 471.5897 | 1.1392 | 476.5568 | 0.656 | 496.3223
OFF | 11:23 | 3140 | 1.1277 | 472.8866 | 1.1343 | 474.6284 | 0.6489 | 492.2347
OFF | 11:23 | 3145 | 1.1255 | 472.022 | 1.1375 | 475.8878 | 0.6587 | 497.8768
OFF | 11:24 | 3150 | 1.125 | 471.8255 | 1.1343 | 474.6284 | 0.6538 | 495.0557
OFF | 11:24 | 3155 | 1.1266 | 472.4543 | 1.137 | 475.691 | 0.6543 | 495.3436
OFF | 11:24 | 3160 | 1.1239 | 471.3932 | 1.1354 | 475.0613 | 0.6521 | 494.077
OFF | 11:24 | 3165 | 1.1179 | 469.0351 | 1.1354 | 475.0613 | 0.6532 | 494.7103
OFF | 11:24 | 3170 | 1.1206 | 470.0962 | 1.1359 | 475.2581 | 0.6478 | 491.6014
OFF | 11:24 | 3175 | 1.1179 | 469.0351 | 1.1326 | 473.9594 | 0.6483 | 491.8893
OFF | 11:24 | 3180 | 1.1206 | 470.0962 | 1.1343 | 474.6284 | 0.6527 | 494.4224
OFF | 11:24 | 3185 | 1.1239 | 471.3932 | 1.1348 | 474.8252 | 0.6499 | 492.8104
OFF | 11:24 | 3190 | 1.1201 | 469.8997 | 1.131 | 473.3298 | 0.6499 | 492.8104
OFF | 11:24 | 3195 | 1.1228 | 470.9609 | 1.1326 | 473.9594 | 0.6483 | 491.8893
OFF | 11:24 | 3200 | 1.1211 | 470.2927 | 1.1315 | 473.5265 | 0.651 | 493.4437
OFF | 11:24 | 3205 | 1.1195 | 469.6639 | 1.1304 | 473.0936 | 0.6521 | 494.077
OFF | 11:25 | 3210 | 1.1184 | 469.2316 | 1.1343 | 474.6284 | 0.6439 | 489.3561
OFF | 11:25 | 3215 | 1.125 | 471.8255 | 1.1315 | 473.5265 | 0.6478 | 491.6014
OFF | 11:25 | 3220 | 1.1222 | 470.725 | 1.1304 | 473.0936 | 0.6434 | 489.0683
OFF | 11:25 | 3225 | 1.1217 | 470.5286 | 1.1321 | 473.7626 | 0.6407 | 487.5138
OFF | 11:25 | 3230 | 1.1151 | 467.9346 | 1.1299 | 472.8968 | 0.6499 | 492.8104
OFF | 11:25 | 3235 | 1.1201 | 469.8997 | 1.1293 | 472.6607 | 0.6456 | 490.3348
OFF | 11:25 | 3240 | 1.1179 | 469.0351 | 1.1293 | 472.6607 | 0.6532 | 494.7103
OFF | 11:25 | 3245 | 1.1195 | 469.6639 | 1.1299 | 472.8968 | 0.6538 | 495.0557
OFF | 11:25 | 3250 | 1.1206 | 470.0962 | 1.1304 | 473.0936 | 0.6565 | 496.6102
OFF | 11:25 | 3255 | 1.1206 | 470.0962 | 1.1272 | 471.8343 | 0.6609 | 499.1433
OFF | 11:25 | 3260 | 1.1179 | 469.0351 | 1.1277 | 472.031 | 0.6467 | 490.9681
OFF | 11:25 | 3265 | 1.1173 | 468.7993 | 1.1272 | 471.8343 | 0.6554 | 495.9769
OFF | 11:26 | 3270 | 1.119 | 469.4674 | 1.1283 | 472.2672 | 0.6581 | 497.5313
OFF | 11:26 | 3275 | 1.1173 | 468.7993 | 1.1288 | 472.464 | 0.6554 | 495.9769
OFF | 11:26 | 3280 | 1.1184 | 469.2316 | 1.1315 | 473.5265 | 0.6571 | 496.9556
OFF | 11:26 | 3285 | 1.1201 | 469.8997 | 1.1321 | 473.7626 | 0.6494 | 492.5226
OFF | 11:26 | 3290 | 1.1201 | 469.8997 | 1.1288 | 472.464 | 0.6565 | 496.6102
OFF | 11:26 | 3295 | 1.1179 | 469.0351 | 1.1304 | 473.0936 | 0.6445 | 489.7016
OFF | 11:26 | 3300 | 1.1179 | 469.0351 | 1.1321 | 473.7626 | 0.6472 | 491.256
OFF | 11:26 | 3305 | 1.1201 | 469.8997 | 1.1288 | 472.464 | 0.6472 | 491.256
OFF | 11:26 | 3310 | 1.1206 | 470.0962 | 1.1293 | 472.6607 | 0.6472 | 491.256
OFF | 11:26 | 3315 | 1.1206 | 470.0962 | 1.1283 | 472.2672 | 0.6499 | 492.8104
OFF | 11:26 | 3320 | 1.1173 | 468.7993 | 1.1277 | 472.031 | 0.6527 | 494.4224
OFF | 11:26 | 3325 | 1.1201 | 469.8997 | 1.1277 | 472.031 | 0.6527 | 494.4224
OFF | 11:27 | 3330 | 1.1184 | 469.2316 | 1.1288 | 472.464 | 0.6532 | 494.7103
OFF | 11:27 | 3335 | 1.1157 | 468.1704 | 1.1299 | 472.8968 | 0.6625 | 500.0645
OFF | 11:27 | 3340 | 1.1119 | 466.6769 | 1.1293 | 472.6607 | 0.6598 | 498.5101
OFF | 11:27 | 3345 | 1.1195 | 469.6639 | 1.1266 | 471.5982 | 0.6543 | 495.3436
OFF | 11:27 | 3350 | 1.1184 | 469.2316 | 1.1261 | 471.4014 | 0.6614 | 499.4312
OFF | 11:27 | 3355 | 1.1146 | 467.7381 | 1.1272 | 471.8343 | 0.6538 | 495.0557
OFF | 11:27 | 3360 | 1.1179 | 469.0351 | 1.1255 | 471.1653 | 0.6532 | 494.7103
OFF | 11:27 | 3365 | 1.1184 | 469.2316 | 1.1244 | 470.7324 | 0.6571 | 496.9556
OFF | 11:27 | 3370 | 1.1201 | 469.8997 | 1.1255 | 471.1653 | 0.6549 | 495.689
OFF | 11:27 | 3375 | 1.119 | 469.4674 | 1.1228 | 470.1027 | 0.6489 | 492.2347
OFF | 11:27 | 3380 | 1.1179 | 469.0351 | 1.1244 | 470.7324 | 0.6571 | 496.9556
OFF | 11:27 | 3385 | 1.1162 | 468.3669 | 1.1228 | 470.1027 | 0.6631 | 500.4099
OFF | 11:28 | 3390 | 1.1119 | 466.6769 | 1.1239 | 470.5356 | 0.6521 | 494.077
OFF | 11:28 | 3395 | 1.1162 | 468.3669 | 1.1239 | 470.5356 | 0.6581 | 497.5313
OFF | 11:28 | 3400 | 1.1184 | 469.2316 | 1.1233 | 470.2995 | 0.6581 | 497.5313
OFF | 11:28 | 3405 | 1.1162 | 468.3669 | 1.1206 | 469.2369 | 0.6505 | 493.1559
OFF | 11:28 | 3410 | 1.1129 | 467.07 | 1.1239 | 470.5356 | 0.6554 | 495.9769
OFF | 11:28 | 3415 | 1.1119 | 466.6769 | 1.1211 | 469.4337 | 0.6521 | 494.077
OFF | 11:28 | 3420 | 1.1162 | 468.3669 | 1.1211 | 469.4337 | 0.6483 | 491.8893
OFF | 11:28 | 3425 | 1.1162 | 468.3669 | 1.1195 | 468.804 | 0.645 | 489.9894
OFF | 11:28 | 3430 | 1.1179 | 469.0351 | 1.1228 | 470.1027 | 0.6505 | 493.1559
OFF | 11:28 | 3435 | 1.1184 | 469.2316 | 1.1222 | 469.8666 | 0.6499 | 492.8104
OFF | 11:28 | 3440 | 1.1162 | 468.3669 | 1.1206 | 469.2369 | 0.6445 | 489.7016
OFF | 11:28 | 3445 | 1.1179 | 469.0351 | 1.1233 | 470.2995 | 0.6521 | 494.077
OFF | 11:29 | 3450 | 1.1157 | 468.1704 | 1.119 | 468.6072 | 0.6538 | 495.0557
OFF | 11:29 | 3455 | 1.119 | 469.4674 | 1.1211 | 469.4337 | 0.6521 | 494.077
OFF | 11:29 | 3460 | 1.1168 | 468.6027 | 1.1201 | 469.0402 | 0.6456 | 490.3348
OFF | 11:29 | 3465 | 1.1151 | 467.9346 | 1.1201 | 469.0402 | 0.6554 | 495.9769
OFF | 11:29 | 3470 | 1.1168 | 468.6027 | 1.1184 | 468.3711 | 0.6472 | 491.256
OFF | 11:29 | 3475 | 1.1179 | 469.0351 | 1.1201 | 469.0402 | 0.6412 | 487.8017
OFF | 11:29 | 3480 | 1.1179 | 469.0351 | 1.1206 | 469.2369 | 0.6456 | 490.3348
OFF | 11:29 | 3485 | 1.1168 | 468.6027 | 1.1217 | 469.6698 | 0.6439 | 489.3561
OFF | 11:29 | 3490 | 1.1201 | 469.8997 | 1.1217 | 469.6698 | 0.6401 | 487.1684
OFF | 11:29 | 3495 | 1.1162 | 468.3669 | 1.1201 | 469.0402 | 0.6423 | 488.435
OFF | 11:29 | 3500 | 1.1168 | 468.6027 | 1.1206 | 469.2369 | 0.6505 | 493.1559
OFF | 11:29 | 3505 | 1.1119 | 466.6769 | 1.1211 | 469.4337 | 0.6445 | 489.7016
OFF | 11:30 | 3510 | 1.114 | 467.5023 | 1.1195 | 468.804 | 0.6478 | 491.6014
OFF | 11:30 | 3515 | 1.1162 | 468.3669 | 1.1201 | 469.0402 | 0.6428 | 488.7228
OFF | 11:30 | 3520 | 1.1195 | 469.6639 | 1.1211 | 469.4337 | 0.6445 | 489.7016
OFF | 11:30 | 3525 | 1.1135 | 467.3058 | 1.1179 | 468.1744 | 0.6494 | 492.5226
OFF | 11:30 | 3530 | 1.1157 | 468.1704 | 1.1211 | 469.4337 | 0.645 | 489.9894
OFF | 11:30 | 3535 | 1.1157 | 468.1704 | 1.1228 | 470.1027 | 0.6467 | 490.9681
OFF | 11:30 | 3540 | 1.114 | 467.5023 | 1.1162 | 467.5053 | 0.6538 | 495.0557
OFF | 11:30 | 3545 | 1.1151 | 467.9346 | 1.119 | 468.6072 | 0.6412 | 487.8017
OFF | 11:30 | 3550 | 1.1157 | 468.1704 | 1.1173 | 467.9383 | 0.6461 | 490.6227
OFF | 11:30 | 3555 | 1.1184 | 469.2316 | 1.1179 | 468.1744 | 0.6489 | 492.2347
OFF | 11:30 | 3560 | 1.119 | 469.4674 | 1.119 | 468.6072 | 0.6483 | 491.8893
OFF | 11:30 | 3565 | 1.1168 | 468.6027 | 1.1184 | 468.3711 | 0.6494 | 492.5226
OFF | 11:31 | 3570 | 1.1157 | 468.1704 | 1.1195 | 468.804 | 0.6467 | 490.9681
OFF | 11:31 | 3575 | 1.1157 | 468.1704 | 1.1233 | 470.2995 | 0.6494 | 492.5226
OFF | 11:31 | 3580 | 1.1173 | 468.7993 | 1.1184 | 468.3711 | 0.6434 | 489.0683
OFF | 11:31 | 3585 | 1.1179 | 469.0351 | 1.1173 | 467.9383 | 0.6516 | 493.7892
OFF | 11:31 | 3590 | 1.119 | 469.4674 | 1.1201 | 469.0402 | 0.6423 | 488.435
OFF | 11:31 | 3595 | 1.1179 | 469.0351 | 1.1184 | 468.3711 | 0.6516 | 493.7892

## CO2 Concentration Averages
| Gas Off (pre-test) |  |  |  | Gas Off (post-test)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS) |  | A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 479.8516 | 472.0543 | 488.3587 | Concentration (ppm): | 470.237 | 472.7522 | 494.3634
Gas On (steady-state)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 662.3622 | 1671.6424 | 611.7908
Standard Deviation: | 24.5444 | 411.6678 | 4.5725
Standard Deviation of Average: | 5.4883 | 92.0517 | 1.0224
95% Confidence Interval | 10.757 | 180.4214 | 2.004
Percent Difference
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
| 38.0348 | 254.1208 | 25.2749

## Rotometer Readings
(Reading 1)
Temperature (°C) | 25.7
Temperature (k) | 298.85
P_atm (hPa) | 978
P_atm (psi) | 14.1847
dV | 0.29
P_flow (psi) | 0.058
Reading | 75
Corresponding Flowrate (table) (lpm) | 5.05
Actual Flowrate (lpm) | 4.9316
(Reading 2)
Temperature (°C) | 26.3
Temperature (k) | 299.45
P_atm (hPa) | 978
P_atm (psi) | 14.1847
dV | 0.28
P_flow (psi) | 0.056
Reading | 75
Corresponding Flowrate (table) (lpm) | 5.05
Actual Flowrate (lpm) | 4.9263
(Reading 3)
Temperature (°C) | 26.2
Temperature (k) | 299.35
P_atm (hPa) | 978
P_atm (psi) | 14.1847
dV | 0.28
P_flow (psi) | 0.056
Reading | 75
Corresponding Flowrate (table) (lpm) | 5.05
Actual Flowrate (lpm) | 4.9271