## Data & Charts
%INJECTION STATUS | TIME | TIME (s) | A-1 CO2 conc (DCV) | A-1 CO2 conc (PPM) | A-2 CO2 conc (DCV) | A-2 CO2 conc (PPM) | A-4 CO2 conc (DCV) | A-4 CO2 conc (PPM) | Helium Injection (computer) (lpm) | Sample Time (s) | Measured CO2 Injection (lpm) | Measured CO2 Injection (CFM)
OFF | 12:04 | 0 | 1.008 | 425.8422 | 1.0244 | 431.3784 | 0.5876 | 456.9431 | 3.07 | 600 | 5.1225 | 0.1809
OFF | 12:04 | 5 | 1.008 | 425.8422 | 1.0277 | 432.677 | 0.5871 | 456.6552 | Helium Injection (computer) (CFM) | 1500 | 5.1191 | 0.18078
OFF | 12:04 | 10 | 1.0091 | 426.2745 | 1.0249 | 431.5751 | 0.5926 | 459.8217 | 0.10842 | 2400 | 5.1182 | 0.18075
OFF | 12:04 | 15 | 1.0085 | 426.0387 | 1.026 | 432.008 | 0.5915 | 459.1884
OFF | 12:04 | 20 | 1.0107 | 426.9033 | 1.0277 | 432.677 | 0.5854 | 455.6765
OFF | 12:04 | 25 | 1.0085 | 426.0387 | 1.0293 | 433.3067 | 0.5904 | 458.5551
OFF | 12:04 | 30 | 1.0102 | 426.7068 | 1.0266 | 432.2442 | 0.5816 | 453.4888
OFF | 12:04 | 35 | 1.0124 | 427.5715 | 1.0277 | 432.677 | 0.5898 | 458.2097
OFF | 12:04 | 40 | 1.0085 | 426.0387 | 1.0282 | 432.8738 | 0.5827 | 454.122
OFF | 12:04 | 45 | 1.0107 | 426.9033 | 1.0271 | 432.4409 | 0.586 | 456.0219
OFF | 12:05 | 50 | 1.0085 | 426.0387 | 1.0288 | 433.11 | 0.5778 | 451.301
OFF | 12:05 | 55 | 1.0113 | 427.1391 | 1.0326 | 434.6054 | 0.5762 | 450.3799
OFF | 12:05 | 60 | 1.0118 | 427.3357 | 1.0288 | 433.11 | 0.5849 | 455.3886
OFF | 12:05 | 65 | 1.0118 | 427.3357 | 1.031 | 433.9757 | 0.5783 | 451.5889
OFF | 12:05 | 70 | 1.0107 | 426.9033 | 1.0293 | 433.3067 | 0.5762 | 450.3799
OFF | 12:05 | 75 | 1.0102 | 426.7068 | 1.0271 | 432.4409 | 0.5718 | 447.8467
OFF | 12:05 | 80 | 1.0113 | 427.1391 | 1.0277 | 432.677 | 0.5865 | 456.3098
OFF | 12:05 | 85 | 1.0135 | 428.0038 | 1.0299 | 433.5428 | 0.5887 | 457.5764
OFF | 12:05 | 90 | 1.0102 | 426.7068 | 1.0299 | 433.5428 | 0.5789 | 451.9343
OFF | 12:05 | 95 | 1.0118 | 427.3357 | 1.0304 | 433.7396 | 0.5844 | 455.1008
OFF | 12:05 | 100 | 1.0085 | 426.0387 | 1.031 | 433.9757 | 0.5783 | 451.5889
OFF | 12:05 | 105 | 1.0069 | 425.4098 | 1.0288 | 433.11 | 0.5772 | 450.9556
OFF | 12:06 | 110 | 1.0085 | 426.0387 | 1.0304 | 433.7396 | 0.5816 | 453.4888
OFF | 12:06 | 115 | 1.0085 | 426.0387 | 1.0299 | 433.5428 | 0.5811 | 453.2009
OFF | 12:06 | 120 | 1.0085 | 426.0387 | 1.0288 | 433.11 | 0.5882 | 457.2885
OFF | 12:06 | 125 | 1.0064 | 425.2133 | 1.0288 | 433.11 | 0.5849 | 455.3886
OFF | 12:06 | 130 | 1.008 | 425.8422 | 1.031 | 433.9757 | 0.5844 | 455.1008
OFF | 12:06 | 135 | 1.0085 | 426.0387 | 1.0277 | 432.677 | 0.5887 | 457.5764
OFF | 12:06 | 140 | 1.0058 | 424.9775 | 1.0288 | 433.11 | 0.5838 | 454.7553
OFF | 12:06 | 145 | 1.008 | 425.8422 | 1.0299 | 433.5428 | 0.5854 | 455.6765
OFF | 12:06 | 150 | 1.0091 | 426.2745 | 1.026 | 432.008 | 0.5811 | 453.2009
OFF | 12:06 | 155 | 1.0058 | 424.9775 | 1.0282 | 432.8738 | 0.5844 | 455.1008
OFF | 12:06 | 160 | 1.008 | 425.8422 | 1.0304 | 433.7396 | 0.5838 | 454.7553
OFF | 12:06 | 165 | 1.0074 | 425.6064 | 1.0255 | 431.8113 | 0.5789 | 451.9343
OFF | 12:07 | 170 | 1.0091 | 426.2745 | 1.026 | 432.008 | 0.5811 | 453.2009
OFF | 12:07 | 175 | 1.0064 | 425.2133 | 1.0266 | 432.2442 | 0.5887 | 457.5764
OFF | 12:07 | 180 | 1.0064 | 425.2133 | 1.0288 | 433.11 | 0.5844 | 455.1008
OFF | 12:07 | 185 | 0.9992 | 422.3836 | 1.0277 | 432.677 | 0.5816 | 453.4888
OFF | 12:07 | 190 | 1.0107 | 426.9033 | 1.0299 | 433.5428 | 0.5909 | 458.8429
OFF | 12:07 | 195 | 1.0096 | 426.471 | 1.0288 | 433.11 | 0.5887 | 457.5764
OFF | 12:07 | 200 | 1.0118 | 427.3357 | 1.0288 | 433.11 | 0.592 | 459.4762
OFF | 12:07 | 205 | 1.0118 | 427.3357 | 1.0304 | 433.7396 | 0.592 | 459.4762
OFF | 12:07 | 210 | 1.0102 | 426.7068 | 1.0249 | 431.5751 | 0.5898 | 458.2097
OFF | 12:07 | 215 | 1.0113 | 427.1391 | 1.032 | 434.3693 | 0.5909 | 458.8429
OFF | 12:07 | 220 | 1.0184 | 429.9295 | 1.0288 | 433.11 | 0.592 | 459.4762
OFF | 12:07 | 225 | 1.0085 | 426.0387 | 1.0304 | 433.7396 | 0.5904 | 458.5551
OFF | 12:08 | 230 | 1.0096 | 426.471 | 1.0304 | 433.7396 | 0.5904 | 458.5551
OFF | 12:08 | 235 | 1.0129 | 427.768 | 1.0304 | 433.7396 | 0.5893 | 457.9218
OFF | 12:08 | 240 | 1.0135 | 428.0038 | 1.0304 | 433.7396 | 0.5844 | 455.1008
OFF | 12:08 | 245 | 1.0129 | 427.768 | 1.0299 | 433.5428 | 0.5887 | 457.5764
OFF | 12:08 | 250 | 1.0156 | 428.8291 | 1.0299 | 433.5428 | 0.5893 | 457.9218
OFF | 12:08 | 255 | 1.008 | 425.8422 | 1.0288 | 433.11 | 0.5887 | 457.5764
OFF | 12:08 | 260 | 1.0069 | 425.4098 | 1.0315 | 434.1725 | 0.5926 | 459.8217
OFF | 12:08 | 265 | 1.0129 | 427.768 | 1.032 | 434.3693 | 0.5893 | 457.9218
OFF | 12:08 | 270 | 1.0162 | 429.0649 | 1.0326 | 434.6054 | 0.5926 | 459.8217
OFF | 12:08 | 275 | 1.014 | 428.2003 | 1.0337 | 435.0383 | 0.6002 | 464.1971
OFF | 12:08 | 280 | 1.0167 | 429.2614 | 1.0326 | 434.6054 | 0.592 | 459.4762
OFF | 12:08 | 285 | 1.0173 | 429.4972 | 1.0348 | 435.4712 | 0.5931 | 460.1095
OFF | 12:09 | 290 | 1.0162 | 429.0649 | 1.0326 | 434.6054 | 0.598 | 462.9306
OFF | 12:09 | 295 | 1.0167 | 429.2614 | 1.0348 | 435.4712 | 0.5915 | 459.1884
OFF | 12:09 | 300 | 1.0178 | 429.6937 | 1.0364 | 436.1008 | 0.5936 | 460.3974
OFF | 12:09 | 305 | 1.0151 | 428.6326 | 1.0337 | 435.0383 | 0.5915 | 459.1884
OFF | 12:09 | 310 | 1.0167 | 429.2614 | 1.0359 | 435.9041 | 0.5882 | 457.2885
OFF | 12:09 | 315 | 1.0211 | 430.9907 | 1.0331 | 434.8022 | 0.586 | 456.0219
OFF | 12:09 | 320 | 1.0167 | 429.2614 | 1.0348 | 435.4712 | 0.5898 | 458.2097
OFF | 12:09 | 325 | 1.0173 | 429.4972 | 1.0337 | 435.0383 | 0.5926 | 459.8217
OFF | 12:09 | 330 | 1.014 | 428.2003 | 1.0326 | 434.6054 | 0.5909 | 458.8429
OFF | 12:09 | 335 | 1.0107 | 426.9033 | 1.0342 | 435.235 | 0.5887 | 457.5764
OFF | 12:09 | 340 | 1.014 | 428.2003 | 1.0342 | 435.235 | 0.5931 | 460.1095
OFF | 12:09 | 345 | 1.014 | 428.2003 | 1.0337 | 435.0383 | 0.5936 | 460.3974
OFF | 12:10 | 350 | 1.02 | 430.5584 | 1.0342 | 435.235 | 0.5936 | 460.3974
OFF | 12:10 | 355 | 1.0102 | 426.7068 | 1.0331 | 434.8022 | 0.5909 | 458.8429
OFF | 12:10 | 360 | 1.0074 | 425.6064 | 1.0353 | 435.668 | 0.5947 | 461.0307
OFF | 12:10 | 365 | 1.0129 | 427.768 | 1.0304 | 433.7396 | 0.6002 | 464.1971
OFF | 12:10 | 370 | 1.0091 | 426.2745 | 1.0299 | 433.5428 | 0.592 | 459.4762
OFF | 12:10 | 375 | 1.0102 | 426.7068 | 1.0293 | 433.3067 | 0.5975 | 462.6427
OFF | 12:10 | 380 | 1.0107 | 426.9033 | 1.0282 | 432.8738 | 0.5936 | 460.3974
OFF | 12:10 | 385 | 1.0096 | 426.471 | 1.031 | 433.9757 | 0.5953 | 461.3761
OFF | 12:10 | 390 | 1.0113 | 427.1391 | 1.0271 | 432.4409 | 0.5986 | 463.276
OFF | 12:10 | 395 | 1.0069 | 425.4098 | 1.0288 | 433.11 | 0.5964 | 462.0094
OFF | 12:10 | 400 | 1.0074 | 425.6064 | 1.0293 | 433.3067 | 0.5893 | 457.9218
OFF | 12:10 | 405 | 1.0091 | 426.2745 | 1.0277 | 432.677 | 0.5991 | 463.5638
OFF | 12:11 | 410 | 1.0096 | 426.471 | 1.0266 | 432.2442 | 0.598 | 462.9306
OFF | 12:11 | 415 | 1.0042 | 424.3487 | 1.0277 | 432.677 | 0.5915 | 459.1884
OFF | 12:11 | 420 | 1.0069 | 425.4098 | 1.0299 | 433.5428 | 0.5915 | 459.1884
OFF | 12:11 | 425 | 1.0096 | 426.471 | 1.0299 | 433.5428 | 0.5915 | 459.1884
OFF | 12:11 | 430 | 1.0091 | 426.2745 | 1.0288 | 433.11 | 0.5876 | 456.9431
OFF | 12:11 | 435 | 1.0069 | 425.4098 | 1.0299 | 433.5428 | 0.592 | 459.4762
OFF | 12:11 | 440 | 1.0069 | 425.4098 | 1.0266 | 432.2442 | 0.5882 | 457.2885
OFF | 12:11 | 445 | 1.0025 | 423.6806 | 1.0266 | 432.2442 | 0.5953 | 461.3761
OFF | 12:11 | 450 | 1.0047 | 424.5452 | 1.0244 | 431.3784 | 0.5876 | 456.9431
OFF | 12:11 | 455 | 1.0064 | 425.2133 | 1.0244 | 431.3784 | 0.5838 | 454.7553
OFF | 12:11 | 460 | 1.0069 | 425.4098 | 1.0233 | 430.9455 | 0.5915 | 459.1884
OFF | 12:11 | 465 | 1.0058 | 424.9775 | 1.0249 | 431.5751 | 0.5876 | 456.9431
OFF | 12:12 | 470 | 1.0053 | 424.781 | 1.026 | 432.008 | 0.5865 | 456.3098
OFF | 12:12 | 475 | 1.0047 | 424.5452 | 1.0233 | 430.9455 | 0.5854 | 455.6765
OFF | 12:12 | 480 | 1.0003 | 422.8159 | 1.0249 | 431.5751 | 0.5893 | 457.9218
OFF | 12:12 | 485 | 1.008 | 425.8422 | 1.0233 | 430.9455 | 0.5882 | 457.2885
OFF | 12:12 | 490 | 1.0069 | 425.4098 | 1.0238 | 431.1423 | 0.5904 | 458.5551
OFF | 12:12 | 495 | 1.0069 | 425.4098 | 1.0238 | 431.1423 | 0.5822 | 453.8342
OFF | 12:12 | 500 | 1.0069 | 425.4098 | 1.0282 | 432.8738 | 0.5844 | 455.1008
OFF | 12:12 | 505 | 1.0135 | 428.0038 | 1.0271 | 432.4409 | 0.586 | 456.0219
OFF | 12:12 | 510 | 1.0156 | 428.8291 | 1.0271 | 432.4409 | 0.5789 | 451.9343
OFF | 12:12 | 515 | 1.0135 | 428.0038 | 1.0255 | 431.8113 | 0.586 | 456.0219
OFF | 12:12 | 520 | 1.0129 | 427.768 | 1.0255 | 431.8113 | 0.5827 | 454.122
OFF | 12:12 | 525 | 1.0118 | 427.3357 | 1.0277 | 432.677 | 0.5849 | 455.3886
OFF | 12:13 | 530 | 1.0146 | 428.4361 | 1.0282 | 432.8738 | 0.5789 | 451.9343
OFF | 12:13 | 535 | 1.014 | 428.2003 | 1.0282 | 432.8738 | 0.5854 | 455.6765
OFF | 12:13 | 540 | 1.0129 | 427.768 | 1.0271 | 432.4409 | 0.5871 | 456.6552
OFF | 12:13 | 545 | 1.0113 | 427.1391 | 1.0282 | 432.8738 | 0.5904 | 458.5551
OFF | 12:13 | 550 | 1.0135 | 428.0038 | 1.0288 | 433.11 | 0.5958 | 461.664
OFF | 12:13 | 555 | 1.0167 | 429.2614 | 1.032 | 434.3693 | 0.5871 | 456.6552
OFF | 12:13 | 560 | 1.0173 | 429.4972 | 1.0315 | 434.1725 | 0.5926 | 459.8217
OFF | 12:13 | 565 | 1.0178 | 429.6937 | 1.0326 | 434.6054 | 0.5893 | 457.9218
OFF | 12:13 | 570 | 1.0146 | 428.4361 | 1.0315 | 434.1725 | 0.5958 | 461.664
OFF | 12:13 | 575 | 1.014 | 428.2003 | 1.0326 | 434.6054 | 0.5991 | 463.5638
OFF | 12:13 | 580 | 1.0113 | 427.1391 | 1.032 | 434.3693 | 0.6046 | 466.7303
OFF | 12:13 | 585 | 1.0085 | 426.0387 | 1.0331 | 434.8022 | 0.6029 | 465.7516
OFF | 12:14 | 590 | 1.0129 | 427.768 | 1.0348 | 435.4712 | 0.5936 | 460.3974
OFF | 12:14 | 595 | 1.0113 | 427.1391 | 1.0326 | 434.6054 | 0.5991 | 463.5638
ON | 12:14 | 600 | 1.0167 | 429.2614 | 1.0337 | 435.0383 | 0.5854 | 455.6765
ON | 12:14 | 605 | 1.0146 | 428.4361 | 1.0331 | 434.8022 | 0.5849 | 455.3886
ON | 12:14 | 610 | 1.014 | 428.2003 | 1.032 | 434.3693 | 0.5953 | 461.3761
ON | 12:14 | 615 | 1.0129 | 427.768 | 1.0512 | 441.9253 | 0.5882 | 457.2885
ON | 12:14 | 620 | 1.014 | 428.2003 | 2.8993 | 1169.2266 | 0.5871 | 456.6552
ON | 12:14 | 625 | 1.0124 | 427.5715 | 4.2282 | 1692.2018 | 0.5947 | 461.0307
ON | 12:14 | 630 | 1.0129 | 427.768 | 5.0154 | 2001.9965 | 0.5942 | 460.7428
ON | 12:14 | 635 | 1.0146 | 428.4361 | 5.0154 | 2001.9965 | 0.5964 | 462.0094
ON | 12:14 | 640 | 1.0195 | 430.3619 | 5.0115 | 2000.4617 | 0.5887 | 457.5764
ON | 12:14 | 645 | 1.0255 | 432.72 | 5.0115 | 2000.4617 | 0.5975 | 462.6427
ON | 12:15 | 650 | 1.026 | 432.9165 | 4.7819 | 1910.1049 | 0.5936 | 460.3974
ON | 12:15 | 655 | 1.0616 | 446.908 | 5.0137 | 2001.3275 | 0.5926 | 459.8217
ON | 12:15 | 660 | 1.0386 | 437.8686 | 5.0121 | 2000.6979 | 0.5975 | 462.6427
ON | 12:15 | 665 | 1.0419 | 439.1656 | 5.011 | 2000.265 | 0.5936 | 460.3974
ON | 12:15 | 670 | 1.0801 | 454.1789 | 4.8355 | 1931.1986 | 0.592 | 459.4762
ON | 12:15 | 675 | 1.09 | 458.0698 | 5.0126 | 2000.8946 | 0.6029 | 465.7516
ON | 12:15 | 680 | 1.0687 | 449.6985 | 4.249 | 1700.3875 | 0.5953 | 461.3761
ON | 12:15 | 685 | 1.1419 | 478.4675 | 5.0104 | 2000.0287 | 0.5997 | 463.9093
ON | 12:15 | 690 | 1.1304 | 473.9478 | 4.9711 | 1984.5626 | 0.6002 | 464.1971
ON | 12:15 | 695 | 1.125 | 471.8255 | 4.531 | 1811.3658 | 0.6128 | 471.4512
ON | 12:15 | 700 | 1.114 | 467.5023 | 4.8787 | 1948.1995 | 0.6029 | 465.7516
ON | 12:15 | 705 | 1.1539 | 483.1838 | 5.0175 | 2002.8229 | 0.6139 | 472.0845
ON | 12:16 | 710 | 1.1867 | 496.0748 | 5.0132 | 2001.1307 | 0.6188 | 474.9055
ON | 12:16 | 715 | 1.1878 | 496.5072 | 4.7809 | 1909.7114 | 0.6204 | 475.8267
ON | 12:16 | 720 | 1.1977 | 500.3981 | 5.0115 | 2000.4617 | 0.6319 | 482.4475
ON | 12:16 | 725 | 1.2157 | 507.4724 | 4.9503 | 1976.3771 | 0.6308 | 481.8142
ON | 12:16 | 730 | 1.1725 | 490.494 | 5.0137 | 2001.3275 | 0.6303 | 481.5263
ON | 12:16 | 735 | 1.2316 | 513.7215 | 5.0132 | 2001.1307 | 0.6368 | 485.2685
ON | 12:16 | 740 | 1.1911 | 497.8041 | 5.0132 | 2001.1307 | 0.6434 | 489.0683
ON | 12:16 | 745 | 1.2174 | 508.1405 | 5.0143 | 2001.5636 | 0.6527 | 494.4224
ON | 12:16 | 750 | 1.2343 | 514.7826 | 5.0132 | 2001.1307 | 0.6521 | 494.077
ON | 12:16 | 755 | 1.2507 | 521.2281 | 5.0132 | 2001.1307 | 0.656 | 496.3223
ON | 12:16 | 760 | 1.26 | 524.8832 | 5.0143 | 2001.5636 | 0.6609 | 499.1433
ON | 12:16 | 765 | 1.3376 | 555.3815 | 5.0132 | 2001.1307 | 0.6718 | 505.4187
ON | 12:17 | 770 | 1.2983 | 539.9359 | 4.7945 | 1915.0635 | 0.668 | 503.2309
ON | 12:17 | 775 | 1.2972 | 539.5035 | 5.0121 | 2000.6979 | 0.6729 | 506.052
ON | 12:17 | 780 | 1.2704 | 528.9706 | 5.0115 | 2000.4617 | 0.6691 | 503.8642
ON | 12:17 | 785 | 1.2726 | 529.8353 | 5.0132 | 2001.1307 | 0.6789 | 509.5063
ON | 12:17 | 790 | 1.2944 | 538.4031 | 5.0148 | 2001.7604 | 0.6778 | 508.873
ON | 12:17 | 795 | 1.237 | 515.8437 | 4.6169 | 1845.1708 | 0.6817 | 511.1183
ON | 12:17 | 800 | 1.2562 | 523.3897 | 5.0154 | 2001.9965 | 0.6849 | 512.9606
ON | 12:17 | 805 | 1.2665 | 527.4378 | 4.8918 | 1953.3549 | 0.6844 | 512.6728
ON | 12:17 | 810 | 1.3103 | 544.6521 | 4.9394 | 1972.0876 | 0.6975 | 520.2147
ON | 12:17 | 815 | 1.3174 | 547.4425 | 5.011 | 2000.265 | 0.692 | 517.0482
ON | 12:17 | 820 | 1.2731 | 530.0318 | 5.0121 | 2000.6979 | 0.7101 | 527.4688
ON | 12:17 | 825 | 1.3311 | 552.8269 | 5.0137 | 2001.3275 | 0.703 | 523.3812
ON | 12:18 | 830 | 1.3562 | 562.6917 | 4.7776 | 1908.4126 | 0.7073 | 525.8568
ON | 12:18 | 835 | 1.3196 | 548.3072 | 5.0022 | 1996.8018 | 0.7183 | 532.1897
ON | 12:18 | 840 | 1.3688 | 567.6438 | 5.0115 | 2000.4617 | 0.7101 | 527.4688
ON | 12:18 | 845 | 1.4158 | 586.1157 | 5.011 | 2000.265 | 0.7183 | 532.1897
ON | 12:18 | 850 | 1.3567 | 562.8882 | 5.0115 | 2000.4617 | 0.7172 | 531.5564
ON | 12:18 | 855 | 1.3781 | 571.2989 | 5.0121 | 2000.6979 | 0.7325 | 540.3649
ON | 12:18 | 860 | 1.3813 | 572.5565 | 5.0132 | 2001.1307 | 0.7352 | 541.9193
ON | 12:18 | 865 | 1.3496 | 560.0978 | 5.011 | 2000.265 | 0.7401 | 544.7404
ON | 12:18 | 870 | 1.3999 | 579.8667 | 5.0126 | 2000.8946 | 0.7429 | 546.3524
ON | 12:18 | 875 | 1.3688 | 567.6438 | 5.011 | 2000.265 | 0.7511 | 551.0733
ON | 12:18 | 880 | 1.3562 | 562.6917 | 5.0099 | 1999.8321 | 0.7429 | 546.3524
ON | 12:18 | 885 | 1.3595 | 563.9887 | 5.0121 | 2000.6979 | 0.7522 | 551.7066
ON | 12:19 | 890 | 1.3557 | 562.4952 | 5.0115 | 2000.4617 | 0.7478 | 549.1734
ON | 12:19 | 895 | 1.3573 | 563.1241 | 5.0126 | 2000.8946 | 0.7576 | 554.8155
ON | 12:19 | 900 | 1.3365 | 554.9492 | 5.0126 | 2000.8946 | 0.7587 | 555.4488
ON | 12:19 | 905 | 1.4338 | 593.1901 | 5.0154 | 2001.9965 | 0.7593 | 555.7942
ON | 12:19 | 910 | 1.3857 | 574.2858 | 5.0143 | 2001.5636 | 0.7642 | 558.6152
ON | 12:19 | 915 | 1.3726 | 569.1372 | 5.0165 | 2002.4294 | 0.7593 | 555.7942
ON | 12:19 | 920 | 1.4344 | 593.4259 | 4.5305 | 1811.1689 | 0.7631 | 557.9819
ON | 12:19 | 925 | 1.5191 | 626.7147 | 5.0148 | 2001.7604 | 0.7626 | 557.6941
ON | 12:19 | 930 | 1.459 | 603.0942 | 5.0088 | 1999.3992 | 0.7691 | 561.4363
ON | 12:19 | 935 | 1.459 | 603.0942 | 5.0126 | 2000.8946 | 0.7642 | 558.6152
ON | 12:19 | 940 | 1.4021 | 580.7313 | 5.0126 | 2000.8946 | 0.774 | 564.2573
ON | 12:19 | 945 | 1.4322 | 592.5612 | 5.0126 | 2000.8946 | 0.7718 | 562.9907
ON | 12:20 | 950 | 1.448 | 598.7709 | 5.0154 | 2001.9965 | 0.7697 | 561.7817
ON | 12:20 | 955 | 1.4016 | 580.5348 | 4.8049 | 1919.1564 | 0.779 | 567.1359
ON | 12:20 | 960 | 1.3671 | 566.9756 | 5.0121 | 2000.6979 | 0.774 | 564.2573
ON | 12:20 | 965 | 1.4355 | 593.8582 | 5.0126 | 2000.8946 | 0.7795 | 567.4237
ON | 12:20 | 970 | 1.4469 | 598.3386 | 5.0132 | 2001.1307 | 0.7691 | 561.4363
ON | 12:20 | 975 | 1.4218 | 588.4738 | 5.0154 | 2001.9965 | 0.7697 | 561.7817
ON | 12:20 | 980 | 1.4048 | 581.7925 | 5.0115 | 2000.4617 | 0.7773 | 566.1572
ON | 12:20 | 985 | 1.4147 | 585.6834 | 5.0132 | 2001.1307 | 0.7735 | 563.9694
ON | 12:20 | 990 | 1.3655 | 566.3468 | 5.0121 | 2000.6979 | 0.7768 | 565.8693
ON | 12:20 | 995 | 1.4327 | 592.7578 | 5.0132 | 2001.1307 | 0.7795 | 567.4237
ON | 12:20 | 1000 | 1.3934 | 577.312 | 5.011 | 2000.265 | 0.7893 | 573.0658
ON | 12:20 | 1005 | 1.3753 | 570.1984 | 5.011 | 2000.265 | 0.7855 | 570.8781
ON | 12:21 | 1010 | 1.4606 | 603.723 | 5.0126 | 2000.8946 | 0.7877 | 572.1446
ON | 12:21 | 1015 | 1.4262 | 590.2031 | 5.0137 | 2001.3275 | 0.7806 | 568.057
ON | 12:21 | 1020 | 1.3977 | 579.002 | 5.0154 | 2001.9965 | 0.7806 | 568.057
ON | 12:21 | 1025 | 1.3764 | 570.6307 | 5.0154 | 2001.9965 | 0.7888 | 572.7779
ON | 12:21 | 1030 | 1.3507 | 560.5301 | 5.0115 | 2000.4617 | 0.7817 | 568.6903
ON | 12:21 | 1035 | 1.4294 | 591.4608 | 5.0121 | 2000.6979 | 0.7784 | 566.7904
ON | 12:21 | 1040 | 1.4486 | 599.0068 | 5.0121 | 2000.6979 | 0.7773 | 566.1572
ON | 12:21 | 1045 | 1.4464 | 598.1421 | 5.0126 | 2000.8946 | 0.7833 | 569.6115
ON | 12:21 | 1050 | 1.4475 | 598.5744 | 5.0115 | 2000.4617 | 0.7768 | 565.8693
ON | 12:21 | 1055 | 1.448 | 598.7709 | 5.0165 | 2002.4294 | 0.78 | 567.7116
ON | 12:21 | 1060 | 1.448 | 598.7709 | 5.0126 | 2000.8946 | 0.7817 | 568.6903
ON | 12:21 | 1065 | 1.4655 | 605.6488 | 4.8978 | 1955.7162 | 0.78 | 567.7116
ON | 12:22 | 1070 | 1.3693 | 567.8403 | 5.0159 | 2002.1933 | 0.7828 | 569.3236
ON | 12:22 | 1075 | 1.4005 | 580.1025 | 5.0154 | 2001.9965 | 0.7861 | 571.2235
ON | 12:22 | 1080 | 1.4448 | 597.5133 | 5.0154 | 2001.9965 | 0.7888 | 572.7779
ON | 12:22 | 1085 | 1.3753 | 570.1984 | 5.0159 | 2002.1933 | 0.7882 | 572.4325
ON | 12:22 | 1090 | 1.354 | 561.8271 | 5.0154 | 2001.9965 | 0.7882 | 572.4325
ON | 12:22 | 1095 | 1.3759 | 570.4342 | 5.0115 | 2000.4617 | 0.791 | 574.0445
ON | 12:22 | 1100 | 1.3983 | 579.2379 | 4.7809 | 1909.7114 | 0.7888 | 572.7779
ON | 12:22 | 1105 | 1.3884 | 575.347 | 5.0132 | 2001.1307 | 0.7932 | 575.3111
ON | 12:22 | 1110 | 1.3961 | 578.3732 | 5.0137 | 2001.3275 | 0.7948 | 576.2322
ON | 12:22 | 1115 | 1.4633 | 604.7842 | 5.0159 | 2002.1933 | 0.7986 | 578.42
ON | 12:22 | 1120 | 1.4125 | 584.8188 | 5.0121 | 2000.6979 | 0.7926 | 574.9657
ON | 12:22 | 1125 | 1.3934 | 577.312 | 5.0115 | 2000.4617 | 0.7981 | 578.1321
ON | 12:23 | 1130 | 1.4458 | 597.9063 | 4.1479 | 1660.6006 | 0.7948 | 576.2322
ON | 12:23 | 1135 | 1.4458 | 597.9063 | 4.8158 | 1923.446 | 0.8046 | 581.8743
ON | 12:23 | 1140 | 1.3983 | 579.2379 | 5.011 | 2000.265 | 0.8118 | 586.0195
ON | 12:23 | 1145 | 1.4212 | 588.238 | 5.0126 | 2000.8946 | 0.8068 | 583.1409
ON | 12:23 | 1150 | 1.4497 | 599.4391 | 4.9782 | 1987.3568 | 0.8041 | 581.5864
ON | 12:23 | 1155 | 1.4748 | 609.3039 | 5.0104 | 2000.0287 | 0.8003 | 579.3987
ON | 12:23 | 1160 | 1.4059 | 582.2248 | 5.0126 | 2000.8946 | 0.8052 | 582.2197
ON | 12:23 | 1165 | 1.3966 | 578.5697 | 5.011 | 2000.265 | 0.8074 | 583.4863
ON | 12:23 | 1170 | 1.3813 | 572.5565 | 5.0126 | 2000.8946 | 0.803 | 580.9531
ON | 12:23 | 1175 | 1.454 | 601.1291 | 5.0126 | 2000.8946 | 0.8041 | 581.5864
ON | 12:23 | 1180 | 1.4289 | 591.2643 | 5.0132 | 2001.1307 | 0.8046 | 581.8743
ON | 12:23 | 1185 | 1.4469 | 598.3386 | 5.0148 | 2001.7604 | 0.8019 | 580.3199
ON | 12:24 | 1190 | 1.4267 | 590.3996 | 5.0143 | 2001.5636 | 0.8003 | 579.3987
ON | 12:24 | 1195 | 1.4606 | 603.723 | 5.0115 | 2000.4617 | 0.809 | 584.4075
ON | 12:24 | 1200 | 1.4229 | 588.9061 | 4.572 | 1827.5009 | 0.7997 | 579.0533
ON | 12:24 | 1205 | 1.4021 | 580.7313 | 5.0115 | 2000.4617 | 0.8052 | 582.2197
ON | 12:24 | 1210 | 1.413 | 585.0153 | 4.6989 | 1877.4412 | 0.8096 | 584.7529
ON | 12:24 | 1215 | 1.4174 | 586.7445 | 5.0132 | 2001.1307 | 0.809 | 584.4075
ON | 12:24 | 1220 | 1.4311 | 592.1289 | 4.9935 | 1993.3781 | 0.8101 | 585.0408
ON | 12:24 | 1225 | 1.4196 | 587.6092 | 5.0159 | 2002.1933 | 0.8101 | 585.0408
ON | 12:24 | 1230 | 1.3841 | 573.657 | 5.0137 | 2001.3275 | 0.8101 | 585.0408
ON | 12:24 | 1235 | 1.4038 | 581.3995 | 5.0154 | 2001.9965 | 0.8134 | 586.9406
ON | 12:24 | 1240 | 1.4229 | 588.9061 | 5.0137 | 2001.3275 | 0.8161 | 588.4951
ON | 12:24 | 1245 | 1.412 | 584.6222 | 5.0126 | 2000.8946 | 0.8156 | 588.2072
ON | 12:25 | 1250 | 1.4508 | 599.8714 | 5.0137 | 2001.3275 | 0.809 | 584.4075
ON | 12:25 | 1255 | 1.4409 | 595.9805 | 5.0126 | 2000.8946 | 0.8167 | 588.8405
ON | 12:25 | 1260 | 1.4464 | 598.1421 | 5.0121 | 2000.6979 | 0.8183 | 589.7617
ON | 12:25 | 1265 | 1.4519 | 600.3037 | 5.0132 | 2001.1307 | 0.8161 | 588.4951
ON | 12:25 | 1270 | 1.4054 | 582.0283 | 5.0126 | 2000.8946 | 0.815 | 587.8618
ON | 12:25 | 1275 | 1.4989 | 618.7757 | 5.0148 | 2001.7604 | 0.8145 | 587.5739
ON | 12:25 | 1280 | 1.553 | 640.038 | 5.0121 | 2000.6979 | 0.8107 | 585.3862
ON | 12:25 | 1285 | 1.4765 | 609.972 | 5.0126 | 2000.8946 | 0.8189 | 590.1071
ON | 12:25 | 1290 | 1.4311 | 592.1289 | 5.0132 | 2001.1307 | 0.8156 | 588.2072
ON | 12:25 | 1295 | 1.4562 | 601.9937 | 5.0126 | 2000.8946 | 0.8145 | 587.5739
ON | 12:25 | 1300 | 1.4005 | 580.1025 | 5.0132 | 2001.1307 | 0.8085 | 584.1196
ON | 12:25 | 1305 | 1.4202 | 587.845 | 5.0126 | 2000.8946 | 0.8167 | 588.8405
ON | 12:26 | 1310 | 1.4114 | 584.3864 | 5.0143 | 2001.5636 | 0.8161 | 588.4951
ON | 12:26 | 1315 | 1.4546 | 601.3649 | 5.0132 | 2001.1307 | 0.8128 | 586.5952
ON | 12:26 | 1320 | 1.4683 | 606.7493 | 5.011 | 2000.265 | 0.8101 | 585.0408
ON | 12:26 | 1325 | 1.5131 | 624.3566 | 5.0137 | 2001.3275 | 0.8118 | 586.0195
ON | 12:26 | 1330 | 1.5191 | 626.7147 | 5.0126 | 2000.8946 | 0.8068 | 583.1409
ON | 12:26 | 1335 | 1.4989 | 618.7757 | 5.0148 | 2001.7604 | 0.8145 | 587.5739
ON | 12:26 | 1340 | 1.5032 | 620.4657 | 5.0132 | 2001.1307 | 0.8068 | 583.1409
ON | 12:26 | 1345 | 1.4453 | 597.7098 | 5.0121 | 2000.6979 | 0.8172 | 589.1284
ON | 12:26 | 1350 | 1.4409 | 595.9805 | 5.0121 | 2000.6979 | 0.8036 | 581.2986
ON | 12:26 | 1355 | 1.4262 | 590.2031 | 5.0115 | 2000.4617 | 0.8128 | 586.5952
ON | 12:26 | 1360 | 1.4311 | 592.1289 | 5.0154 | 2001.9965 | 0.8063 | 582.853
ON | 12:26 | 1365 | 1.3775 | 571.0631 | 4.829 | 1928.6407 | 0.8036 | 581.2986
ON | 12:27 | 1370 | 1.3819 | 572.7923 | 5.0137 | 2001.3275 | 0.8008 | 579.6866
ON | 12:27 | 1375 | 1.4486 | 599.0068 | 5.0132 | 2001.1307 | 0.8057 | 582.5076
ON | 12:27 | 1380 | 1.4245 | 589.535 | 5.0154 | 2001.9965 | 0.8041 | 581.5864
ON | 12:27 | 1385 | 1.4486 | 599.0068 | 3.3388 | 1342.1873 | 0.8019 | 580.3199
ON | 12:27 | 1390 | 1.4579 | 602.6619 | 4.9044 | 1958.3135 | 0.8025 | 580.6653
ON | 12:27 | 1395 | 1.4453 | 597.7098 | 5.0154 | 2001.9965 | 0.8052 | 582.2197
ON | 12:27 | 1400 | 1.4519 | 600.3037 | 5.0132 | 2001.1307 | 0.7964 | 577.1534
ON | 12:27 | 1405 | 1.4059 | 582.2248 | 5.0115 | 2000.4617 | 0.7992 | 578.7654
ON | 12:27 | 1410 | 1.4278 | 590.832 | 5.0115 | 2000.4617 | 0.7926 | 574.9657
ON | 12:27 | 1415 | 1.4333 | 592.9936 | 5.0132 | 2001.1307 | 0.8074 | 583.4863
ON | 12:27 | 1420 | 1.4704 | 607.5746 | 4.8492 | 1936.5901 | 0.8107 | 585.3862
ON | 12:27 | 1425 | 1.4781 | 610.6008 | 5.0132 | 2001.1307 | 0.8036 | 581.2986
ON | 12:28 | 1430 | 1.4273 | 590.6354 | 5.0126 | 2000.8946 | 0.8063 | 582.853
ON | 12:28 | 1435 | 1.4426 | 596.6487 | 5.0121 | 2000.6979 | 0.8068 | 583.1409
ON | 12:28 | 1440 | 1.4393 | 595.3517 | 4.9459 | 1974.6455 | 0.8014 | 580.032
ON | 12:28 | 1445 | 1.4557 | 601.7972 | 5.0126 | 2000.8946 | 0.7981 | 578.1321
ON | 12:28 | 1450 | 1.3682 | 567.4079 | 5.0143 | 2001.5636 | 0.8041 | 581.5864
ON | 12:28 | 1455 | 1.3835 | 573.4212 | 5.0154 | 2001.9965 | 0.8052 | 582.2197
ON | 12:28 | 1460 | 1.3731 | 569.3338 | 5.0143 | 2001.5636 | 0.8046 | 581.8743
ON | 12:28 | 1465 | 1.4475 | 598.5744 | 5.0115 | 2000.4617 | 0.7964 | 577.1534
ON | 12:28 | 1470 | 1.4628 | 604.5877 | 5.0121 | 2000.6979 | 0.8134 | 586.9406
ON | 12:28 | 1475 | 1.5153 | 625.2212 | 5.0137 | 2001.3275 | 0.8161 | 588.4951
ON | 12:28 | 1480 | 1.4568 | 602.2295 | 5.011 | 2000.265 | 0.8101 | 585.0408
ON | 12:28 | 1485 | 1.4448 | 597.5133 | 5.0115 | 2000.4617 | 0.809 | 584.4075
ON | 12:29 | 1490 | 1.4715 | 608.0069 | 5.0121 | 2000.6979 | 0.8025 | 580.6653
ON | 12:29 | 1495 | 1.4284 | 591.0678 | 5.0104 | 2000.0287 | 0.8079 | 583.7742
ON | 12:29 | 1500 | 1.4573 | 602.426 | 5.0137 | 2001.3275 | 0.8052 | 582.2197
ON | 12:29 | 1505 | 1.4896 | 615.1206 | 5.0126 | 2000.8946 | 0.7975 | 577.7867
ON | 12:29 | 1510 | 1.3649 | 566.111 | 5.0159 | 2002.1933 | 0.8036 | 581.2986
ON | 12:29 | 1515 | 1.4212 | 588.238 | 5.0126 | 2000.8946 | 0.803 | 580.9531
ON | 12:29 | 1520 | 1.3841 | 573.657 | 5.0121 | 2000.6979 | 0.8036 | 581.2986
ON | 12:29 | 1525 | 1.4349 | 593.6224 | 5.0143 | 2001.5636 | 0.8085 | 584.1196
ON | 12:29 | 1530 | 1.4502 | 599.6356 | 5.0132 | 2001.1307 | 0.8068 | 583.1409
ON | 12:29 | 1535 | 1.459 | 603.0942 | 5.0132 | 2001.1307 | 0.8068 | 583.1409
ON | 12:29 | 1540 | 1.4103 | 583.9541 | 5.0154 | 2001.9965 | 0.8014 | 580.032
ON | 12:29 | 1545 | 1.5153 | 625.2212 | 5.011 | 2000.265 | 0.8057 | 582.5076
ON | 12:30 | 1550 | 1.4754 | 609.5397 | 5.0115 | 2000.4617 | 0.8025 | 580.6653
ON | 12:30 | 1555 | 1.4262 | 590.2031 | 5.0159 | 2002.1933 | 0.7975 | 577.7867
ON | 12:30 | 1560 | 1.4349 | 593.6224 | 5.0121 | 2000.6979 | 0.8052 | 582.2197
ON | 12:30 | 1565 | 1.4732 | 608.675 | 5.011 | 2000.265 | 0.8019 | 580.3199
ON | 12:30 | 1570 | 1.4338 | 593.1901 | 5.0093 | 1999.596 | 0.8074 | 583.4863
ON | 12:30 | 1575 | 1.4355 | 593.8582 | 5.0126 | 2000.8946 | 0.8036 | 581.2986
ON | 12:30 | 1580 | 1.4655 | 605.6488 | 5.0126 | 2000.8946 | 0.8046 | 581.8743
ON | 12:30 | 1585 | 1.5109 | 623.4919 | 4.4791 | 1790.9411 | 0.7943 | 575.9444
ON | 12:30 | 1590 | 1.4726 | 608.4392 | 5.0115 | 2000.4617 | 0.8074 | 583.4863
ON | 12:30 | 1595 | 1.4677 | 606.5135 | 5.0121 | 2000.6979 | 0.8003 | 579.3987
ON | 12:30 | 1600 | 1.3699 | 568.0761 | 5.0148 | 2001.7604 | 0.8003 | 579.3987
ON | 12:30 | 1605 | 1.4114 | 584.3864 | 5.0126 | 2000.8946 | 0.7997 | 579.0533
ON | 12:31 | 1610 | 1.4196 | 587.6092 | 5.0115 | 2000.4617 | 0.8008 | 579.6866
ON | 12:31 | 1615 | 1.4491 | 599.2033 | 5.0115 | 2000.4617 | 0.8041 | 581.5864
ON | 12:31 | 1620 | 1.4415 | 596.2163 | 5.0132 | 2001.1307 | 0.8019 | 580.3199
ON | 12:31 | 1625 | 1.4437 | 597.081 | 5.0148 | 2001.7604 | 0.8003 | 579.3987
ON | 12:31 | 1630 | 1.4158 | 586.1157 | 5.0154 | 2001.9965 | 0.7997 | 579.0533
ON | 12:31 | 1635 | 1.4453 | 597.7098 | 5.0115 | 2000.4617 | 0.7981 | 578.1321
ON | 12:31 | 1640 | 1.3972 | 578.8055 | 5.0126 | 2000.8946 | 0.7986 | 578.42
ON | 12:31 | 1645 | 1.4557 | 601.7972 | 5.0121 | 2000.6979 | 0.7937 | 575.599
ON | 12:31 | 1650 | 1.5082 | 622.4308 | 5.0154 | 2001.9965 | 0.7964 | 577.1534
ON | 12:31 | 1655 | 1.4038 | 581.3995 | 5.0137 | 2001.3275 | 0.8008 | 579.6866
ON | 12:31 | 1660 | 1.383 | 573.2247 | 5.0132 | 2001.1307 | 0.8003 | 579.3987
ON | 12:31 | 1665 | 1.4442 | 597.2775 | 5.0126 | 2000.8946 | 0.8025 | 580.6653
ON | 12:32 | 1670 | 1.4212 | 588.238 | 5.0126 | 2000.8946 | 0.7959 | 576.8655
ON | 12:32 | 1675 | 1.3884 | 575.347 | 5.0159 | 2002.1933 | 0.803 | 580.9531
ON | 12:32 | 1680 | 1.4294 | 591.4608 | 5.0165 | 2002.4294 | 0.8107 | 585.3862
ON | 12:32 | 1685 | 1.4267 | 590.3996 | 5.0148 | 2001.7604 | 0.8014 | 580.032
ON | 12:32 | 1690 | 1.436 | 594.0547 | 5.0137 | 2001.3275 | 0.8068 | 583.1409
ON | 12:32 | 1695 | 1.4398 | 595.5482 | 5.0154 | 2001.9965 | 0.8052 | 582.2197
ON | 12:32 | 1700 | 1.5322 | 631.8632 | 5.0126 | 2000.8946 | 0.8079 | 583.7742
ON | 12:32 | 1705 | 1.4699 | 607.3781 | 5.0154 | 2001.9965 | 0.8025 | 580.6653
ON | 12:32 | 1710 | 1.4847 | 613.1948 | 5.0154 | 2001.9965 | 0.8079 | 583.7742
ON | 12:32 | 1715 | 1.4535 | 600.9326 | 5.0159 | 2002.1933 | 0.8063 | 582.853
ON | 12:32 | 1720 | 1.3879 | 575.1505 | 5.0148 | 2001.7604 | 0.8014 | 580.032
ON | 12:32 | 1725 | 1.4191 | 587.4127 | 5.0143 | 2001.5636 | 0.7992 | 578.7654
ON | 12:33 | 1730 | 1.4885 | 614.6883 | 5.0154 | 2001.9965 | 0.7954 | 576.5777
ON | 12:33 | 1735 | 1.4376 | 594.6836 | 5.0132 | 2001.1307 | 0.8019 | 580.3199
ON | 12:33 | 1740 | 1.4469 | 598.3386 | 5.0137 | 2001.3275 | 0.8008 | 579.6866
ON | 12:33 | 1745 | 1.4661 | 605.8846 | 5.0137 | 2001.3275 | 0.8046 | 581.8743
ON | 12:33 | 1750 | 1.4633 | 604.7842 | 5.0154 | 2001.9965 | 0.7986 | 578.42
ON | 12:33 | 1755 | 1.4437 | 597.081 | 5.0159 | 2002.1933 | 0.797 | 577.4988
ON | 12:33 | 1760 | 1.4027 | 580.9671 | 5.0115 | 2000.4617 | 0.7986 | 578.42
ON | 12:33 | 1765 | 1.4513 | 600.0679 | 5.0126 | 2000.8946 | 0.7915 | 574.3324
ON | 12:33 | 1770 | 1.5459 | 637.2476 | 5.0033 | 1997.2348 | 0.8014 | 580.032
ON | 12:33 | 1775 | 1.4748 | 609.3039 | 4.6562 | 1860.6369 | 0.7932 | 575.3111
ON | 12:33 | 1780 | 1.477 | 610.1685 | 5.0011 | 1996.3689 | 0.8003 | 579.3987
ON | 12:33 | 1785 | 1.4852 | 613.3913 | 5.0132 | 2001.1307 | 0.7904 | 573.6991
ON | 12:34 | 1790 | 1.3972 | 578.8055 | 5.0121 | 2000.6979 | 0.7899 | 573.4112
ON | 12:34 | 1795 | 1.4513 | 600.0679 | 5.0121 | 2000.6979 | 0.7975 | 577.7867
ON | 12:34 | 1800 | 1.4989 | 618.7757 | 5.0137 | 2001.3275 | 0.7937 | 575.599
ON | 12:34 | 1805 | 1.5005 | 619.4045 | 4.5977 | 1837.6149 | 0.7937 | 575.599
ON | 12:34 | 1810 | 1.4983 | 618.5399 | 5.0137 | 2001.3275 | 0.7954 | 576.5777
ON | 12:34 | 1815 | 1.3737 | 569.5696 | 5.0115 | 2000.4617 | 0.7959 | 576.8655
ON | 12:34 | 1820 | 1.436 | 594.0547 | 4.8339 | 1930.569 | 0.8014 | 580.032
ON | 12:34 | 1825 | 1.4109 | 584.1899 | 5.0126 | 2000.8946 | 0.8003 | 579.3987
ON | 12:34 | 1830 | 1.4486 | 599.0068 | 5.0154 | 2001.9965 | 0.7997 | 579.0533
ON | 12:34 | 1835 | 1.5136 | 624.5531 | 5.0132 | 2001.1307 | 0.8008 | 579.6866
ON | 12:34 | 1840 | 1.3977 | 579.002 | 5.0159 | 2002.1933 | 0.8036 | 581.2986
ON | 12:34 | 1845 | 1.4234 | 589.1027 | 5.0099 | 1999.8321 | 0.8074 | 583.4863
ON | 12:35 | 1850 | 1.4612 | 603.9588 | 5.0126 | 2000.8946 | 0.8036 | 581.2986
ON | 12:35 | 1855 | 1.4672 | 606.317 | 4.9487 | 1975.7474 | 0.8128 | 586.5952
ON | 12:35 | 1860 | 1.4038 | 581.3995 | 4.8721 | 1945.6022 | 0.8123 | 586.3074
ON | 12:35 | 1865 | 1.4568 | 602.2295 | 5.0159 | 2002.1933 | 0.8145 | 587.5739
ON | 12:35 | 1870 | 1.4814 | 611.8978 | 4.8853 | 1950.797 | 0.8156 | 588.2072
ON | 12:35 | 1875 | 1.389 | 575.5828 | 4.6513 | 1858.7086 | 0.8134 | 586.9406
ON | 12:35 | 1880 | 1.4409 | 595.9805 | 5.0143 | 2001.5636 | 0.8079 | 583.7742
ON | 12:35 | 1885 | 1.3983 | 579.2379 | 5.0148 | 2001.7604 | 0.8178 | 589.4738
ON | 12:35 | 1890 | 1.4043 | 581.596 | 4.4944 | 1796.9622 | 0.8172 | 589.1284
ON | 12:35 | 1895 | 1.4535 | 600.9326 | 4.8011 | 1917.6608 | 0.8205 | 591.0283
ON | 12:35 | 1900 | 1.4491 | 599.2033 | 5.0143 | 2001.5636 | 0.82 | 590.7404
ON | 12:35 | 1905 | 1.4792 | 611.0332 | 5.0115 | 2000.4617 | 0.8238 | 592.9282
ON | 12:36 | 1910 | 1.4338 | 593.1901 | 5.0143 | 2001.5636 | 0.8096 | 584.7529
ON | 12:36 | 1915 | 1.5114 | 623.6884 | 5.0126 | 2000.8946 | 0.8189 | 590.1071
ON | 12:36 | 1920 | 1.5749 | 648.6452 | 5.0104 | 2000.0287 | 0.815 | 587.8618
ON | 12:36 | 1925 | 1.4092 | 583.5218 | 5.0121 | 2000.6979 | 0.8205 | 591.0283
ON | 12:36 | 1930 | 1.401 | 580.299 | 5.0132 | 2001.1307 | 0.8101 | 585.0408
ON | 12:36 | 1935 | 1.4043 | 581.596 | 5.0132 | 2001.1307 | 0.8118 | 586.0195
ON | 12:36 | 1940 | 1.453 | 600.736 | 5.0115 | 2000.4617 | 0.8221 | 591.9494
ON | 12:36 | 1945 | 1.4366 | 594.2905 | 5.0132 | 2001.1307 | 0.8107 | 585.3862
ON | 12:36 | 1950 | 1.4568 | 602.2295 | 5.0121 | 2000.6979 | 0.8123 | 586.3074
ON | 12:36 | 1955 | 1.3928 | 577.0762 | 5.0137 | 2001.3275 | 0.8046 | 581.8743
ON | 12:36 | 1960 | 1.4491 | 599.2033 | 5.0104 | 2000.0287 | 0.8128 | 586.5952
ON | 12:36 | 1965 | 1.4338 | 593.1901 | 5.0126 | 2000.8946 | 0.8112 | 585.6741
ON | 12:37 | 1970 | 1.4732 | 608.675 | 5.0132 | 2001.1307 | 0.8101 | 585.0408
ON | 12:37 | 1975 | 1.4327 | 592.7578 | 5.0126 | 2000.8946 | 0.8112 | 585.6741
ON | 12:37 | 1980 | 1.4223 | 588.6703 | 5.0148 | 2001.7604 | 0.8161 | 588.4951
ON | 12:37 | 1985 | 1.4355 | 593.8582 | 5.0137 | 2001.3275 | 0.8161 | 588.4951
ON | 12:37 | 1990 | 1.4874 | 614.256 | 5.0121 | 2000.6979 | 0.8194 | 590.395
ON | 12:37 | 1995 | 1.4442 | 597.2775 | 5.0099 | 1999.8321 | 0.8139 | 587.2285
ON | 12:37 | 2000 | 1.4032 | 581.1637 | 5.0121 | 2000.6979 | 0.8123 | 586.3074
ON | 12:37 | 2005 | 1.4251 | 589.7708 | 5.0121 | 2000.6979 | 0.8172 | 589.1284
ON | 12:37 | 2010 | 1.4595 | 603.2907 | 5.0115 | 2000.4617 | 0.8107 | 585.3862
ON | 12:37 | 2015 | 1.4683 | 606.7493 | 5.0121 | 2000.6979 | 0.8167 | 588.8405
ON | 12:37 | 2020 | 1.4961 | 617.6752 | 5.0121 | 2000.6979 | 0.8079 | 583.7742
ON | 12:37 | 2025 | 1.4551 | 601.5614 | 5.0132 | 2001.1307 | 0.809 | 584.4075
ON | 12:38 | 2030 | 1.459 | 603.0942 | 5.0115 | 2000.4617 | 0.8128 | 586.5952
ON | 12:38 | 2035 | 1.418 | 586.9804 | 5.0165 | 2002.4294 | 0.8107 | 585.3862
ON | 12:38 | 2040 | 1.3775 | 571.0631 | 5.0132 | 2001.1307 | 0.8096 | 584.7529
ON | 12:38 | 2045 | 1.4294 | 591.4608 | 5.0159 | 2002.1933 | 0.8112 | 585.6741
ON | 12:38 | 2050 | 1.4021 | 580.7313 | 5.0115 | 2000.4617 | 0.8189 | 590.1071
ON | 12:38 | 2055 | 1.4387 | 595.1159 | 5.0137 | 2001.3275 | 0.8123 | 586.3074
ON | 12:38 | 2060 | 1.4196 | 587.6092 | 5.0165 | 2002.4294 | 0.8101 | 585.0408
ON | 12:38 | 2065 | 1.5257 | 629.3086 | 5.017 | 2002.6263 | 0.8183 | 589.7617
ON | 12:38 | 2070 | 1.4978 | 618.3434 | 5.0165 | 2002.4294 | 0.8085 | 584.1196
ON | 12:38 | 2075 | 1.4934 | 616.6141 | 5.0121 | 2000.6979 | 0.8123 | 586.3074
ON | 12:38 | 2080 | 1.3781 | 571.2989 | 5.0121 | 2000.6979 | 0.809 | 584.4075
ON | 12:38 | 2085 | 1.4087 | 583.3253 | 5.0132 | 2001.1307 | 0.8139 | 587.2285
ON | 12:39 | 2090 | 1.4185 | 587.1769 | 5.011 | 2000.265 | 0.82 | 590.7404
ON | 12:39 | 2095 | 1.3868 | 574.7182 | 5.0126 | 2000.8946 | 0.8085 | 584.1196
ON | 12:39 | 2100 | 1.3923 | 576.8797 | 4.677 | 1868.8226 | 0.8178 | 589.4738
ON | 12:39 | 2105 | 1.424 | 589.3385 | 4.7065 | 1880.432 | 0.8145 | 587.5739
ON | 12:39 | 2110 | 1.3824 | 572.9889 | 3.528 | 1416.6452 | 0.821 | 591.3161
ON | 12:39 | 2115 | 1.4207 | 588.0415 | 4.8973 | 1955.5194 | 0.8167 | 588.8405
ON | 12:39 | 2120 | 1.3994 | 579.6702 | 5.0148 | 2001.7604 | 0.8183 | 589.7617
ON | 12:39 | 2125 | 1.3966 | 578.5697 | 5.0159 | 2002.1933 | 0.8194 | 590.395
ON | 12:39 | 2130 | 1.3857 | 574.2858 | 5.0126 | 2000.8946 | 0.8161 | 588.4951
ON | 12:39 | 2135 | 1.3923 | 576.8797 | 5.0126 | 2000.8946 | 0.8167 | 588.8405
ON | 12:39 | 2140 | 1.3852 | 574.0893 | 5.0132 | 2001.1307 | 0.8221 | 591.9494
ON | 12:39 | 2145 | 1.453 | 600.736 | 5.0137 | 2001.3275 | 0.8189 | 590.1071
ON | 12:40 | 2150 | 1.4847 | 613.1948 | 5.0154 | 2001.9965 | 0.8232 | 592.5827
ON | 12:40 | 2155 | 1.4852 | 613.3913 | 4.9629 | 1981.3357 | 0.8134 | 586.9406
ON | 12:40 | 2160 | 1.3988 | 579.4344 | 5.0126 | 2000.8946 | 0.8227 | 592.2949
ON | 12:40 | 2165 | 1.4158 | 586.1157 | 5.0154 | 2001.9965 | 0.8178 | 589.4738
ON | 12:40 | 2170 | 1.459 | 603.0942 | 5.0126 | 2000.8946 | 0.8107 | 585.3862
ON | 12:40 | 2175 | 1.5158 | 625.4177 | 5.0121 | 2000.6979 | 0.8118 | 586.0195
ON | 12:40 | 2180 | 1.4956 | 617.4787 | 5.0121 | 2000.6979 | 0.8063 | 582.853
ON | 12:40 | 2185 | 1.5076 | 622.1949 | 5.0143 | 2001.5636 | 0.8134 | 586.9406
ON | 12:40 | 2190 | 1.4338 | 593.1901 | 5.0148 | 2001.7604 | 0.821 | 591.3161
ON | 12:40 | 2195 | 1.4371 | 594.4871 | 5.0121 | 2000.6979 | 0.8101 | 585.0408
ON | 12:40 | 2200 | 1.4393 | 595.3517 | 5.0126 | 2000.8946 | 0.815 | 587.8618
ON | 12:40 | 2205 | 1.4513 | 600.0679 | 5.0121 | 2000.6979 | 0.8139 | 587.2285
ON | 12:41 | 2210 | 1.4704 | 607.5746 | 5.0137 | 2001.3275 | 0.8112 | 585.6741
ON | 12:41 | 2215 | 1.5142 | 624.7889 | 5.0132 | 2001.1307 | 0.8145 | 587.5739
ON | 12:41 | 2220 | 1.4098 | 583.7576 | 5.0165 | 2002.4294 | 0.8216 | 591.6616
ON | 12:41 | 2225 | 1.4404 | 595.784 | 5.0126 | 2000.8946 | 0.8139 | 587.2285
ON | 12:41 | 2230 | 1.454 | 601.1291 | 5.0132 | 2001.1307 | 0.821 | 591.3161
ON | 12:41 | 2235 | 1.477 | 610.1685 | 5.0126 | 2000.8946 | 0.821 | 591.3161
ON | 12:41 | 2240 | 1.4486 | 599.0068 | 5.0132 | 2001.1307 | 0.8189 | 590.1071
ON | 12:41 | 2245 | 1.4519 | 600.3037 | 5.0132 | 2001.1307 | 0.815 | 587.8618
ON | 12:41 | 2250 | 1.4519 | 600.3037 | 5.0132 | 2001.1307 | 0.8205 | 591.0283
ON | 12:41 | 2255 | 1.4524 | 600.5002 | 5.0115 | 2000.4617 | 0.8123 | 586.3074
ON | 12:41 | 2260 | 1.4519 | 600.3037 | 5.0115 | 2000.4617 | 0.8172 | 589.1284
ON | 12:41 | 2265 | 1.4245 | 589.535 | 5.0137 | 2001.3275 | 0.8074 | 583.4863
ON | 12:42 | 2270 | 1.4617 | 604.1553 | 5.0115 | 2000.4617 | 0.8178 | 589.4738
ON | 12:42 | 2275 | 1.4234 | 589.1027 | 5.0115 | 2000.4617 | 0.8085 | 584.1196
ON | 12:42 | 2280 | 1.3956 | 578.1767 | 5.0115 | 2000.4617 | 0.8112 | 585.6741
ON | 12:42 | 2285 | 1.4726 | 608.4392 | 5.0132 | 2001.1307 | 0.8085 | 584.1196
ON | 12:42 | 2290 | 1.4754 | 609.5397 | 5.0137 | 2001.3275 | 0.8008 | 579.6866
ON | 12:42 | 2295 | 1.4404 | 595.784 | 5.0132 | 2001.1307 | 0.7975 | 577.7867
ON | 12:42 | 2300 | 1.3912 | 576.4474 | 5.0126 | 2000.8946 | 0.7975 | 577.7867
ON | 12:42 | 2305 | 1.4458 | 597.9063 | 5.0137 | 2001.3275 | 0.7986 | 578.42
ON | 12:42 | 2310 | 1.4497 | 599.4391 | 5.0143 | 2001.5636 | 0.8003 | 579.3987
ON | 12:42 | 2315 | 1.4617 | 604.1553 | 5.0132 | 2001.1307 | 0.7926 | 574.9657
ON | 12:42 | 2320 | 1.4103 | 583.9541 | 4.9487 | 1975.7474 | 0.7981 | 578.1321
ON | 12:42 | 2325 | 1.412 | 584.6222 | 4.0538 | 1623.5685 | 0.7959 | 576.8655
ON | 12:43 | 2330 | 1.407 | 582.6571 | 4.8497 | 1936.7869 | 0.8046 | 581.8743
ON | 12:43 | 2335 | 1.4305 | 591.8931 | 5.0104 | 2000.0287 | 0.8025 | 580.6653
ON | 12:43 | 2340 | 1.4535 | 600.9326 | 5.0137 | 2001.3275 | 0.8134 | 586.9406
ON | 12:43 | 2345 | 1.4486 | 599.0068 | 5.0132 | 2001.1307 | 0.8101 | 585.0408
ON | 12:43 | 2350 | 1.4546 | 601.3649 | 5.0159 | 2002.1933 | 0.8107 | 585.3862
ON | 12:43 | 2355 | 1.4289 | 591.2643 | 5.0159 | 2002.1933 | 0.8057 | 582.5076
ON | 12:43 | 2360 | 1.442 | 596.4129 | 5.0137 | 2001.3275 | 0.8014 | 580.032
ON | 12:43 | 2365 | 1.4568 | 602.2295 | 5.0099 | 1999.8321 | 0.8145 | 587.5739
ON | 12:43 | 2370 | 1.4486 | 599.0068 | 5.0115 | 2000.4617 | 0.8118 | 586.0195
ON | 12:43 | 2375 | 1.4688 | 606.9458 | 5.0132 | 2001.1307 | 0.82 | 590.7404
ON | 12:43 | 2380 | 1.4021 | 580.7313 | 5.0121 | 2000.6979 | 0.8134 | 586.9406
ON | 12:43 | 2385 | 1.4912 | 615.7494 | 5.0126 | 2000.8946 | 0.8128 | 586.5952
ON | 12:44 | 2390 | 1.453 | 600.736 | 5.0132 | 2001.1307 | 0.8123 | 586.3074
ON | 12:44 | 2395 | 1.4983 | 618.5399 | 5.0143 | 2001.5636 | 0.8139 | 587.2285
OFF | 12:44 | 2400 | 1.4207 | 588.0415 | 5.0121 | 2000.6979 | 0.8008 | 579.6866
OFF | 12:44 | 2405 | 1.4098 | 583.7576 | 5.0121 | 2000.6979 | 0.8068 | 583.1409
OFF | 12:44 | 2410 | 1.4136 | 585.2511 | 5.0137 | 2001.3275 | 0.7975 | 577.7867
OFF | 12:44 | 2415 | 1.4486 | 599.0068 | 5.0121 | 2000.6979 | 0.8057 | 582.5076
OFF | 12:44 | 2420 | 1.4223 | 588.6703 | 4.46 | 1783.4244 | 0.7954 | 576.5777
OFF | 12:44 | 2425 | 1.4305 | 591.8931 | 4.1194 | 1649.3847 | 0.8019 | 580.3199
OFF | 12:44 | 2430 | 1.3934 | 577.312 | 3.505 | 1407.5937 | 0.7932 | 575.3111
OFF | 12:44 | 2435 | 1.4448 | 597.5133 | 3.2197 | 1295.3168 | 0.797 | 577.4988
OFF | 12:44 | 2440 | 1.3884 | 575.347 | 3.083 | 1241.5198 | 0.8014 | 580.032
OFF | 12:44 | 2445 | 1.3917 | 576.6439 | 3.0283 | 1219.9932 | 0.8014 | 580.032
OFF | 12:45 | 2450 | 1.4218 | 588.4738 | 2.8742 | 1159.3487 | 0.8003 | 579.3987
OFF | 12:45 | 2455 | 1.3813 | 572.5565 | 2.0832 | 848.0585 | 0.8085 | 584.1196
OFF | 12:45 | 2460 | 1.3797 | 571.9277 | 2.3177 | 940.3436 | 0.8019 | 580.3199
OFF | 12:45 | 2465 | 1.3753 | 570.1984 | 2.0909 | 851.0888 | 0.8003 | 579.3987
OFF | 12:45 | 2470 | 1.3628 | 565.2857 | 2.1237 | 863.9969 | 0.7981 | 578.1321
OFF | 12:45 | 2475 | 1.3261 | 550.8618 | 2.251 | 914.0945 | 0.8014 | 580.032
OFF | 12:45 | 2480 | 1.348 | 559.469 | 2.2631 | 918.8563 | 0.7948 | 576.2322
OFF | 12:45 | 2485 | 1.3376 | 555.3815 | 2.1297 | 866.3581 | 0.7904 | 573.6991
OFF | 12:45 | 2490 | 1.3168 | 547.2067 | 2.4899 | 1008.1113 | 0.7986 | 578.42
OFF | 12:45 | 2495 | 1.33 | 552.3946 | 2.3259 | 943.5707 | 0.7839 | 569.9569
OFF | 12:45 | 2500 | 1.3114 | 545.0845 | 2.0936 | 852.1514 | 0.7899 | 573.4112
OFF | 12:45 | 2505 | 1.2873 | 535.6126 | 1.7328 | 710.1621 | 0.78 | 567.7116
OFF | 12:46 | 2510 | 1.2939 | 538.2066 | 1.9477 | 794.7339 | 0.7779 | 566.5026
OFF | 12:46 | 2515 | 1.2709 | 529.1671 | 2.0056 | 817.5198 | 0.7784 | 566.7904
OFF | 12:46 | 2520 | 1.3026 | 541.6259 | 1.7607 | 721.1419 | 0.7746 | 564.6027
OFF | 12:46 | 2525 | 1.2873 | 535.6126 | 1.729 | 708.6666 | 0.774 | 564.2573
OFF | 12:46 | 2530 | 1.2671 | 527.6736 | 1.6465 | 676.1996 | 0.7729 | 563.624
OFF | 12:46 | 2535 | 1.2507 | 521.2281 | 1.6749 | 687.3762 | 0.7664 | 559.8818
OFF | 12:46 | 2540 | 1.2584 | 524.2544 | 1.6098 | 661.7567 | 0.7636 | 558.2698
OFF | 12:46 | 2545 | 1.2507 | 521.2281 | 1.5207 | 626.6923 | 0.7626 | 557.6941
OFF | 12:46 | 2550 | 1.2414 | 517.573 | 1.4284 | 590.3686 | 0.7609 | 556.7154
OFF | 12:46 | 2555 | 1.2283 | 512.4245 | 1.4152 | 585.1738 | 0.7609 | 556.7154
OFF | 12:46 | 2560 | 1.2206 | 509.3982 | 1.3917 | 575.9256 | 0.7565 | 554.1822
OFF | 12:46 | 2565 | 1.2168 | 507.9047 | 1.3464 | 558.0983 | 0.7494 | 550.0946
OFF | 12:47 | 2570 | 1.2042 | 502.9527 | 1.3562 | 561.9549 | 0.7538 | 552.6277
OFF | 12:47 | 2575 | 1.1878 | 496.5072 | 1.3529 | 560.6563 | 0.7549 | 553.261
OFF | 12:47 | 2580 | 1.1911 | 497.8041 | 1.3409 | 555.9338 | 0.7412 | 545.3736
OFF | 12:47 | 2585 | 1.1824 | 494.3848 | 1.3327 | 552.7068 | 0.7489 | 549.8067
OFF | 12:47 | 2590 | 1.1764 | 492.0267 | 1.348 | 558.7279 | 0.7401 | 544.7404
OFF | 12:47 | 2595 | 1.1764 | 492.0267 | 1.3141 | 545.3869 | 0.7341 | 541.286
OFF | 12:47 | 2600 | 1.1649 | 487.507 | 1.3136 | 545.1901 | 0.7418 | 545.7191
OFF | 12:47 | 2605 | 1.1616 | 486.21 | 1.3157 | 546.0166 | 0.7314 | 539.7316
OFF | 12:47 | 2610 | 1.1507 | 481.9261 | 1.2988 | 539.3657 | 0.7308 | 539.3862
OFF | 12:47 | 2615 | 1.1474 | 480.6292 | 1.2731 | 529.2518 | 0.7281 | 537.8317
OFF | 12:47 | 2620 | 1.1425 | 478.7034 | 1.2261 | 510.7554 | 0.7166 | 531.211
OFF | 12:47 | 2625 | 1.1392 | 477.4064 | 1.2409 | 516.5798 | 0.7068 | 525.5689
OFF | 12:48 | 2630 | 1.1283 | 473.1224 | 1.2305 | 512.487 | 0.7117 | 528.3899
OFF | 12:48 | 2635 | 1.1261 | 472.2578 | 1.2097 | 504.3013 | 0.709 | 526.8355
OFF | 12:48 | 2640 | 1.1239 | 471.3932 | 1.2075 | 503.4355 | 0.7008 | 522.1146
OFF | 12:48 | 2645 | 1.1266 | 472.4543 | 1.2031 | 501.704 | 0.7063 | 525.281
OFF | 12:48 | 2650 | 1.1211 | 470.2927 | 1.2048 | 502.373 | 0.6948 | 518.6603
OFF | 12:48 | 2655 | 1.1146 | 467.7381 | 1.2102 | 504.4981 | 0.6975 | 520.2147
OFF | 12:48 | 2660 | 1.1091 | 465.5765 | 1.2135 | 505.7968 | 0.6844 | 512.6728
OFF | 12:48 | 2665 | 1.1075 | 464.9476 | 1.2064 | 503.0027 | 0.692 | 517.0482
OFF | 12:48 | 2670 | 1.1053 | 464.083 | 1.1884 | 495.9189 | 0.6817 | 511.1183
OFF | 12:48 | 2675 | 1.1009 | 462.3537 | 1.1856 | 494.817 | 0.6811 | 510.7729
OFF | 12:48 | 2680 | 1.1004 | 462.1572 | 1.1703 | 488.7959 | 0.674 | 506.6853
OFF | 12:48 | 2685 | 1.0916 | 458.6986 | 1.1774 | 491.59 | 0.668 | 503.2309
OFF | 12:49 | 2690 | 1.0867 | 456.7728 | 1.1583 | 484.0734 | 0.6751 | 507.3186
OFF | 12:49 | 2695 | 1.0938 | 459.5633 | 1.1682 | 487.9694 | 0.6713 | 505.1308
OFF | 12:49 | 2700 | 1.0725 | 451.1919 | 1.1649 | 486.6707 | 0.6674 | 502.8855
OFF | 12:49 | 2705 | 1.0758 | 452.4889 | 1.1507 | 481.0825 | 0.6636 | 500.6978
OFF | 12:49 | 2710 | 1.0709 | 450.5631 | 1.1315 | 473.5265 | 0.6592 | 498.1646
OFF | 12:49 | 2715 | 1.0714 | 450.7596 | 1.1332 | 474.1955 | 0.6581 | 497.5313
OFF | 12:49 | 2720 | 1.067 | 449.0304 | 1.1304 | 473.0936 | 0.6598 | 498.5101
OFF | 12:49 | 2725 | 1.0698 | 450.1308 | 1.1293 | 472.6607 | 0.6571 | 496.9556
OFF | 12:49 | 2730 | 1.0659 | 448.598 | 1.1272 | 471.8343 | 0.6439 | 489.3561
OFF | 12:49 | 2735 | 1.0676 | 449.2662 | 1.1272 | 471.8343 | 0.6472 | 491.256
OFF | 12:49 | 2740 | 1.0648 | 448.1657 | 1.1211 | 469.4337 | 0.6385 | 486.2472
OFF | 12:49 | 2745 | 1.0648 | 448.1657 | 1.1244 | 470.7324 | 0.6368 | 485.2685
OFF | 12:50 | 2750 | 1.0665 | 448.8338 | 1.1228 | 470.1027 | 0.6445 | 489.7016
OFF | 12:50 | 2755 | 1.0659 | 448.598 | 1.119 | 468.6072 | 0.6379 | 485.9018
OFF | 12:50 | 2760 | 1.055 | 444.3141 | 1.1151 | 467.0725 | 0.6407 | 487.5138
OFF | 12:50 | 2765 | 1.055 | 444.3141 | 1.114 | 466.6395 | 0.6352 | 484.3474
OFF | 12:50 | 2770 | 1.0561 | 444.7464 | 1.119 | 468.6072 | 0.6363 | 484.9807
OFF | 12:50 | 2775 | 1.0577 | 445.3753 | 1.1075 | 464.0815 | 0.6401 | 487.1684
OFF | 12:50 | 2780 | 1.0534 | 443.6853 | 1.0955 | 459.3591 | 0.6259 | 478.9931
OFF | 12:50 | 2785 | 1.0545 | 444.1176 | 1.096 | 459.5558 | 0.6346 | 484.0019
OFF | 12:50 | 2790 | 1.0495 | 442.1525 | 1.0955 | 459.3591 | 0.633 | 483.0808
OFF | 12:50 | 2795 | 1.0479 | 441.5236 | 1.0998 | 461.0513 | 0.6243 | 478.072
OFF | 12:50 | 2800 | 1.0506 | 442.5848 | 1.1009 | 461.4842 | 0.6275 | 479.9143
OFF | 12:50 | 2805 | 1.0452 | 440.4625 | 1.0993 | 460.8545 | 0.6248 | 478.3599
OFF | 12:51 | 2810 | 1.0473 | 441.2878 | 1.0955 | 459.3591 | 0.6297 | 481.1809
OFF | 12:51 | 2815 | 1.0424 | 439.362 | 1.0889 | 456.7617 | 0.6286 | 480.5476
OFF | 12:51 | 2820 | 1.0413 | 438.9297 | 1.0823 | 454.1643 | 0.6253 | 478.6477
OFF | 12:51 | 2825 | 1.0457 | 440.659 | 1.0796 | 453.1018 | 0.6281 | 480.2597
OFF | 12:51 | 2830 | 1.0424 | 439.362 | 1.0845 | 455.0301 | 0.6253 | 478.6477
OFF | 12:51 | 2835 | 1.043 | 439.5979 | 1.0867 | 455.8959 | 0.6253 | 478.6477
OFF | 12:51 | 2840 | 1.0413 | 438.9297 | 1.0862 | 455.6991 | 0.6243 | 478.072
OFF | 12:51 | 2845 | 1.0386 | 437.8686 | 1.0867 | 455.8959 | 0.6215 | 476.46
OFF | 12:51 | 2850 | 1.0353 | 436.5716 | 1.0856 | 455.463 | 0.6193 | 475.1934
OFF | 12:51 | 2855 | 1.0337 | 435.9428 | 1.0829 | 454.4005 | 0.6155 | 473.0056
OFF | 12:51 | 2860 | 1.0337 | 435.9428 | 1.0774 | 452.236 | 0.6182 | 474.5601
OFF | 12:51 | 2865 | 1.032 | 435.2746 | 1.0791 | 452.905 | 0.6182 | 474.5601
OFF | 12:52 | 2870 | 1.0353 | 436.5716 | 1.0774 | 452.236 | 0.615 | 472.7178
OFF | 12:52 | 2875 | 1.0315 | 435.0781 | 1.0665 | 447.9464 | 0.6199 | 475.5388
OFF | 12:52 | 2880 | 1.0315 | 435.0781 | 1.0654 | 447.5135 | 0.615 | 472.7178
OFF | 12:52 | 2885 | 1.0348 | 436.3751 | 1.0687 | 448.8122 | 0.6095 | 469.5513
OFF | 12:52 | 2890 | 1.026 | 432.9165 | 1.0648 | 447.2774 | 0.6128 | 471.4512
OFF | 12:52 | 2895 | 1.0249 | 432.4842 | 1.0654 | 447.5135 | 0.6161 | 473.3511
OFF | 12:52 | 2900 | 1.0173 | 429.4972 | 1.0643 | 447.0806 | 0.6084 | 468.918
OFF | 12:52 | 2905 | 1.0342 | 436.1393 | 1.0637 | 446.8445 | 0.6062 | 467.6515
OFF | 12:52 | 2910 | 1.0249 | 432.4842 | 1.0583 | 444.7194 | 0.6122 | 471.1058
OFF | 12:52 | 2915 | 1.0277 | 433.5846 | 1.0605 | 445.5852 | 0.6062 | 467.6515
OFF | 12:52 | 2920 | 1.0293 | 434.2135 | 1.0599 | 445.3491 | 0.61 | 469.8392
OFF | 12:52 | 2925 | 1.0244 | 432.2877 | 1.0594 | 445.1523 | 0.6018 | 465.1183
OFF | 12:53 | 2930 | 1.0238 | 432.0519 | 1.0572 | 444.2865 | 0.6046 | 466.7303
OFF | 12:53 | 2935 | 1.026 | 432.9165 | 1.0583 | 444.7194 | 0.6024 | 465.4637
OFF | 12:53 | 2940 | 1.0233 | 431.8554 | 1.0588 | 444.9161 | 0.5958 | 461.664
OFF | 12:53 | 2945 | 1.0255 | 432.72 | 1.0577 | 444.4833 | 0.6057 | 467.3636
OFF | 12:53 | 2950 | 1.0228 | 431.6588 | 1.0594 | 445.1523 | 0.5997 | 463.9093
OFF | 12:53 | 2955 | 1.0217 | 431.2265 | 1.0594 | 445.1523 | 0.5947 | 461.0307
OFF | 12:53 | 2960 | 1.02 | 430.5584 | 1.0588 | 444.9161 | 0.6018 | 465.1183
OFF | 12:53 | 2965 | 1.0206 | 430.7942 | 1.0583 | 444.7194 | 0.6035 | 466.097
OFF | 12:53 | 2970 | 1.02 | 430.5584 | 1.0572 | 444.2865 | 0.5997 | 463.9093
OFF | 12:53 | 2975 | 1.0184 | 429.9295 | 1.0566 | 444.0504 | 0.5964 | 462.0094
OFF | 12:53 | 2980 | 1.0222 | 431.423 | 1.0566 | 444.0504 | 0.6046 | 466.7303
OFF | 12:53 | 2985 | 1.0217 | 431.2265 | 1.049 | 441.0595 | 0.6008 | 464.5426
OFF | 12:54 | 2990 | 1.0178 | 429.6937 | 1.049 | 441.0595 | 0.6002 | 464.1971
OFF | 12:54 | 2995 | 1.0162 | 429.0649 | 1.0435 | 438.895 | 0.5969 | 462.2973
OFF | 12:54 | 3000 | 1.0162 | 429.0649 | 1.0452 | 439.564 | 0.5936 | 460.3974
OFF | 12:54 | 3005 | 1.0146 | 428.4361 | 1.0424 | 438.4621 | 0.5915 | 459.1884
OFF | 12:54 | 3010 | 1.0167 | 429.2614 | 1.0435 | 438.895 | 0.586 | 456.0219
OFF | 12:54 | 3015 | 1.0167 | 429.2614 | 1.0457 | 439.7608 | 0.5997 | 463.9093
OFF | 12:54 | 3020 | 1.0167 | 429.2614 | 1.0463 | 439.9969 | 0.5969 | 462.2973
OFF | 12:54 | 3025 | 1.0156 | 428.8291 | 1.0473 | 440.3904 | 0.604 | 466.3849
OFF | 12:54 | 3030 | 1.0146 | 428.4361 | 1.0468 | 440.1937 | 0.5958 | 461.664
OFF | 12:54 | 3035 | 1.0238 | 432.0519 | 1.0441 | 439.1311 | 0.6018 | 465.1183
OFF | 12:54 | 3040 | 1.0156 | 428.8291 | 1.0424 | 438.4621 | 0.598 | 462.9306
OFF | 12:54 | 3045 | 1.0118 | 427.3357 | 1.0435 | 438.895 | 0.5947 | 461.0307
OFF | 12:55 | 3050 | 1.0107 | 426.9033 | 1.0441 | 439.1311 | 0.5953 | 461.3761
OFF | 12:55 | 3055 | 1.0113 | 427.1391 | 1.0381 | 436.7699 | 0.5904 | 458.5551
OFF | 12:55 | 3060 | 1.0146 | 428.4361 | 1.0375 | 436.5338 | 0.5909 | 458.8429
OFF | 12:55 | 3065 | 1.0129 | 427.768 | 1.0375 | 436.5338 | 0.5844 | 455.1008
OFF | 12:55 | 3070 | 1.0124 | 427.5715 | 1.037 | 436.337 | 0.5915 | 459.1884
OFF | 12:55 | 3075 | 1.0107 | 426.9033 | 1.0353 | 435.668 | 0.5854 | 455.6765
OFF | 12:55 | 3080 | 1.0096 | 426.471 | 1.0353 | 435.668 | 0.5898 | 458.2097
OFF | 12:55 | 3085 | 1.0096 | 426.471 | 1.0359 | 435.9041 | 0.5904 | 458.5551
OFF | 12:55 | 3090 | 1.0124 | 427.5715 | 1.0359 | 435.9041 | 0.5893 | 457.9218
OFF | 12:55 | 3095 | 1.0113 | 427.1391 | 1.0337 | 435.0383 | 0.5882 | 457.2885
OFF | 12:55 | 3100 | 1.0118 | 427.3357 | 1.0342 | 435.235 | 0.5854 | 455.6765
OFF | 12:55 | 3105 | 1.0064 | 425.2133 | 1.0381 | 436.7699 | 0.5942 | 460.7428
OFF | 12:56 | 3110 | 1.0047 | 424.5452 | 1.0392 | 437.2027 | 0.5871 | 456.6552
OFF | 12:56 | 3115 | 1.0003 | 422.8159 | 1.0348 | 435.4712 | 0.5904 | 458.5551
OFF | 12:56 | 3120 | 1.0118 | 427.3357 | 1.0353 | 435.668 | 0.5975 | 462.6427
OFF | 12:56 | 3125 | 1.0146 | 428.4361 | 1.0342 | 435.235 | 0.5898 | 458.2097
OFF | 12:56 | 3130 | 1.0124 | 427.5715 | 1.0364 | 436.1008 | 0.5844 | 455.1008
OFF | 12:56 | 3135 | 1.0124 | 427.5715 | 1.0342 | 435.235 | 0.5833 | 454.4675
OFF | 12:56 | 3140 | 1.0096 | 426.471 | 1.0348 | 435.4712 | 0.5931 | 460.1095
OFF | 12:56 | 3145 | 1.0085 | 426.0387 | 1.0364 | 436.1008 | 0.5854 | 455.6765
OFF | 12:56 | 3150 | 1.0118 | 427.3357 | 1.0386 | 436.9666 | 0.5904 | 458.5551
OFF | 12:56 | 3155 | 1.0118 | 427.3357 | 1.0375 | 436.5338 | 0.5931 | 460.1095
OFF | 12:56 | 3160 | 1.0096 | 426.471 | 1.037 | 436.337 | 0.5854 | 455.6765
OFF | 12:56 | 3165 | 1.0096 | 426.471 | 1.0353 | 435.668 | 0.5893 | 457.9218
OFF | 12:57 | 3170 | 1.0124 | 427.5715 | 1.0331 | 434.8022 | 0.5871 | 456.6552
OFF | 12:57 | 3175 | 1.0107 | 426.9033 | 1.0348 | 435.4712 | 0.5915 | 459.1884
OFF | 12:57 | 3180 | 1.0124 | 427.5715 | 1.0337 | 435.0383 | 0.5909 | 458.8429
OFF | 12:57 | 3185 | 1.0074 | 425.6064 | 1.0337 | 435.0383 | 0.5893 | 457.9218
OFF | 12:57 | 3190 | 1.0096 | 426.471 | 1.0359 | 435.9041 | 0.5986 | 463.276
OFF | 12:57 | 3195 | 1.0091 | 426.2745 | 1.0331 | 434.8022 | 0.5854 | 455.6765
OFF | 12:57 | 3200 | 1.0129 | 427.768 | 1.0337 | 435.0383 | 0.5975 | 462.6427
OFF | 12:57 | 3205 | 1.0129 | 427.768 | 1.0342 | 435.235 | 0.5887 | 457.5764
OFF | 12:57 | 3210 | 1.0085 | 426.0387 | 1.0353 | 435.668 | 0.5953 | 461.3761
OFF | 12:57 | 3215 | 1.0091 | 426.2745 | 1.032 | 434.3693 | 0.5898 | 458.2097
OFF | 12:57 | 3220 | 1.0113 | 427.1391 | 1.0337 | 435.0383 | 0.598 | 462.9306
OFF | 12:57 | 3225 | 1.0091 | 426.2745 | 1.0337 | 435.0383 | 0.5898 | 458.2097
OFF | 12:58 | 3230 | 1.0102 | 426.7068 | 1.0331 | 434.8022 | 0.5953 | 461.3761
OFF | 12:58 | 3235 | 1.0096 | 426.471 | 1.0331 | 434.8022 | 0.5882 | 457.2885
OFF | 12:58 | 3240 | 1.008 | 425.8422 | 1.0353 | 435.668 | 0.5882 | 457.2885
OFF | 12:58 | 3245 | 1.0069 | 425.4098 | 1.0348 | 435.4712 | 0.5887 | 457.5764
OFF | 12:58 | 3250 | 1.0096 | 426.471 | 1.031 | 433.9757 | 0.5794 | 452.2222
OFF | 12:58 | 3255 | 1.008 | 425.8422 | 1.0288 | 433.11 | 0.5876 | 456.9431
OFF | 12:58 | 3260 | 1.0025 | 423.6806 | 1.0266 | 432.2442 | 0.5849 | 455.3886
OFF | 12:58 | 3265 | 1.0042 | 424.3487 | 1.0299 | 433.5428 | 0.58 | 452.5676
OFF | 12:58 | 3270 | 1.0036 | 424.1129 | 1.0304 | 433.7396 | 0.5898 | 458.2097
OFF | 12:58 | 3275 | 1.0058 | 424.9775 | 1.032 | 434.3693 | 0.5904 | 458.5551
OFF | 12:58 | 3280 | 1.0069 | 425.4098 | 1.032 | 434.3693 | 0.5904 | 458.5551
OFF | 12:58 | 3285 | 1.0042 | 424.3487 | 1.0288 | 433.11 | 0.5876 | 456.9431
OFF | 12:59 | 3290 | 1.0047 | 424.5452 | 1.0277 | 432.677 | 0.5833 | 454.4675
OFF | 12:59 | 3295 | 1.0047 | 424.5452 | 1.0271 | 432.4409 | 0.586 | 456.0219
OFF | 12:59 | 3300 | 1.0074 | 425.6064 | 1.0282 | 432.8738 | 0.58 | 452.5676
OFF | 12:59 | 3305 | 1.0064 | 425.2133 | 1.0282 | 432.8738 | 0.5915 | 459.1884
OFF | 12:59 | 3310 | 1.0042 | 424.3487 | 1.026 | 432.008 | 0.5915 | 459.1884
OFF | 12:59 | 3315 | 1.0074 | 425.6064 | 1.0288 | 433.11 | 0.5893 | 457.9218
OFF | 12:59 | 3320 | 1.0058 | 424.9775 | 1.0271 | 432.4409 | 0.5931 | 460.1095
OFF | 12:59 | 3325 | 1.0064 | 425.2133 | 1.0277 | 432.677 | 0.5964 | 462.0094
OFF | 12:59 | 3330 | 1.0102 | 426.7068 | 1.0293 | 433.3067 | 0.5958 | 461.664
OFF | 12:59 | 3335 | 1.0085 | 426.0387 | 1.0282 | 432.8738 | 0.5893 | 457.9218
OFF | 12:59 | 3340 | 0.9938 | 420.2613 | 1.0282 | 432.8738 | 0.5898 | 458.2097
OFF | 12:59 | 3345 | 0.9949 | 420.6936 | 1.0304 | 433.7396 | 0.5904 | 458.5551
OFF | 13:00 | 3350 | 1.0102 | 426.7068 | 1.0271 | 432.4409 | 0.5822 | 453.8342
OFF | 13:00 | 3355 | 0.9987 | 422.1871 | 1.0271 | 432.4409 | 0.5882 | 457.2885
OFF | 13:00 | 3360 | 1.0146 | 428.4361 | 1.0255 | 431.8113 | 0.5882 | 457.2885
OFF | 13:00 | 3365 | 1.0085 | 426.0387 | 1.0255 | 431.8113 | 0.586 | 456.0219
OFF | 13:00 | 3370 | 1.0074 | 425.6064 | 1.0288 | 433.11 | 0.586 | 456.0219
OFF | 13:00 | 3375 | 1.0085 | 426.0387 | 1.0271 | 432.4409 | 0.5893 | 457.9218
OFF | 13:00 | 3380 | 1.0074 | 425.6064 | 1.0293 | 433.3067 | 0.5822 | 453.8342
OFF | 13:00 | 3385 | 1.008 | 425.8422 | 1.0293 | 433.3067 | 0.5865 | 456.3098
OFF | 13:00 | 3390 | 1.0102 | 426.7068 | 1.0288 | 433.11 | 0.5838 | 454.7553
OFF | 13:00 | 3395 | 1.0124 | 427.5715 | 1.0288 | 433.11 | 0.5887 | 457.5764
OFF | 13:00 | 3400 | 1.0074 | 425.6064 | 1.0315 | 434.1725 | 0.5893 | 457.9218
OFF | 13:00 | 3405 | 1.008 | 425.8422 | 1.0304 | 433.7396 | 0.5833 | 454.4675
OFF | 13:01 | 3410 | 1.0096 | 426.471 | 1.0337 | 435.0383 | 0.5838 | 454.7553
OFF | 13:01 | 3415 | 1.0107 | 426.9033 | 1.0315 | 434.1725 | 0.5854 | 455.6765
OFF | 13:01 | 3420 | 1.0096 | 426.471 | 1.0304 | 433.7396 | 0.5898 | 458.2097
OFF | 13:01 | 3425 | 1.0102 | 426.7068 | 1.0288 | 433.11 | 0.5827 | 454.122
OFF | 13:01 | 3430 | 1.0064 | 425.2133 | 1.0315 | 434.1725 | 0.5805 | 452.8555
OFF | 13:01 | 3435 | 1.0064 | 425.2133 | 1.0304 | 433.7396 | 0.5854 | 455.6765
OFF | 13:01 | 3440 | 1.0085 | 426.0387 | 1.0315 | 434.1725 | 0.5811 | 453.2009
OFF | 13:01 | 3445 | 1.0064 | 425.2133 | 1.0288 | 433.11 | 0.5833 | 454.4675
OFF | 13:01 | 3450 | 1.0085 | 426.0387 | 1.031 | 433.9757 | 0.5794 | 452.2222
OFF | 13:01 | 3455 | 1.008 | 425.8422 | 1.0299 | 433.5428 | 0.5789 | 451.9343
OFF | 13:01 | 3460 | 1.008 | 425.8422 | 1.0293 | 433.3067 | 0.5876 | 456.9431
OFF | 13:01 | 3465 | 1.0064 | 425.2133 | 1.031 | 433.9757 | 0.5887 | 457.5764
OFF | 13:02 | 3470 | 1.0025 | 423.6806 | 1.032 | 434.3693 | 0.5887 | 457.5764
OFF | 13:02 | 3475 | 0.9992 | 422.3836 | 1.0348 | 435.4712 | 0.5865 | 456.3098
OFF | 13:02 | 3480 | 1.0009 | 423.0517 | 1.0315 | 434.1725 | 0.5931 | 460.1095
OFF | 13:02 | 3485 | 1.0003 | 422.8159 | 1.0271 | 432.4409 | 0.586 | 456.0219
OFF | 13:02 | 3490 | 1.0031 | 423.9164 | 1.0288 | 433.11 | 0.5904 | 458.5551
OFF | 13:02 | 3495 | 1.0042 | 424.3487 | 1.0277 | 432.677 | 0.5898 | 458.2097
OFF | 13:02 | 3500 | 1.0009 | 423.0517 | 1.031 | 433.9757 | 0.5926 | 459.8217
OFF | 13:02 | 3505 | 0.9998 | 422.6194 | 1.0271 | 432.4409 | 0.5827 | 454.122
OFF | 13:02 | 3510 | 0.9987 | 422.1871 | 1.026 | 432.008 | 0.5865 | 456.3098
OFF | 13:02 | 3515 | 1.0025 | 423.6806 | 1.0288 | 433.11 | 0.5915 | 459.1884
OFF | 13:02 | 3520 | 1.0064 | 425.2133 | 1.0255 | 431.8113 | 0.5893 | 457.9218
OFF | 13:02 | 3525 | 1.0036 | 424.1129 | 1.026 | 432.008 | 0.5964 | 462.0094
OFF | 13:03 | 3530 | 0.9949 | 420.6936 | 1.0244 | 431.3784 | 0.5953 | 461.3761
OFF | 13:03 | 3535 | 0.9998 | 422.6194 | 1.0233 | 430.9455 | 0.5838 | 454.7553
OFF | 13:03 | 3540 | 0.9998 | 422.6194 | 1.0233 | 430.9455 | 0.592 | 459.4762
OFF | 13:03 | 3545 | 0.9987 | 422.1871 | 1.0244 | 431.3784 | 0.5882 | 457.2885
OFF | 13:03 | 3550 | 1.0003 | 422.8159 | 1.0249 | 431.5751 | 0.5876 | 456.9431
OFF | 13:03 | 3555 | 1.0003 | 422.8159 | 1.0217 | 430.3158 | 0.5997 | 463.9093
OFF | 13:03 | 3560 | 1.0014 | 423.2482 | 1.0222 | 430.5126 | 0.5947 | 461.0307
OFF | 13:03 | 3565 | 0.9998 | 422.6194 | 1.0238 | 431.1423 | 0.5926 | 459.8217
OFF | 13:03 | 3570 | 0.996 | 421.1259 | 1.0233 | 430.9455 | 0.6008 | 464.5426
OFF | 13:03 | 3575 | 0.9965 | 421.3224 | 1.0255 | 431.8113 | 0.592 | 459.4762
OFF | 13:03 | 3580 | 1.0014 | 423.2482 | 1.0249 | 431.5751 | 0.5904 | 458.5551
OFF | 13:03 | 3585 | 0.9971 | 421.5582 | 1.0244 | 431.3784 | 0.5849 | 455.3886
OFF | 13:04 | 3590 | 1.0025 | 423.6806 | 1.0244 | 431.3784 | 0.5844 | 455.1008
OFF | 13:04 | 3595 | 0.9992 | 422.3836 | 1.0255 | 431.8113 | 0.5849 | 455.3886

## CO2 Concentration Averages
| Gas Off (pre-test) |  |  |  | Gas Off (post-test)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS) |  | A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 426.8742 | 433.3421 | 457.5797 | Concentration (ppm): | 425.5874 | 434.3444 | 457.9424
Gas On (steady-state)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 596.8115 | 1988.1136 | 583.716
Standard Deviation: | 14.7866 | 57.6738 | 4.616
Standard Deviation of Average: | 3.3064 | 12.8963 | 1.0322
95% Confidence Interval | 6.4805 | 25.2767 | 2.023
Percent Difference
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
| 39.8097 | 358.7861 | 27.566

## Rotometer Readings
(Reading 1)
Temperature (°C) | 27.4
Temperature (k) | 300.55
P_atm (hPa) | 978
P_atm (psi) | 14.1847
dV | 0.3
P_flow (psi) | 0.06
Reading | 78
Corresponding Flowrate (table) (lpm) | 5.26
Actual Flowrate (lpm) | 5.1225
(Reading 2)
Temperature (°C) | 27.8
Temperature (k) | 300.95
P_atm (hPa) | 978
P_atm (psi) | 14.1847
dV | 0.3
P_flow (psi) | 0.06
Reading | 78
Corresponding Flowrate (table) (lpm) | 5.26
Actual Flowrate (lpm) | 5.1191
(Reading 3)
Temperature (°C) | 27.9
Temperature (k) | 301.05
P_atm (hPa) | 978
P_atm (psi) | 14.1847
dV | 0.3
P_flow (psi) | 0.06
Reading | 78
Corresponding Flowrate (table) (lpm) | 5.26
Actual Flowrate (lpm) | 5.1182