## Data & Charts
%INJECTION STATUS | TIME | TIME (s) | A-1 CO2 conc (DCV) | A-1 CO2 conc (PPM) | A-2 CO2 conc (DCV) | A-2 CO2 conc (PPM) | A-4 CO2 conc (DCV) | A-4 CO2 conc (PPM) | Helium Injection (computer) (lpm) | Sample Time (s) | Measured CO2 Injection (lpm) | Measured CO2 Injection (CFM)
OFF | 15:43 | 0 | 0.991 | 419.1608 | 0.9976 | 420.8315 | 0.557 | 439.326 | 3.07 | 600 | 4.9902 | 0.17623
OFF | 15:43 | 5 | 0.9916 | 419.3966 | 0.9965 | 420.3986 | 0.5603 | 441.2259 |  | 1500 | 4.9902 | 0.17623
OFF | 15:43 | 10 | 0.9921 | 419.5931 | 0.996 | 420.2018 | 0.5625 | 442.4925 |  | 2400 | 4.9902 | 0.17623
OFF | 15:43 | 15 | 0.991 | 419.1608 | 0.9987 | 421.2644 | 0.5652 | 444.0469
OFF | 15:43 | 20 | 0.9916 | 419.3966 | 0.9982 | 421.0676 | 0.5587 | 440.3048
OFF | 15:43 | 25 | 0.9905 | 418.9643 | 0.9982 | 421.0676 | 0.563 | 442.7804
OFF | 15:43 | 30 | 0.9894 | 418.532 | 0.9992 | 421.4612 | 0.5614 | 441.8592
OFF | 15:43 | 35 | 0.9916 | 419.3966 | 0.9971 | 420.6347 | 0.5619 | 442.1471
OFF | 15:43 | 40 | 0.9932 | 420.0255 | 0.9987 | 421.2644 | 0.5554 | 438.4049
OFF | 15:43 | 45 | 0.9921 | 419.5931 | 0.9987 | 421.2644 | 0.5565 | 439.0382
OFF | 15:43 | 50 | 0.991 | 419.1608 | 0.9971 | 420.6347 | 0.551 | 435.8717
OFF | 15:43 | 55 | 0.9916 | 419.3966 | 0.9971 | 420.6347 | 0.5532 | 437.1383
OFF | 15:43 | 60 | 0.991 | 419.1608 | 0.9998 | 421.6973 | 0.5548 | 438.0594
OFF | 15:44 | 65 | 0.9894 | 418.532 | 0.9992 | 421.4612 | 0.5537 | 437.4261
OFF | 15:44 | 70 | 0.9889 | 418.3355 | 0.996 | 420.2018 | 0.5548 | 438.0594
OFF | 15:44 | 75 | 0.9921 | 419.5931 | 0.9982 | 421.0676 | 0.5494 | 434.9506
OFF | 15:44 | 80 | 0.9905 | 418.9643 | 0.9965 | 420.3986 | 0.5516 | 436.2171
OFF | 15:44 | 85 | 0.9883 | 418.0997 | 0.9987 | 421.2644 | 0.5543 | 437.7716
OFF | 15:44 | 90 | 0.9889 | 418.3355 | 0.9965 | 420.3986 | 0.5587 | 440.3048
OFF | 15:44 | 95 | 0.9872 | 417.6674 | 0.9982 | 421.0676 | 0.5543 | 437.7716
OFF | 15:44 | 100 | 0.9916 | 419.3966 | 0.9976 | 420.8315 | 0.5565 | 439.0382
OFF | 15:44 | 105 | 0.9894 | 418.532 | 0.9971 | 420.6347 | 0.5619 | 442.1471
OFF | 15:44 | 110 | 0.991 | 419.1608 | 0.996 | 420.2018 | 0.5581 | 439.9593
OFF | 15:44 | 115 | 0.996 | 421.1259 | 0.9982 | 421.0676 | 0.5565 | 439.0382
OFF | 15:45 | 120 | 0.996 | 421.1259 | 0.9976 | 420.8315 | 0.5619 | 442.1471
OFF | 15:45 | 125 | 0.996 | 421.1259 | 0.9987 | 421.2644 | 0.5581 | 439.9593
OFF | 15:45 | 130 | 0.9976 | 421.7548 | 0.9971 | 420.6347 | 0.5587 | 440.3048
OFF | 15:45 | 135 | 0.9992 | 422.3836 | 0.9976 | 420.8315 | 0.5669 | 445.0257
OFF | 15:45 | 140 | 0.996 | 421.1259 | 0.9992 | 421.4612 | 0.5696 | 446.5801
OFF | 15:45 | 145 | 0.9949 | 420.6936 | 0.9976 | 420.8315 | 0.5723 | 448.1346
OFF | 15:45 | 150 | 0.9976 | 421.7548 | 0.9965 | 420.3986 | 0.5663 | 444.6802
OFF | 15:45 | 155 | 0.9976 | 421.7548 | 1.0009 | 422.1302 | 0.5603 | 441.2259
OFF | 15:45 | 160 | 0.9982 | 421.9906 | 1.0003 | 421.8941 | 0.5619 | 442.1471
OFF | 15:45 | 165 | 0.9965 | 421.3224 | 0.9992 | 421.4612 | 0.557 | 439.326
OFF | 15:45 | 170 | 0.9938 | 420.2613 | 1.0009 | 422.1302 | 0.5587 | 440.3048
OFF | 15:45 | 175 | 0.9982 | 421.9906 | 1.002 | 422.5631 | 0.5576 | 439.6715
OFF | 15:45 | 180 | 0.9987 | 422.1871 | 1.0014 | 422.327 | 0.5587 | 440.3048
OFF | 15:46 | 185 | 0.9954 | 420.8901 | 1.0009 | 422.1302 | 0.5636 | 443.1258
OFF | 15:46 | 190 | 0.9976 | 421.7548 | 1.0003 | 421.8941 | 0.5559 | 438.6927
OFF | 15:46 | 195 | 0.9976 | 421.7548 | 1.0014 | 422.327 | 0.5554 | 438.4049
OFF | 15:46 | 200 | 0.9987 | 422.1871 | 1.0009 | 422.1302 | 0.5548 | 438.0594
OFF | 15:46 | 205 | 0.9954 | 420.8901 | 1.002 | 422.5631 | 0.5516 | 436.2171
OFF | 15:46 | 210 | 1.0031 | 423.9164 | 1.0014 | 422.327 | 0.5532 | 437.1383
OFF | 15:46 | 215 | 0.9987 | 422.1871 | 1.0014 | 422.327 | 0.5548 | 438.0594
OFF | 15:46 | 220 | 0.9992 | 422.3836 | 1.0003 | 421.8941 | 0.5608 | 441.5138
OFF | 15:46 | 225 | 0.9965 | 421.3224 | 1.0014 | 422.327 | 0.5587 | 440.3048
OFF | 15:46 | 230 | 0.9932 | 420.0255 | 1.002 | 422.5631 | 0.5598 | 440.9381
OFF | 15:46 | 235 | 0.9971 | 421.5582 | 1.002 | 422.5631 | 0.5576 | 439.6715
OFF | 15:47 | 240 | 0.9943 | 420.4578 | 1.0009 | 422.1302 | 0.5587 | 440.3048
OFF | 15:47 | 245 | 0.9976 | 421.7548 | 1.002 | 422.5631 | 0.563 | 442.7804
OFF | 15:47 | 250 | 0.9954 | 420.8901 | 0.9992 | 421.4612 | 0.5647 | 443.7591
OFF | 15:47 | 255 | 0.9992 | 422.3836 | 1.0009 | 422.1302 | 0.5554 | 438.4049
OFF | 15:47 | 260 | 0.9982 | 421.9906 | 1.0014 | 422.327 | 0.5619 | 442.1471
OFF | 15:47 | 265 | 0.996 | 421.1259 | 0.9992 | 421.4612 | 0.5581 | 439.9593
OFF | 15:47 | 270 | 0.9965 | 421.3224 | 0.9976 | 420.8315 | 0.5598 | 440.9381
OFF | 15:47 | 275 | 0.9987 | 422.1871 | 1.0014 | 422.327 | 0.5647 | 443.7591
OFF | 15:47 | 280 | 0.9971 | 421.5582 | 0.9992 | 421.4612 | 0.5614 | 441.8592
OFF | 15:47 | 285 | 0.9954 | 420.8901 | 1.0009 | 422.1302 | 0.5619 | 442.1471
OFF | 15:47 | 290 | 0.9971 | 421.5582 | 0.9998 | 421.6973 | 0.5636 | 443.1258
OFF | 15:47 | 295 | 0.9971 | 421.5582 | 0.9998 | 421.6973 | 0.5636 | 443.1258
OFF | 15:47 | 300 | 0.9949 | 420.6936 | 1.0009 | 422.1302 | 0.5669 | 445.0257
OFF | 15:48 | 305 | 0.9987 | 422.1871 | 0.9998 | 421.6973 | 0.5603 | 441.2259
OFF | 15:48 | 310 | 1.002 | 423.484 | 1.0003 | 421.8941 | 0.5592 | 440.5926
OFF | 15:48 | 315 | 1.002 | 423.484 | 1.0014 | 422.327 | 0.557 | 439.326
OFF | 15:48 | 320 | 0.9998 | 422.6194 | 1.002 | 422.5631 | 0.5603 | 441.2259
OFF | 15:48 | 325 | 1.0003 | 422.8159 | 1.0014 | 422.327 | 0.5636 | 443.1258
OFF | 15:48 | 330 | 1.0009 | 423.0517 | 1.0009 | 422.1302 | 0.5592 | 440.5926
OFF | 15:48 | 335 | 0.9992 | 422.3836 | 1.0014 | 422.327 | 0.5647 | 443.7591
OFF | 15:48 | 340 | 1.0025 | 423.6806 | 1.0014 | 422.327 | 0.5598 | 440.9381
OFF | 15:48 | 345 | 1.0031 | 423.9164 | 1.0003 | 421.8941 | 0.5598 | 440.9381
OFF | 15:48 | 350 | 1.0014 | 423.2482 | 1.002 | 422.5631 | 0.5619 | 442.1471
OFF | 15:48 | 355 | 1.0036 | 424.1129 | 0.9998 | 421.6973 | 0.5614 | 441.8592
OFF | 15:49 | 360 | 1.0069 | 425.4098 | 1.0009 | 422.1302 | 0.557 | 439.326
OFF | 15:49 | 365 | 1.0102 | 426.7068 | 1.0014 | 422.327 | 0.557 | 439.326
OFF | 15:49 | 370 | 1.0074 | 425.6064 | 1.002 | 422.5631 | 0.5576 | 439.6715
OFF | 15:49 | 375 | 1.008 | 425.8422 | 1.0031 | 422.996 | 0.5576 | 439.6715
OFF | 15:49 | 380 | 1.0064 | 425.2133 | 1.002 | 422.5631 | 0.5592 | 440.5926
OFF | 15:49 | 385 | 1.0053 | 424.781 | 1.0036 | 423.1927 | 0.5592 | 440.5926
OFF | 15:49 | 390 | 1.0058 | 424.9775 | 1.0025 | 422.7599 | 0.5603 | 441.2259
OFF | 15:49 | 395 | 1.0058 | 424.9775 | 1.0042 | 423.4289 | 0.5587 | 440.3048
OFF | 15:49 | 400 | 1.0069 | 425.4098 | 1.0042 | 423.4289 | 0.5608 | 441.5138
OFF | 15:49 | 405 | 1.0053 | 424.781 | 1.0047 | 423.6256 | 0.5636 | 443.1258
OFF | 15:49 | 410 | 1.0069 | 425.4098 | 1.0031 | 422.996 | 0.5587 | 440.3048
OFF | 15:49 | 415 | 1.0107 | 426.9033 | 1.0069 | 424.4914 | 0.5636 | 443.1258
OFF | 15:49 | 420 | 1.002 | 423.484 | 1.0053 | 423.8618 | 0.5685 | 445.9468
OFF | 15:50 | 425 | 1.0064 | 425.2133 | 1.0058 | 424.0585 | 0.5598 | 440.9381
OFF | 15:50 | 430 | 1.002 | 423.484 | 1.0064 | 424.2947 | 0.5641 | 443.4137
OFF | 15:50 | 435 | 1.0025 | 423.6806 | 1.0058 | 424.0585 | 0.563 | 442.7804
OFF | 15:50 | 440 | 1.0058 | 424.9775 | 1.0047 | 423.6256 | 0.5619 | 442.1471
OFF | 15:50 | 445 | 1.0042 | 424.3487 | 1.0074 | 424.6882 | 0.5647 | 443.7591
OFF | 15:50 | 450 | 1.0042 | 424.3487 | 1.0047 | 423.6256 | 0.563 | 442.7804
OFF | 15:50 | 455 | 1.0031 | 423.9164 | 1.0064 | 424.2947 | 0.563 | 442.7804
OFF | 15:50 | 460 | 0.9965 | 421.3224 | 1.0058 | 424.0585 | 0.5603 | 441.2259
OFF | 15:50 | 465 | 1.0069 | 425.4098 | 1.008 | 424.9243 | 0.5636 | 443.1258
OFF | 15:50 | 470 | 0.9976 | 421.7548 | 1.0069 | 424.4914 | 0.5598 | 440.9381
OFF | 15:50 | 475 | 0.9949 | 420.6936 | 1.0053 | 423.8618 | 0.5663 | 444.6802
OFF | 15:51 | 480 | 1.0047 | 424.5452 | 1.0074 | 424.6882 | 0.5658 | 444.3924
OFF | 15:51 | 485 | 1.0053 | 424.781 | 1.0053 | 423.8618 | 0.5636 | 443.1258
OFF | 15:51 | 490 | 1.0031 | 423.9164 | 1.0064 | 424.2947 | 0.5647 | 443.7591
OFF | 15:51 | 495 | 1.0058 | 424.9775 | 1.0069 | 424.4914 | 0.563 | 442.7804
OFF | 15:51 | 500 | 1.0058 | 424.9775 | 1.0064 | 424.2947 | 0.5614 | 441.8592
OFF | 15:51 | 505 | 1.0069 | 425.4098 | 1.0069 | 424.4914 | 0.5614 | 441.8592
OFF | 15:51 | 510 | 1.0064 | 425.2133 | 1.0053 | 423.8618 | 0.5608 | 441.5138
OFF | 15:51 | 515 | 1.0058 | 424.9775 | 1.0064 | 424.2947 | 0.5614 | 441.8592
OFF | 15:51 | 520 | 1.0091 | 426.2745 | 1.0058 | 424.0585 | 0.5592 | 440.5926
OFF | 15:51 | 525 | 1.0042 | 424.3487 | 1.0053 | 423.8618 | 0.5548 | 438.0594
OFF | 15:51 | 530 | 1.0058 | 424.9775 | 1.0047 | 423.6256 | 0.557 | 439.326
OFF | 15:51 | 535 | 1.0074 | 425.6064 | 1.0058 | 424.0585 | 0.5587 | 440.3048
OFF | 15:51 | 540 | 1.0069 | 425.4098 | 1.0058 | 424.0585 | 0.5576 | 439.6715
OFF | 15:52 | 545 | 1.0085 | 426.0387 | 1.0036 | 423.1927 | 0.5554 | 438.4049
OFF | 15:52 | 550 | 1.0058 | 424.9775 | 1.0047 | 423.6256 | 0.5548 | 438.0594
OFF | 15:52 | 555 | 1.0085 | 426.0387 | 1.0042 | 423.4289 | 0.5592 | 440.5926
OFF | 15:52 | 560 | 1.0069 | 425.4098 | 1.0064 | 424.2947 | 0.5581 | 439.9593
OFF | 15:52 | 565 | 1.0107 | 426.9033 | 1.0042 | 423.4289 | 0.5598 | 440.9381
OFF | 15:52 | 570 | 1.0102 | 426.7068 | 1.0058 | 424.0585 | 0.563 | 442.7804
OFF | 15:52 | 575 | 1.0074 | 425.6064 | 1.0069 | 424.4914 | 0.5565 | 439.0382
OFF | 15:52 | 580 | 1.0096 | 426.471 | 1.0058 | 424.0585 | 0.5587 | 440.3048
OFF | 15:52 | 585 | 0.996 | 421.1259 | 1.0064 | 424.2947 | 0.5608 | 441.5138
OFF | 15:52 | 590 | 1.0064 | 425.2133 | 1.0047 | 423.6256 | 0.5581 | 439.9593
OFF | 15:52 | 595 | 1.0064 | 425.2133 | 1.0047 | 423.6256 | 0.5565 | 439.0382
ON | 15:52 | 600 | 1.0058 | 424.9775 | 1.0025 | 422.7599 | 0.5636 | 443.1258
ON | 15:53 | 605 | 1.0058 | 424.9775 | 1.0053 | 423.8618 | 0.5614 | 441.8592
ON | 15:53 | 610 | 1.0069 | 425.4098 | 1.0064 | 424.2947 | 0.5608 | 441.5138
ON | 15:53 | 615 | 1.008 | 425.8422 | 1.0058 | 424.0585 | 0.563 | 442.7804
ON | 15:53 | 620 | 1.0085 | 426.0387 | 1.0064 | 424.2947 | 0.5598 | 440.9381
ON | 15:53 | 625 | 1.0042 | 424.3487 | 1.0042 | 423.4289 | 0.5674 | 445.3135
ON | 15:53 | 630 | 1.014 | 428.2003 | 1.0064 | 424.2947 | 0.5669 | 445.0257
ON | 15:53 | 635 | 1.0124 | 427.5715 | 1.0074 | 424.6882 | 0.5669 | 445.0257
ON | 15:53 | 640 | 1.0326 | 435.5105 | 1.0064 | 424.2947 | 0.5576 | 439.6715
ON | 15:53 | 645 | 1.0381 | 437.6721 | 1.0069 | 424.4914 | 0.5581 | 439.9593
ON | 15:53 | 650 | 1.0326 | 435.5105 | 1.6016 | 658.5297 | 0.5619 | 442.1471
ON | 15:53 | 655 | 1.0342 | 436.1393 | 1.6536 | 678.9937 | 0.557 | 439.326
ON | 15:54 | 660 | 1.0381 | 437.6721 | 1.8285 | 747.8239 | 0.5581 | 439.9593
ON | 15:54 | 665 | 1.0473 | 441.2878 | 1.7738 | 726.2973 | 0.5625 | 442.4925
ON | 15:54 | 670 | 1.0676 | 449.2662 | 2.1679 | 881.3914 | 0.563 | 442.7804
ON | 15:54 | 675 | 1.0873 | 457.0086 | 2.3735 | 962.3032 | 0.5647 | 443.7591
ON | 15:54 | 680 | 1.1567 | 484.2842 | 2.6391 | 1066.8274 | 0.5625 | 442.4925
ON | 15:54 | 685 | 1.2037 | 502.7562 | 2.4779 | 1003.3888 | 0.557 | 439.326
ON | 15:54 | 690 | 1.1457 | 479.961 | 2.4467 | 991.1104 | 0.5587 | 440.3048
ON | 15:54 | 695 | 1.1414 | 478.271 | 2.7047 | 1092.6436 | 0.5619 | 442.1471
ON | 15:54 | 700 | 1.1621 | 486.4065 | 2.3669 | 959.7058 | 0.5625 | 442.4925
ON | 15:54 | 705 | 1.2545 | 522.7216 | 2.6468 | 1069.8577 | 0.5663 | 444.6802
ON | 15:54 | 710 | 1.2496 | 520.7958 | 2.6435 | 1068.559 | 0.5636 | 443.1258
ON | 15:54 | 715 | 1.3119 | 545.2809 | 2.4795 | 1004.0185 | 0.5674 | 445.3135
ON | 15:54 | 720 | 1.2316 | 513.7215 | 2.4112 | 977.1397 | 0.5734 | 448.7679
ON | 15:55 | 725 | 1.6137 | 663.8944 | 2.1767 | 884.8546 | 0.5783 | 451.5889
ON | 15:55 | 730 | 1.4808 | 611.662 | 2.1827 | 887.2157 | 0.5745 | 449.4012
ON | 15:55 | 735 | 1.4415 | 596.2163 | 2.2122 | 898.8252 | 0.5838 | 454.7553
ON | 15:55 | 740 | 1.3021 | 541.4293 | 2.2111 | 898.3923 | 0.5898 | 458.2097
ON | 15:55 | 745 | 1.3234 | 549.8007 | 2.192 | 890.8756 | 0.5805 | 452.8555
ON | 15:55 | 750 | 1.4732 | 608.675 | 2.0521 | 835.8194 | 0.592 | 459.4762
ON | 15:55 | 755 | 1.3283 | 551.7265 | 1.6722 | 686.3136 | 0.5936 | 460.3974
ON | 15:55 | 760 | 1.2758 | 531.0929 | 1.6809 | 689.7374 | 0.6057 | 467.3636
ON | 15:55 | 765 | 1.3054 | 542.7263 | 1.8148 | 742.4324 | 0.6062 | 467.6515
ON | 15:55 | 770 | 1.3354 | 554.5169 | 1.811 | 740.9369 | 0.61 | 469.8392
ON | 15:55 | 775 | 1.4387 | 595.1159 | 1.9542 | 797.2919 | 0.6133 | 471.7391
ON | 15:56 | 780 | 1.3917 | 576.6439 | 1.9794 | 807.2091 | 0.6155 | 473.0056
ON | 15:56 | 785 | 1.4147 | 585.6834 | 2.2543 | 915.3933 | 0.6144 | 472.3724
ON | 15:56 | 790 | 1.5464 | 637.4441 | 3.4471 | 1384.8077 | 0.6281 | 480.2597
ON | 15:56 | 795 | 1.4262 | 590.2031 | 2.2975 | 932.3941 | 0.6319 | 482.4475
ON | 15:56 | 800 | 1.4437 | 597.081 | 2.151 | 874.7405 | 0.6439 | 489.3561
ON | 15:56 | 805 | 1.5918 | 655.2872 | 2.0936 | 852.1514 | 0.6417 | 488.0895
ON | 15:56 | 810 | 1.4497 | 599.4391 | 2.0816 | 847.4288 | 0.6423 | 488.435
ON | 15:56 | 815 | 1.4294 | 591.4608 | 2.0444 | 832.7892 | 0.6352 | 484.3474
ON | 15:56 | 820 | 1.4945 | 617.0464 | 2.0373 | 829.9951 | 0.6412 | 487.8017
ON | 15:56 | 825 | 1.4699 | 607.3781 | 2.0439 | 832.5924 | 0.6407 | 487.5138
ON | 15:56 | 830 | 1.4929 | 616.4176 | 2.0133 | 820.5501 | 0.6461 | 490.6227
ON | 15:56 | 835 | 1.4983 | 618.5399 | 1.9985 | 814.7257 | 0.6445 | 489.7016
ON | 15:56 | 840 | 1.4448 | 597.5133 | 2.0499 | 834.9537 | 0.6489 | 492.2347
ON | 15:57 | 845 | 1.5503 | 638.9769 | 2.4057 | 974.9752 | 0.6483 | 491.8893
ON | 15:57 | 850 | 1.5486 | 638.3088 | 2.1433 | 871.7103 | 0.6527 | 494.4224
ON | 15:57 | 855 | 1.4961 | 617.6752 | 2.1587 | 877.7708 | 0.6527 | 494.4224
ON | 15:57 | 860 | 1.4355 | 593.8582 | 2.221 | 902.2883 | 0.6592 | 498.1646
ON | 15:57 | 865 | 1.5317 | 631.6667 | 2.2625 | 918.6203 | 0.6494 | 492.5226
ON | 15:57 | 870 | 1.5273 | 629.9374 | 2.2007 | 894.2995 | 0.6499 | 492.8104
ON | 15:57 | 875 | 1.4284 | 591.0678 | 2.4232 | 981.8621 | 0.6467 | 490.9681
ON | 15:57 | 880 | 1.4551 | 601.5614 | 2.5932 | 1048.7639 | 0.6407 | 487.5138
ON | 15:57 | 885 | 1.4683 | 606.7493 | 2.2773 | 924.4446 | 0.6385 | 486.2472
ON | 15:57 | 890 | 1.4087 | 583.3253 | 2.268 | 920.7847 | 0.6396 | 486.8805
ON | 15:57 | 895 | 1.4136 | 585.2511 | 2.5577 | 1034.7932 | 0.6357 | 484.6352
ON | 15:58 | 900 | 1.7689 | 724.8911 | 2.7261 | 1101.0654 | 0.6396 | 486.8805
ON | 15:58 | 905 | 2.4292 | 984.4022 | 2.8201 | 1138.0582 | 0.6292 | 480.893
ON | 15:58 | 910 | 2.5807 | 1043.9447 | 2.9808 | 1201.3 | 0.6308 | 481.8142
ON | 15:58 | 915 | 2.0521 | 836.1943 | 3.0229 | 1217.8681 | 0.6385 | 486.2472
ON | 15:58 | 920 | 1.5087 | 622.6273 | 2.9278 | 1180.4424 | 0.6341 | 483.7141
ON | 15:58 | 925 | 1.5945 | 656.3484 | 2.8206 | 1138.2549 | 0.6232 | 477.4387
ON | 15:58 | 930 | 1.682 | 690.7377 | 2.6845 | 1084.6941 | 0.6248 | 478.3599
ON | 15:58 | 935 | 1.5869 | 653.3614 | 2.5796 | 1043.4118 | 0.6221 | 476.8054
ON | 15:58 | 940 | 1.6946 | 695.6897 | 2.5588 | 1035.2261 | 0.6128 | 471.4512
ON | 15:58 | 945 | 2.2538 | 915.4664 | 2.5938 | 1049.0001 | 0.6171 | 473.9268
ON | 15:58 | 950 | 1.9509 | 796.4207 | 2.567 | 1038.4531 | 0.6155 | 473.0056
ON | 15:58 | 955 | 1.7082 | 701.0348 | 2.6271 | 1062.1049 | 0.6237 | 477.7266
ON | 15:58 | 960 | 1.6148 | 664.3267 | 2.6501 | 1071.1564 | 0.6259 | 478.9931
ON | 15:59 | 965 | 1.5568 | 641.5315 | 2.3855 | 967.0257 | 0.6237 | 477.7266
ON | 15:59 | 970 | 1.8214 | 745.5246 | 2.1936 | 891.5053 | 0.6248 | 478.3599
ON | 15:59 | 975 | 1.8033 | 738.411 | 2.1843 | 887.8454 | 0.6248 | 478.3599
ON | 15:59 | 980 | 1.6519 | 678.9078 | 2.0455 | 833.2221 | 0.6275 | 479.9143
ON | 15:59 | 985 | 1.6508 | 678.4754 | 2.1034 | 856.008 | 0.6292 | 480.893
ON | 15:59 | 990 | 1.9755 | 806.089 | 2.0772 | 845.6973 | 0.6297 | 481.1809
ON | 15:59 | 995 | 1.9318 | 788.914 | 2.1401 | 870.451 | 0.6341 | 483.7141
ON | 15:59 | 1000 | 1.8903 | 772.6037 | 2.1461 | 872.8122 | 0.6363 | 484.9807
ON | 15:59 | 1005 | 1.8498 | 756.6864 | 2.0635 | 840.3058 | 0.6319 | 482.4475
ON | 15:59 | 1010 | 1.8258 | 747.2539 | 2.0734 | 844.2018 | 0.6368 | 485.2685
ON | 15:59 | 1015 | 1.6864 | 692.467 | 2.0477 | 834.0878 | 0.6401 | 487.1684
ON | 16:00 | 1020 | 1.7498 | 717.3844 | 2.0307 | 827.3977 | 0.6417 | 488.0895
ON | 16:00 | 1025 | 1.9088 | 779.8746 | 1.9859 | 809.7671 | 0.6467 | 490.9681
ON | 16:00 | 1030 | 1.7208 | 705.9868 | 1.9701 | 803.5492 | 0.6434 | 489.0683
ON | 16:00 | 1035 | 1.7951 | 735.1882 | 1.9597 | 799.4563 | 0.6423 | 488.435
ON | 16:00 | 1040 | 1.6984 | 697.1832 | 1.9384 | 791.0739 | 0.6445 | 489.7016
ON | 16:00 | 1045 | 1.5787 | 650.1387 | 1.9307 | 788.0437 | 0.6445 | 489.7016
ON | 16:00 | 1050 | 1.5934 | 655.9161 | 1.8083 | 739.8744 | 0.6417 | 488.0895
ON | 16:00 | 1055 | 1.6585 | 681.5017 | 2.3232 | 942.5081 | 0.6401 | 487.1684
ON | 16:00 | 1060 | 2.2062 | 896.7587 | 2.3423 | 950.0247 | 0.6325 | 482.7929
ON | 16:00 | 1065 | 1.8411 | 753.2671 | 2.2696 | 921.4143 | 0.6357 | 484.6352
ON | 16:00 | 1070 | 1.8553 | 758.848 | 2.1652 | 880.3288 | 0.6253 | 478.6477
ON | 16:00 | 1075 | 1.7028 | 698.9125 | 2.069 | 842.4703 | 0.6325 | 482.7929
ON | 16:00 | 1080 | 1.5087 | 622.6273 | 2.0734 | 844.2018 | 0.6281 | 480.2597
ON | 16:01 | 1085 | 1.5333 | 632.2956 | 2.0706 | 843.0999 | 0.6275 | 479.9143
ON | 16:01 | 1090 | 1.618 | 665.5844 | 1.9963 | 813.8599 | 0.6281 | 480.2597
ON | 16:01 | 1095 | 1.6918 | 694.5892 | 1.9706 | 803.7459 | 0.6275 | 479.9143
ON | 16:01 | 1100 | 2.4593 | 996.2321 | 2.1761 | 884.6184 | 0.6264 | 479.281
ON | 16:01 | 1105 | 1.7356 | 711.8035 | 2.444 | 990.0478 | 0.6215 | 476.46
ON | 16:01 | 1110 | 1.8329 | 750.0444 | 2.1565 | 876.905 | 0.6292 | 480.893
ON | 16:01 | 1115 | 1.6454 | 676.3531 | 2.157 | 877.1018 | 0.6335 | 483.3686
ON | 16:01 | 1120 | 1.5705 | 646.9159 | 2.2117 | 898.6284 | 0.6308 | 481.8142
ON | 16:01 | 1125 | 1.864 | 762.2673 | 2.3675 | 959.942 | 0.6379 | 485.9018
ON | 16:01 | 1130 | 1.6279 | 669.4753 | 2.5008 | 1012.4008 | 0.6308 | 481.8142
ON | 16:01 | 1135 | 1.5984 | 657.8812 | 2.5008 | 1012.4008 | 0.6363 | 484.9807
ON | 16:01 | 1140 | 1.6005 | 658.7065 | 2.4981 | 1011.3383 | 0.6401 | 487.1684
ON | 16:02 | 1145 | 1.5994 | 658.2742 | 2.5003 | 1012.204 | 0.6352 | 484.3474
ON | 16:02 | 1150 | 1.5973 | 657.4489 | 2.4987 | 1011.5744 | 0.6434 | 489.0683
ON | 16:02 | 1155 | 1.6186 | 665.8202 | 2.3882 | 968.0882 | 0.6494 | 492.5226
ON | 16:02 | 1160 | 3.0294 | 1220.2928 | 2.2215 | 902.4851 | 0.6516 | 493.7892
ON | 16:02 | 1165 | 2.6266 | 1061.9843 | 1.9717 | 804.1788 | 0.6423 | 488.435
ON | 16:02 | 1170 | 1.8186 | 744.4242 | 2.004 | 816.8901 | 0.6478 | 491.6014
ON | 16:02 | 1175 | 1.6918 | 694.5892 | 1.9985 | 814.7257 | 0.6538 | 495.0557
ON | 16:02 | 1180 | 1.7383 | 712.8647 | 2.0023 | 816.2211 | 0.6483 | 491.8893
ON | 16:02 | 1185 | 1.6629 | 683.2309 | 1.8815 | 768.6815 | 0.6554 | 495.9769
ON | 16:02 | 1190 | 1.6552 | 680.2047 | 1.9012 | 776.4343 | 0.6647 | 501.3311
ON | 16:02 | 1195 | 1.8553 | 758.848 | 2.1871 | 888.9473 | 0.6658 | 501.9644
ON | 16:02 | 1200 | 1.8176 | 744.0312 | 2.1439 | 871.9464 | 0.6663 | 502.2522
ON | 16:03 | 1205 | 1.8777 | 767.6516 | 1.9395 | 791.5068 | 0.6773 | 508.5851
ON | 16:03 | 1210 | 1.6836 | 691.3665 | 1.9105 | 780.0942 | 0.6822 | 511.4062
ON | 16:03 | 1215 | 1.6689 | 685.5891 | 1.829 | 748.0207 | 0.6707 | 504.7854
ON | 16:03 | 1220 | 1.7028 | 698.9125 | 1.8422 | 753.2154 | 0.6592 | 498.1646
ON | 16:03 | 1225 | 1.623 | 667.5495 | 2.0149 | 821.1797 | 0.6631 | 500.4099
ON | 16:03 | 1230 | 1.6683 | 685.3533 | 2.0794 | 846.5631 | 0.6554 | 495.9769
ON | 16:03 | 1235 | 2.2849 | 927.6894 | 2.1587 | 877.7708 | 0.6516 | 493.7892
ON | 16:03 | 1240 | 1.6836 | 691.3665 | 2.145 | 872.3793 | 0.6489 | 492.2347
ON | 16:03 | 1245 | 1.846 | 755.1929 | 2.1237 | 863.9969 | 0.6494 | 492.5226
ON | 16:03 | 1250 | 1.8104 | 741.2014 | 1.9799 | 807.4058 | 0.6489 | 492.2347
ON | 16:03 | 1255 | 1.7246 | 707.4803 | 2.0225 | 824.1707 | 0.6456 | 490.3348
ON | 16:04 | 1260 | 2.0313 | 828.0196 | 2.0433 | 832.3562 | 0.6412 | 487.8017
ON | 16:04 | 1265 | 1.8241 | 746.5858 | 2.0821 | 847.6256 | 0.6445 | 489.7016
ON | 16:04 | 1270 | 1.8077 | 740.1403 | 2.1433 | 871.7103 | 0.6456 | 490.3348
ON | 16:04 | 1275 | 1.7285 | 709.0131 | 2.1603 | 878.4005 | 0.6461 | 490.6227
ON | 16:04 | 1280 | 1.7842 | 730.9043 | 2.1925 | 891.0725 | 0.6461 | 490.6227
ON | 16:04 | 1285 | 1.7186 | 705.1222 | 2.2549 | 915.6293 | 0.6423 | 488.435
ON | 16:04 | 1290 | 1.8115 | 741.6337 | 2.3073 | 936.2509 | 0.6467 | 490.9681
ON | 16:04 | 1295 | 2.0723 | 844.1333 | 2.2461 | 912.1662 | 0.6472 | 491.256
ON | 16:04 | 1300 | 1.7547 | 719.3102 | 2.4817 | 1004.8842 | 0.6483 | 491.8893
ON | 16:04 | 1305 | 1.9296 | 788.0494 | 2.1718 | 882.9261 | 0.6554 | 495.9769
ON | 16:04 | 1310 | 1.7826 | 730.2755 | 2.1521 | 875.1735 | 0.6609 | 499.1433
ON | 16:04 | 1315 | 1.8044 | 738.8433 | 2.0652 | 840.9748 | 0.6581 | 497.5313
ON | 16:04 | 1320 | 1.6394 | 673.995 | 2.0679 | 842.0373 | 0.6549 | 495.689
ON | 16:05 | 1325 | 1.6175 | 665.3878 | 2.0952 | 852.781 | 0.6554 | 495.9769
ON | 16:05 | 1330 | 1.7667 | 724.0264 | 2.2953 | 931.5284 | 0.6554 | 495.9769
ON | 16:05 | 1335 | 1.7722 | 726.188 | 2.2827 | 926.5698 | 0.6521 | 494.077
ON | 16:05 | 1340 | 1.7066 | 700.4059 | 2.2658 | 919.9189 | 0.651 | 493.4437
ON | 16:05 | 1345 | 1.6634 | 683.4275 | 2.3582 | 956.2821 | 0.6516 | 493.7892
ON | 16:05 | 1350 | 1.7131 | 702.9605 | 2.4735 | 1001.6572 | 0.6505 | 493.1559
ON | 16:05 | 1355 | 1.6951 | 695.8862 | 2.4183 | 979.9337 | 0.651 | 493.4437
ON | 16:05 | 1360 | 1.6481 | 677.4143 | 2.4189 | 980.1699 | 0.6549 | 495.689
ON | 16:05 | 1365 | 1.817 | 743.7954 | 2.5566 | 1034.3604 | 0.6532 | 494.7103
ON | 16:05 | 1370 | 1.7962 | 735.6205 | 2.5544 | 1033.4946 | 0.6543 | 495.3436
ON | 16:05 | 1375 | 1.881 | 768.9486 | 3.0699 | 1236.3645 | 0.656 | 496.3223
ON | 16:05 | 1380 | 1.6984 | 697.1832 | 2.7944 | 1127.9442 | 0.6598 | 498.5101
ON | 16:06 | 1385 | 1.6377 | 673.3268 | 2.9813 | 1201.4968 | 0.6603 | 498.7979
ON | 16:06 | 1390 | 1.8279 | 748.0793 | 3.7291 | 1495.786 | 0.6592 | 498.1646
ON | 16:06 | 1395 | 1.9291 | 787.8529 | 3.2186 | 1294.8839 | 0.6642 | 501.0432
ON | 16:06 | 1400 | 2.2898 | 929.6152 | 2.5599 | 1035.6591 | 0.6592 | 498.1646
ON | 16:06 | 1405 | 1.7509 | 717.8167 | 2.3451 | 951.1266 | 0.6592 | 498.1646
ON | 16:06 | 1410 | 1.6875 | 692.8992 | 2.2959 | 931.7645 | 0.6658 | 501.9644
ON | 16:06 | 1415 | 1.7957 | 735.424 | 2.2756 | 923.7756 | 0.6658 | 501.9644
ON | 16:06 | 1420 | 1.8482 | 756.0575 | 2.3418 | 949.828 | 0.6642 | 501.0432
ON | 16:06 | 1425 | 1.7875 | 732.2013 | 2.0012 | 815.7882 | 0.6696 | 504.1521
ON | 16:06 | 1430 | 1.7241 | 707.2838 | 1.8799 | 768.0518 | 0.6691 | 503.8642
ON | 16:06 | 1435 | 2.7846 | 1124.0815 | 1.8908 | 772.3414 | 0.6745 | 506.9731
ON | 16:06 | 1440 | 2.0253 | 825.6614 | 2.1231 | 863.7608 | 0.6817 | 511.1183
ON | 16:07 | 1445 | 1.8258 | 747.2539 | 2.2385 | 909.1753 | 0.6844 | 512.6728
ON | 16:07 | 1450 | 1.6022 | 659.3747 | 2.4894 | 1007.9144 | 0.6893 | 515.4938
ON | 16:07 | 1455 | 1.7716 | 725.9522 | 2.4035 | 974.1094 | 0.686 | 513.5939
ON | 16:07 | 1460 | 1.7908 | 733.4982 | 2.2308 | 906.145 | 0.6849 | 512.9606
ON | 16:07 | 1465 | 2.2702 | 921.912 | 2.4571 | 995.2031 | 0.6795 | 509.8517
ON | 16:07 | 1470 | 1.987 | 810.6087 | 1.9969 | 814.096 | 0.6893 | 515.4938
ON | 16:07 | 1475 | 1.7973 | 736.0528 | 1.8104 | 740.7008 | 0.6871 | 514.2272
ON | 16:07 | 1480 | 1.9908 | 812.1022 | 1.7066 | 699.8513 | 0.6849 | 512.9606
ON | 16:07 | 1485 | 1.87 | 764.6254 | 1.7673 | 723.7392 | 0.6871 | 514.2272
ON | 16:07 | 1490 | 1.8542 | 758.4157 | 1.8383 | 751.6806 | 0.6773 | 508.5851
ON | 16:07 | 1495 | 1.811 | 741.4372 | 1.9127 | 780.96 | 0.6718 | 505.4187
ON | 16:08 | 1500 | 1.8596 | 760.538 | 1.9149 | 781.8257 | 0.6653 | 501.6765
ON | 16:08 | 1505 | 1.7591 | 721.0395 | 1.9575 | 798.5905 | 0.6625 | 500.0645
ON | 16:08 | 1510 | 1.6836 | 691.3665 | 2.1029 | 855.8113 | 0.6636 | 500.6978
ON | 16:08 | 1515 | 1.6158 | 664.7197 | 2.2893 | 929.1671 | 0.6494 | 492.5226
ON | 16:08 | 1520 | 1.7104 | 701.8994 | 2.3587 | 956.4788 | 0.6565 | 496.6102
ON | 16:08 | 1525 | 1.6754 | 688.1437 | 2.3773 | 963.7986 | 0.6538 | 495.0557
ON | 16:08 | 1530 | 1.6722 | 686.886 | 2.4331 | 985.7582 | 0.6543 | 495.3436
ON | 16:08 | 1535 | 1.6514 | 678.7112 | 2.38 | 964.8612 | 0.6428 | 488.7228
ON | 16:08 | 1540 | 1.6645 | 683.8598 | 2.333 | 946.3648 | 0.6428 | 488.7228
ON | 16:08 | 1545 | 2.0542 | 837.0197 | 2.3232 | 942.5081 | 0.6445 | 489.7016
ON | 16:08 | 1550 | 1.8318 | 749.612 | 2.3625 | 957.9742 | 0.6423 | 488.435
ON | 16:08 | 1555 | 1.7066 | 700.4059 | 2.3981 | 971.9842 | 0.6483 | 491.8893
ON | 16:08 | 1560 | 1.6667 | 684.7244 | 2.3943 | 970.4888 | 0.6489 | 492.2347
ON | 16:09 | 1565 | 1.7285 | 709.0131 | 2.3981 | 971.9842 | 0.651 | 493.4437
ON | 16:09 | 1570 | 1.7328 | 710.7031 | 2.3757 | 963.169 | 0.6478 | 491.6014
ON | 16:09 | 1575 | 1.635 | 672.2657 | 2.3533 | 954.3537 | 0.645 | 489.9894
ON | 16:09 | 1580 | 1.5863 | 653.1256 | 2.3647 | 958.8401 | 0.6363 | 484.9807
ON | 16:09 | 1585 | 1.6776 | 689.0084 | 2.3757 | 963.169 | 0.6341 | 483.7141
ON | 16:09 | 1590 | 1.6711 | 686.4537 | 2.3724 | 961.8703 | 0.6396 | 486.8805
ON | 16:09 | 1595 | 1.5147 | 624.9854 | 2.3844 | 966.5927 | 0.6385 | 486.2472
ON | 16:09 | 1600 | 1.5891 | 654.2261 | 2.4041 | 974.3455 | 0.6368 | 485.2685
ON | 16:09 | 1605 | 1.6547 | 680.0082 | 2.4599 | 996.305 | 0.6379 | 485.9018
ON | 16:09 | 1610 | 1.676 | 688.3795 | 2.5118 | 1016.7298 | 0.6352 | 484.3474
ON | 16:09 | 1615 | 1.6465 | 676.7854 | 2.4369 | 987.2536 | 0.6303 | 481.5263
ON | 16:10 | 1620 | 1.5098 | 623.0596 | 2.4462 | 990.9135 | 0.6308 | 481.8142
ON | 16:10 | 1625 | 1.4847 | 613.1948 | 2.4107 | 976.9429 | 0.6341 | 483.7141
ON | 16:10 | 1630 | 1.7049 | 699.7378 | 2.4003 | 972.8501 | 0.6374 | 485.6139
ON | 16:10 | 1635 | 1.8236 | 746.3893 | 2.3789 | 964.4283 | 0.6319 | 482.4475
ON | 16:10 | 1640 | 1.5601 | 642.8285 | 2.5807 | 1043.8446 | 0.6357 | 484.6352
ON | 16:10 | 1645 | 1.6683 | 685.3533 | 5.0121 | 2000.6979 | 0.6417 | 488.0895
ON | 16:10 | 1650 | 1.723 | 706.8515 | 4.5021 | 1799.9924 | 0.6456 | 490.3348
ON | 16:10 | 1655 | 1.6093 | 662.1651 | 3.2984 | 1326.2883 | 0.6368 | 485.2685
ON | 16:10 | 1660 | 1.6574 | 681.0694 | 2.5205 | 1020.1535 | 0.651 | 493.4437
ON | 16:10 | 1665 | 1.6355 | 672.4622 | 2.4642 | 997.9973 | 0.6456 | 490.3348
ON | 16:10 | 1670 | 2.667 | 1077.8624 | 2.4921 | 1008.977 | 0.6472 | 491.256
ON | 16:10 | 1675 | 1.9471 | 794.9273 | 2.7654 | 1116.5315 | 0.651 | 493.4437
ON | 16:10 | 1680 | 1.6317 | 670.9687 | 2.9365 | 1183.8662 | 0.6478 | 491.6014
ON | 16:11 | 1685 | 2.0903 | 851.2077 | 2.7113 | 1095.241 | 0.6478 | 491.6014
ON | 16:11 | 1690 | 1.8788 | 768.084 | 2.2915 | 930.0329 | 0.6489 | 492.2347
ON | 16:11 | 1695 | 1.635 | 672.2657 | 2.3964 | 971.3152 | 0.6478 | 491.6014
ON | 16:11 | 1700 | 1.6568 | 680.8335 | 2.4342 | 986.1911 | 0.6417 | 488.0895
ON | 16:11 | 1705 | 1.571 | 647.1124 | 2.4517 | 993.078 | 0.6478 | 491.6014
ON | 16:11 | 1710 | 1.641 | 674.6238 | 2.4418 | 989.182 | 0.6472 | 491.256
ON | 16:11 | 1715 | 1.7099 | 701.7029 | 2.3877 | 967.8915 | 0.6478 | 491.6014
ON | 16:11 | 1720 | 1.6503 | 678.2789 | 2.3959 | 971.1185 | 0.6505 | 493.1559
ON | 16:11 | 1725 | 1.5699 | 646.6801 | 2.338 | 948.3325 | 0.6483 | 491.8893
ON | 16:11 | 1730 | 1.664 | 683.6633 | 2.3155 | 939.4779 | 0.6543 | 495.3436
ON | 16:11 | 1735 | 1.4841 | 612.959 | 2.4981 | 1011.3383 | 0.6521 | 494.077
ON | 16:12 | 1740 | 1.5989 | 658.0777 | 3.6903 | 1480.5167 | 0.6456 | 490.3348
ON | 16:12 | 1745 | 1.5836 | 652.0645 | 3.2262 | 1297.8748 | 0.6472 | 491.256
ON | 16:12 | 1750 | 1.5694 | 646.4836 | 2.9617 | 1193.7834 | 0.6428 | 488.7228
ON | 16:12 | 1755 | 1.6618 | 682.7986 | 2.4271 | 983.3969 | 0.6499 | 492.8104
ON | 16:12 | 1760 | 1.6093 | 662.1651 | 2.6025 | 1052.4238 | 0.6467 | 490.9681
ON | 16:12 | 1765 | 1.6164 | 664.9555 | 3.4602 | 1389.9631 | 0.6445 | 489.7016
ON | 16:12 | 1770 | 1.7159 | 704.061 | 3.6581 | 1467.8446 | 0.6417 | 488.0895
ON | 16:12 | 1775 | 1.594 | 656.1519 | 3.6624 | 1469.5369 | 0.6456 | 490.3348
ON | 16:12 | 1780 | 1.5628 | 643.8897 | 3.5028 | 1406.7279 | 0.6472 | 491.256
ON | 16:12 | 1785 | 1.536 | 633.3567 | 3.4722 | 1394.6856 | 0.6456 | 490.3348
ON | 16:12 | 1790 | 1.5634 | 644.1255 | 3.3203 | 1334.9069 | 0.6412 | 487.8017
ON | 16:12 | 1795 | 1.5038 | 620.7015 | 3.024 | 1218.3009 | 0.6401 | 487.1684
ON | 16:12 | 1800 | 1.5694 | 646.4836 | 3.7783 | 1515.1482 | 0.6417 | 488.0895
ON | 16:13 | 1805 | 1.7055 | 699.9736 | 3.1552 | 1269.9334 | 0.639 | 486.5351
ON | 16:13 | 1810 | 1.6104 | 662.5974 | 2.9912 | 1205.3928 | 0.639 | 486.5351
ON | 16:13 | 1815 | 1.4633 | 604.7842 | 2.9578 | 1192.2486 | 0.6363 | 484.9807
ON | 16:13 | 1820 | 1.5114 | 623.6884 | 3.0316 | 1221.2919 | 0.6346 | 484.0019
ON | 16:13 | 1825 | 1.5792 | 650.3352 | 2.9338 | 1182.8036 | 0.6428 | 488.7228
ON | 16:13 | 1830 | 1.5431 | 636.1472 | 3.2404 | 1303.463 | 0.6439 | 489.3561
ON | 16:13 | 1835 | 1.5 | 619.208 | 3.3317 | 1339.3933 | 0.6494 | 492.5226
ON | 16:13 | 1840 | 1.471 | 607.8104 | 3.206 | 1289.9253 | 0.6505 | 493.1559
ON | 16:13 | 1845 | 1.495 | 617.2429 | 3.2705 | 1315.3085 | 0.6467 | 490.9681
ON | 16:13 | 1850 | 1.4819 | 612.0943 | 3.171 | 1276.1513 | 0.6527 | 494.4224
ON | 16:13 | 1855 | 1.3977 | 579.002 | 3.3612 | 1351.0027 | 0.651 | 493.4437
ON | 16:14 | 1860 | 1.4551 | 601.5614 | 3.2251 | 1297.4419 | 0.6516 | 493.7892
ON | 16:14 | 1865 | 1.6169 | 665.152 | 3.3175 | 1333.805 | 0.6439 | 489.3561
ON | 16:14 | 1870 | 1.6383 | 673.5626 | 3.4799 | 1397.7158 | 0.6494 | 492.5226
ON | 16:14 | 1875 | 1.5912 | 655.0514 | 3.5269 | 1416.2122 | 0.6494 | 492.5226
ON | 16:14 | 1880 | 1.594 | 656.1519 | 3.3405 | 1342.8564 | 0.6521 | 494.077
ON | 16:14 | 1885 | 1.5011 | 619.6403 | 3.3093 | 1330.5779 | 0.6494 | 492.5226
ON | 16:14 | 1890 | 1.5628 | 643.8897 | 3.1459 | 1266.2735 | 0.6423 | 488.435
ON | 16:14 | 1895 | 1.4759 | 609.7362 | 3.1606 | 1272.0585 | 0.6434 | 489.0683
ON | 16:14 | 1900 | 1.6552 | 680.2047 | 3.0486 | 1227.982 | 0.6516 | 493.7892
ON | 16:14 | 1905 | 1.6525 | 679.1436 | 2.9786 | 1200.4343 | 0.6549 | 495.689
ON | 16:14 | 1910 | 1.8575 | 759.7126 | 3.2262 | 1297.8748 | 0.6494 | 492.5226
ON | 16:14 | 1915 | 1.6601 | 682.1305 | 3.136 | 1262.3774 | 0.6385 | 486.2472
ON | 16:14 | 1920 | 1.5246 | 628.8763 | 3.1912 | 1284.1009 | 0.6412 | 487.8017
ON | 16:15 | 1925 | 1.4792 | 611.0332 | 3.1049 | 1250.1383 | 0.651 | 493.4437
ON | 16:15 | 1930 | 1.4754 | 609.5397 | 3.2038 | 1289.0594 | 0.6571 | 496.9556
ON | 16:15 | 1935 | 1.8908 | 772.8002 | 3.1891 | 1283.2744 | 0.6685 | 503.5188
ON | 16:15 | 1940 | 1.6486 | 677.6108 | 3.0606 | 1232.7045 | 0.68 | 510.1396
ON | 16:15 | 1945 | 1.624 | 667.9425 | 2.9294 | 1181.0721 | 0.6817 | 511.1183
ON | 16:15 | 1950 | 1.8061 | 739.5114 | 2.6102 | 1055.4541 | 0.6822 | 511.4062
ON | 16:15 | 1955 | 1.6508 | 678.4754 | 2.5686 | 1039.0828 | 0.6888 | 515.2059
ON | 16:15 | 1960 | 1.6262 | 668.8071 | 2.7091 | 1094.3752 | 0.6888 | 515.2059
ON | 16:15 | 1965 | 1.6394 | 673.995 | 2.8299 | 1141.9149 | 0.6833 | 512.0395
ON | 16:15 | 1970 | 1.618 | 665.5844 | 2.7802 | 1122.3559 | 0.6811 | 510.7729
ON | 16:15 | 1975 | 1.5311 | 631.4309 | 2.7846 | 1124.0875 | 0.68 | 510.1396
ON | 16:16 | 1980 | 1.4699 | 607.3781 | 2.6074 | 1054.3522 | 0.6762 | 507.9518
ON | 16:16 | 1985 | 1.4759 | 609.7362 | 2.643 | 1068.3622 | 0.6778 | 508.873
ON | 16:16 | 1990 | 1.4743 | 609.1074 | 2.9939 | 1206.4554 | 0.6784 | 509.2184
ON | 16:16 | 1995 | 1.4502 | 599.6356 | 3.0803 | 1240.4573 | 0.6745 | 506.9731
ON | 16:16 | 2000 | 1.8996 | 776.2588 | 2.9365 | 1183.8662 | 0.6784 | 509.2184
ON | 16:16 | 2005 | 1.5426 | 635.9507 | 2.8135 | 1135.4608 | 0.6882 | 514.8605
ON | 16:16 | 2010 | 1.5568 | 641.5315 | 2.7375 | 1105.5517 | 0.6833 | 512.0395
ON | 16:16 | 2015 | 1.5289 | 630.5663 | 2.6823 | 1083.8284 | 0.6767 | 508.2397
ON | 16:16 | 2020 | 1.5235 | 628.444 | 2.5577 | 1034.7932 | 0.6735 | 506.3974
ON | 16:16 | 2025 | 1.4803 | 611.4655 | 2.7906 | 1126.4487 | 0.6767 | 508.2397
ON | 16:16 | 2030 | 1.5322 | 631.8632 | 3.124 | 1257.655 | 0.6756 | 507.6064
ON | 16:16 | 2035 | 1.5011 | 619.6403 | 2.8922 | 1166.4324 | 0.6724 | 505.7641
ON | 16:16 | 2040 | 1.5683 | 646.0513 | 2.8332 | 1143.2135 | 0.6707 | 504.7854
ON | 16:17 | 2045 | 1.5918 | 655.2872 | 3.2131 | 1292.7194 | 0.6702 | 504.4975
ON | 16:17 | 2050 | 1.618 | 665.5844 | 3.399 | 1365.8784 | 0.6729 | 506.052
ON | 16:17 | 2055 | 1.6913 | 694.3927 | 3.1224 | 1257.0253 | 0.6751 | 507.3186
ON | 16:17 | 2060 | 1.5934 | 655.9161 | 2.9218 | 1178.0811 | 0.6729 | 506.052
ON | 16:17 | 2065 | 1.6443 | 675.9208 | 2.9474 | 1188.1558 | 0.6806 | 510.485
ON | 16:17 | 2070 | 1.5524 | 639.8022 | 2.9841 | 1202.5988 | 0.6778 | 508.873
ON | 16:17 | 2075 | 1.5699 | 646.6801 | 3.0989 | 1247.7771 | 0.6844 | 512.6728
ON | 16:17 | 2080 | 1.8383 | 752.1667 | 3.2743 | 1316.8041 | 0.6806 | 510.485
ON | 16:17 | 2085 | 1.5196 | 626.9112 | 3.3197 | 1334.6707 | 0.6762 | 507.9518
ON | 16:17 | 2090 | 1.5131 | 624.3566 | 3.0442 | 1226.2504 | 0.6795 | 509.8517
ON | 16:17 | 2095 | 1.7093 | 701.4671 | 3.3312 | 1339.1964 | 0.6795 | 509.8517
ON | 16:18 | 2100 | 1.5912 | 655.0514 | 3.317 | 1333.6081 | 0.6795 | 509.8517
ON | 16:18 | 2105 | 1.5016 | 619.8368 | 3.4121 | 1371.0339 | 0.6795 | 509.8517
ON | 16:18 | 2110 | 1.5459 | 637.2476 | 2.8299 | 1141.9149 | 0.6789 | 509.5063
ON | 16:18 | 2115 | 1.5431 | 636.1472 | 2.8277 | 1141.049 | 0.6762 | 507.9518
ON | 16:18 | 2120 | 1.5585 | 642.1997 | 2.6402 | 1067.2603 | 0.6702 | 504.4975
ON | 16:18 | 2125 | 1.5076 | 622.1949 | 2.3779 | 964.0347 | 0.6685 | 503.5188
ON | 16:18 | 2130 | 1.5382 | 634.2214 | 2.6195 | 1059.114 | 0.6647 | 501.3311
ON | 16:18 | 2135 | 1.4972 | 618.1075 | 2.9146 | 1175.2476 | 0.6663 | 502.2522
ON | 16:18 | 2140 | 1.4562 | 601.9937 | 3.0098 | 1212.7127 | 0.6581 | 497.5313
ON | 16:18 | 2145 | 1.4841 | 612.959 | 2.5736 | 1041.0506 | 0.6636 | 500.6978
ON | 16:18 | 2150 | 1.6399 | 674.1915 | 2.4161 | 979.068 | 0.6663 | 502.2522
ON | 16:18 | 2155 | 1.6038 | 660.0035 | 2.3686 | 960.3748 | 0.6614 | 499.4312
ON | 16:18 | 2160 | 1.5246 | 628.8763 | 2.292 | 930.2297 | 0.6696 | 504.1521
ON | 16:19 | 2165 | 1.4519 | 600.3037 | 2.4008 | 973.0468 | 0.6702 | 504.4975
ON | 16:19 | 2170 | 1.7656 | 723.5941 | 2.3915 | 969.3869 | 0.6724 | 505.7641
ON | 16:19 | 2175 | 1.4841 | 612.959 | 2.1778 | 885.2874 | 0.6718 | 505.4187
ON | 16:19 | 2180 | 1.8176 | 744.0312 | 2.3533 | 954.3537 | 0.6653 | 501.6765
ON | 16:19 | 2185 | 1.4737 | 608.8716 | 2.3363 | 947.6635 | 0.6625 | 500.0645
ON | 16:19 | 2190 | 1.6798 | 689.873 | 2.5692 | 1039.319 | 0.6642 | 501.0432
ON | 16:19 | 2195 | 1.4349 | 593.6224 | 2.4899 | 1008.1113 | 0.6625 | 500.0645
ON | 16:19 | 2200 | 1.6525 | 679.1436 | 2.4292 | 984.2233 | 0.6691 | 503.8642
ON | 16:19 | 2205 | 1.7629 | 722.533 | 2.2226 | 902.918 | 0.6669 | 502.5977
ON | 16:19 | 2210 | 1.7509 | 717.8167 | 2.0105 | 819.4482 | 0.6691 | 503.8642
ON | 16:19 | 2215 | 2.4052 | 974.9697 | 1.9291 | 787.414 | 0.6795 | 509.8517
ON | 16:20 | 2220 | 2.1286 | 866.2603 | 1.9367 | 790.4049 | 0.6713 | 505.1308
ON | 16:20 | 2225 | 2.9901 | 1204.8471 | 2.0608 | 839.2433 | 0.6729 | 506.052
ON | 16:20 | 2230 | 1.8629 | 761.835 | 1.911 | 780.2909 | 0.6685 | 503.5188
ON | 16:20 | 2235 | 1.9509 | 796.4207 | 1.9247 | 785.6824 | 0.6669 | 502.5977
ON | 16:20 | 2240 | 1.6459 | 676.5496 | 1.9892 | 811.0658 | 0.6663 | 502.2522
ON | 16:20 | 2245 | 1.6312 | 670.7722 | 2.139 | 870.018 | 0.6669 | 502.5977
ON | 16:20 | 2250 | 1.7137 | 703.1964 | 2.1658 | 880.565 | 0.6631 | 500.4099
ON | 16:20 | 2255 | 2.1898 | 890.3132 | 2.1674 | 881.1945 | 0.6576 | 497.2435
ON | 16:20 | 2260 | 2.239 | 909.6498 | 2.1078 | 857.7396 | 0.6571 | 496.9556
ON | 16:20 | 2265 | 1.9241 | 785.8878 | 1.9487 | 795.1274 | 0.6521 | 494.077
ON | 16:20 | 2270 | 3.2038 | 1288.8355 | 1.8066 | 739.2054 | 0.6483 | 491.8893
ON | 16:20 | 2275 | 2.4243 | 982.4764 | 1.8547 | 758.1346 | 0.639 | 486.5351
ON | 16:20 | 2280 | 1.9083 | 779.6781 | 1.8454 | 754.4747 | 0.6489 | 492.2347
ON | 16:21 | 2285 | 1.7722 | 726.188 | 1.8935 | 773.404 | 0.6489 | 492.2347
ON | 16:21 | 2290 | 2.5899 | 1047.5605 | 1.905 | 777.9297 | 0.6417 | 488.0895
ON | 16:21 | 2295 | 1.6716 | 686.6502 | 1.911 | 780.2909 | 0.6396 | 486.8805
ON | 16:21 | 2300 | 1.7618 | 722.1007 | 1.917 | 782.6522 | 0.6412 | 487.8017
ON | 16:21 | 2305 | 1.8012 | 737.5856 | 1.9143 | 781.5896 | 0.6412 | 487.8017
ON | 16:21 | 2310 | 1.6869 | 692.6634 | 2.0417 | 831.7266 | 0.6319 | 482.4475
ON | 16:21 | 2315 | 1.7388 | 713.0612 | 2.1838 | 887.6486 | 0.6374 | 485.6139
ON | 16:21 | 2320 | 1.5831 | 651.8679 | 2.2221 | 902.7212 | 0.6357 | 484.6352
ON | 16:21 | 2325 | 1.8941 | 774.0972 | 2.227 | 904.6496 | 0.6363 | 484.9807
ON | 16:21 | 2330 | 1.7301 | 709.6419 | 2.1986 | 893.4731 | 0.639 | 486.5351
ON | 16:21 | 2335 | 1.7645 | 723.1618 | 2.1975 | 893.0401 | 0.6472 | 491.256
ON | 16:22 | 2340 | 1.7667 | 724.0264 | 2.1969 | 892.804 | 0.6543 | 495.3436
ON | 16:22 | 2345 | 1.7623 | 722.2971 | 2.1997 | 893.906 | 0.656 | 496.3223
ON | 16:22 | 2350 | 1.7623 | 722.2971 | 2.2002 | 894.1027 | 0.656 | 496.3223
ON | 16:22 | 2355 | 1.7345 | 711.3712 | 2.2658 | 919.9189 | 0.6625 | 500.0645
ON | 16:22 | 2360 | 3.5712 | 1433.231 | 2.1871 | 888.9473 | 0.6745 | 506.9731
ON | 16:22 | 2365 | 1.852 | 757.551 | 2.1554 | 876.4721 | 0.6784 | 509.2184
ON | 16:22 | 2370 | 2.2297 | 905.9947 | 2.0838 | 848.2947 | 0.6822 | 511.4062
ON | 16:22 | 2375 | 1.6968 | 696.5543 | 2.0898 | 850.6558 | 0.6789 | 509.5063
ON | 16:22 | 2380 | 1.7295 | 709.4061 | 2.1357 | 868.7194 | 0.6718 | 505.4187
ON | 16:22 | 2385 | 1.6858 | 692.2311 | 2.1341 | 868.0897 | 0.668 | 503.2309
ON | 16:22 | 2390 | 1.7995 | 736.9175 | 2.1319 | 867.224 | 0.6642 | 501.0432
ON | 16:22 | 2395 | 1.7869 | 731.9655 | 2.0898 | 850.6558 | 0.6598 | 498.5101
OFF | 16:22 | 2400 | 1.7946 | 734.9917 | 2.1138 | 860.1009 | 0.6538 | 495.0557
OFF | 16:23 | 2405 | 1.6896 | 693.7246 | 2.1138 | 860.1009 | 0.6538 | 495.0557
OFF | 16:23 | 2410 | 1.8055 | 739.2756 | 2.2171 | 900.7535 | 0.6527 | 494.4224
OFF | 16:23 | 2415 | 1.7798 | 729.175 | 2.2423 | 910.6708 | 0.6565 | 496.6102
OFF | 16:23 | 2420 | 1.6437 | 675.685 | 2.1483 | 873.678 | 0.6543 | 495.3436
OFF | 16:23 | 2425 | 1.6273 | 669.2395 | 2.1565 | 876.905 | 0.6532 | 494.7103
OFF | 16:23 | 2430 | 1.6279 | 669.4753 | 2.1789 | 885.7203 | 0.6516 | 493.7892
OFF | 16:23 | 2435 | 1.6016 | 659.1389 | 2.2483 | 913.032 | 0.6554 | 495.9769
OFF | 16:23 | 2440 | 1.6322 | 671.1652 | 2.7381 | 1105.7879 | 0.6472 | 491.256
OFF | 16:23 | 2445 | 1.5437 | 636.383 | 2.585 | 1045.5369 | 0.6499 | 492.8104
OFF | 16:23 | 2450 | 1.4786 | 610.7974 | 2.6309 | 1063.6004 | 0.6494 | 492.5226
OFF | 16:23 | 2455 | 1.5344 | 632.7279 | 2.6965 | 1089.4166 | 0.6472 | 491.256
OFF | 16:24 | 2460 | 1.5284 | 630.3697 | 2.7053 | 1092.8798 | 0.6461 | 490.6227
OFF | 16:24 | 2465 | 1.4841 | 612.959 | 2.5468 | 1030.5036 | 0.6489 | 492.2347
OFF | 16:24 | 2470 | 1.4694 | 607.1816 | 2.3308 | 945.4991 | 0.6483 | 491.8893
OFF | 16:24 | 2475 | 1.4486 | 599.0068 | 2.4445 | 990.2445 | 0.6428 | 488.7228
OFF | 16:24 | 2480 | 1.3693 | 567.8403 | 2.1882 | 889.3802 | 0.6428 | 488.7228
OFF | 16:24 | 2485 | 1.3797 | 571.9277 | 2.0701 | 842.9032 | 0.6499 | 492.8104
OFF | 16:24 | 2490 | 1.4174 | 586.7445 | 1.7093 | 700.9139 | 0.6489 | 492.2347
OFF | 16:24 | 2495 | 1.3923 | 576.8797 | 1.8334 | 749.7522 | 0.6434 | 489.0683
OFF | 16:24 | 2500 | 1.3207 | 548.7395 | 1.8449 | 754.2779 | 0.6445 | 489.7016
OFF | 16:24 | 2505 | 1.3906 | 576.2116 | 1.9323 | 788.6733 | 0.6341 | 483.7141
OFF | 16:24 | 2510 | 1.3595 | 563.9887 | 1.9039 | 777.4968 | 0.6286 | 480.5476
OFF | 16:24 | 2515 | 1.372 | 568.9014 | 2.0149 | 821.1797 | 0.6314 | 482.1596
OFF | 16:25 | 2520 | 1.3584 | 563.5564 | 1.8821 | 768.9176 | 0.6297 | 481.1809
OFF | 16:25 | 2525 | 1.3125 | 545.5168 | 1.7295 | 708.8635 | 0.6303 | 481.5263
OFF | 16:25 | 2530 | 1.3075 | 543.5516 | 1.6973 | 696.1914 | 0.6319 | 482.4475
OFF | 16:25 | 2535 | 1.2747 | 530.6606 | 1.536 | 632.7134 | 0.6253 | 478.6477
OFF | 16:25 | 2540 | 1.2846 | 534.5515 | 1.4633 | 604.1031 | 0.6286 | 480.5476
OFF | 16:25 | 2545 | 1.2518 | 521.6604 | 1.5202 | 626.4955 | 0.6303 | 481.5263
OFF | 16:25 | 2550 | 1.2245 | 510.931 | 1.4573 | 601.7418 | 0.6352 | 484.3474
OFF | 16:25 | 2555 | 1.2092 | 504.9178 | 1.4622 | 603.6702 | 0.6297 | 481.1809
OFF | 16:25 | 2560 | 1.2272 | 511.9922 | 1.4983 | 617.877 | 0.6319 | 482.4475
OFF | 16:25 | 2565 | 1.242 | 517.8088 | 1.4961 | 617.0112 | 0.6226 | 477.0933
OFF | 16:25 | 2570 | 1.2059 | 503.6208 | 1.4923 | 615.5158 | 0.6199 | 475.5388
OFF | 16:25 | 2575 | 1.2343 | 514.7826 | 1.5158 | 624.7639 | 0.6177 | 474.2722
OFF | 16:26 | 2580 | 1.2272 | 511.9922 | 1.5142 | 624.1343 | 0.6166 | 473.6389
OFF | 16:26 | 2585 | 1.2026 | 502.3239 | 1.4622 | 603.6702 | 0.6166 | 473.6389
OFF | 16:26 | 2590 | 1.1867 | 496.0748 | 1.3983 | 578.523 | 0.6128 | 471.4512
OFF | 16:26 | 2595 | 1.1884 | 496.743 | 1.3376 | 554.6351 | 0.6117 | 470.8179
OFF | 16:26 | 2600 | 1.1583 | 484.9131 | 1.3147 | 545.623 | 0.6122 | 471.1058
OFF | 16:26 | 2605 | 1.1665 | 488.1358 | 1.3048 | 541.727 | 0.6024 | 465.4637
OFF | 16:26 | 2610 | 1.1539 | 483.1838 | 1.2988 | 539.3657 | 0.6084 | 468.918
OFF | 16:26 | 2615 | 1.1572 | 484.4807 | 1.3147 | 545.623 | 0.6057 | 467.3636
OFF | 16:26 | 2620 | 1.1463 | 480.1968 | 1.3649 | 565.3787 | 0.6089 | 469.2059
OFF | 16:26 | 2625 | 1.1304 | 473.9478 | 1.3939 | 576.7914 | 0.6079 | 468.6302
OFF | 16:26 | 2630 | 1.1365 | 476.3452 | 1.3737 | 568.8419 | 0.604 | 466.3849
OFF | 16:26 | 2635 | 1.1337 | 475.2448 | 1.2961 | 538.3032 | 0.604 | 466.3849
OFF | 16:26 | 2640 | 1.1261 | 472.2578 | 1.2682 | 527.3234 | 0.6084 | 468.918
OFF | 16:27 | 2645 | 1.1162 | 468.3669 | 1.2512 | 520.6332 | 0.6013 | 464.8304
OFF | 16:27 | 2650 | 1.108 | 465.1442 | 1.2502 | 520.2397 | 0.6084 | 468.918
OFF | 16:27 | 2655 | 1.1064 | 464.5153 | 1.2589 | 523.6635 | 0.6073 | 468.2847
OFF | 16:27 | 2660 | 1.1031 | 463.2183 | 1.2174 | 507.3316 | 0.6002 | 464.1971
OFF | 16:27 | 2665 | 1.1009 | 462.3537 | 1.2955 | 538.0671 | 0.5991 | 463.5638
OFF | 16:27 | 2670 | 1.1129 | 467.07 | 1.2802 | 532.0459 | 0.5871 | 456.6552
OFF | 16:27 | 2675 | 1.1009 | 462.3537 | 1.295 | 537.8703 | 0.5893 | 457.9218
OFF | 16:27 | 2680 | 1.0982 | 461.2925 | 1.2512 | 520.6332 | 0.5876 | 456.9431
OFF | 16:27 | 2685 | 1.0873 | 457.0086 | 1.2671 | 526.8905 | 0.5953 | 461.3761
OFF | 16:27 | 2690 | 1.0812 | 454.6112 | 1.2829 | 533.1085 | 0.5942 | 460.7428
OFF | 16:27 | 2695 | 1.0829 | 455.2794 | 1.2649 | 526.0247 | 0.5969 | 462.2973
OFF | 16:27 | 2700 | 1.0709 | 450.5631 | 1.2321 | 513.1166 | 0.5969 | 462.2973
OFF | 16:28 | 2705 | 1.0774 | 453.1177 | 1.2092 | 504.1046 | 0.5904 | 458.5551
OFF | 16:28 | 2710 | 1.0763 | 452.6854 | 1.2086 | 503.8685 | 0.5838 | 454.7553
OFF | 16:28 | 2715 | 1.0709 | 450.5631 | 1.219 | 507.9613 | 0.5865 | 456.3098
OFF | 16:28 | 2720 | 1.0719 | 450.9561 | 1.1895 | 496.3518 | 0.5931 | 460.1095
OFF | 16:28 | 2725 | 1.0752 | 452.2531 | 1.1534 | 482.145 | 0.5904 | 458.5551
OFF | 16:28 | 2730 | 1.0648 | 448.1657 | 1.1616 | 485.3721 | 0.586 | 456.0219
OFF | 16:28 | 2735 | 1.0637 | 447.7334 | 1.1824 | 493.5577 | 0.5805 | 452.8555
OFF | 16:28 | 2740 | 1.055 | 444.3141 | 1.155 | 482.7747 | 0.5844 | 455.1008
OFF | 16:28 | 2745 | 1.0572 | 445.1787 | 1.1425 | 477.8555 | 0.5844 | 455.1008
OFF | 16:28 | 2750 | 1.0539 | 443.8818 | 1.1244 | 470.7324 | 0.5893 | 457.9218
OFF | 16:28 | 2755 | 1.055 | 444.3141 | 1.1195 | 468.804 | 0.5865 | 456.3098
OFF | 16:29 | 2760 | 1.0517 | 443.0171 | 1.0987 | 460.6184 | 0.5838 | 454.7553
OFF | 16:29 | 2765 | 1.0517 | 443.0171 | 1.0965 | 459.7526 | 0.5844 | 455.1008
OFF | 16:29 | 2770 | 1.0484 | 441.7202 | 1.0938 | 458.69 | 0.5909 | 458.8429
OFF | 16:29 | 2775 | 1.0463 | 440.8948 | 1.0834 | 454.5972 | 0.5865 | 456.3098
OFF | 16:29 | 2780 | 1.0435 | 439.7944 | 1.0894 | 456.9585 | 0.5849 | 455.3886
OFF | 16:29 | 2785 | 1.0419 | 439.1656 | 1.1102 | 465.1441 | 0.5904 | 458.5551
OFF | 16:29 | 2790 | 1.043 | 439.5979 | 1.102 | 461.9171 | 0.5915 | 459.1884
OFF | 16:29 | 2795 | 1.0364 | 437.0039 | 1.1058 | 463.4125 | 0.592 | 459.4762
OFF | 16:29 | 2800 | 1.0375 | 437.4363 | 1.0976 | 460.1855 | 0.5838 | 454.7553
OFF | 16:29 | 2805 | 1.0288 | 434.017 | 1.0933 | 458.4933 | 0.5822 | 453.8342
OFF | 16:29 | 2810 | 1.0353 | 436.5716 | 1.0976 | 460.1855 | 0.5893 | 457.9218
OFF | 16:29 | 2815 | 1.0331 | 435.707 | 1.0725 | 450.3076 | 0.5849 | 455.3886
OFF | 16:30 | 2820 | 1.0282 | 433.7812 | 1.0676 | 448.3793 | 0.58 | 452.5676
OFF | 16:30 | 2825 | 1.0353 | 436.5716 | 1.1042 | 462.7829 | 0.5762 | 450.3799
OFF | 16:30 | 2830 | 1.0315 | 435.0781 | 1.108 | 464.2783 | 0.5756 | 450.0344
OFF | 16:30 | 2835 | 1.026 | 432.9165 | 1.1037 | 462.5861 | 0.5778 | 451.301
OFF | 16:30 | 2840 | 1.0238 | 432.0519 | 1.0894 | 456.9585 | 0.5723 | 448.1346
OFF | 16:30 | 2845 | 1.0233 | 431.8554 | 1.0719 | 450.0715 | 0.5696 | 446.5801
OFF | 16:30 | 2850 | 1.0222 | 431.423 | 1.084 | 454.8334 | 0.5712 | 447.5013
OFF | 16:30 | 2855 | 1.0217 | 431.2265 | 1.0769 | 452.0392 | 0.5718 | 447.8467
OFF | 16:30 | 2860 | 1.0233 | 431.8554 | 1.0752 | 451.3702 | 0.5723 | 448.1346
OFF | 16:30 | 2865 | 1.0178 | 429.6937 | 1.0687 | 448.8122 | 0.5734 | 448.7679
OFF | 16:30 | 2870 | 1.0156 | 428.8291 | 1.0654 | 447.5135 | 0.5712 | 447.5013
OFF | 16:30 | 2875 | 1.0146 | 428.4361 | 1.0785 | 452.6689 | 0.5707 | 447.2134
OFF | 16:30 | 2880 | 1.0162 | 429.0649 | 1.0687 | 448.8122 | 0.5783 | 451.5889
OFF | 16:31 | 2885 | 1.0135 | 428.0038 | 1.0692 | 449.009 | 0.5789 | 451.9343
OFF | 16:31 | 2890 | 1.0151 | 428.6326 | 1.0791 | 452.905 | 0.5778 | 451.301
OFF | 16:31 | 2895 | 1.0113 | 427.1391 | 1.0894 | 456.9585 | 0.574 | 449.1133
OFF | 16:31 | 2900 | 1.0102 | 426.7068 | 1.0769 | 452.0392 | 0.5783 | 451.5889
OFF | 16:31 | 2905 | 1.0118 | 427.3357 | 1.0801 | 453.2986 | 0.5734 | 448.7679
OFF | 16:31 | 2910 | 1.0102 | 426.7068 | 1.0812 | 453.7314 | 0.5729 | 448.48
OFF | 16:31 | 2915 | 1.0107 | 426.9033 | 1.0687 | 448.8122 | 0.5745 | 449.4012
OFF | 16:31 | 2920 | 1.0085 | 426.0387 | 1.0687 | 448.8122 | 0.5718 | 447.8467
OFF | 16:31 | 2925 | 1.0096 | 426.471 | 1.0594 | 445.1523 | 0.58 | 452.5676
OFF | 16:31 | 2930 | 1.0167 | 429.2614 | 1.0703 | 449.4419 | 0.5794 | 452.2222
OFF | 16:31 | 2935 | 1.0058 | 424.9775 | 1.0637 | 446.8445 | 0.5772 | 450.9556
OFF | 16:31 | 2940 | 1.0064 | 425.2133 | 1.061 | 445.7819 | 0.574 | 449.1133
OFF | 16:32 | 2945 | 1.0058 | 424.9775 | 1.0588 | 444.9161 | 0.5751 | 449.7466
OFF | 16:32 | 2950 | 1.0047 | 424.5452 | 1.0621 | 446.2149 | 0.5794 | 452.2222
OFF | 16:32 | 2955 | 1.0031 | 423.9164 | 1.0528 | 442.5549 | 0.5762 | 450.3799
OFF | 16:32 | 2960 | 1.0025 | 423.6806 | 1.0479 | 440.6266 | 0.5794 | 452.2222
OFF | 16:32 | 2965 | 1.0064 | 425.2133 | 1.0517 | 442.122 | 0.5767 | 450.6677
OFF | 16:32 | 2970 | 1.0074 | 425.6064 | 1.0484 | 440.8234 | 0.5712 | 447.5013
OFF | 16:32 | 2975 | 1.0014 | 423.2482 | 1.0495 | 441.2562 | 0.5723 | 448.1346
OFF | 16:32 | 2980 | 1.0003 | 422.8159 | 1.0468 | 440.1937 | 0.569 | 446.2347
OFF | 16:32 | 2985 | 1.0074 | 425.6064 | 1.0479 | 440.6266 | 0.5685 | 445.9468
OFF | 16:32 | 2990 | 1.0031 | 423.9164 | 1.0501 | 441.4923 | 0.5707 | 447.2134
OFF | 16:32 | 2995 | 1.0047 | 424.5452 | 1.0501 | 441.4923 | 0.5756 | 450.0344
OFF | 16:33 | 3000 | 1.002 | 423.484 | 1.0419 | 438.2653 | 0.5745 | 449.4012
OFF | 16:33 | 3005 | 1.002 | 423.484 | 1.0424 | 438.4621 | 0.5751 | 449.7466
OFF | 16:33 | 3010 | 1.0047 | 424.5452 | 1.0408 | 437.8324 | 0.5712 | 447.5013
OFF | 16:33 | 3015 | 1.0064 | 425.2133 | 1.0435 | 438.895 | 0.569 | 446.2347
OFF | 16:33 | 3020 | 1.0003 | 422.8159 | 1.0304 | 433.7396 | 0.5641 | 443.4137
OFF | 16:33 | 3025 | 1.0042 | 424.3487 | 1.0271 | 432.4409 | 0.568 | 445.659
OFF | 16:33 | 3030 | 0.9992 | 422.3836 | 1.0266 | 432.2442 | 0.5696 | 446.5801
OFF | 16:33 | 3035 | 0.9889 | 418.3355 | 1.0293 | 433.3067 | 0.563 | 442.7804
OFF | 16:33 | 3040 | 1.0025 | 423.6806 | 1.0315 | 434.1725 | 0.5663 | 444.6802
OFF | 16:33 | 3045 | 1.0014 | 423.2482 | 1.0277 | 432.677 | 0.5647 | 443.7591
OFF | 16:33 | 3050 | 0.9987 | 422.1871 | 1.026 | 432.008 | 0.568 | 445.659
OFF | 16:33 | 3055 | 0.9883 | 418.0997 | 1.0331 | 434.8022 | 0.5669 | 445.0257
OFF | 16:34 | 3060 | 0.9982 | 421.9906 | 1.0233 | 430.9455 | 0.5685 | 445.9468
OFF | 16:34 | 3065 | 1.0025 | 423.6806 | 1.0222 | 430.5126 | 0.5685 | 445.9468
OFF | 16:34 | 3070 | 1.0031 | 423.9164 | 1.02 | 429.6468 | 0.5652 | 444.0469
OFF | 16:34 | 3075 | 0.9987 | 422.1871 | 1.0206 | 429.8829 | 0.5701 | 446.868
OFF | 16:34 | 3080 | 0.9982 | 421.9906 | 1.0222 | 430.5126 | 0.5614 | 441.8592
OFF | 16:34 | 3085 | 0.9965 | 421.3224 | 1.0271 | 432.4409 | 0.569 | 446.2347
OFF | 16:34 | 3090 | 1.0009 | 423.0517 | 1.0233 | 430.9455 | 0.5652 | 444.0469
OFF | 16:34 | 3095 | 0.9982 | 421.9906 | 1.0217 | 430.3158 | 0.5641 | 443.4137
OFF | 16:34 | 3100 | 0.9971 | 421.5582 | 1.0222 | 430.5126 | 0.5652 | 444.0469
OFF | 16:34 | 3105 | 0.9971 | 421.5582 | 1.0206 | 429.8829 | 0.5614 | 441.8592
OFF | 16:34 | 3110 | 0.9992 | 422.3836 | 1.0156 | 427.9152 | 0.5592 | 440.5926
OFF | 16:34 | 3115 | 0.9982 | 421.9906 | 1.0146 | 427.5217 | 0.5619 | 442.1471
OFF | 16:34 | 3120 | 0.9938 | 420.2613 | 1.0151 | 427.7185 | 0.5663 | 444.6802
OFF | 16:35 | 3125 | 0.9949 | 420.6936 | 1.0167 | 428.3481 | 0.5707 | 447.2134
OFF | 16:35 | 3130 | 0.9943 | 420.4578 | 1.0167 | 428.3481 | 0.5707 | 447.2134
OFF | 16:35 | 3135 | 0.996 | 421.1259 | 1.0167 | 428.3481 | 0.5674 | 445.3135
OFF | 16:35 | 3140 | 0.9971 | 421.5582 | 1.0206 | 429.8829 | 0.5663 | 444.6802
OFF | 16:35 | 3145 | 0.9965 | 421.3224 | 1.0195 | 429.45 | 0.5712 | 447.5013
OFF | 16:35 | 3150 | 0.996 | 421.1259 | 1.0217 | 430.3158 | 0.5685 | 445.9468
OFF | 16:35 | 3155 | 0.9965 | 421.3224 | 1.0217 | 430.3158 | 0.5652 | 444.0469
OFF | 16:35 | 3160 | 0.9982 | 421.9906 | 1.0206 | 429.8829 | 0.5712 | 447.5013
OFF | 16:35 | 3165 | 0.9998 | 422.6194 | 1.0189 | 429.2139 | 0.563 | 442.7804
OFF | 16:35 | 3170 | 0.9971 | 421.5582 | 1.0206 | 429.8829 | 0.5608 | 441.5138
OFF | 16:35 | 3175 | 0.9954 | 420.8901 | 1.0173 | 428.5842 | 0.5614 | 441.8592
OFF | 16:35 | 3180 | 0.9938 | 420.2613 | 1.02 | 429.6468 | 0.5565 | 439.0382
OFF | 16:36 | 3185 | 0.9938 | 420.2613 | 1.0228 | 430.7487 | 0.5636 | 443.1258
OFF | 16:36 | 3190 | 0.9932 | 420.0255 | 1.0189 | 429.2139 | 0.557 | 439.326
OFF | 16:36 | 3195 | 1.0014 | 423.2482 | 1.0173 | 428.5842 | 0.5548 | 438.0594
OFF | 16:36 | 3200 | 0.9976 | 421.7548 | 1.0135 | 427.0888 | 0.5614 | 441.8592
OFF | 16:36 | 3205 | 0.9949 | 420.6936 | 1.0124 | 426.6559 | 0.5608 | 441.5138
OFF | 16:36 | 3210 | 0.9982 | 421.9906 | 1.0146 | 427.5217 | 0.5674 | 445.3135
OFF | 16:36 | 3215 | 0.9971 | 421.5582 | 1.0113 | 426.223 | 0.5707 | 447.2134
OFF | 16:36 | 3220 | 0.9976 | 421.7548 | 1.0113 | 426.223 | 0.5696 | 446.5801
OFF | 16:36 | 3225 | 0.9965 | 421.3224 | 1.0091 | 425.3572 | 0.5696 | 446.5801
OFF | 16:36 | 3230 | 0.9976 | 421.7548 | 1.0124 | 426.6559 | 0.5641 | 443.4137
OFF | 16:36 | 3235 | 0.9987 | 422.1871 | 1.0129 | 426.8527 | 0.5658 | 444.3924
OFF | 16:36 | 3240 | 0.9992 | 422.3836 | 1.0129 | 426.8527 | 0.5554 | 438.4049
OFF | 16:37 | 3245 | 0.9949 | 420.6936 | 1.014 | 427.2856 | 0.5619 | 442.1471
OFF | 16:37 | 3250 | 0.9921 | 419.5931 | 1.0162 | 428.1513 | 0.5554 | 438.4049
OFF | 16:37 | 3255 | 0.9938 | 420.2613 | 1.0135 | 427.0888 | 0.5608 | 441.5138
OFF | 16:37 | 3260 | 0.9998 | 422.6194 | 1.0151 | 427.7185 | 0.5614 | 441.8592
OFF | 16:37 | 3265 | 0.991 | 419.1608 | 1.0167 | 428.3481 | 0.5636 | 443.1258
OFF | 16:37 | 3270 | 0.9921 | 419.5931 | 1.0146 | 427.5217 | 0.5608 | 441.5138
OFF | 16:37 | 3275 | 0.9905 | 418.9643 | 1.0156 | 427.9152 | 0.5581 | 439.9593
OFF | 16:37 | 3280 | 0.9965 | 421.3224 | 1.0156 | 427.9152 | 0.5548 | 438.0594
OFF | 16:37 | 3285 | 0.9949 | 420.6936 | 1.0107 | 425.9869 | 0.551 | 435.8717
OFF | 16:37 | 3290 | 0.9932 | 420.0255 | 1.0113 | 426.223 | 0.5543 | 437.7716
OFF | 16:37 | 3295 | 0.9921 | 419.5931 | 1.0096 | 425.554 | 0.5614 | 441.8592
OFF | 16:38 | 3300 | 0.9976 | 421.7548 | 1.0091 | 425.3572 | 0.5581 | 439.9593
OFF | 16:38 | 3305 | 0.9976 | 421.7548 | 1.008 | 424.9243 | 0.5587 | 440.3048
OFF | 16:38 | 3310 | 0.9987 | 422.1871 | 1.0085 | 425.1211 | 0.5598 | 440.9381
OFF | 16:38 | 3315 | 0.9992 | 422.3836 | 1.0091 | 425.3572 | 0.557 | 439.326
OFF | 16:38 | 3320 | 0.9992 | 422.3836 | 1.0096 | 425.554 | 0.5614 | 441.8592
OFF | 16:38 | 3325 | 0.9982 | 421.9906 | 1.0102 | 425.7901 | 0.5592 | 440.5926
OFF | 16:38 | 3330 | 0.99 | 418.7678 | 1.0096 | 425.554 | 0.5663 | 444.6802
OFF | 16:38 | 3335 | 1.002 | 423.484 | 1.008 | 424.9243 | 0.5674 | 445.3135
OFF | 16:38 | 3340 | 1.0009 | 423.0517 | 1.0085 | 425.1211 | 0.5723 | 448.1346
OFF | 16:38 | 3345 | 0.9998 | 422.6194 | 1.0102 | 425.7901 | 0.5718 | 447.8467
OFF | 16:38 | 3350 | 0.996 | 421.1259 | 1.0096 | 425.554 | 0.5625 | 442.4925
OFF | 16:38 | 3355 | 0.9992 | 422.3836 | 1.0091 | 425.3572 | 0.569 | 446.2347
OFF | 16:38 | 3360 | 0.9987 | 422.1871 | 1.0118 | 426.4198 | 0.5674 | 445.3135
OFF | 16:39 | 3365 | 0.996 | 421.1259 | 1.0091 | 425.3572 | 0.569 | 446.2347
OFF | 16:39 | 3370 | 0.9982 | 421.9906 | 1.0124 | 426.6559 | 0.5707 | 447.2134
OFF | 16:39 | 3375 | 0.996 | 421.1259 | 1.0107 | 425.9869 | 0.5723 | 448.1346
OFF | 16:39 | 3380 | 0.9971 | 421.5582 | 1.0107 | 425.9869 | 0.5674 | 445.3135
OFF | 16:39 | 3385 | 0.9965 | 421.3224 | 1.0124 | 426.6559 | 0.5652 | 444.0469
OFF | 16:39 | 3390 | 0.9965 | 421.3224 | 1.0107 | 425.9869 | 0.5674 | 445.3135
OFF | 16:39 | 3395 | 0.9965 | 421.3224 | 1.0102 | 425.7901 | 0.5723 | 448.1346
OFF | 16:39 | 3400 | 0.9965 | 421.3224 | 1.0118 | 426.4198 | 0.569 | 446.2347
OFF | 16:39 | 3405 | 1.002 | 423.484 | 1.0118 | 426.4198 | 0.5707 | 447.2134
OFF | 16:39 | 3410 | 0.9965 | 421.3224 | 1.0146 | 427.5217 | 0.569 | 446.2347
OFF | 16:39 | 3415 | 0.9971 | 421.5582 | 1.0124 | 426.6559 | 0.5707 | 447.2134
OFF | 16:40 | 3420 | 1.002 | 423.484 | 1.0118 | 426.4198 | 0.5745 | 449.4012
OFF | 16:40 | 3425 | 1.0025 | 423.6806 | 1.0118 | 426.4198 | 0.5707 | 447.2134
OFF | 16:40 | 3430 | 0.9976 | 421.7548 | 1.0129 | 426.8527 | 0.5712 | 447.5013
OFF | 16:40 | 3435 | 0.9965 | 421.3224 | 1.0167 | 428.3481 | 0.5707 | 447.2134
OFF | 16:40 | 3440 | 0.996 | 421.1259 | 1.0118 | 426.4198 | 0.5712 | 447.5013
OFF | 16:40 | 3445 | 0.9965 | 421.3224 | 1.0107 | 425.9869 | 0.5712 | 447.5013
OFF | 16:40 | 3450 | 0.9971 | 421.5582 | 1.0107 | 425.9869 | 0.5658 | 444.3924
OFF | 16:40 | 3455 | 0.9976 | 421.7548 | 1.0091 | 425.3572 | 0.5625 | 442.4925
OFF | 16:40 | 3460 | 0.9976 | 421.7548 | 1.0113 | 426.223 | 0.5619 | 442.1471
OFF | 16:40 | 3465 | 0.9954 | 420.8901 | 1.0102 | 425.7901 | 0.5625 | 442.4925
OFF | 16:40 | 3470 | 0.996 | 421.1259 | 1.0096 | 425.554 | 0.5598 | 440.9381
OFF | 16:40 | 3475 | 0.9976 | 421.7548 | 1.0096 | 425.554 | 0.5685 | 445.9468
OFF | 16:40 | 3480 | 0.9992 | 422.3836 | 1.0096 | 425.554 | 0.5652 | 444.0469
OFF | 16:41 | 3485 | 0.9976 | 421.7548 | 1.0102 | 425.7901 | 0.5636 | 443.1258
OFF | 16:41 | 3490 | 1.002 | 423.484 | 1.0102 | 425.7901 | 0.5652 | 444.0469
OFF | 16:41 | 3495 | 0.9998 | 422.6194 | 1.008 | 424.9243 | 0.5636 | 443.1258
OFF | 16:41 | 3500 | 1.0014 | 423.2482 | 1.0113 | 426.223 | 0.5603 | 441.2259
OFF | 16:41 | 3505 | 1.0042 | 424.3487 | 1.0091 | 425.3572 | 0.5641 | 443.4137
OFF | 16:41 | 3510 | 1.0014 | 423.2482 | 1.008 | 424.9243 | 0.557 | 439.326
OFF | 16:41 | 3515 | 1.0025 | 423.6806 | 1.0107 | 425.9869 | 0.5619 | 442.1471
OFF | 16:41 | 3520 | 1.0009 | 423.0517 | 1.0091 | 425.3572 | 0.5559 | 438.6927
OFF | 16:41 | 3525 | 1.0014 | 423.2482 | 1.0102 | 425.7901 | 0.5641 | 443.4137
OFF | 16:41 | 3530 | 0.9943 | 420.4578 | 1.0096 | 425.554 | 0.5647 | 443.7591
OFF | 16:41 | 3535 | 0.9976 | 421.7548 | 1.0102 | 425.7901 | 0.5663 | 444.6802
OFF | 16:42 | 3540 | 0.9971 | 421.5582 | 1.0102 | 425.7901 | 0.5658 | 444.3924
OFF | 16:42 | 3545 | 1.0009 | 423.0517 | 1.0107 | 425.9869 | 0.5718 | 447.8467
OFF | 16:42 | 3550 | 0.9965 | 421.3224 | 1.0107 | 425.9869 | 0.5685 | 445.9468
OFF | 16:42 | 3555 | 0.9987 | 422.1871 | 1.0124 | 426.6559 | 0.5663 | 444.6802
OFF | 16:42 | 3560 | 0.9965 | 421.3224 | 1.0096 | 425.554 | 0.5652 | 444.0469
OFF | 16:42 | 3565 | 0.9965 | 421.3224 | 1.0107 | 425.9869 | 0.5652 | 444.0469
OFF | 16:42 | 3570 | 0.9987 | 422.1871 | 1.0124 | 426.6559 | 0.5636 | 443.1258
OFF | 16:42 | 3575 | 0.996 | 421.1259 | 1.0096 | 425.554 | 0.5674 | 445.3135
OFF | 16:42 | 3580 | 0.9949 | 420.6936 | 1.0118 | 426.4198 | 0.5625 | 442.4925
OFF | 16:42 | 3585 | 0.9927 | 419.8289 | 1.0113 | 426.223 | 0.5625 | 442.4925
OFF | 16:42 | 3590 | 0.9949 | 420.6936 | 1.0118 | 426.4198 | 0.5608 | 441.5138
OFF | 16:42 | 3595 | 0.9965 | 421.3224 | 1.0107 | 425.9869 | 0.5636 | 443.1258

## CO2 Concentration Averages
Gas Off (pre-test)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 422.5346 | 422.4611 | 440.9448
Gas On (steady-state)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 706.1196 | 1055.3666 | 497.9736
Standard Deviation: | 113.9798 | 209.5361 | 9.2715
Standard Deviation of Average: | 25.4867 | 46.8537 | 2.0732
95% Confidence Interval | 49.9538 | 91.8332 | 4.0634
Percent Increase
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
| 67.1152 | 149.8139 | 12.9333

## Rotometer Readings
(Reading 1)
Temperature (°C) | 26.3
Temperature (k) | 299.45
P_atm (hPa) | 976
P_atm (psi) | 14.1557
dV | 0.3
P_flow (psi) | 0.06
Reading | 76
Corresponding Flowrate (table) (lpm) | 5.12
Actual Flowrate (lpm) | 4.9902
(Reading 2)
Temperature (°C) | 26.3
Temperature (k) | 299.45
P_atm (hPa) | 976
P_atm (psi) | 14.1557
dV | 0.3
P_flow (psi) | 0.06
Reading | 76
Corresponding Flowrate (table) (lpm) | 5.12
Actual Flowrate (lpm) | 4.9902
(Reading 3)
Temperature (°C) | 26.3
Temperature (k) | 299.45
P_atm (hPa) | 976
P_atm (psi) | 14.1557
dV | 0.3
P_flow (psi) | 0.06
Reading | 76
Corresponding Flowrate (table) (lpm) | 5.12
Actual Flowrate (lpm) | 4.9902