## Data & Charts
%INJECTION STATUS | TIME | TIME (s) | A-1 CO2 conc (DCV) | A-1 CO2 conc (PPM) | A-2 CO2 conc (DCV) | A-2 CO2 conc (PPM) | A-4 CO2 conc (DCV) | A-4 CO2 conc (PPM) | Helium Injection (computer) (lpm) | Sample Time (s) | Measured CO2 Injection (lpm) | Measured CO2 Injection (CFM)
OFF | 15:47 | 0 | 1.0222 | 431.423 | 1.032 | 434.3693 | 0.5909 | 458.8429 | 3.07 | 600 | 5.1934 | 0.1834
OFF | 15:47 | 5 | 1.0195 | 430.3619 | 1.032 | 434.3693 | 0.5865 | 456.3098 |  | 1500 | 5.1934 | 0.1834
OFF | 15:47 | 10 | 1.0238 | 432.0519 | 1.031 | 433.9757 | 0.5898 | 458.2097 |  | 2400 | 5.1934 | 0.1834
OFF | 15:47 | 15 | 1.0206 | 430.7942 | 1.032 | 434.3693 | 0.5904 | 458.5551
OFF | 15:47 | 20 | 1.0228 | 431.6588 | 1.032 | 434.3693 | 0.5871 | 456.6552
OFF | 15:47 | 25 | 1.0238 | 432.0519 | 1.032 | 434.3693 | 0.5865 | 456.3098
OFF | 15:47 | 30 | 1.0222 | 431.423 | 1.0315 | 434.1725 | 0.5865 | 456.3098
OFF | 15:47 | 35 | 1.0244 | 432.2877 | 1.032 | 434.3693 | 0.586 | 456.0219
OFF | 15:48 | 40 | 1.0206 | 430.7942 | 1.031 | 433.9757 | 0.5865 | 456.3098
OFF | 15:48 | 45 | 1.0206 | 430.7942 | 1.032 | 434.3693 | 0.5854 | 455.6765
OFF | 15:48 | 50 | 1.0249 | 432.4842 | 1.0326 | 434.6054 | 0.5844 | 455.1008
OFF | 15:48 | 55 | 1.0195 | 430.3619 | 1.032 | 434.3693 | 0.5958 | 461.664
OFF | 15:48 | 60 | 1.0195 | 430.3619 | 1.0337 | 435.0383 | 0.5964 | 462.0094
OFF | 15:48 | 65 | 1.0228 | 431.6588 | 1.0315 | 434.1725 | 0.5947 | 461.0307
OFF | 15:48 | 70 | 1.0206 | 430.7942 | 1.032 | 434.3693 | 0.5964 | 462.0094
OFF | 15:48 | 75 | 1.0228 | 431.6588 | 1.0337 | 435.0383 | 0.5931 | 460.1095
OFF | 15:48 | 80 | 1.0228 | 431.6588 | 1.0337 | 435.0383 | 0.5947 | 461.0307
OFF | 15:48 | 85 | 1.0233 | 431.8554 | 1.0326 | 434.6054 | 0.5958 | 461.664
OFF | 15:48 | 90 | 1.0222 | 431.423 | 1.0326 | 434.6054 | 0.6024 | 465.4637
OFF | 15:48 | 95 | 1.0228 | 431.6588 | 1.0326 | 434.6054 | 0.5953 | 461.3761
OFF | 15:49 | 100 | 1.0217 | 431.2265 | 1.0337 | 435.0383 | 0.6029 | 465.7516
OFF | 15:49 | 105 | 1.0211 | 430.9907 | 1.0342 | 435.235 | 0.5915 | 459.1884
OFF | 15:49 | 110 | 1.0189 | 430.1261 | 1.0342 | 435.235 | 0.5942 | 460.7428
OFF | 15:49 | 115 | 1.0167 | 429.2614 | 1.0331 | 434.8022 | 0.5898 | 458.2097
OFF | 15:49 | 120 | 1.0244 | 432.2877 | 1.0326 | 434.6054 | 0.5904 | 458.5551
OFF | 15:49 | 125 | 1.0222 | 431.423 | 1.0326 | 434.6054 | 0.5964 | 462.0094
OFF | 15:49 | 130 | 1.0244 | 432.2877 | 1.0331 | 434.8022 | 0.5958 | 461.664
OFF | 15:49 | 135 | 1.0217 | 431.2265 | 1.0331 | 434.8022 | 0.5931 | 460.1095
OFF | 15:49 | 140 | 1.0206 | 430.7942 | 1.0337 | 435.0383 | 0.5958 | 461.664
OFF | 15:49 | 145 | 1.0211 | 430.9907 | 1.0342 | 435.235 | 0.6002 | 464.1971
OFF | 15:49 | 150 | 1.0228 | 431.6588 | 1.0331 | 434.8022 | 0.5975 | 462.6427
OFF | 15:49 | 155 | 1.0238 | 432.0519 | 1.0359 | 435.9041 | 0.598 | 462.9306
OFF | 15:50 | 160 | 1.0184 | 429.9295 | 1.0359 | 435.9041 | 0.6008 | 464.5426
OFF | 15:50 | 165 | 1.0233 | 431.8554 | 1.0331 | 434.8022 | 0.5997 | 463.9093
OFF | 15:50 | 170 | 1.0211 | 430.9907 | 1.0337 | 435.0383 | 0.6024 | 465.4637
OFF | 15:50 | 175 | 1.0255 | 432.72 | 1.0315 | 434.1725 | 0.6002 | 464.1971
OFF | 15:50 | 180 | 1.026 | 432.9165 | 1.0331 | 434.8022 | 0.6024 | 465.4637
OFF | 15:50 | 185 | 1.0249 | 432.4842 | 1.0337 | 435.0383 | 0.6029 | 465.7516
OFF | 15:50 | 190 | 1.0238 | 432.0519 | 1.0337 | 435.0383 | 0.6035 | 466.097
OFF | 15:50 | 195 | 1.0238 | 432.0519 | 1.0331 | 434.8022 | 0.6018 | 465.1183
OFF | 15:50 | 200 | 1.0228 | 431.6588 | 1.0315 | 434.1725 | 0.6046 | 466.7303
OFF | 15:50 | 205 | 1.0211 | 430.9907 | 1.032 | 434.3693 | 0.6013 | 464.8304
OFF | 15:50 | 210 | 1.0238 | 432.0519 | 1.0331 | 434.8022 | 0.604 | 466.3849
OFF | 15:50 | 215 | 1.0249 | 432.4842 | 1.0326 | 434.6054 | 0.598 | 462.9306
OFF | 15:51 | 220 | 1.0195 | 430.3619 | 1.0337 | 435.0383 | 0.6029 | 465.7516
OFF | 15:51 | 225 | 1.0189 | 430.1261 | 1.0348 | 435.4712 | 0.5953 | 461.3761
OFF | 15:51 | 230 | 1.0184 | 429.9295 | 1.0359 | 435.9041 | 0.592 | 459.4762
OFF | 15:51 | 235 | 1.0162 | 429.0649 | 1.0331 | 434.8022 | 0.5964 | 462.0094
OFF | 15:51 | 240 | 1.0156 | 428.8291 | 1.0326 | 434.6054 | 0.5926 | 459.8217
OFF | 15:51 | 245 | 1.014 | 428.2003 | 1.0326 | 434.6054 | 0.5975 | 462.6427
OFF | 15:51 | 250 | 1.0189 | 430.1261 | 1.0326 | 434.6054 | 0.6008 | 464.5426
OFF | 15:51 | 255 | 1.0189 | 430.1261 | 1.0337 | 435.0383 | 0.604 | 466.3849
OFF | 15:51 | 260 | 1.0233 | 431.8554 | 1.0342 | 435.235 | 0.5953 | 461.3761
OFF | 15:51 | 265 | 1.0129 | 427.768 | 1.031 | 433.9757 | 0.5947 | 461.0307
OFF | 15:51 | 270 | 1.0228 | 431.6588 | 1.0326 | 434.6054 | 0.5953 | 461.3761
OFF | 15:51 | 275 | 1.0222 | 431.423 | 1.032 | 434.3693 | 0.5893 | 457.9218
OFF | 15:52 | 280 | 1.0206 | 430.7942 | 1.0337 | 435.0383 | 0.592 | 459.4762
OFF | 15:52 | 285 | 1.02 | 430.5584 | 1.032 | 434.3693 | 0.5936 | 460.3974
OFF | 15:52 | 290 | 1.0156 | 428.8291 | 1.0299 | 433.5428 | 0.6008 | 464.5426
OFF | 15:52 | 295 | 1.0167 | 429.2614 | 1.0304 | 433.7396 | 0.5964 | 462.0094
OFF | 15:52 | 300 | 1.0184 | 429.9295 | 1.0326 | 434.6054 | 0.5931 | 460.1095
OFF | 15:52 | 305 | 1.0167 | 429.2614 | 1.0315 | 434.1725 | 0.5844 | 455.1008
OFF | 15:52 | 310 | 1.0151 | 428.6326 | 1.031 | 433.9757 | 0.5844 | 455.1008
OFF | 15:52 | 315 | 1.0173 | 429.4972 | 1.0293 | 433.3067 | 0.5882 | 457.2885
OFF | 15:52 | 320 | 1.0173 | 429.4972 | 1.031 | 433.9757 | 0.5887 | 457.5764
OFF | 15:52 | 325 | 1.02 | 430.5584 | 1.0293 | 433.3067 | 0.592 | 459.4762
OFF | 15:52 | 330 | 1.014 | 428.2003 | 1.0293 | 433.3067 | 0.5838 | 454.7553
OFF | 15:52 | 335 | 1.0151 | 428.6326 | 1.0315 | 434.1725 | 0.5882 | 457.2885
OFF | 15:53 | 340 | 1.0167 | 429.2614 | 1.0304 | 433.7396 | 0.5871 | 456.6552
OFF | 15:53 | 345 | 1.0228 | 431.6588 | 1.0282 | 432.8738 | 0.5887 | 457.5764
OFF | 15:53 | 350 | 1.0184 | 429.9295 | 1.0293 | 433.3067 | 0.5931 | 460.1095
OFF | 15:53 | 355 | 1.014 | 428.2003 | 1.031 | 433.9757 | 0.5975 | 462.6427
OFF | 15:53 | 360 | 1.02 | 430.5584 | 1.0304 | 433.7396 | 0.5898 | 458.2097
OFF | 15:53 | 365 | 1.0211 | 430.9907 | 1.0293 | 433.3067 | 0.5926 | 459.8217
OFF | 15:53 | 370 | 1.0146 | 428.4361 | 1.0271 | 432.4409 | 0.5936 | 460.3974
OFF | 15:53 | 375 | 1.0178 | 429.6937 | 1.0271 | 432.4409 | 0.5969 | 462.2973
OFF | 15:53 | 380 | 1.0217 | 431.2265 | 1.0288 | 433.11 | 0.5926 | 459.8217
OFF | 15:53 | 385 | 1.0189 | 430.1261 | 1.0282 | 432.8738 | 0.5975 | 462.6427
OFF | 15:53 | 390 | 1.02 | 430.5584 | 1.0277 | 432.677 | 0.5975 | 462.6427
OFF | 15:53 | 395 | 1.0047 | 424.5452 | 1.026 | 432.008 | 0.5975 | 462.6427
OFF | 15:54 | 400 | 1.014 | 428.2003 | 1.0282 | 432.8738 | 0.5865 | 456.3098
OFF | 15:54 | 405 | 1.0184 | 429.9295 | 1.0277 | 432.677 | 0.5969 | 462.2973
OFF | 15:54 | 410 | 1.0173 | 429.4972 | 1.026 | 432.008 | 0.5936 | 460.3974
OFF | 15:54 | 415 | 1.0173 | 429.4972 | 1.0271 | 432.4409 | 0.5942 | 460.7428
OFF | 15:54 | 420 | 1.0195 | 430.3619 | 1.0266 | 432.2442 | 0.5931 | 460.1095
OFF | 15:54 | 425 | 1.0178 | 429.6937 | 1.0277 | 432.677 | 0.6024 | 465.4637
OFF | 15:54 | 430 | 1.0189 | 430.1261 | 1.0255 | 431.8113 | 0.6024 | 465.4637
OFF | 15:54 | 435 | 1.0206 | 430.7942 | 1.0277 | 432.677 | 0.5991 | 463.5638
OFF | 15:54 | 440 | 1.0184 | 429.9295 | 1.0299 | 433.5428 | 0.598 | 462.9306
OFF | 15:54 | 445 | 1.0195 | 430.3619 | 1.0277 | 432.677 | 0.5942 | 460.7428
OFF | 15:54 | 450 | 1.0195 | 430.3619 | 1.0282 | 432.8738 | 0.5969 | 462.2973
OFF | 15:54 | 455 | 1.0255 | 432.72 | 1.0282 | 432.8738 | 0.5975 | 462.6427
OFF | 15:55 | 460 | 1.0118 | 427.3357 | 1.0266 | 432.2442 | 0.6018 | 465.1183
OFF | 15:55 | 465 | 1.0195 | 430.3619 | 1.0288 | 433.11 | 0.5975 | 462.6427
OFF | 15:55 | 470 | 1.0173 | 429.4972 | 1.0277 | 432.677 | 0.5947 | 461.0307
OFF | 15:55 | 475 | 1.0228 | 431.6588 | 1.0277 | 432.677 | 0.5926 | 459.8217
OFF | 15:55 | 480 | 1.0206 | 430.7942 | 1.0277 | 432.677 | 0.5926 | 459.8217
OFF | 15:55 | 485 | 1.0211 | 430.9907 | 1.0277 | 432.677 | 0.5942 | 460.7428
OFF | 15:55 | 490 | 1.0228 | 431.6588 | 1.0277 | 432.677 | 0.5931 | 460.1095
OFF | 15:55 | 495 | 1.0167 | 429.2614 | 1.0288 | 433.11 | 0.5854 | 455.6765
OFF | 15:55 | 500 | 1.0173 | 429.4972 | 1.0288 | 433.11 | 0.5936 | 460.3974
OFF | 15:55 | 505 | 1.0173 | 429.4972 | 1.0277 | 432.677 | 0.5904 | 458.5551
OFF | 15:55 | 510 | 1.0189 | 430.1261 | 1.0271 | 432.4409 | 0.5942 | 460.7428
OFF | 15:55 | 515 | 1.0206 | 430.7942 | 1.0266 | 432.2442 | 0.5969 | 462.2973
OFF | 15:56 | 520 | 1.0206 | 430.7942 | 1.0299 | 433.5428 | 0.5931 | 460.1095
OFF | 15:56 | 525 | 1.0189 | 430.1261 | 1.0288 | 433.11 | 0.5975 | 462.6427
OFF | 15:56 | 530 | 1.0222 | 431.423 | 1.0293 | 433.3067 | 0.6002 | 464.1971
OFF | 15:56 | 535 | 1.02 | 430.5584 | 1.0277 | 432.677 | 0.598 | 462.9306
OFF | 15:56 | 540 | 1.0184 | 429.9295 | 1.0299 | 433.5428 | 0.5931 | 460.1095
OFF | 15:56 | 545 | 1.0206 | 430.7942 | 1.0282 | 432.8738 | 0.5969 | 462.2973
OFF | 15:56 | 550 | 1.0167 | 429.2614 | 1.0293 | 433.3067 | 0.5964 | 462.0094
OFF | 15:56 | 555 | 1.0162 | 429.0649 | 1.0271 | 432.4409 | 0.6035 | 466.097
OFF | 15:56 | 560 | 1.0151 | 428.6326 | 1.0271 | 432.4409 | 0.6029 | 465.7516
OFF | 15:56 | 565 | 1.0156 | 428.8291 | 1.0277 | 432.677 | 0.6029 | 465.7516
OFF | 15:56 | 570 | 1.0189 | 430.1261 | 1.0282 | 432.8738 | 0.5909 | 458.8429
OFF | 15:56 | 575 | 1.0162 | 429.0649 | 1.0271 | 432.4409 | 0.6008 | 464.5426
OFF | 15:57 | 580 | 1.0167 | 429.2614 | 1.0304 | 433.7396 | 0.598 | 462.9306
OFF | 15:57 | 585 | 1.0162 | 429.0649 | 1.0282 | 432.8738 | 0.5969 | 462.2973
OFF | 15:57 | 590 | 1.0178 | 429.6937 | 1.0277 | 432.677 | 0.6046 | 466.7303
OFF | 15:57 | 595 | 1.0271 | 433.3488 | 1.0304 | 433.7396 | 0.5964 | 462.0094
ON | 15:57 | 600 | 1.0217 | 431.2265 | 1.0282 | 432.8738 | 0.5997 | 463.9093
ON | 15:57 | 605 | 1.0233 | 431.8554 | 1.0277 | 432.677 | 0.592 | 459.4762
ON | 15:57 | 610 | 1.02 | 430.5584 | 1.0282 | 432.8738 | 0.5958 | 461.664
ON | 15:57 | 615 | 1.0173 | 429.4972 | 1.0277 | 432.677 | 0.5931 | 460.1095
ON | 15:57 | 620 | 1.0752 | 452.2531 | 1.026 | 432.008 | 0.5926 | 459.8217
ON | 15:57 | 625 | 1.0315 | 435.0781 | 1.0288 | 433.11 | 0.5942 | 460.7428
ON | 15:57 | 630 | 1.031 | 434.8816 | 1.5093 | 622.2059 | 0.5854 | 455.6765
ON | 15:57 | 635 | 1.0375 | 437.4363 | 1.5907 | 654.2401 | 0.5898 | 458.2097
ON | 15:58 | 640 | 1.0479 | 441.5236 | 1.9482 | 794.9306 | 0.5882 | 457.2885
ON | 15:58 | 645 | 1.0484 | 441.7202 | 1.383 | 572.5018 | 0.5805 | 452.8555
ON | 15:58 | 650 | 1.0468 | 441.0913 | 1.3742 | 569.0387 | 0.5898 | 458.2097
ON | 15:58 | 655 | 1.1403 | 477.8387 | 1.6109 | 662.1896 | 0.5849 | 455.3886
ON | 15:58 | 660 | 1.3218 | 549.1718 | 2.1532 | 875.6063 | 0.5876 | 456.9431
ON | 15:58 | 665 | 1.1813 | 493.9525 | 2.8299 | 1141.9149 | 0.5849 | 455.3886
ON | 15:58 | 670 | 1.2917 | 537.3419 | 1.9143 | 781.5896 | 0.5811 | 453.2009
ON | 15:58 | 675 | 1.1173 | 468.7993 | 2.1116 | 859.235 | 0.5827 | 454.122
ON | 15:58 | 680 | 1.1479 | 480.8257 | 3.2191 | 1295.0806 | 0.5893 | 457.9218
ON | 15:58 | 685 | 1.2113 | 505.7431 | 2.6572 | 1073.9505 | 0.5926 | 459.8217
ON | 15:58 | 690 | 1.2769 | 531.5253 | 4.4283 | 1770.9491 | 0.5931 | 460.1095
ON | 15:58 | 695 | 1.2288 | 512.621 | 4.5545 | 1820.614 | 0.5964 | 462.0094
ON | 15:59 | 700 | 1.2223 | 510.0664 | 3.0256 | 1218.9306 | 0.5904 | 458.5551
ON | 15:59 | 705 | 1.2966 | 539.2677 | 4.044 | 1619.7118 | 0.5964 | 462.0094
ON | 15:59 | 710 | 1.2955 | 538.8354 | 4.3813 | 1752.4528 | 0.6057 | 467.3636
ON | 15:59 | 715 | 1.3748 | 570.0019 | 3.7767 | 1514.5185 | 0.6068 | 467.9969
ON | 15:59 | 720 | 1.3699 | 568.0761 | 3.8603 | 1547.4185 | 0.6111 | 470.4725
ON | 15:59 | 725 | 1.5169 | 625.85 | 3.3744 | 1356.1973 | 0.6117 | 470.8179
ON | 15:59 | 730 | 1.3671 | 566.9756 | 3.7521 | 1504.8374 | 0.6117 | 470.8179
ON | 15:59 | 735 | 1.5557 | 641.0992 | 3.3716 | 1355.0954 | 0.6117 | 470.8179
ON | 15:59 | 740 | 1.4202 | 587.845 | 3.2782 | 1318.3388 | 0.6221 | 476.8054
ON | 15:59 | 745 | 1.4245 | 589.535 | 5.011 | 2000.265 | 0.6215 | 476.46
ON | 15:59 | 750 | 1.4617 | 604.1553 | 4.196 | 1679.5299 | 0.6188 | 474.9055
ON | 15:59 | 755 | 1.5175 | 626.0859 | 5.0099 | 1999.8321 | 0.627 | 479.6264
ON | 16:00 | 760 | 1.735 | 711.5677 | 5.0104 | 2000.0287 | 0.6237 | 477.7266
ON | 16:00 | 765 | 1.4174 | 586.7445 | 5.0104 | 2000.0287 | 0.6243 | 478.072
ON | 16:00 | 770 | 1.4666 | 606.0811 | 4.5004 | 1799.3234 | 0.6275 | 479.9143
ON | 16:00 | 775 | 1.4612 | 603.9588 | 4.7295 | 1889.4834 | 0.6379 | 485.9018
ON | 16:00 | 780 | 1.4333 | 592.9936 | 5.0115 | 2000.4617 | 0.6412 | 487.8017
ON | 16:00 | 785 | 1.5164 | 625.6535 | 5.0115 | 2000.4617 | 0.6434 | 489.0683
ON | 16:00 | 790 | 1.4486 | 599.0068 | 5.0121 | 2000.6979 | 0.6412 | 487.8017
ON | 16:00 | 795 | 1.6465 | 676.7854 | 5.0099 | 1999.8321 | 0.6428 | 488.7228
ON | 16:00 | 800 | 1.4688 | 606.9458 | 5.0104 | 2000.0287 | 0.6483 | 491.8893
ON | 16:00 | 805 | 1.4398 | 595.5482 | 5.0115 | 2000.4617 | 0.6505 | 493.1559
ON | 16:00 | 810 | 1.5043 | 620.898 | 5.011 | 2000.265 | 0.6505 | 493.1559
ON | 16:00 | 815 | 1.4256 | 589.9673 | 5.0115 | 2000.4617 | 0.6516 | 493.7892
ON | 16:01 | 820 | 1.524 | 628.6405 | 5.0115 | 2000.4617 | 0.6598 | 498.5101
ON | 16:01 | 825 | 2.0018 | 816.4255 | 5.0104 | 2000.0287 | 0.6663 | 502.2522
ON | 16:01 | 830 | 1.8028 | 738.2145 | 5.0093 | 1999.596 | 0.6745 | 506.9731
ON | 16:01 | 835 | 1.6076 | 661.4969 | 3.8324 | 1536.4387 | 0.6718 | 505.4187
ON | 16:01 | 840 | 1.5557 | 641.0992 | 4.021 | 1610.6603 | 0.6778 | 508.873
ON | 16:01 | 845 | 1.506 | 621.5661 | 4.49 | 1795.2305 | 0.6707 | 504.7854
ON | 16:01 | 850 | 2.438 | 987.8607 | 4.9366 | 1970.9856 | 0.674 | 506.6853
ON | 16:01 | 855 | 1.5628 | 643.8897 | 4.39 | 1755.8765 | 0.6795 | 509.8517
ON | 16:01 | 860 | 1.5207 | 627.3435 | 4.9957 | 1994.2437 | 0.6762 | 507.9518
ON | 16:01 | 865 | 1.7514 | 718.0132 | 3.8188 | 1531.0865 | 0.6882 | 514.8605
ON | 16:01 | 870 | 1.7153 | 703.8252 | 5.011 | 2000.265 | 0.7008 | 522.1146
ON | 16:01 | 875 | 1.6918 | 694.5892 | 5.0121 | 2000.6979 | 0.7013 | 522.4024
ON | 16:02 | 880 | 1.6394 | 673.995 | 4.8306 | 1929.2702 | 0.7046 | 524.3023
ON | 16:02 | 885 | 1.5136 | 624.5531 | 5.0115 | 2000.4617 | 0.6975 | 520.2147
ON | 16:02 | 890 | 1.6016 | 659.1389 | 5.0115 | 2000.4617 | 0.7008 | 522.1146
ON | 16:02 | 895 | 1.5617 | 643.4573 | 5.0104 | 2000.0287 | 0.6937 | 518.027
ON | 16:02 | 900 | 1.8367 | 751.5378 | 5.011 | 2000.265 | 0.6964 | 519.5814
ON | 16:02 | 905 | 2.2833 | 927.0605 | 5.0115 | 2000.4617 | 0.697 | 519.9269
ON | 16:02 | 910 | 1.7115 | 702.3317 | 5.0115 | 2000.4617 | 0.7117 | 528.3899
ON | 16:02 | 915 | 1.8963 | 774.9618 | 5.0104 | 2000.0287 | 0.7106 | 527.7566
ON | 16:02 | 920 | 1.8728 | 765.7259 | 4.6201 | 1846.4302 | 0.7084 | 526.4901
ON | 16:02 | 925 | 1.5858 | 652.9291 | 2.8791 | 1161.277 | 0.7057 | 524.9356
ON | 16:02 | 930 | 1.5896 | 654.4226 | 2.9119 | 1174.1851 | 0.709 | 526.8355
ON | 16:02 | 935 | 1.6055 | 660.6716 | 2.6255 | 1061.4753 | 0.7041 | 524.0145
ON | 16:03 | 940 | 1.6519 | 678.9078 | 4.2151 | 1687.0464 | 0.7068 | 525.5689
ON | 16:03 | 945 | 1.7853 | 731.3366 | 5.0093 | 1999.596 | 0.7101 | 527.4688
ON | 16:03 | 950 | 1.7968 | 735.8563 | 5.011 | 2000.265 | 0.7243 | 535.644
ON | 16:03 | 955 | 1.8203 | 745.0923 | 3.4176 | 1373.1983 | 0.7172 | 531.5564
ON | 16:03 | 960 | 1.7613 | 721.9041 | 5.0099 | 1999.8321 | 0.7128 | 529.0232
ON | 16:03 | 965 | 1.7208 | 705.9868 | 3.5657 | 1431.4816 | 0.7112 | 528.1021
ON | 16:03 | 970 | 1.6372 | 673.1303 | 3.8188 | 1531.0865 | 0.7123 | 528.7354
ON | 16:03 | 975 | 1.6672 | 684.9209 | 4.4551 | 1781.4961 | 0.7144 | 529.9444
ON | 16:03 | 980 | 1.7 | 697.812 | 5.011 | 2000.265 | 0.7046 | 524.3023
ON | 16:03 | 985 | 1.6678 | 685.1567 | 5.0115 | 2000.4617 | 0.7063 | 525.281
ON | 16:03 | 990 | 1.7574 | 720.3714 | 5.0104 | 2000.0287 | 0.7139 | 529.6565
ON | 16:03 | 995 | 1.7011 | 698.2443 | 5.0126 | 2000.8946 | 0.7144 | 529.9444
ON | 16:04 | 1000 | 1.7285 | 709.0131 | 5.0115 | 2000.4617 | 0.7117 | 528.3899
ON | 16:04 | 1005 | 1.6224 | 667.3137 | 5.0126 | 2000.8946 | 0.7073 | 525.8568
ON | 16:04 | 1010 | 1.6186 | 665.8202 | 5.0126 | 2000.8946 | 0.715 | 530.2898
ON | 16:04 | 1015 | 1.6497 | 678.0431 | 5.0121 | 2000.6979 | 0.7172 | 531.5564
ON | 16:04 | 1020 | 1.7252 | 707.7161 | 5.0115 | 2000.4617 | 0.7134 | 529.3687
ON | 16:04 | 1025 | 1.9416 | 792.7656 | 5.0115 | 2000.4617 | 0.7134 | 529.3687
ON | 16:04 | 1030 | 1.9138 | 781.8397 | 5.0115 | 2000.4617 | 0.7155 | 530.5777
ON | 16:04 | 1035 | 1.6793 | 689.6765 | 5.0104 | 2000.0287 | 0.7199 | 533.1108
ON | 16:04 | 1040 | 1.7613 | 721.9041 | 5.0115 | 2000.4617 | 0.7161 | 530.9231
ON | 16:04 | 1045 | 2.0324 | 828.4518 | 5.011 | 2000.265 | 0.7254 | 536.2773
ON | 16:04 | 1050 | 2.2035 | 895.6976 | 5.0121 | 2000.6979 | 0.7237 | 535.2986
ON | 16:04 | 1055 | 1.6612 | 682.5628 | 5.0099 | 1999.8321 | 0.7254 | 536.2773
ON | 16:05 | 1060 | 1.8039 | 738.6468 | 4.8738 | 1946.2712 | 0.7216 | 534.0896
ON | 16:05 | 1065 | 1.8252 | 747.0181 | 5.0104 | 2000.0287 | 0.7254 | 536.2773
ON | 16:05 | 1070 | 1.5639 | 644.322 | 5.0099 | 1999.8321 | 0.7226 | 534.6653
ON | 16:05 | 1075 | 1.7804 | 729.4108 | 5.0104 | 2000.0287 | 0.7281 | 537.8317
ON | 16:05 | 1080 | 1.7443 | 715.2228 | 5.011 | 2000.265 | 0.7265 | 536.9106
ON | 16:05 | 1085 | 1.5798 | 650.571 | 5.0126 | 2000.8946 | 0.7308 | 539.3862
ON | 16:05 | 1090 | 1.7274 | 708.5807 | 5.0104 | 2000.0287 | 0.7292 | 538.465
ON | 16:05 | 1095 | 1.6098 | 662.3616 | 5.0143 | 2001.5636 | 0.7265 | 536.9106
ON | 16:05 | 1100 | 1.6306 | 670.5364 | 5.0115 | 2000.4617 | 0.7325 | 540.3649
ON | 16:05 | 1105 | 1.6153 | 664.5232 | 5.011 | 2000.265 | 0.7347 | 541.6315
ON | 16:05 | 1110 | 1.5727 | 647.7806 | 5.0104 | 2000.0287 | 0.7308 | 539.3862
ON | 16:05 | 1115 | 1.6432 | 675.4885 | 5.0099 | 1999.8321 | 0.7292 | 538.465
ON | 16:06 | 1120 | 1.665 | 684.0563 | 5.0104 | 2000.0287 | 0.7308 | 539.3862
ON | 16:06 | 1125 | 2.0029 | 816.8577 | 5.0121 | 2000.6979 | 0.7303 | 539.0983
ON | 16:06 | 1130 | 1.6361 | 672.698 | 5.0099 | 1999.8321 | 0.7298 | 538.8105
ON | 16:06 | 1135 | 1.6137 | 663.8944 | 5.0115 | 2000.4617 | 0.7281 | 537.8317
ON | 16:06 | 1140 | 1.8766 | 767.2193 | 4.3802 | 1752.0199 | 0.7303 | 539.0983
ON | 16:06 | 1145 | 1.7033 | 699.109 | 4.8743 | 1946.468 | 0.7226 | 534.6653
ON | 16:06 | 1150 | 1.7459 | 715.8516 | 4.8388 | 1932.4973 | 0.7254 | 536.2773
ON | 16:06 | 1155 | 1.7405 | 713.7293 | 2.2275 | 904.8463 | 0.7265 | 536.9106
ON | 16:06 | 1160 | 1.8006 | 737.3498 | 2.7567 | 1113.1077 | 0.7276 | 537.5439
ON | 16:06 | 1165 | 1.7541 | 719.0744 | 3.1929 | 1284.7698 | 0.7232 | 535.0107
ON | 16:06 | 1170 | 1.8733 | 765.9224 | 4.8213 | 1925.6104 | 0.7155 | 530.5777
ON | 16:06 | 1175 | 1.5814 | 651.1998 | 5.011 | 2000.265 | 0.7172 | 531.5564
ON | 16:07 | 1180 | 1.5563 | 641.335 | 5.011 | 2000.265 | 0.7123 | 528.7354
ON | 16:07 | 1185 | 1.5415 | 635.5183 | 5.0104 | 2000.0287 | 0.7144 | 529.9444
ON | 16:07 | 1190 | 1.5891 | 654.2261 | 5.0115 | 2000.4617 | 0.7134 | 529.3687
ON | 16:07 | 1195 | 1.776 | 727.6815 | 5.0115 | 2000.4617 | 0.709 | 526.8355
ON | 16:07 | 1200 | 1.67 | 686.0214 | 4.4791 | 1790.9411 | 0.7155 | 530.5777
ON | 16:07 | 1205 | 1.8006 | 737.3498 | 5.0115 | 2000.4617 | 0.7144 | 529.9444
ON | 16:07 | 1210 | 1.7148 | 703.6287 | 4.5709 | 1827.068 | 0.7101 | 527.4688
ON | 16:07 | 1215 | 1.5759 | 649.0382 | 2.7791 | 1121.923 | 0.7139 | 529.6565
ON | 16:07 | 1220 | 1.582 | 651.4356 | 3.5269 | 1416.2122 | 0.7144 | 529.9444
ON | 16:07 | 1225 | 1.6722 | 686.886 | 3.0398 | 1224.5189 | 0.7161 | 530.9231
ON | 16:07 | 1230 | 1.7525 | 718.4456 | 3.4361 | 1380.4788 | 0.7194 | 532.823
ON | 16:07 | 1235 | 1.7727 | 726.3845 | 4.0571 | 1624.8671 | 0.7205 | 533.4563
ON | 16:08 | 1240 | 1.6459 | 676.5496 | 3.9363 | 1577.3275 | 0.7112 | 528.1021
ON | 16:08 | 1245 | 1.5475 | 637.8765 | 4.3665 | 1746.6284 | 0.7259 | 536.5651
ON | 16:08 | 1250 | 1.6131 | 663.6586 | 5.0099 | 1999.8321 | 0.7188 | 532.4775
ON | 16:08 | 1255 | 1.7104 | 701.8994 | 5.0104 | 2000.0287 | 0.7281 | 537.8317
ON | 16:08 | 1260 | 1.9936 | 813.2027 | 2.2401 | 909.8049 | 0.7319 | 540.0195
ON | 16:08 | 1265 | 1.7131 | 702.9605 | 4.9787 | 1987.5537 | 0.7319 | 540.0195
ON | 16:08 | 1270 | 1.6279 | 669.4753 | 5.0115 | 2000.4617 | 0.7287 | 538.1772
ON | 16:08 | 1275 | 1.7077 | 700.8383 | 5.0121 | 2000.6979 | 0.7194 | 532.823
ON | 16:08 | 1280 | 1.6634 | 683.4275 | 5.0099 | 1999.8321 | 0.7216 | 534.0896
ON | 16:08 | 1285 | 1.665 | 684.0563 | 5.0104 | 2000.0287 | 0.7123 | 528.7354
ON | 16:08 | 1290 | 1.5912 | 655.0514 | 5.0104 | 2000.0287 | 0.7079 | 526.2022
ON | 16:08 | 1295 | 1.6394 | 673.995 | 5.0115 | 2000.4617 | 0.7041 | 524.0145
ON | 16:09 | 1300 | 1.5229 | 628.2082 | 3.6816 | 1477.0929 | 0.7024 | 523.0357
ON | 16:09 | 1305 | 1.8104 | 741.2014 | 5.011 | 2000.265 | 0.7101 | 527.4688
ON | 16:09 | 1310 | 1.5776 | 649.7064 | 5.0115 | 2000.4617 | 0.7052 | 524.6478
ON | 16:09 | 1315 | 1.6273 | 669.2395 | 5.0115 | 2000.4617 | 0.7101 | 527.4688
ON | 16:09 | 1320 | 1.6098 | 662.3616 | 5.011 | 2000.265 | 0.715 | 530.2898
ON | 16:09 | 1325 | 1.6175 | 665.3878 | 5.0121 | 2000.6979 | 0.7123 | 528.7354
ON | 16:09 | 1330 | 1.6831 | 691.17 | 5.0099 | 1999.8321 | 0.7035 | 523.669
ON | 16:09 | 1335 | 1.6443 | 675.9208 | 4.4676 | 1786.4153 | 0.6964 | 519.5814
ON | 16:09 | 1340 | 1.4994 | 618.9722 | 3.2645 | 1312.9473 | 0.6904 | 516.1271
ON | 16:09 | 1345 | 1.6186 | 665.8202 | 2.9874 | 1203.8974 | 0.6893 | 515.4938
ON | 16:09 | 1350 | 1.8148 | 742.9307 | 4.7404 | 1893.773 | 0.6882 | 514.8605
ON | 16:09 | 1355 | 1.7449 | 715.4586 | 5.0104 | 2000.0287 | 0.6877 | 514.5726
ON | 16:10 | 1360 | 1.6476 | 677.2178 | 5.0148 | 2001.7604 | 0.6822 | 511.4062
ON | 16:10 | 1365 | 1.5798 | 650.571 | 5.0115 | 2000.4617 | 0.6817 | 511.1183
ON | 16:10 | 1370 | 1.6732 | 687.2791 | 5.0099 | 1999.8321 | 0.68 | 510.1396
ON | 16:10 | 1375 | 1.6257 | 668.6106 | 5.0104 | 2000.0287 | 0.6811 | 510.7729
ON | 16:10 | 1380 | 1.5809 | 651.0033 | 5.011 | 2000.265 | 0.6849 | 512.9606
ON | 16:10 | 1385 | 1.7022 | 698.6767 | 5.0115 | 2000.4617 | 0.6724 | 505.7641
ON | 16:10 | 1390 | 1.8383 | 752.1667 | 5.0115 | 2000.4617 | 0.6762 | 507.9518
ON | 16:10 | 1395 | 2.0286 | 826.9584 | 5.0121 | 2000.6979 | 0.6751 | 507.3186
ON | 16:10 | 1400 | 1.6251 | 668.3748 | 5.011 | 2000.265 | 0.68 | 510.1396
ON | 16:10 | 1405 | 1.6984 | 697.1832 | 5.011 | 2000.265 | 0.6724 | 505.7641
ON | 16:10 | 1410 | 1.7099 | 701.7029 | 5.0121 | 2000.6979 | 0.6751 | 507.3186
ON | 16:10 | 1415 | 1.6623 | 682.9951 | 5.011 | 2000.265 | 0.6817 | 511.1183
ON | 16:11 | 1420 | 1.6525 | 679.1436 | 5.011 | 2000.265 | 0.6833 | 512.0395
ON | 16:11 | 1425 | 1.6601 | 682.1305 | 5.0104 | 2000.0287 | 0.6882 | 514.8605
ON | 16:11 | 1430 | 1.6968 | 696.5543 | 5.011 | 2000.265 | 0.6871 | 514.2272
ON | 16:11 | 1435 | 1.9028 | 777.5164 | 5.0099 | 1999.8321 | 0.6948 | 518.6603
ON | 16:11 | 1440 | 1.8963 | 774.9618 | 5.011 | 2000.265 | 0.6981 | 520.5601
ON | 16:11 | 1445 | 1.7328 | 710.7031 | 5.0121 | 2000.6979 | 0.6953 | 518.9481
ON | 16:11 | 1450 | 1.7356 | 711.8035 | 5.0115 | 2000.4617 | 0.6915 | 516.7604
ON | 16:11 | 1455 | 1.8361 | 751.302 | 4.8486 | 1936.354 | 0.6931 | 517.6815
ON | 16:11 | 1460 | 1.7263 | 708.1484 | 4.6076 | 1841.511 | 0.6931 | 517.6815
ON | 16:11 | 1465 | 1.7645 | 723.1618 | 5.0099 | 1999.8321 | 0.692 | 517.0482
ON | 16:11 | 1470 | 1.8197 | 744.8565 | 5.011 | 2000.265 | 0.6904 | 516.1271
ON | 16:11 | 1475 | 1.6508 | 678.4754 | 4.999 | 1995.5425 | 0.686 | 513.5939
ON | 16:12 | 1480 | 1.7481 | 716.7163 | 4.6775 | 1869.0193 | 0.6849 | 512.9606
ON | 16:12 | 1485 | 1.6776 | 689.0084 | 3.7805 | 1516.0139 | 0.6833 | 512.0395
ON | 16:12 | 1490 | 1.9291 | 787.8529 | 4.419 | 1767.2893 | 0.6795 | 509.8517
ON | 16:12 | 1495 | 2.1658 | 880.8808 | 3.8789 | 1554.7383 | 0.6778 | 508.873
ON | 16:12 | 1500 | 1.9323 | 789.1105 | 4.5086 | 1802.5505 | 0.6833 | 512.0395
ON | 16:12 | 1505 | 1.7787 | 728.7427 | 4.6983 | 1877.2049 | 0.6729 | 506.052
ON | 16:12 | 1510 | 1.7219 | 706.4191 | 4.9552 | 1978.3055 | 0.6718 | 505.4187
ON | 16:12 | 1515 | 1.6437 | 675.685 | 3.71 | 1488.2694 | 0.6724 | 505.7641
ON | 16:12 | 1520 | 1.618 | 665.5844 | 5.0099 | 1999.8321 | 0.6647 | 501.3311
ON | 16:12 | 1525 | 1.7372 | 712.4324 | 5.0115 | 2000.4617 | 0.6647 | 501.3311
ON | 16:12 | 1530 | 1.7946 | 734.9917 | 5.0121 | 2000.6979 | 0.6647 | 501.3311
ON | 16:12 | 1535 | 1.7602 | 721.4718 | 4.6273 | 1849.2636 | 0.6653 | 501.6765
ON | 16:13 | 1540 | 2.1111 | 859.3825 | 3.6324 | 1457.7307 | 0.674 | 506.6853
ON | 16:13 | 1545 | 1.8454 | 754.9571 | 5.011 | 2000.265 | 0.6696 | 504.1521
ON | 16:13 | 1550 | 1.6519 | 678.9078 | 5.0022 | 1996.8018 | 0.6729 | 506.052
ON | 16:13 | 1555 | 1.6355 | 672.4622 | 3.9992 | 1602.0812 | 0.6707 | 504.7854
ON | 16:13 | 1560 | 1.6454 | 676.3531 | 5.0115 | 2000.4617 | 0.674 | 506.6853
ON | 16:13 | 1565 | 1.6896 | 693.7246 | 5.0104 | 2000.0287 | 0.6713 | 505.1308
ON | 16:13 | 1570 | 1.723 | 706.8515 | 5.011 | 2000.265 | 0.6674 | 502.8855
ON | 16:13 | 1575 | 1.6853 | 692.0346 | 5.0072 | 1998.7694 | 0.6685 | 503.5188
ON | 16:13 | 1580 | 1.6415 | 674.8203 | 5.0104 | 2000.0287 | 0.6702 | 504.4975
ON | 16:13 | 1585 | 1.6306 | 670.5364 | 3.8581 | 1546.5527 | 0.6674 | 502.8855
ON | 16:13 | 1590 | 1.6459 | 676.5496 | 5.0126 | 2000.8946 | 0.6745 | 506.9731
ON | 16:13 | 1595 | 1.6448 | 676.1173 | 5.0104 | 2000.0287 | 0.6696 | 504.1521
ON | 16:14 | 1600 | 1.6076 | 661.4969 | 3.757 | 1506.7658 | 0.6751 | 507.3186
ON | 16:14 | 1605 | 1.547 | 637.68 | 3.0191 | 1216.3726 | 0.6735 | 506.3974
ON | 16:14 | 1610 | 1.5388 | 634.4572 | 4.9126 | 1961.5406 | 0.6795 | 509.8517
ON | 16:14 | 1615 | 1.7574 | 720.3714 | 5.0121 | 2000.6979 | 0.6806 | 510.485
ON | 16:14 | 1620 | 1.6459 | 676.5496 | 5.0121 | 2000.6979 | 0.6789 | 509.5063
ON | 16:14 | 1625 | 1.5825 | 651.6321 | 5.0121 | 2000.6979 | 0.6811 | 510.7729
ON | 16:14 | 1630 | 1.5519 | 639.6057 | 5.011 | 2000.265 | 0.686 | 513.5939
ON | 16:14 | 1635 | 1.6022 | 659.3747 | 5.0115 | 2000.4617 | 0.6718 | 505.4187
ON | 16:14 | 1640 | 1.541 | 635.3218 | 3.4263 | 1376.6221 | 0.6767 | 508.2397
ON | 16:14 | 1645 | 1.6213 | 666.8813 | 4.5403 | 1815.0256 | 0.6729 | 506.052
ON | 16:14 | 1650 | 1.7334 | 710.9389 | 5.0104 | 2000.0287 | 0.6685 | 503.5188
ON | 16:14 | 1655 | 1.7257 | 707.9126 | 5.011 | 2000.265 | 0.6658 | 501.9644
ON | 16:15 | 1660 | 1.7 | 697.812 | 5.0115 | 2000.4617 | 0.6729 | 506.052
ON | 16:15 | 1665 | 1.676 | 688.3795 | 5.011 | 2000.265 | 0.6691 | 503.8642
ON | 16:15 | 1670 | 1.6907 | 694.1569 | 4.8694 | 1944.5397 | 0.668 | 503.2309
ON | 16:15 | 1675 | 1.8427 | 753.896 | 5.011 | 2000.265 | 0.6614 | 499.4312
ON | 16:15 | 1680 | 1.6492 | 677.8466 | 5.011 | 2000.265 | 0.6674 | 502.8855
ON | 16:15 | 1685 | 1.8411 | 753.2671 | 5.0115 | 2000.4617 | 0.6614 | 499.4312
ON | 16:15 | 1690 | 1.7951 | 735.1882 | 4.3058 | 1722.7405 | 0.6587 | 497.8768
ON | 16:15 | 1695 | 1.7186 | 705.1222 | 4.1845 | 1675.0042 | 0.6598 | 498.5101
ON | 16:15 | 1700 | 1.6251 | 668.3748 | 5.011 | 2000.265 | 0.6674 | 502.8855
ON | 16:15 | 1705 | 1.7044 | 699.5413 | 5.0115 | 2000.4617 | 0.6625 | 500.0645
ON | 16:15 | 1710 | 1.5727 | 647.7806 | 3.8478 | 1542.4992 | 0.6609 | 499.1433
ON | 16:15 | 1715 | 1.5727 | 647.7806 | 5.0099 | 1999.8321 | 0.6609 | 499.1433
ON | 16:16 | 1720 | 1.5836 | 652.0645 | 5.0126 | 2000.8946 | 0.6669 | 502.5977
ON | 16:16 | 1725 | 1.5497 | 638.7411 | 5.0104 | 2000.0287 | 0.6707 | 504.7854
ON | 16:16 | 1730 | 1.5246 | 628.8763 | 5.0115 | 2000.4617 | 0.6745 | 506.9731
ON | 16:16 | 1735 | 1.5027 | 620.2691 | 5.011 | 2000.265 | 0.6729 | 506.052
ON | 16:16 | 1740 | 1.5377 | 634.0249 | 5.011 | 2000.265 | 0.6844 | 512.6728
ON | 16:16 | 1745 | 1.5743 | 648.4094 | 5.0104 | 2000.0287 | 0.6877 | 514.5726
ON | 16:16 | 1750 | 1.5267 | 629.7016 | 5.0104 | 2000.0287 | 0.6931 | 517.6815
ON | 16:16 | 1755 | 1.5448 | 636.8153 | 5.0132 | 2001.1307 | 0.6904 | 516.1271
ON | 16:16 | 1760 | 1.512 | 623.9242 | 5.0104 | 2000.0287 | 0.6849 | 512.9606
ON | 16:16 | 1765 | 1.5989 | 658.0777 | 5.011 | 2000.265 | 0.6833 | 512.0395
ON | 16:16 | 1770 | 1.6251 | 668.3748 | 5.0115 | 2000.4617 | 0.6882 | 514.8605
ON | 16:16 | 1775 | 1.6066 | 661.104 | 5.0137 | 2001.3275 | 0.6844 | 512.6728
ON | 16:17 | 1780 | 1.6492 | 677.8466 | 4.7027 | 1878.9366 | 0.6844 | 512.6728
ON | 16:17 | 1785 | 1.8394 | 752.599 | 5.0115 | 2000.4617 | 0.6866 | 513.9394
ON | 16:17 | 1790 | 2.0269 | 826.2903 | 5.0121 | 2000.6979 | 0.6888 | 515.2059
ON | 16:17 | 1795 | 1.8979 | 775.5907 | 5.0093 | 1999.596 | 0.6882 | 514.8605
ON | 16:17 | 1800 | 1.665 | 684.0563 | 5.0104 | 2000.0287 | 0.6817 | 511.1183
ON | 16:17 | 1805 | 1.7148 | 703.6287 | 5.011 | 2000.265 | 0.6817 | 511.1183
ON | 16:17 | 1810 | 1.5289 | 630.5663 | 2.5522 | 1032.6288 | 0.6888 | 515.2059
ON | 16:17 | 1815 | 1.5426 | 635.9507 | 3.6012 | 1445.4523 | 0.6838 | 512.3273
ON | 16:17 | 1820 | 1.5792 | 650.3352 | 5.0121 | 2000.6979 | 0.6811 | 510.7729
ON | 16:17 | 1825 | 1.5732 | 647.9771 | 2.8048 | 1132.037 | 0.6833 | 512.0395
ON | 16:17 | 1830 | 1.7274 | 708.5807 | 5.0093 | 1999.596 | 0.6871 | 514.2272
ON | 16:17 | 1835 | 1.6148 | 664.3267 | 4.7475 | 1896.5671 | 0.6827 | 511.694
ON | 16:18 | 1840 | 1.6087 | 661.9293 | 4.8033 | 1918.5266 | 0.6849 | 512.9606
ON | 16:18 | 1845 | 1.6066 | 661.104 | 4.923 | 1965.6334 | 0.6811 | 510.7729
ON | 16:18 | 1850 | 1.6137 | 663.8944 | 5.011 | 2000.265 | 0.6773 | 508.5851
ON | 16:18 | 1855 | 1.7394 | 713.297 | 3.0327 | 1221.7248 | 0.6745 | 506.9731
ON | 16:18 | 1860 | 1.7738 | 726.8169 | 3.5515 | 1425.8933 | 0.6745 | 506.9731
ON | 16:18 | 1865 | 1.7039 | 699.3448 | 2.673 | 1080.1685 | 0.6784 | 509.2184
ON | 16:18 | 1870 | 1.7984 | 736.4852 | 2.837 | 1144.7089 | 0.686 | 513.5939
ON | 16:18 | 1875 | 1.6989 | 697.3797 | 2.0641 | 840.5419 | 0.6904 | 516.1271
ON | 16:18 | 1880 | 1.7684 | 724.6945 | 2.2346 | 907.6405 | 0.6789 | 509.5063
ON | 16:18 | 1885 | 1.7613 | 721.9041 | 2.7654 | 1116.5315 | 0.6806 | 510.485
ON | 16:18 | 1890 | 1.6825 | 690.9342 | 3.2027 | 1288.6265 | 0.6756 | 507.6064
ON | 16:18 | 1895 | 1.6 | 658.51 | 2.5539 | 1033.2978 | 0.6827 | 511.694
ON | 16:19 | 1900 | 1.5891 | 654.2261 | 3.3886 | 1361.7857 | 0.6767 | 508.2397
ON | 16:19 | 1905 | 1.5273 | 629.9374 | 2.5572 | 1034.5965 | 0.6735 | 506.3974
ON | 16:19 | 1910 | 1.6508 | 678.4754 | 3.5056 | 1407.8298 | 0.6674 | 502.8855
ON | 16:19 | 1915 | 1.606 | 660.8681 | 5.0093 | 1999.596 | 0.6653 | 501.6765
ON | 16:19 | 1920 | 1.5923 | 655.4838 | 3.6985 | 1483.7437 | 0.6735 | 506.3974
ON | 16:19 | 1925 | 1.5497 | 638.7411 | 3.6898 | 1480.3199 | 0.6729 | 506.052
ON | 16:19 | 1930 | 1.6055 | 660.6716 | 3.9527 | 1583.7815 | 0.6658 | 501.9644
ON | 16:19 | 1935 | 1.6864 | 692.467 | 3.5537 | 1426.7591 | 0.6631 | 500.4099
ON | 16:19 | 1940 | 1.6765 | 688.576 | 4.3944 | 1757.6082 | 0.6614 | 499.4312
ON | 16:19 | 1945 | 1.7279 | 708.7773 | 5.0001 | 1995.9754 | 0.6658 | 501.9644
ON | 16:19 | 1950 | 1.7279 | 708.7773 | 5.0061 | 1998.3367 | 0.6631 | 500.4099
ON | 16:19 | 1955 | 1.6519 | 678.9078 | 3.399 | 1365.8784 | 0.6598 | 498.5101
ON | 16:20 | 1960 | 1.5743 | 648.4094 | 2.936 | 1183.6695 | 0.6549 | 495.689
ON | 16:20 | 1965 | 1.6186 | 665.8202 | 1.9597 | 799.4563 | 0.6565 | 496.6102
ON | 16:20 | 1970 | 1.6148 | 664.3267 | 3.3552 | 1348.6414 | 0.6614 | 499.4312
ON | 16:20 | 1975 | 1.5798 | 650.571 | 5.0093 | 1999.596 | 0.6592 | 498.1646
ON | 16:20 | 1980 | 1.6169 | 665.152 | 2.4708 | 1000.5946 | 0.6592 | 498.1646
ON | 16:20 | 1985 | 1.4677 | 606.5135 | 5.0083 | 1999.2023 | 0.6499 | 492.8104
ON | 16:20 | 1990 | 1.5896 | 654.4226 | 5.0115 | 2000.4617 | 0.6587 | 497.8768
ON | 16:20 | 1995 | 1.6907 | 694.1569 | 5.0115 | 2000.4617 | 0.6658 | 501.9644
ON | 16:20 | 2000 | 1.7946 | 734.9917 | 5.011 | 2000.265 | 0.6576 | 497.2435
ON | 16:20 | 2005 | 1.7159 | 704.061 | 5.011 | 2000.265 | 0.6631 | 500.4099
ON | 16:20 | 2010 | 1.6896 | 693.7246 | 5.011 | 2000.265 | 0.6603 | 498.7979
ON | 16:20 | 2015 | 1.7913 | 733.6947 | 3.2618 | 1311.8848 | 0.6603 | 498.7979
ON | 16:21 | 2020 | 1.8115 | 741.6337 | 5.0055 | 1998.1004 | 0.6647 | 501.3311
ON | 16:21 | 2025 | 1.6383 | 673.5626 | 3.8035 | 1525.0654 | 0.6663 | 502.2522
ON | 16:21 | 2030 | 1.6197 | 666.2525 | 5.0104 | 2000.0287 | 0.6718 | 505.4187
ON | 16:21 | 2035 | 1.5716 | 647.3482 | 5.0115 | 2000.4617 | 0.6784 | 509.2184
ON | 16:21 | 2040 | 1.5841 | 652.261 | 5.0115 | 2000.4617 | 0.6784 | 509.2184
ON | 16:21 | 2045 | 1.6853 | 692.0346 | 5.011 | 2000.265 | 0.674 | 506.6853
ON | 16:21 | 2050 | 1.5497 | 638.7411 | 5.0115 | 2000.4617 | 0.6642 | 501.0432
ON | 16:21 | 2055 | 1.6355 | 672.4622 | 5.0104 | 2000.0287 | 0.6631 | 500.4099
ON | 16:21 | 2060 | 1.5918 | 655.2872 | 5.0104 | 2000.0287 | 0.6603 | 498.7979
ON | 16:21 | 2065 | 1.4918 | 615.9852 | 5.0104 | 2000.0287 | 0.6592 | 498.1646
ON | 16:21 | 2070 | 1.5738 | 648.2129 | 5.0115 | 2000.4617 | 0.6543 | 495.3436
ON | 16:21 | 2075 | 1.5989 | 658.0777 | 2.9622 | 1193.9802 | 0.6483 | 491.8893
ON | 16:22 | 2080 | 1.4617 | 604.1553 | 4.9766 | 1986.7272 | 0.6516 | 493.7892
ON | 16:22 | 2085 | 1.5377 | 634.0249 | 4.7349 | 1891.6085 | 0.6428 | 488.7228
ON | 16:22 | 2090 | 1.5262 | 629.5051 | 4.7901 | 1913.332 | 0.6401 | 487.1684
ON | 16:22 | 2095 | 1.5656 | 644.9901 | 5.011 | 2000.265 | 0.6423 | 488.435
ON | 16:22 | 2100 | 1.5896 | 654.4226 | 5.0121 | 2000.6979 | 0.6494 | 492.5226
ON | 16:22 | 2105 | 1.9487 | 795.5561 | 5.011 | 2000.265 | 0.6494 | 492.5226
ON | 16:22 | 2110 | 1.7356 | 711.8035 | 5.0099 | 1999.8321 | 0.6538 | 495.0557
ON | 16:22 | 2115 | 1.7634 | 722.7295 | 5.0088 | 1999.3992 | 0.6549 | 495.689
ON | 16:22 | 2120 | 1.6694 | 685.7856 | 2.4003 | 972.8501 | 0.6554 | 495.9769
ON | 16:22 | 2125 | 1.7727 | 726.3845 | 3.0857 | 1242.5824 | 0.6521 | 494.077
ON | 16:22 | 2130 | 1.6016 | 659.1389 | 2.3702 | 961.0045 | 0.6516 | 493.7892
ON | 16:22 | 2135 | 1.5721 | 647.5448 | 4.6508 | 1858.5119 | 0.6521 | 494.077
ON | 16:23 | 2140 | 1.5568 | 641.5315 | 4.2124 | 1685.9839 | 0.651 | 493.4437
ON | 16:23 | 2145 | 1.5306 | 631.2344 | 5.0099 | 1999.8321 | 0.6581 | 497.5313
ON | 16:23 | 2150 | 1.5317 | 631.6667 | 5.011 | 2000.265 | 0.6663 | 502.2522
ON | 16:23 | 2155 | 1.6541 | 679.7724 | 5.0104 | 2000.0287 | 0.6702 | 504.4975
ON | 16:23 | 2160 | 1.6836 | 691.3665 | 5.0104 | 2000.0287 | 0.6718 | 505.4187
ON | 16:23 | 2165 | 1.7137 | 703.1964 | 5.011 | 2000.265 | 0.6674 | 502.8855
ON | 16:23 | 2170 | 1.9958 | 814.0673 | 5.0121 | 2000.6979 | 0.6663 | 502.2522
ON | 16:23 | 2175 | 1.6055 | 660.6716 | 5.0104 | 2000.0287 | 0.6751 | 507.3186
ON | 16:23 | 2180 | 1.7055 | 699.9736 | 5.011 | 2000.265 | 0.6702 | 504.4975
ON | 16:23 | 2185 | 1.7957 | 735.424 | 4.7535 | 1898.9284 | 0.6784 | 509.2184
ON | 16:23 | 2190 | 1.8875 | 771.5033 | 4.6398 | 1854.1829 | 0.6795 | 509.8517
ON | 16:23 | 2195 | 2.1548 | 876.5575 | 5.0104 | 2000.0287 | 0.6778 | 508.873
ON | 16:24 | 2200 | 1.7339 | 711.1354 | 4.8295 | 1928.8375 | 0.6724 | 505.7641
ON | 16:24 | 2205 | 1.6454 | 676.3531 | 4.4955 | 1797.3951 | 0.6674 | 502.8855
ON | 16:24 | 2210 | 1.5858 | 652.9291 | 5.0115 | 2000.4617 | 0.6647 | 501.3311
ON | 16:24 | 2215 | 1.6743 | 687.7114 | 4.243 | 1698.0262 | 0.6663 | 502.2522
ON | 16:24 | 2220 | 1.6732 | 687.2791 | 5.0115 | 2000.4617 | 0.6713 | 505.1308
ON | 16:24 | 2225 | 1.6716 | 686.6502 | 3.1896 | 1283.4712 | 0.6724 | 505.7641
ON | 16:24 | 2230 | 1.9132 | 781.6039 | 3.7439 | 1501.6104 | 0.6767 | 508.2397
ON | 16:24 | 2235 | 1.6044 | 660.2393 | 2.796 | 1128.5738 | 0.6899 | 515.8392
ON | 16:24 | 2240 | 1.6361 | 672.698 | 3.6089 | 1448.4825 | 0.692 | 517.0482
ON | 16:24 | 2245 | 1.5912 | 655.0514 | 2.2898 | 929.3639 | 0.6931 | 517.6815
ON | 16:24 | 2250 | 1.6596 | 681.934 | 2.9343 | 1183.0004 | 0.692 | 517.0482
ON | 16:24 | 2255 | 1.641 | 674.6238 | 3.0201 | 1216.7662 | 0.6915 | 516.7604
ON | 16:25 | 2260 | 1.6016 | 659.1389 | 3.5657 | 1431.4816 | 0.6871 | 514.2272
ON | 16:25 | 2265 | 1.5196 | 626.9112 | 3.6652 | 1470.6388 | 0.6784 | 509.2184
ON | 16:25 | 2270 | 1.5617 | 643.4573 | 3.9751 | 1592.5969 | 0.6817 | 511.1183
ON | 16:25 | 2275 | 1.5891 | 654.2261 | 2.2882 | 928.7342 | 0.6817 | 511.1183
ON | 16:25 | 2280 | 1.5672 | 645.6189 | 2.9026 | 1170.5252 | 0.6849 | 512.9606
ON | 16:25 | 2285 | 1.6552 | 680.2047 | 2.2379 | 908.9392 | 0.6888 | 515.2059
ON | 16:25 | 2290 | 1.7842 | 730.9043 | 2.2346 | 907.6405 | 0.686 | 513.5939
ON | 16:25 | 2295 | 1.6055 | 660.6716 | 4.0385 | 1617.5472 | 0.6806 | 510.485
ON | 16:25 | 2300 | 1.6333 | 671.5975 | 2.7692 | 1118.027 | 0.6822 | 511.4062
ON | 16:25 | 2305 | 1.6886 | 693.3315 | 3.2732 | 1316.3711 | 0.6806 | 510.485
ON | 16:25 | 2310 | 1.6312 | 670.7722 | 2.8409 | 1146.2438 | 0.6866 | 513.9394
ON | 16:25 | 2315 | 1.6279 | 669.4753 | 2.3221 | 942.0752 | 0.6871 | 514.2272
ON | 16:26 | 2320 | 1.7585 | 720.8037 | 3.0628 | 1233.5703 | 0.6844 | 512.6728
ON | 16:26 | 2325 | 1.6596 | 681.934 | 2.8698 | 1157.6171 | 0.6866 | 513.9394
ON | 16:26 | 2330 | 1.6426 | 675.2527 | 3.1754 | 1277.8829 | 0.697 | 519.9269
ON | 16:26 | 2335 | 1.6711 | 686.4537 | 3.1803 | 1279.8113 | 0.6953 | 518.9481
ON | 16:26 | 2340 | 1.5945 | 656.3484 | 4.5409 | 1815.2619 | 0.6866 | 513.9394
ON | 16:26 | 2345 | 1.6465 | 676.7854 | 5.0099 | 1999.8321 | 0.6833 | 512.0395
ON | 16:26 | 2350 | 1.811 | 741.4372 | 3.0065 | 1211.414 | 0.68 | 510.1396
ON | 16:26 | 2355 | 1.7607 | 721.6683 | 5.011 | 2000.265 | 0.6773 | 508.5851
ON | 16:26 | 2360 | 1.6437 | 675.685 | 5.0099 | 1999.8321 | 0.6817 | 511.1183
ON | 16:26 | 2365 | 1.6519 | 678.9078 | 5.0099 | 1999.8321 | 0.6745 | 506.9731
ON | 16:26 | 2370 | 2.022 | 824.3645 | 3.5537 | 1426.7591 | 0.6784 | 509.2184
ON | 16:26 | 2375 | 1.8061 | 739.5114 | 4.9831 | 1989.2852 | 0.6773 | 508.5851
ON | 16:27 | 2380 | 1.6672 | 684.9209 | 4.9317 | 1969.0573 | 0.6817 | 511.1183
ON | 16:27 | 2385 | 1.6257 | 668.6106 | 3.2148 | 1293.3883 | 0.6811 | 510.7729
ON | 16:27 | 2390 | 1.6016 | 659.1389 | 4.9678 | 1983.2641 | 0.6789 | 509.5063
ON | 16:27 | 2395 | 1.629 | 669.9076 | 4.9295 | 1968.1915 | 0.6691 | 503.8642
OFF | 16:27 | 2400 | 1.6497 | 678.0431 | 4.9044 | 1958.3135 | 0.6756 | 507.6064
OFF | 16:27 | 2405 | 1.5749 | 648.6452 | 4.443 | 1776.7342 | 0.6735 | 506.3974
OFF | 16:27 | 2410 | 1.5371 | 633.789 | 2.6709 | 1079.342 | 0.6729 | 506.052
OFF | 16:27 | 2415 | 1.881 | 768.9486 | 5.0104 | 2000.0287 | 0.6696 | 504.1521
OFF | 16:27 | 2420 | 1.6962 | 696.3185 | 5.0104 | 2000.0287 | 0.6724 | 505.7641
OFF | 16:27 | 2425 | 1.5792 | 650.3352 | 5.011 | 2000.265 | 0.6767 | 508.2397
OFF | 16:27 | 2430 | 1.8504 | 756.9222 | 3.435 | 1380.0459 | 0.6762 | 507.9518
OFF | 16:27 | 2435 | 1.6978 | 696.9474 | 4.3015 | 1721.0482 | 0.6773 | 508.5851
OFF | 16:28 | 2440 | 1.6962 | 696.3185 | 5.0104 | 2000.0287 | 0.6707 | 504.7854
OFF | 16:28 | 2445 | 1.6082 | 661.7327 | 5.0099 | 1999.8321 | 0.6767 | 508.2397
OFF | 16:28 | 2450 | 1.6596 | 681.934 | 5.011 | 2000.265 | 0.6735 | 506.3974
OFF | 16:28 | 2455 | 1.6432 | 675.4885 | 3.4504 | 1386.1065 | 0.6784 | 509.2184
OFF | 16:28 | 2460 | 1.6191 | 666.0167 | 4.4141 | 1765.361 | 0.6756 | 507.6064
OFF | 16:28 | 2465 | 1.5852 | 652.6933 | 4.665 | 1864.1001 | 0.6784 | 509.2184
OFF | 16:28 | 2470 | 1.5333 | 632.2956 | 4.5884 | 1833.9549 | 0.6762 | 507.9518
OFF | 16:28 | 2475 | 1.6547 | 680.0082 | 3.2847 | 1320.8968 | 0.6729 | 506.052
OFF | 16:28 | 2480 | 1.5863 | 653.1256 | 3.364 | 1352.1046 | 0.6718 | 505.4187
OFF | 16:28 | 2485 | 1.5011 | 619.6403 | 2.6288 | 1062.7739 | 0.674 | 506.6853
OFF | 16:28 | 2490 | 1.5043 | 620.898 | 4.3676 | 1747.0613 | 0.6707 | 504.7854
OFF | 16:28 | 2495 | 1.4595 | 603.2907 | 5.0115 | 2000.4617 | 0.6745 | 506.9731
OFF | 16:29 | 2500 | 1.4803 | 611.4655 | 3.6286 | 1456.2352 | 0.6735 | 506.3974
OFF | 16:29 | 2505 | 1.4573 | 602.426 | 2.2959 | 931.7645 | 0.6762 | 507.9518
OFF | 16:29 | 2510 | 1.4185 | 587.1769 | 2.4637 | 997.8005 | 0.6795 | 509.8517
OFF | 16:29 | 2515 | 1.4633 | 604.7842 | 2.4232 | 981.8621 | 0.6817 | 511.1183
OFF | 16:29 | 2520 | 1.4584 | 602.8584 | 2.7643 | 1116.0987 | 0.6866 | 513.9394
OFF | 16:29 | 2525 | 1.4404 | 595.784 | 2.3718 | 961.6342 | 0.6893 | 515.4938
OFF | 16:29 | 2530 | 1.4251 | 589.7708 | 2.6446 | 1068.9918 | 0.6893 | 515.4938
OFF | 16:29 | 2535 | 1.4048 | 581.7925 | 2.7802 | 1122.3559 | 0.6899 | 515.8392
OFF | 16:29 | 2540 | 1.3857 | 574.2858 | 2.0001 | 815.3553 | 0.6893 | 515.4938
OFF | 16:29 | 2545 | 1.4065 | 582.4606 | 1.7317 | 709.7292 | 0.686 | 513.5939
OFF | 16:29 | 2550 | 1.3321 | 553.22 | 2.0827 | 847.8618 | 0.6849 | 512.9606
OFF | 16:29 | 2555 | 1.3649 | 566.111 | 2.004 | 816.8901 | 0.6795 | 509.8517
OFF | 16:30 | 2560 | 1.2928 | 537.7742 | 1.6486 | 677.026 | 0.6751 | 507.3186
OFF | 16:30 | 2565 | 1.2895 | 536.4773 | 1.8777 | 767.186 | 0.6702 | 504.4975
OFF | 16:30 | 2570 | 1.2955 | 538.8354 | 1.8438 | 753.845 | 0.662 | 499.7766
OFF | 16:30 | 2575 | 1.2911 | 537.1061 | 1.8039 | 738.1428 | 0.6636 | 500.6978
OFF | 16:30 | 2580 | 1.2846 | 534.5515 | 1.7509 | 717.2852 | 0.668 | 503.2309
OFF | 16:30 | 2585 | 1.278 | 531.9576 | 1.7006 | 697.4901 | 0.6713 | 505.1308
OFF | 16:30 | 2590 | 1.2939 | 538.2066 | 1.6224 | 666.7153 | 0.6658 | 501.9644
OFF | 16:30 | 2595 | 1.2813 | 533.2545 | 1.5743 | 647.786 | 0.6653 | 501.6765
OFF | 16:30 | 2600 | 1.2698 | 528.7348 | 1.5912 | 654.4368 | 0.6571 | 496.9556
OFF | 16:30 | 2605 | 1.2769 | 531.5253 | 1.5902 | 654.0433 | 0.6489 | 492.2347
OFF | 16:30 | 2610 | 1.2802 | 532.8222 | 1.5923 | 654.8698 | 0.6489 | 492.2347
OFF | 16:30 | 2615 | 1.289 | 536.2808 | 1.5918 | 654.673 | 0.6439 | 489.3561
OFF | 16:31 | 2620 | 1.2409 | 517.3765 | 1.5902 | 654.0433 | 0.6401 | 487.1684
OFF | 16:31 | 2625 | 1.2704 | 528.9706 | 1.477 | 609.4946 | 0.6363 | 484.9807
OFF | 16:31 | 2630 | 1.2988 | 540.1324 | 1.5852 | 652.0756 | 0.6346 | 484.0019
OFF | 16:31 | 2635 | 1.243 | 518.2019 | 1.5016 | 619.1757 | 0.6357 | 484.6352
OFF | 16:31 | 2640 | 1.2737 | 530.2676 | 1.5136 | 623.8981 | 0.6346 | 484.0019
OFF | 16:31 | 2645 | 1.2387 | 516.5119 | 1.3365 | 554.2022 | 0.6303 | 481.5263
OFF | 16:31 | 2650 | 1.213 | 506.4113 | 1.3485 | 558.9247 | 0.6352 | 484.3474
OFF | 16:31 | 2655 | 1.1928 | 498.4723 | 1.4535 | 600.2464 | 0.6303 | 481.5263
OFF | 16:31 | 2660 | 1.1807 | 493.7167 | 1.5503 | 638.3411 | 0.6357 | 484.6352
OFF | 16:31 | 2665 | 1.1731 | 490.7298 | 1.3895 | 575.0598 | 0.6303 | 481.5263
OFF | 16:31 | 2670 | 1.2015 | 501.8916 | 1.3939 | 576.7914 | 0.6363 | 484.9807
OFF | 16:31 | 2675 | 1.1955 | 499.5334 | 1.4814 | 611.2262 | 0.633 | 483.0808
OFF | 16:32 | 2680 | 1.1796 | 493.2844 | 1.412 | 583.9145 | 0.6368 | 485.2685
OFF | 16:32 | 2685 | 1.19 | 497.3718 | 1.4207 | 587.3383 | 0.6341 | 483.7141
OFF | 16:32 | 2690 | 1.1824 | 494.3848 | 1.4327 | 592.0608 | 0.6363 | 484.9807
OFF | 16:32 | 2695 | 1.2015 | 501.8916 | 1.5355 | 632.5167 | 0.6325 | 482.7929
OFF | 16:32 | 2700 | 1.1982 | 500.5946 | 1.5841 | 651.6427 | 0.6286 | 480.5476
OFF | 16:32 | 2705 | 1.1742 | 491.1621 | 1.5869 | 652.7446 | 0.6335 | 483.3686
OFF | 16:32 | 2710 | 1.196 | 499.7299 | 1.5021 | 619.3724 | 0.6357 | 484.6352
OFF | 16:32 | 2715 | 1.1873 | 496.3106 | 1.4896 | 614.4532 | 0.6363 | 484.9807
OFF | 16:32 | 2720 | 1.1731 | 490.7298 | 1.4114 | 583.6783 | 0.6281 | 480.2597
OFF | 16:32 | 2725 | 1.1867 | 496.0748 | 1.3819 | 572.0689 | 0.6297 | 481.1809
OFF | 16:32 | 2730 | 1.2529 | 522.0928 | 1.3879 | 574.4302 | 0.6303 | 481.5263
OFF | 16:32 | 2735 | 1.1835 | 494.8172 | 1.3469 | 558.295 | 0.6286 | 480.5476
OFF | 16:33 | 2740 | 1.1736 | 490.9263 | 1.3797 | 571.2031 | 0.633 | 483.0808
OFF | 16:33 | 2745 | 1.1594 | 485.3454 | 1.4218 | 587.7712 | 0.6275 | 479.9143
OFF | 16:33 | 2750 | 1.1846 | 495.2495 | 1.4923 | 615.5158 | 0.6264 | 479.281
OFF | 16:33 | 2755 | 1.1463 | 480.1968 | 1.541 | 634.6811 | 0.6204 | 475.8267
OFF | 16:33 | 2760 | 1.1578 | 484.7165 | 1.4398 | 594.8549 | 0.6215 | 476.46
OFF | 16:33 | 2765 | 1.1463 | 480.1968 | 1.418 | 586.2757 | 0.6204 | 475.8267
OFF | 16:33 | 2770 | 1.143 | 478.8999 | 1.348 | 558.7279 | 0.6188 | 474.9055
OFF | 16:33 | 2775 | 1.1539 | 483.1838 | 1.2737 | 529.4879 | 0.6237 | 477.7266
OFF | 16:33 | 2780 | 1.1479 | 480.8257 | 1.3267 | 550.3455 | 0.6226 | 477.0933
OFF | 16:33 | 2785 | 1.1386 | 477.1706 | 1.3081 | 543.0257 | 0.6188 | 474.9055
OFF | 16:33 | 2790 | 1.1266 | 472.4543 | 1.3223 | 548.6139 | 0.6155 | 473.0056
OFF | 16:33 | 2795 | 1.1195 | 469.6639 | 1.4032 | 580.4513 | 0.6193 | 475.1934
OFF | 16:34 | 2800 | 1.1217 | 470.5286 | 1.5852 | 652.0756 | 0.6155 | 473.0056
OFF | 16:34 | 2805 | 1.119 | 469.4674 | 1.412 | 583.9145 | 0.6139 | 472.0845
OFF | 16:34 | 2810 | 1.125 | 471.8255 | 1.3272 | 550.5423 | 0.61 | 469.8392
OFF | 16:34 | 2815 | 1.1594 | 485.3454 | 1.4191 | 586.7086 | 0.6128 | 471.4512
OFF | 16:34 | 2820 | 1.1365 | 476.3452 | 1.4715 | 607.3301 | 0.615 | 472.7178
OFF | 16:34 | 2825 | 1.1392 | 477.4064 | 1.4803 | 610.7932 | 0.6133 | 471.7391
OFF | 16:34 | 2830 | 1.1321 | 474.6159 | 1.3589 | 563.0175 | 0.6106 | 470.1846
OFF | 16:34 | 2835 | 1.1217 | 470.5286 | 1.2223 | 509.26 | 0.615 | 472.7178
OFF | 16:34 | 2840 | 1.1228 | 470.9609 | 1.2562 | 522.6009 | 0.6171 | 473.9268
OFF | 16:34 | 2845 | 1.1168 | 468.6027 | 1.424 | 588.637 | 0.6155 | 473.0056
OFF | 16:34 | 2850 | 1.1272 | 472.6901 | 2.4139 | 978.2022 | 0.6128 | 471.4512
OFF | 16:34 | 2855 | 1.1315 | 474.3801 | 2.4762 | 1002.7198 | 0.6111 | 470.4725
OFF | 16:35 | 2860 | 1.119 | 469.4674 | 1.7235 | 706.5022 | 0.6018 | 465.1183
OFF | 16:35 | 2865 | 1.1408 | 478.0352 | 1.2851 | 533.9742 | 0.6089 | 469.2059
OFF | 16:35 | 2870 | 1.1299 | 473.7513 | 1.301 | 540.2315 | 0.6089 | 469.2059
OFF | 16:35 | 2875 | 1.1375 | 476.7383 | 1.3704 | 567.5432 | 0.6122 | 471.1058
OFF | 16:35 | 2880 | 1.1343 | 475.4806 | 1.4448 | 596.8226 | 0.6128 | 471.4512
OFF | 16:35 | 2885 | 1.1293 | 473.5155 | 1.6842 | 691.0361 | 0.6155 | 473.0056
OFF | 16:35 | 2890 | 1.1211 | 470.2927 | 2.5572 | 1034.5965 | 0.6199 | 475.5388
OFF | 16:35 | 2895 | 1.1457 | 479.961 | 2.72 | 1098.6648 | 0.6221 | 476.8054
OFF | 16:35 | 2900 | 1.131 | 474.1836 | 2.0783 | 846.1302 | 0.6177 | 474.2722
OFF | 16:35 | 2905 | 1.1277 | 472.8866 | 2.2937 | 930.8987 | 0.6128 | 471.4512
OFF | 16:35 | 2910 | 1.1184 | 469.2316 | 1.7279 | 708.2338 | 0.6171 | 473.9268
OFF | 16:35 | 2915 | 1.1567 | 484.2842 | 1.4726 | 607.763 | 0.6111 | 470.4725
OFF | 16:36 | 2920 | 1.1977 | 500.3981 | 1.3841 | 572.9347 | 0.6111 | 470.4725
OFF | 16:36 | 2925 | 1.1425 | 478.7034 | 1.3584 | 562.8207 | 0.6133 | 471.7391
OFF | 16:36 | 2930 | 1.1113 | 466.4411 | 1.3414 | 556.1306 | 0.6117 | 470.8179
OFF | 16:36 | 2935 | 1.1108 | 466.2446 | 1.3207 | 547.9843 | 0.6057 | 467.3636
OFF | 16:36 | 2940 | 1.1288 | 473.319 | 1.3147 | 545.623 | 0.6079 | 468.6302
OFF | 16:36 | 2945 | 1.119 | 469.4674 | 1.3726 | 568.409 | 0.6024 | 465.4637
OFF | 16:36 | 2950 | 1.119 | 469.4674 | 1.3256 | 549.9126 | 0.6068 | 467.9969
OFF | 16:36 | 2955 | 1.1086 | 465.38 | 1.272 | 528.8189 | 0.6084 | 468.918
OFF | 16:36 | 2960 | 1.1009 | 462.3537 | 1.2704 | 528.1892 | 0.6046 | 466.7303
OFF | 16:36 | 2965 | 1.0987 | 461.4891 | 1.2064 | 503.0027 | 0.6062 | 467.6515
OFF | 16:36 | 2970 | 1.0916 | 458.6986 | 1.1698 | 488.5991 | 0.6062 | 467.6515
OFF | 16:36 | 2975 | 1.0856 | 456.3405 | 1.1621 | 485.5688 | 0.6068 | 467.9969
OFF | 16:37 | 2980 | 1.0883 | 457.4017 | 1.1796 | 492.4558 | 0.6062 | 467.6515
OFF | 16:37 | 2985 | 1.0845 | 455.9082 | 1.1736 | 490.0945 | 0.598 | 462.9306
OFF | 16:37 | 2990 | 1.0812 | 454.6112 | 1.1682 | 487.9694 | 0.604 | 466.3849
OFF | 16:37 | 2995 | 1.0807 | 454.4147 | 1.1397 | 476.7536 | 0.6013 | 464.8304
OFF | 16:37 | 3000 | 1.0791 | 453.7859 | 1.1452 | 478.918 | 0.6095 | 469.5513
OFF | 16:37 | 3005 | 1.0747 | 452.0566 | 1.1365 | 475.4942 | 0.6084 | 468.918
OFF | 16:37 | 3010 | 1.0725 | 451.1919 | 1.137 | 475.691 | 0.6095 | 469.5513
OFF | 16:37 | 3015 | 1.0709 | 450.5631 | 1.1315 | 473.5265 | 0.6089 | 469.2059
OFF | 16:37 | 3020 | 1.0692 | 449.895 | 1.1277 | 472.031 | 0.6062 | 467.6515
OFF | 16:37 | 3025 | 1.0676 | 449.2662 | 1.1381 | 476.1239 | 0.6095 | 469.5513
OFF | 16:37 | 3030 | 1.0741 | 451.8208 | 1.1545 | 482.5779 | 0.6084 | 468.918
OFF | 16:37 | 3035 | 1.0714 | 450.7596 | 1.1146 | 466.8757 | 0.6084 | 468.918
OFF | 16:38 | 3040 | 1.0654 | 448.4015 | 1.1206 | 469.2369 | 0.61 | 469.8392
OFF | 16:38 | 3045 | 1.0676 | 449.2662 | 1.1053 | 463.2157 | 0.6111 | 470.4725
OFF | 16:38 | 3050 | 1.0676 | 449.2662 | 1.1037 | 462.5861 | 0.6073 | 468.2847
OFF | 16:38 | 3055 | 1.0616 | 446.908 | 1.0987 | 460.6184 | 0.6057 | 467.3636
OFF | 16:38 | 3060 | 1.0539 | 443.8818 | 1.102 | 461.9171 | 0.6073 | 468.2847
OFF | 16:38 | 3065 | 1.0528 | 443.4495 | 1.0944 | 458.9262 | 0.6062 | 467.6515
OFF | 16:38 | 3070 | 1.0506 | 442.5848 | 1.1015 | 461.7203 | 0.6068 | 467.9969
OFF | 16:38 | 3075 | 1.0506 | 442.5848 | 1.1124 | 466.0099 | 0.6057 | 467.3636
OFF | 16:38 | 3080 | 1.0463 | 440.8948 | 1.1206 | 469.2369 | 0.604 | 466.3849
OFF | 16:38 | 3085 | 1.0457 | 440.659 | 1.0834 | 454.5972 | 0.6089 | 469.2059
OFF | 16:38 | 3090 | 1.0463 | 440.8948 | 1.0763 | 451.8031 | 0.6024 | 465.4637
OFF | 16:38 | 3095 | 1.0463 | 440.8948 | 1.0933 | 458.4933 | 0.604 | 466.3849
OFF | 16:39 | 3100 | 1.0457 | 440.659 | 1.0889 | 456.7617 | 0.6002 | 464.1971
OFF | 16:39 | 3105 | 1.0419 | 439.1656 | 1.0791 | 452.905 | 0.6024 | 465.4637
OFF | 16:39 | 3110 | 1.043 | 439.5979 | 1.0725 | 450.3076 | 0.6029 | 465.7516
OFF | 16:39 | 3115 | 1.0424 | 439.362 | 1.0709 | 449.678 | 0.6046 | 466.7303
OFF | 16:39 | 3120 | 1.049 | 441.956 | 1.0719 | 450.0715 | 0.6046 | 466.7303
OFF | 16:39 | 3125 | 1.043 | 439.5979 | 1.0692 | 449.009 | 0.5975 | 462.6427
OFF | 16:39 | 3130 | 1.0435 | 439.7944 | 1.0883 | 456.5256 | 0.5986 | 463.276
OFF | 16:39 | 3135 | 1.043 | 439.5979 | 1.0851 | 455.2663 | 0.6002 | 464.1971
OFF | 16:39 | 3140 | 1.043 | 439.5979 | 1.0807 | 453.5347 | 0.598 | 462.9306
OFF | 16:39 | 3145 | 1.0392 | 438.1044 | 1.0752 | 451.3702 | 0.598 | 462.9306
OFF | 16:39 | 3150 | 1.0392 | 438.1044 | 1.0851 | 455.2663 | 0.6029 | 465.7516
OFF | 16:39 | 3155 | 1.0397 | 438.3009 | 1.0676 | 448.3793 | 0.6002 | 464.1971
OFF | 16:40 | 3160 | 1.0364 | 437.0039 | 1.0643 | 447.0806 | 0.5969 | 462.2973
OFF | 16:40 | 3165 | 1.0375 | 437.4363 | 1.0632 | 446.6477 | 0.6002 | 464.1971
OFF | 16:40 | 3170 | 1.0348 | 436.3751 | 1.0539 | 442.9878 | 0.6024 | 465.4637
OFF | 16:40 | 3175 | 1.0337 | 435.9428 | 1.0523 | 442.3581 | 0.5953 | 461.3761
OFF | 16:40 | 3180 | 1.0288 | 434.017 | 1.0539 | 442.9878 | 0.5958 | 461.664
OFF | 16:40 | 3185 | 1.0331 | 435.707 | 1.0594 | 445.1523 | 0.5969 | 462.2973
OFF | 16:40 | 3190 | 1.032 | 435.2746 | 1.0561 | 443.8536 | 0.5969 | 462.2973
OFF | 16:40 | 3195 | 1.031 | 434.8816 | 1.0517 | 442.122 | 0.5898 | 458.2097
OFF | 16:40 | 3200 | 1.031 | 434.8816 | 1.0484 | 440.8234 | 0.5991 | 463.5638
OFF | 16:40 | 3205 | 1.0293 | 434.2135 | 1.0463 | 439.9969 | 0.5931 | 460.1095
OFF | 16:40 | 3210 | 1.0337 | 435.9428 | 1.049 | 441.0595 | 0.5882 | 457.2885
OFF | 16:40 | 3215 | 1.0299 | 434.4493 | 1.0506 | 441.6891 | 0.5926 | 459.8217
OFF | 16:41 | 3220 | 1.0288 | 434.017 | 1.0517 | 442.122 | 0.592 | 459.4762
OFF | 16:41 | 3225 | 1.0304 | 434.6458 | 1.0539 | 442.9878 | 0.5942 | 460.7428
OFF | 16:41 | 3230 | 1.0299 | 434.4493 | 1.0555 | 443.6175 | 0.5975 | 462.6427
OFF | 16:41 | 3235 | 1.0293 | 434.2135 | 1.0577 | 444.4833 | 0.5926 | 459.8217
OFF | 16:41 | 3240 | 1.0255 | 432.72 | 1.0528 | 442.5549 | 0.5887 | 457.5764
OFF | 16:41 | 3245 | 1.0271 | 433.3488 | 1.0506 | 441.6891 | 0.5936 | 460.3974
OFF | 16:41 | 3250 | 1.0271 | 433.3488 | 1.0506 | 441.6891 | 0.5936 | 460.3974
OFF | 16:41 | 3255 | 1.032 | 435.2746 | 1.0484 | 440.8234 | 0.5926 | 459.8217
OFF | 16:41 | 3260 | 1.032 | 435.2746 | 1.0473 | 440.3904 | 0.5898 | 458.2097
OFF | 16:41 | 3265 | 1.0266 | 433.1523 | 1.0463 | 439.9969 | 0.5931 | 460.1095
OFF | 16:41 | 3270 | 1.031 | 434.8816 | 1.0473 | 440.3904 | 0.5926 | 459.8217
OFF | 16:41 | 3275 | 1.0271 | 433.3488 | 1.0457 | 439.7608 | 0.5915 | 459.1884
OFF | 16:42 | 3280 | 1.0255 | 432.72 | 1.043 | 438.6982 | 0.5904 | 458.5551
OFF | 16:42 | 3285 | 1.0266 | 433.1523 | 1.0452 | 439.564 | 0.5838 | 454.7553
OFF | 16:42 | 3290 | 1.0266 | 433.1523 | 1.0441 | 439.1311 | 0.5871 | 456.6552
OFF | 16:42 | 3295 | 1.0222 | 431.423 | 1.043 | 438.6982 | 0.5871 | 456.6552
OFF | 16:42 | 3300 | 1.0249 | 432.4842 | 1.0457 | 439.7608 | 0.5947 | 461.0307
OFF | 16:42 | 3305 | 1.0266 | 433.1523 | 1.0424 | 438.4621 | 0.5997 | 463.9093
OFF | 16:42 | 3310 | 1.0249 | 432.4842 | 1.0424 | 438.4621 | 0.6018 | 465.1183
OFF | 16:42 | 3315 | 1.0255 | 432.72 | 1.0392 | 437.2027 | 0.6018 | 465.1183
OFF | 16:42 | 3320 | 1.0238 | 432.0519 | 1.0413 | 438.0292 | 0.6008 | 464.5426
OFF | 16:42 | 3325 | 1.0228 | 431.6588 | 1.0402 | 437.5963 | 0.6029 | 465.7516
OFF | 16:42 | 3330 | 1.0233 | 431.8554 | 1.0397 | 437.3995 | 0.6024 | 465.4637
OFF | 16:42 | 3335 | 1.0217 | 431.2265 | 1.0408 | 437.8324 | 0.6013 | 464.8304
OFF | 16:43 | 3340 | 1.0222 | 431.423 | 1.0397 | 437.3995 | 0.6029 | 465.7516
OFF | 16:43 | 3345 | 1.0238 | 432.0519 | 1.0381 | 436.7699 | 0.6046 | 466.7303
OFF | 16:43 | 3350 | 1.0222 | 431.423 | 1.0392 | 437.2027 | 0.6018 | 465.1183
OFF | 16:43 | 3355 | 1.0249 | 432.4842 | 1.0364 | 436.1008 | 0.5986 | 463.276
OFF | 16:43 | 3360 | 1.0238 | 432.0519 | 1.0386 | 436.9666 | 0.5909 | 458.8429
OFF | 16:43 | 3365 | 1.0233 | 431.8554 | 1.0381 | 436.7699 | 0.592 | 459.4762
OFF | 16:43 | 3370 | 1.0217 | 431.2265 | 1.0386 | 436.9666 | 0.5986 | 463.276
OFF | 16:43 | 3375 | 1.0222 | 431.423 | 1.0386 | 436.9666 | 0.5931 | 460.1095
OFF | 16:43 | 3380 | 1.02 | 430.5584 | 1.0364 | 436.1008 | 0.5882 | 457.2885
OFF | 16:43 | 3385 | 1.0222 | 431.423 | 1.0402 | 437.5963 | 0.5871 | 456.6552
OFF | 16:43 | 3390 | 1.0211 | 430.9907 | 1.0381 | 436.7699 | 0.5789 | 451.9343
OFF | 16:43 | 3395 | 1.0206 | 430.7942 | 1.0392 | 437.2027 | 0.5833 | 454.4675
OFF | 16:44 | 3400 | 1.0195 | 430.3619 | 1.037 | 436.337 | 0.5827 | 454.122
OFF | 16:44 | 3405 | 1.0189 | 430.1261 | 1.0375 | 436.5338 | 0.5854 | 455.6765
OFF | 16:44 | 3410 | 1.0178 | 429.6937 | 1.0375 | 436.5338 | 0.5805 | 452.8555
OFF | 16:44 | 3415 | 1.0189 | 430.1261 | 1.0353 | 435.668 | 0.586 | 456.0219
OFF | 16:44 | 3420 | 1.0189 | 430.1261 | 1.0353 | 435.668 | 0.5876 | 456.9431
OFF | 16:44 | 3425 | 1.0184 | 429.9295 | 1.0353 | 435.668 | 0.5822 | 453.8342
OFF | 16:44 | 3430 | 1.0206 | 430.7942 | 1.0331 | 434.8022 | 0.592 | 459.4762
OFF | 16:44 | 3435 | 1.0195 | 430.3619 | 1.037 | 436.337 | 0.5871 | 456.6552
OFF | 16:44 | 3440 | 1.0173 | 429.4972 | 1.0342 | 435.235 | 0.5915 | 459.1884
OFF | 16:44 | 3445 | 1.0195 | 430.3619 | 1.0353 | 435.668 | 0.5876 | 456.9431
OFF | 16:44 | 3450 | 1.0217 | 431.2265 | 1.0353 | 435.668 | 0.5882 | 457.2885
OFF | 16:44 | 3455 | 1.0206 | 430.7942 | 1.0326 | 434.6054 | 0.5882 | 457.2885
OFF | 16:45 | 3460 | 1.0189 | 430.1261 | 1.0315 | 434.1725 | 0.586 | 456.0219
OFF | 16:45 | 3465 | 1.0206 | 430.7942 | 1.0304 | 433.7396 | 0.5854 | 455.6765
OFF | 16:45 | 3470 | 1.0211 | 430.9907 | 1.0299 | 433.5428 | 0.5893 | 457.9218
OFF | 16:45 | 3475 | 1.0184 | 429.9295 | 1.0299 | 433.5428 | 0.5882 | 457.2885
OFF | 16:45 | 3480 | 1.0195 | 430.3619 | 1.0304 | 433.7396 | 0.5926 | 459.8217
OFF | 16:45 | 3485 | 1.02 | 430.5584 | 1.0304 | 433.7396 | 0.5936 | 460.3974
OFF | 16:45 | 3490 | 1.0189 | 430.1261 | 1.0288 | 433.11 | 0.5915 | 459.1884
OFF | 16:45 | 3495 | 1.0189 | 430.1261 | 1.0271 | 432.4409 | 0.5882 | 457.2885
OFF | 16:45 | 3500 | 1.0195 | 430.3619 | 1.0282 | 432.8738 | 0.5953 | 461.3761
OFF | 16:45 | 3505 | 1.0167 | 429.2614 | 1.0315 | 434.1725 | 0.5915 | 459.1884
OFF | 16:45 | 3510 | 1.0178 | 429.6937 | 1.0315 | 434.1725 | 0.5991 | 463.5638
OFF | 16:45 | 3515 | 1.0184 | 429.9295 | 1.0315 | 434.1725 | 0.6002 | 464.1971
OFF | 16:46 | 3520 | 1.0189 | 430.1261 | 1.032 | 434.3693 | 0.5947 | 461.0307
OFF | 16:46 | 3525 | 1.0173 | 429.4972 | 1.0326 | 434.6054 | 0.5898 | 458.2097
OFF | 16:46 | 3530 | 1.0189 | 430.1261 | 1.032 | 434.3693 | 0.5882 | 457.2885
OFF | 16:46 | 3535 | 1.0178 | 429.6937 | 1.0331 | 434.8022 | 0.5844 | 455.1008
OFF | 16:46 | 3540 | 1.0184 | 429.9295 | 1.0331 | 434.8022 | 0.5876 | 456.9431
OFF | 16:46 | 3545 | 1.0173 | 429.4972 | 1.031 | 433.9757 | 0.5964 | 462.0094
OFF | 16:46 | 3550 | 1.0167 | 429.2614 | 1.0299 | 433.5428 | 0.5975 | 462.6427
OFF | 16:46 | 3555 | 1.0124 | 427.5715 | 1.0315 | 434.1725 | 0.5904 | 458.5551
OFF | 16:46 | 3560 | 1.0184 | 429.9295 | 1.0304 | 433.7396 | 0.5958 | 461.664
OFF | 16:46 | 3565 | 1.0195 | 430.3619 | 1.0304 | 433.7396 | 0.5964 | 462.0094
OFF | 16:46 | 3570 | 1.0189 | 430.1261 | 1.031 | 433.9757 | 0.5975 | 462.6427
OFF | 16:46 | 3575 | 1.0184 | 429.9295 | 1.031 | 433.9757 | 0.5936 | 460.3974
OFF | 16:47 | 3580 | 1.0195 | 430.3619 | 1.0277 | 432.677 | 0.5915 | 459.1884
OFF | 16:47 | 3585 | 1.0162 | 429.0649 | 1.0277 | 432.677 | 0.5915 | 459.1884
OFF | 16:47 | 3590 | 1.0189 | 430.1261 | 1.0326 | 434.6054 | 0.5844 | 455.1008
OFF | 16:47 | 3595 | 1.0184 | 429.9295 | 1.0271 | 432.4409 | 0.5887 | 457.5764

## CO2 Concentration Averages
Gas Off (pre-test)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 430.4608 | 433.8419 | 461.26
Gas On (steady-state)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 688.6877 | 1736.2576 | 506.6231
Standard Deviation: | 48.0485 | 359.9636 | 6.9521
Standard Deviation of Average: | 10.744 | 80.4903 | 1.5545
95% Confidence Interval | 21.0582 | 157.761 | 3.0469
Percent Increase
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
| 59.9885 | 300.2051 | 9.8346

## Rotometer Readings
(Reading 1)
Temperature (°C) | 28.6
Temperature (k) | 301.75
P_atm (hPa) | 973
P_atm (psi) | 14.1122
dV | 0.29
P_flow (psi) | 0.058
Reading | 79.5
Corresponding Flowrate (table) (lpm) | 5.3575
Actual Flowrate (lpm) | 5.1934
(Reading 2)
Temperature (°C) | 28.6
Temperature (k) | 301.75
P_atm (hPa) | 973
P_atm (psi) | 14.1122
dV | 0.29
P_flow (psi) | 0.058
Reading | 79.5
Corresponding Flowrate (table) (lpm) | 5.3575
Actual Flowrate (lpm) | 5.1934
(Reading 3)
Temperature (°C) | 28.6
Temperature (k) | 301.75
P_atm (hPa) | 973
P_atm (psi) | 14.1122
dV | 0.29
P_flow (psi) | 0.058
Reading | 79.5
Corresponding Flowrate (table) (lpm) | 5.3575
Actual Flowrate (lpm) | 5.1934