## Data & Charts
%INJECTION STATUS | TIME | TIME (s) | A-1 CO2 conc (DCV) | A-1 CO2 conc (PPM) | A-2 CO2 conc (DCV) | A-2 CO2 conc (PPM) | A-4 CO2 conc (DCV) | A-4 CO2 conc (PPM) | Helium Injection (computer) (lpm) | Sample Time (s) | Measured CO2 Injection (lpm) | Measured CO2 Injection (CFM)
OFF | 14:28 | 0 | 1.0096 | 426.471 | 1.0249 | 431.5751 | 0.6024 | 465.4637 | 3.07 | 600 | 5.1643 | 0.18238
OFF | 14:28 | 5 | 1.0167 | 429.2614 | 1.0249 | 431.5751 | 0.5997 | 463.9093 |  | 1500 | 5.1643 | 0.18238
OFF | 14:28 | 10 | 1.0167 | 429.2614 | 1.0249 | 431.5751 | 0.5997 | 463.9093 |  | 2400 | 5.1643 | 0.18238
OFF | 14:28 | 15 | 1.0162 | 429.0649 | 1.0255 | 431.8113 | 0.5953 | 461.3761
OFF | 14:28 | 20 | 1.0151 | 428.6326 | 1.0249 | 431.5751 | 0.5958 | 461.664
OFF | 14:29 | 25 | 1.0178 | 429.6937 | 1.0238 | 431.1423 | 0.5953 | 461.3761
OFF | 14:29 | 30 | 1.0156 | 428.8291 | 1.0238 | 431.1423 | 0.5931 | 460.1095
OFF | 14:29 | 35 | 1.0178 | 429.6937 | 1.0233 | 430.9455 | 0.5953 | 461.3761
OFF | 14:29 | 40 | 1.0173 | 429.4972 | 1.0277 | 432.677 | 0.5947 | 461.0307
OFF | 14:29 | 45 | 1.0222 | 431.423 | 1.0266 | 432.2442 | 0.5931 | 460.1095
OFF | 14:29 | 50 | 1.0162 | 429.0649 | 1.0255 | 431.8113 | 0.5865 | 456.3098
OFF | 14:29 | 55 | 1.0113 | 427.1391 | 1.0266 | 432.2442 | 0.5854 | 455.6765
OFF | 14:29 | 60 | 1.0162 | 429.0649 | 1.0249 | 431.5751 | 0.5789 | 451.9343
OFF | 14:29 | 65 | 1.0162 | 429.0649 | 1.0266 | 432.2442 | 0.5865 | 456.3098
OFF | 14:29 | 70 | 1.0162 | 429.0649 | 1.0255 | 431.8113 | 0.5854 | 455.6765
OFF | 14:29 | 75 | 1.0118 | 427.3357 | 1.0271 | 432.4409 | 0.5887 | 457.5764
OFF | 14:29 | 80 | 1.0085 | 426.0387 | 1.0255 | 431.8113 | 0.5926 | 459.8217
OFF | 14:30 | 85 | 1.0156 | 428.8291 | 1.0244 | 431.3784 | 0.5838 | 454.7553
OFF | 14:30 | 90 | 1.0167 | 429.2614 | 1.0238 | 431.1423 | 0.5887 | 457.5764
OFF | 14:30 | 95 | 1.014 | 428.2003 | 1.0244 | 431.3784 | 0.5904 | 458.5551
OFF | 14:30 | 100 | 1.0102 | 426.7068 | 1.0249 | 431.5751 | 0.5947 | 461.0307
OFF | 14:30 | 105 | 1.0146 | 428.4361 | 1.026 | 432.008 | 0.5953 | 461.3761
OFF | 14:30 | 110 | 1.0146 | 428.4361 | 1.0255 | 431.8113 | 0.5909 | 458.8429
OFF | 14:30 | 115 | 1.0053 | 424.781 | 1.0255 | 431.8113 | 0.5876 | 456.9431
OFF | 14:30 | 120 | 1.0156 | 428.8291 | 1.0282 | 432.8738 | 0.5898 | 458.2097
OFF | 14:30 | 125 | 1.0178 | 429.6937 | 1.0238 | 431.1423 | 0.5876 | 456.9431
OFF | 14:30 | 130 | 1.0162 | 429.0649 | 1.0255 | 431.8113 | 0.5947 | 461.0307
OFF | 14:30 | 135 | 1.0178 | 429.6937 | 1.0271 | 432.4409 | 0.5909 | 458.8429
OFF | 14:30 | 140 | 1.0135 | 428.0038 | 1.026 | 432.008 | 0.5936 | 460.3974
OFF | 14:31 | 145 | 1.0189 | 430.1261 | 1.0271 | 432.4409 | 0.592 | 459.4762
OFF | 14:31 | 150 | 1.0135 | 428.0038 | 1.0255 | 431.8113 | 0.5865 | 456.3098
OFF | 14:31 | 155 | 1.0146 | 428.4361 | 1.026 | 432.008 | 0.5926 | 459.8217
OFF | 14:31 | 160 | 1.0058 | 424.9775 | 1.0266 | 432.2442 | 0.5904 | 458.5551
OFF | 14:31 | 165 | 1.0074 | 425.6064 | 1.0266 | 432.2442 | 0.5909 | 458.8429
OFF | 14:31 | 170 | 1.0178 | 429.6937 | 1.0282 | 432.8738 | 0.5844 | 455.1008
OFF | 14:31 | 175 | 1.0113 | 427.1391 | 1.0271 | 432.4409 | 0.5909 | 458.8429
OFF | 14:31 | 180 | 1.0124 | 427.5715 | 1.0282 | 432.8738 | 0.5926 | 459.8217
OFF | 14:31 | 185 | 1.014 | 428.2003 | 1.0282 | 432.8738 | 0.5942 | 460.7428
OFF | 14:31 | 190 | 1.0129 | 427.768 | 1.026 | 432.008 | 0.5936 | 460.3974
OFF | 14:31 | 195 | 1.0151 | 428.6326 | 1.0249 | 431.5751 | 0.5969 | 462.2973
OFF | 14:31 | 200 | 1.0151 | 428.6326 | 1.0249 | 431.5751 | 0.5898 | 458.2097
OFF | 14:32 | 205 | 1.0107 | 426.9033 | 1.0249 | 431.5751 | 0.5986 | 463.276
OFF | 14:32 | 210 | 1.0162 | 429.0649 | 1.0277 | 432.677 | 0.5915 | 459.1884
OFF | 14:32 | 215 | 1.0118 | 427.3357 | 1.0271 | 432.4409 | 0.5926 | 459.8217
OFF | 14:32 | 220 | 1.0146 | 428.4361 | 1.0238 | 431.1423 | 0.5898 | 458.2097
OFF | 14:32 | 225 | 1.0058 | 424.9775 | 1.026 | 432.008 | 0.592 | 459.4762
OFF | 14:32 | 230 | 1.0162 | 429.0649 | 1.0277 | 432.677 | 0.5931 | 460.1095
OFF | 14:32 | 235 | 1.0173 | 429.4972 | 1.0271 | 432.4409 | 0.5871 | 456.6552
OFF | 14:32 | 240 | 1.0146 | 428.4361 | 1.026 | 432.008 | 0.5893 | 457.9218
OFF | 14:32 | 245 | 1.0178 | 429.6937 | 1.0249 | 431.5751 | 0.5936 | 460.3974
OFF | 14:32 | 250 | 1.0151 | 428.6326 | 1.0255 | 431.8113 | 0.5953 | 461.3761
OFF | 14:32 | 255 | 1.0151 | 428.6326 | 1.0255 | 431.8113 | 0.5936 | 460.3974
OFF | 14:32 | 260 | 1.0156 | 428.8291 | 1.0277 | 432.677 | 0.5915 | 459.1884
OFF | 14:33 | 265 | 1.0189 | 430.1261 | 1.0271 | 432.4409 | 0.5991 | 463.5638
OFF | 14:33 | 270 | 1.0189 | 430.1261 | 1.0266 | 432.2442 | 0.5915 | 459.1884
OFF | 14:33 | 275 | 1.0184 | 429.9295 | 1.0271 | 432.4409 | 0.5893 | 457.9218
OFF | 14:33 | 280 | 1.0162 | 429.0649 | 1.0282 | 432.8738 | 0.5849 | 455.3886
OFF | 14:33 | 285 | 1.0113 | 427.1391 | 1.0266 | 432.2442 | 0.5882 | 457.2885
OFF | 14:33 | 290 | 1.0156 | 428.8291 | 1.0271 | 432.4409 | 0.5898 | 458.2097
OFF | 14:33 | 295 | 1.0156 | 428.8291 | 1.0238 | 431.1423 | 0.5942 | 460.7428
OFF | 14:33 | 300 | 1.0217 | 431.2265 | 1.0266 | 432.2442 | 0.5904 | 458.5551
OFF | 14:33 | 305 | 1.0195 | 430.3619 | 1.0271 | 432.4409 | 0.5909 | 458.8429
OFF | 14:33 | 310 | 1.0173 | 429.4972 | 1.0255 | 431.8113 | 0.5898 | 458.2097
OFF | 14:33 | 315 | 1.0151 | 428.6326 | 1.0266 | 432.2442 | 0.5931 | 460.1095
OFF | 14:33 | 320 | 1.0173 | 429.4972 | 1.0244 | 431.3784 | 0.5947 | 461.0307
OFF | 14:34 | 325 | 1.0206 | 430.7942 | 1.0282 | 432.8738 | 0.5931 | 460.1095
OFF | 14:34 | 330 | 1.02 | 430.5584 | 1.0266 | 432.2442 | 0.5936 | 460.3974
OFF | 14:34 | 335 | 1.0151 | 428.6326 | 1.0255 | 431.8113 | 0.5942 | 460.7428
OFF | 14:34 | 340 | 1.014 | 428.2003 | 1.0271 | 432.4409 | 0.5909 | 458.8429
OFF | 14:34 | 345 | 1.0162 | 429.0649 | 1.0271 | 432.4409 | 0.5898 | 458.2097
OFF | 14:34 | 350 | 1.0167 | 429.2614 | 1.0271 | 432.4409 | 0.5893 | 457.9218
OFF | 14:34 | 355 | 1.0151 | 428.6326 | 1.0255 | 431.8113 | 0.5833 | 454.4675
OFF | 14:34 | 360 | 1.0156 | 428.8291 | 1.0255 | 431.8113 | 0.58 | 452.5676
OFF | 14:34 | 365 | 1.0206 | 430.7942 | 1.0266 | 432.2442 | 0.5876 | 456.9431
OFF | 14:34 | 370 | 1.0189 | 430.1261 | 1.0271 | 432.4409 | 0.5876 | 456.9431
OFF | 14:34 | 375 | 1.02 | 430.5584 | 1.0255 | 431.8113 | 0.586 | 456.0219
OFF | 14:34 | 380 | 1.0206 | 430.7942 | 1.026 | 432.008 | 0.5865 | 456.3098
OFF | 14:35 | 385 | 1.0189 | 430.1261 | 1.0271 | 432.4409 | 0.5871 | 456.6552
OFF | 14:35 | 390 | 1.0184 | 429.9295 | 1.0271 | 432.4409 | 0.5898 | 458.2097
OFF | 14:35 | 395 | 1.0178 | 429.6937 | 1.0277 | 432.677 | 0.5926 | 459.8217
OFF | 14:35 | 400 | 1.0184 | 429.9295 | 1.0282 | 432.8738 | 0.5975 | 462.6427
OFF | 14:35 | 405 | 1.0118 | 427.3357 | 1.0249 | 431.5751 | 0.5915 | 459.1884
OFF | 14:35 | 410 | 1.0178 | 429.6937 | 1.0271 | 432.4409 | 0.5898 | 458.2097
OFF | 14:35 | 415 | 1.0162 | 429.0649 | 1.0266 | 432.2442 | 0.5882 | 457.2885
OFF | 14:35 | 420 | 1.0156 | 428.8291 | 1.0266 | 432.2442 | 0.5865 | 456.3098
OFF | 14:35 | 425 | 1.0184 | 429.9295 | 1.0288 | 433.11 | 0.5822 | 453.8342
OFF | 14:35 | 430 | 1.0217 | 431.2265 | 1.0277 | 432.677 | 0.5882 | 457.2885
OFF | 14:35 | 435 | 1.0151 | 428.6326 | 1.0282 | 432.8738 | 0.5876 | 456.9431
OFF | 14:35 | 440 | 1.0156 | 428.8291 | 1.0288 | 433.11 | 0.5876 | 456.9431
OFF | 14:36 | 445 | 1.0173 | 429.4972 | 1.0282 | 432.8738 | 0.592 | 459.4762
OFF | 14:36 | 450 | 1.02 | 430.5584 | 1.0277 | 432.677 | 0.5909 | 458.8429
OFF | 14:36 | 455 | 1.0184 | 429.9295 | 1.0271 | 432.4409 | 0.5849 | 455.3886
OFF | 14:36 | 460 | 1.0189 | 430.1261 | 1.0271 | 432.4409 | 0.5931 | 460.1095
OFF | 14:36 | 465 | 1.0189 | 430.1261 | 1.0277 | 432.677 | 0.5882 | 457.2885
OFF | 14:36 | 470 | 1.0211 | 430.9907 | 1.0266 | 432.2442 | 0.5931 | 460.1095
OFF | 14:36 | 475 | 1.0167 | 429.2614 | 1.0271 | 432.4409 | 0.5942 | 460.7428
OFF | 14:36 | 480 | 1.0156 | 428.8291 | 1.0277 | 432.677 | 0.592 | 459.4762
OFF | 14:36 | 485 | 1.02 | 430.5584 | 1.0288 | 433.11 | 0.5942 | 460.7428
OFF | 14:36 | 490 | 1.0178 | 429.6937 | 1.0266 | 432.2442 | 0.5915 | 459.1884
OFF | 14:36 | 495 | 1.0189 | 430.1261 | 1.0277 | 432.677 | 0.5909 | 458.8429
OFF | 14:36 | 500 | 1.02 | 430.5584 | 1.0271 | 432.4409 | 0.5893 | 457.9218
OFF | 14:37 | 505 | 1.0189 | 430.1261 | 1.0282 | 432.8738 | 0.5871 | 456.6552
OFF | 14:37 | 510 | 1.0167 | 429.2614 | 1.0277 | 432.677 | 0.5876 | 456.9431
OFF | 14:37 | 515 | 1.0167 | 429.2614 | 1.0277 | 432.677 | 0.5816 | 453.4888
OFF | 14:37 | 520 | 1.0151 | 428.6326 | 1.0266 | 432.2442 | 0.5893 | 457.9218
OFF | 14:37 | 525 | 1.008 | 425.8422 | 1.026 | 432.008 | 0.592 | 459.4762
OFF | 14:37 | 530 | 1.02 | 430.5584 | 1.0277 | 432.677 | 0.5915 | 459.1884
OFF | 14:37 | 535 | 1.0156 | 428.8291 | 1.0277 | 432.677 | 0.586 | 456.0219
OFF | 14:37 | 540 | 1.0178 | 429.6937 | 1.0288 | 433.11 | 0.5827 | 454.122
OFF | 14:37 | 545 | 1.0151 | 428.6326 | 1.0271 | 432.4409 | 0.5854 | 455.6765
OFF | 14:37 | 550 | 1.0173 | 429.4972 | 1.0266 | 432.2442 | 0.5898 | 458.2097
OFF | 14:37 | 555 | 1.0178 | 429.6937 | 1.0277 | 432.677 | 0.5865 | 456.3098
OFF | 14:37 | 560 | 1.0195 | 430.3619 | 1.0271 | 432.4409 | 0.586 | 456.0219
OFF | 14:38 | 565 | 1.0189 | 430.1261 | 1.0282 | 432.8738 | 0.5789 | 451.9343
OFF | 14:38 | 570 | 1.0167 | 429.2614 | 1.0233 | 430.9455 | 0.5865 | 456.3098
OFF | 14:38 | 575 | 1.02 | 430.5584 | 1.0299 | 433.5428 | 0.5811 | 453.2009
OFF | 14:38 | 580 | 1.0195 | 430.3619 | 1.0266 | 432.2442 | 0.5789 | 451.9343
OFF | 14:38 | 585 | 1.0238 | 432.0519 | 1.0277 | 432.677 | 0.5822 | 453.8342
OFF | 14:38 | 590 | 1.0228 | 431.6588 | 1.0326 | 434.6054 | 0.5844 | 455.1008
OFF | 14:38 | 595 | 1.0206 | 430.7942 | 1.0288 | 433.11 | 0.5909 | 458.8429
ON | 14:38 | 600 | 1.0184 | 429.9295 | 1.0266 | 432.2442 | 0.5811 | 453.2009
ON | 14:38 | 605 | 1.0151 | 428.6326 | 1.0249 | 431.5751 | 0.5838 | 454.7553
ON | 14:38 | 610 | 1.0178 | 429.6937 | 1.0293 | 433.3067 | 0.5762 | 450.3799
ON | 14:38 | 615 | 1.02 | 430.5584 | 1.0277 | 432.677 | 0.5794 | 452.2222
ON | 14:38 | 620 | 1.02 | 430.5584 | 1.8553 | 758.3707 | 0.5789 | 451.9343
ON | 14:39 | 625 | 1.0222 | 431.423 | 1.7705 | 724.9985 | 0.5833 | 454.4675
ON | 14:39 | 630 | 1.0413 | 438.9297 | 1.7208 | 705.4396 | 0.5854 | 455.6765
ON | 14:39 | 635 | 1.1146 | 467.7381 | 1.5306 | 630.5883 | 0.5871 | 456.6552
ON | 14:39 | 640 | 1.2933 | 537.9708 | 2.0138 | 820.7468 | 0.5805 | 452.8555
ON | 14:39 | 645 | 1.0916 | 458.6986 | 1.6918 | 694.027 | 0.5794 | 452.2222
ON | 14:39 | 650 | 1.1211 | 470.2927 | 2.4003 | 972.8501 | 0.5789 | 451.9343
ON | 14:39 | 655 | 1.2223 | 510.0664 | 2.5276 | 1022.9477 | 0.5844 | 455.1008
ON | 14:39 | 660 | 1.2474 | 519.9312 | 1.7241 | 706.7383 | 0.5898 | 458.2097
ON | 14:39 | 665 | 1.4333 | 592.9936 | 1.9438 | 793.199 | 0.5876 | 456.9431
ON | 14:39 | 670 | 1.5508 | 639.1734 | 1.8979 | 775.1356 | 0.5871 | 456.6552
ON | 14:39 | 675 | 1.4808 | 611.662 | 2.3533 | 954.3537 | 0.586 | 456.0219
ON | 14:39 | 680 | 1.242 | 517.8088 | 2.5894 | 1047.2685 | 0.5794 | 452.2222
ON | 14:40 | 685 | 1.3819 | 572.7923 | 1.9334 | 789.1062 | 0.5898 | 458.2097
ON | 14:40 | 690 | 1.5377 | 634.0249 | 2.2248 | 903.7838 | 0.5958 | 461.664
ON | 14:40 | 695 | 2.0504 | 835.5262 | 1.6109 | 662.1896 | 0.5942 | 460.7428
ON | 14:40 | 700 | 1.5858 | 652.9291 | 1.5377 | 633.3825 | 0.5849 | 455.3886
ON | 14:40 | 705 | 1.5508 | 639.1734 | 1.5366 | 632.9496 | 0.5904 | 458.5551
ON | 14:40 | 710 | 1.6339 | 671.8334 | 2.0564 | 837.5117 | 0.5904 | 458.5551
ON | 14:40 | 715 | 1.424 | 589.3385 | 1.7459 | 715.3175 | 0.5904 | 458.5551
ON | 14:40 | 720 | 1.4759 | 609.7362 | 1.6749 | 687.3762 | 0.5964 | 462.0094
ON | 14:40 | 725 | 1.4278 | 590.832 | 1.5032 | 619.8053 | 0.6008 | 464.5426
ON | 14:40 | 730 | 1.3934 | 577.312 | 1.5399 | 634.2482 | 0.6024 | 465.4637
ON | 14:40 | 735 | 1.5754 | 648.8417 | 2.1597 | 878.1643 | 0.6013 | 464.8304
ON | 14:40 | 740 | 1.6732 | 687.2791 | 2.0198 | 823.1081 | 0.6008 | 464.5426
ON | 14:41 | 745 | 1.9143 | 782.0362 | 2.2445 | 911.5365 | 0.6002 | 464.1971
ON | 14:41 | 750 | 1.8514 | 757.3152 | 1.9149 | 781.8257 | 0.6095 | 469.5513
ON | 14:41 | 755 | 1.6476 | 677.2178 | 2.3226 | 942.272 | 0.6133 | 471.7391
ON | 14:41 | 760 | 1.5749 | 648.6452 | 1.4825 | 611.659 | 0.6089 | 469.2059
ON | 14:41 | 765 | 1.5196 | 626.9112 | 2.0471 | 833.8518 | 0.6089 | 469.2059
ON | 14:41 | 770 | 1.4508 | 599.8714 | 2.473 | 1001.4604 | 0.6106 | 470.1846
ON | 14:41 | 775 | 1.4316 | 592.3254 | 2.6709 | 1079.342 | 0.6166 | 473.6389
ON | 14:41 | 780 | 1.5218 | 627.7759 | 2.3839 | 966.396 | 0.6221 | 476.8054
ON | 14:41 | 785 | 1.5464 | 637.4441 | 2.1275 | 865.4924 | 0.6171 | 473.9268
ON | 14:41 | 790 | 1.4612 | 603.9588 | 2.7512 | 1110.9432 | 0.6166 | 473.6389
ON | 14:41 | 795 | 1.5896 | 654.4226 | 4.5371 | 1813.7663 | 0.6106 | 470.1846
ON | 14:41 | 800 | 1.7115 | 702.3317 | 3.8762 | 1553.6757 | 0.6155 | 473.0056
ON | 14:42 | 805 | 1.5235 | 628.444 | 4.6322 | 1851.1919 | 0.6155 | 473.0056
ON | 14:42 | 810 | 1.5005 | 619.4045 | 3.4504 | 1386.1065 | 0.6193 | 475.1934
ON | 14:42 | 815 | 1.8651 | 762.6996 | 3.6171 | 1451.7095 | 0.6199 | 475.5388
ON | 14:42 | 820 | 1.5885 | 653.9903 | 4.1648 | 1667.2515 | 0.6171 | 473.9268
ON | 14:42 | 825 | 1.7607 | 721.6683 | 4.0145 | 1608.1024 | 0.6193 | 475.1934
ON | 14:42 | 830 | 1.8263 | 747.4504 | 1.6842 | 691.0361 | 0.6221 | 476.8054
ON | 14:42 | 835 | 1.7449 | 715.4586 | 1.8432 | 753.6089 | 0.6237 | 477.7266
ON | 14:42 | 840 | 1.6339 | 671.8334 | 1.9389 | 791.2707 | 0.6221 | 476.8054
ON | 14:42 | 845 | 1.5109 | 623.4919 | 1.5841 | 651.6427 | 0.6232 | 477.4387
ON | 14:42 | 850 | 1.4879 | 614.4525 | 1.541 | 634.6811 | 0.6259 | 478.9931
ON | 14:42 | 855 | 1.4743 | 609.1074 | 1.5273 | 629.2896 | 0.6308 | 481.8142
ON | 14:42 | 860 | 1.6055 | 660.6716 | 1.5984 | 657.2703 | 0.6286 | 480.5476
ON | 14:43 | 865 | 2.333 | 946.5936 | 1.6547 | 679.4267 | 0.639 | 486.5351
ON | 14:43 | 870 | 1.8318 | 749.612 | 1.7301 | 709.0996 | 0.6412 | 487.8017
ON | 14:43 | 875 | 1.9564 | 798.5823 | 1.9411 | 792.1365 | 0.6385 | 486.2472
ON | 14:43 | 880 | 1.8247 | 746.8216 | 1.8826 | 769.1144 | 0.6385 | 486.2472
ON | 14:43 | 885 | 1.8678 | 763.7608 | 1.6426 | 674.6648 | 0.6407 | 487.5138
ON | 14:43 | 890 | 1.9362 | 790.6433 | 1.9258 | 786.1153 | 0.6417 | 488.0895
ON | 14:43 | 895 | 1.811 | 741.4372 | 1.7602 | 720.9451 | 0.6407 | 487.5138
ON | 14:43 | 900 | 1.7891 | 732.8301 | 1.8689 | 763.7229 | 0.6412 | 487.8017
ON | 14:43 | 905 | 1.5874 | 653.5579 | 2.45 | 992.409 | 0.6335 | 483.3686
ON | 14:43 | 910 | 1.5071 | 621.9984 | 2.286 | 927.8684 | 0.639 | 486.5351
ON | 14:43 | 915 | 1.5431 | 636.1472 | 1.7498 | 716.8523 | 0.6341 | 483.7141
ON | 14:43 | 920 | 1.8996 | 776.2588 | 1.9285 | 787.1779 | 0.6483 | 491.8893
ON | 14:44 | 925 | 1.8924 | 773.4291 | 2.127 | 865.2956 | 0.6445 | 489.7016
ON | 14:44 | 930 | 1.846 | 755.1929 | 3.3006 | 1327.1541 | 0.6423 | 488.435
ON | 14:44 | 935 | 1.5481 | 638.1123 | 2.866 | 1156.1216 | 0.6417 | 488.0895
ON | 14:44 | 940 | 1.5311 | 631.4309 | 3.0579 | 1231.6419 | 0.639 | 486.5351
ON | 14:44 | 945 | 1.6202 | 666.449 | 2.2811 | 925.9401 | 0.6368 | 485.2685
ON | 14:44 | 950 | 1.7804 | 729.4108 | 2.5533 | 1033.0616 | 0.6445 | 489.7016
ON | 14:44 | 955 | 1.6169 | 665.152 | 2.4041 | 974.3455 | 0.645 | 489.9894
ON | 14:44 | 960 | 1.5546 | 640.6669 | 1.9564 | 798.1577 | 0.6489 | 492.2347
ON | 14:44 | 965 | 1.8777 | 767.6516 | 2.9507 | 1189.4545 | 0.6494 | 492.5226
ON | 14:44 | 970 | 1.987 | 810.6087 | 3.5695 | 1432.977 | 0.6439 | 489.3561
ON | 14:44 | 975 | 1.6525 | 679.1436 | 2.8392 | 1145.5748 | 0.6412 | 487.8017
ON | 14:44 | 980 | 1.9755 | 806.089 | 2.2565 | 916.259 | 0.6439 | 489.3561
ON | 14:45 | 985 | 1.8832 | 769.8133 | 3.37 | 1354.4658 | 0.6439 | 489.3561
ON | 14:45 | 990 | 1.7864 | 731.7689 | 2.6167 | 1058.0121 | 0.6527 | 494.4224
ON | 14:45 | 995 | 1.8482 | 756.0575 | 3.5646 | 1431.0487 | 0.6478 | 491.6014
ON | 14:45 | 1000 | 1.6891 | 693.5281 | 3.9205 | 1571.1096 | 0.6505 | 493.1559
ON | 14:45 | 1005 | 1.782 | 730.0396 | 4.0549 | 1624.0014 | 0.656 | 496.3223
ON | 14:45 | 1010 | 1.799 | 736.721 | 4.1347 | 1655.4058 | 0.6543 | 495.3436
ON | 14:45 | 1015 | 1.9378 | 791.2722 | 3.9882 | 1597.7522 | 0.6499 | 492.8104
ON | 14:45 | 1020 | 1.8312 | 749.3762 | 3.9429 | 1579.9248 | 0.6516 | 493.7892
ON | 14:45 | 1025 | 1.8892 | 772.1714 | 2.7419 | 1107.2833 | 0.651 | 493.4437
ON | 14:45 | 1030 | 1.9826 | 808.8794 | 2.2898 | 929.3639 | 0.6554 | 495.9769
ON | 14:45 | 1035 | 1.5863 | 653.1256 | 2.6517 | 1071.786 | 0.656 | 496.3223
ON | 14:45 | 1040 | 1.6246 | 668.1783 | 4.0347 | 1616.0518 | 0.6478 | 491.6014
ON | 14:46 | 1045 | 1.993 | 812.9669 | 2.9622 | 1193.9802 | 0.6538 | 495.0557
ON | 14:46 | 1050 | 1.7574 | 720.3714 | 2.3298 | 945.1054 | 0.6549 | 495.689
ON | 14:46 | 1055 | 2.3533 | 954.572 | 3.2771 | 1317.906 | 0.6543 | 495.3436
ON | 14:46 | 1060 | 1.7941 | 734.7952 | 3.1792 | 1279.3783 | 0.6538 | 495.0557
ON | 14:46 | 1065 | 1.7596 | 721.236 | 2.2346 | 907.6405 | 0.6663 | 502.2522
ON | 14:46 | 1070 | 2.0012 | 816.1896 | 2.18 | 886.1532 | 0.6603 | 498.7979
ON | 14:46 | 1075 | 1.8225 | 745.9569 | 1.8504 | 756.4424 | 0.6625 | 500.0645
ON | 14:46 | 1080 | 1.7815 | 729.8431 | 2.6441 | 1068.7951 | 0.662 | 499.7766
ON | 14:46 | 1085 | 2.0122 | 820.5129 | 1.5825 | 651.013 | 0.6658 | 501.9644
ON | 14:46 | 1090 | 2.3243 | 943.1744 | 1.864 | 761.7945 | 0.6691 | 503.8642
ON | 14:46 | 1095 | 1.8378 | 751.9702 | 2.3871 | 967.6553 | 0.6724 | 505.7641
ON | 14:46 | 1100 | 1.553 | 640.038 | 2.5107 | 1016.2969 | 0.6696 | 504.1521
ON | 14:47 | 1105 | 1.6798 | 689.873 | 2.3718 | 961.6342 | 0.668 | 503.2309
ON | 14:47 | 1110 | 2.0537 | 836.8232 | 1.899 | 775.5685 | 0.6598 | 498.5101
ON | 14:47 | 1115 | 1.6836 | 691.3665 | 1.782 | 729.5243 | 0.6718 | 505.4187
ON | 14:47 | 1120 | 1.8432 | 754.0925 | 1.8657 | 762.4636 | 0.6702 | 504.4975
ON | 14:47 | 1125 | 1.6694 | 685.7856 | 2.028 | 826.3352 | 0.6718 | 505.4187
ON | 14:47 | 1130 | 2.0258 | 825.8579 | 2.1597 | 878.1643 | 0.674 | 506.6853
ON | 14:47 | 1135 | 1.7908 | 733.4982 | 2.2898 | 929.3639 | 0.6718 | 505.4187
ON | 14:47 | 1140 | 1.8318 | 749.612 | 2.4276 | 983.5937 | 0.6735 | 506.3974
ON | 14:47 | 1145 | 1.9132 | 781.6039 | 2.01 | 819.2514 | 0.6729 | 506.052
ON | 14:47 | 1150 | 1.6399 | 674.1915 | 1.928 | 786.9811 | 0.6691 | 503.8642
ON | 14:47 | 1155 | 1.7241 | 707.2838 | 3.2689 | 1314.6789 | 0.6729 | 506.052
ON | 14:47 | 1160 | 1.6946 | 695.6897 | 2.9458 | 1187.5262 | 0.6702 | 504.4975
ON | 14:48 | 1165 | 1.8564 | 759.2803 | 3.0907 | 1244.55 | 0.6691 | 503.8642
ON | 14:48 | 1170 | 1.7831 | 730.472 | 2.2964 | 931.9613 | 0.6724 | 505.7641
ON | 14:48 | 1175 | 1.8553 | 758.848 | 2.6145 | 1057.1463 | 0.6784 | 509.2184
ON | 14:48 | 1180 | 2.0138 | 821.1416 | 2.4538 | 993.9044 | 0.6751 | 507.3186
ON | 14:48 | 1185 | 1.7771 | 728.1138 | 2.4544 | 994.1406 | 0.6762 | 507.9518
ON | 14:48 | 1190 | 1.9258 | 786.5559 | 2.7277 | 1101.6951 | 0.6745 | 506.9731
ON | 14:48 | 1195 | 1.8066 | 739.7079 | 2.503 | 1013.2666 | 0.6735 | 506.3974
ON | 14:48 | 1200 | 1.8514 | 757.3152 | 3.1257 | 1258.324 | 0.6713 | 505.1308
ON | 14:48 | 1205 | 1.8979 | 775.5907 | 5.0099 | 1999.8321 | 0.6784 | 509.2184
ON | 14:48 | 1210 | 2.0269 | 826.2903 | 3.6537 | 1466.1131 | 0.6729 | 506.052
ON | 14:48 | 1215 | 2.1674 | 881.5095 | 2.4653 | 998.4302 | 0.6642 | 501.0432
ON | 14:48 | 1220 | 2.0799 | 847.1203 | 1.8367 | 751.0509 | 0.6729 | 506.052
ON | 14:49 | 1225 | 2.1625 | 879.5837 | 1.8372 | 751.2477 | 0.6702 | 504.4975
ON | 14:49 | 1230 | 1.7312 | 710.0742 | 1.7689 | 724.3689 | 0.6724 | 505.7641
ON | 14:49 | 1235 | 1.8274 | 747.8827 | 1.9198 | 783.7541 | 0.6685 | 503.5188
ON | 14:49 | 1240 | 1.6503 | 678.2789 | 1.9296 | 787.6108 | 0.6718 | 505.4187
ON | 14:49 | 1245 | 1.7263 | 708.1484 | 1.6891 | 692.9644 | 0.6674 | 502.8855
ON | 14:49 | 1250 | 2.1144 | 860.6795 | 1.9083 | 779.2284 | 0.6729 | 506.052
ON | 14:49 | 1255 | 2.6178 | 1058.5258 | 1.6497 | 677.459 | 0.68 | 510.1396
ON | 14:49 | 1260 | 2.0488 | 834.8974 | 1.6924 | 694.2631 | 0.674 | 506.6853
ON | 14:49 | 1265 | 1.7613 | 721.9041 | 1.8591 | 759.8662 | 0.674 | 506.6853
ON | 14:49 | 1270 | 1.6087 | 661.9293 | 2.9382 | 1184.5352 | 0.6762 | 507.9518
ON | 14:49 | 1275 | 1.6886 | 693.3315 | 1.7771 | 727.5959 | 0.6691 | 503.8642
ON | 14:49 | 1280 | 1.6016 | 659.1389 | 2.6725 | 1079.9716 | 0.6658 | 501.9644
ON | 14:50 | 1285 | 1.6929 | 695.0215 | 2.2543 | 915.3933 | 0.6669 | 502.5977
ON | 14:50 | 1290 | 1.6847 | 691.7988 | 2.8261 | 1140.4194 | 0.6691 | 503.8642
ON | 14:50 | 1295 | 1.8219 | 745.7211 | 2.1576 | 877.3379 | 0.6674 | 502.8855
ON | 14:50 | 1300 | 2.0728 | 844.3298 | 2.0165 | 821.8094 | 0.6718 | 505.4187
ON | 14:50 | 1305 | 2.174 | 884.1035 | 2.0116 | 819.8811 | 0.6724 | 505.7641
ON | 14:50 | 1310 | 1.8438 | 754.3283 | 1.6514 | 678.1279 | 0.674 | 506.6853
ON | 14:50 | 1315 | 2.1811 | 886.8939 | 1.7208 | 705.4396 | 0.6811 | 510.7729
ON | 14:50 | 1320 | 1.9487 | 795.5561 | 1.7733 | 726.1005 | 0.6855 | 513.3061
ON | 14:50 | 1325 | 2.1707 | 882.8065 | 2.3686 | 960.3748 | 0.6882 | 514.8605
ON | 14:50 | 1330 | 1.6443 | 675.9208 | 2.3718 | 961.6342 | 0.6893 | 515.4938
ON | 14:50 | 1335 | 1.612 | 663.2262 | 2.3702 | 961.0045 | 0.6789 | 509.5063
ON | 14:50 | 1340 | 1.6399 | 674.1915 | 2.3729 | 962.0671 | 0.6713 | 505.1308
ON | 14:51 | 1345 | 1.8055 | 739.2756 | 2.3691 | 960.5716 | 0.6713 | 505.1308
ON | 14:51 | 1350 | 1.8509 | 757.1187 | 2.6211 | 1059.7437 | 0.6789 | 509.5063
ON | 14:51 | 1355 | 1.7093 | 701.4671 | 3.5564 | 1427.8217 | 0.6811 | 510.7729
ON | 14:51 | 1360 | 1.6672 | 684.9209 | 5.011 | 2000.265 | 0.6773 | 508.5851
ON | 14:51 | 1365 | 2.0542 | 837.0197 | 3.7592 | 1507.6316 | 0.6778 | 508.873
ON | 14:51 | 1370 | 1.9056 | 778.6169 | 1.9094 | 779.6613 | 0.6817 | 511.1183
ON | 14:51 | 1375 | 1.9143 | 782.0362 | 1.8635 | 761.5978 | 0.6827 | 511.694
ON | 14:51 | 1380 | 1.8837 | 770.0098 | 2.3833 | 966.1599 | 0.6811 | 510.7729
ON | 14:51 | 1385 | 2.1734 | 883.8676 | 2.9332 | 1182.5675 | 0.6827 | 511.694
ON | 14:51 | 1390 | 1.8389 | 752.4025 | 2.3002 | 933.4567 | 0.6789 | 509.5063
ON | 14:51 | 1395 | 1.9542 | 797.7177 | 2.1051 | 856.677 | 0.6756 | 507.6064
ON | 14:51 | 1400 | 1.6142 | 664.0909 | 2.4517 | 993.078 | 0.6685 | 503.5188
ON | 14:52 | 1405 | 1.577 | 649.4705 | 2.7026 | 1091.8172 | 0.6642 | 501.0432
ON | 14:52 | 1410 | 1.6836 | 691.3665 | 3.8926 | 1560.1298 | 0.6718 | 505.4187
ON | 14:52 | 1415 | 1.7312 | 710.0742 | 2.5238 | 1021.4522 | 0.6729 | 506.052
ON | 14:52 | 1420 | 1.7842 | 730.9043 | 1.8717 | 764.8248 | 0.6784 | 509.2184
ON | 14:52 | 1425 | 1.7831 | 730.472 | 2.11 | 858.6054 | 0.6762 | 507.9518
ON | 14:52 | 1430 | 2.1188 | 862.4087 | 1.7099 | 701.1501 | 0.6778 | 508.873
ON | 14:52 | 1435 | 1.8154 | 743.1665 | 1.8148 | 742.4324 | 0.6762 | 507.9518
ON | 14:52 | 1440 | 1.6618 | 682.7986 | 1.9198 | 783.7541 | 0.6789 | 509.5063
ON | 14:52 | 1445 | 1.6607 | 682.3663 | 1.7432 | 714.2549 | 0.6762 | 507.9518
ON | 14:52 | 1450 | 1.618 | 665.5844 | 2.0728 | 843.9657 | 0.6795 | 509.8517
ON | 14:52 | 1455 | 1.758 | 720.6072 | 5.0099 | 1999.8321 | 0.6713 | 505.1308
ON | 14:52 | 1460 | 1.7394 | 713.297 | 5.011 | 2000.265 | 0.6773 | 508.5851
ON | 14:53 | 1465 | 1.7153 | 703.8252 | 2.6135 | 1056.7528 | 0.6773 | 508.5851
ON | 14:53 | 1470 | 1.6153 | 664.5232 | 1.8799 | 768.0518 | 0.6811 | 510.7729
ON | 14:53 | 1475 | 1.9099 | 780.3069 | 2.1882 | 889.3802 | 0.6745 | 506.9731
ON | 14:53 | 1480 | 2.4041 | 974.5374 | 1.9296 | 787.6108 | 0.6745 | 506.9731
ON | 14:53 | 1485 | 1.6339 | 671.8334 | 2.0083 | 818.5824 | 0.6696 | 504.1521
ON | 14:53 | 1490 | 1.9034 | 777.7522 | 3.1164 | 1254.6641 | 0.6729 | 506.052
ON | 14:53 | 1495 | 2.0542 | 837.0197 | 3.1196 | 1255.9234 | 0.674 | 506.6853
ON | 14:53 | 1500 | 1.8389 | 752.4025 | 1.8799 | 768.0518 | 0.6789 | 509.5063
ON | 14:53 | 1505 | 1.7547 | 719.3102 | 2.4905 | 1008.3474 | 0.6806 | 510.485
ON | 14:53 | 1510 | 1.6629 | 683.2309 | 3.2579 | 1310.35 | 0.6729 | 506.052
ON | 14:53 | 1515 | 1.7312 | 710.0742 | 2.421 | 980.9963 | 0.6767 | 508.2397
ON | 14:53 | 1520 | 1.6426 | 675.2527 | 2.8496 | 1149.6676 | 0.6756 | 507.6064
ON | 14:54 | 1525 | 1.582 | 651.4356 | 3.2973 | 1325.8555 | 0.6724 | 505.7641
ON | 14:54 | 1530 | 1.7705 | 725.5199 | 3.0382 | 1223.8892 | 0.6784 | 509.2184
ON | 14:54 | 1535 | 1.7257 | 707.9126 | 2.3336 | 946.601 | 0.6745 | 506.9731
ON | 14:54 | 1540 | 1.7662 | 723.8299 | 3.4006 | 1366.5081 | 0.6784 | 509.2184
ON | 14:54 | 1545 | 2.2346 | 907.9205 | 2.3806 | 965.0973 | 0.6778 | 508.873
ON | 14:54 | 1550 | 2.233 | 907.2917 | 2.2297 | 905.7122 | 0.6822 | 511.4062
ON | 14:54 | 1555 | 1.9728 | 805.0279 | 1.8837 | 769.5473 | 0.6735 | 506.3974
ON | 14:54 | 1560 | 1.8154 | 743.1665 | 1.8536 | 757.7018 | 0.668 | 503.2309
ON | 14:54 | 1565 | 1.6372 | 673.1303 | 4.1145 | 1647.4563 | 0.6713 | 505.1308
ON | 14:54 | 1570 | 1.999 | 815.325 | 5.0104 | 2000.0287 | 0.6707 | 504.7854
ON | 14:54 | 1575 | 1.6547 | 680.0082 | 5.0115 | 2000.4617 | 0.6653 | 501.6765
ON | 14:54 | 1580 | 1.8498 | 756.6864 | 4.2238 | 1690.4703 | 0.6718 | 505.4187
ON | 14:55 | 1585 | 1.7427 | 714.5939 | 4.5048 | 1801.0549 | 0.668 | 503.2309
ON | 14:55 | 1590 | 1.9061 | 778.8134 | 2.2204 | 902.0523 | 0.6669 | 502.5977
ON | 14:55 | 1595 | 2.3434 | 950.6811 | 2.6135 | 1056.7528 | 0.6729 | 506.052
ON | 14:55 | 1600 | 1.9701 | 803.9667 | 1.7919 | 733.4203 | 0.6707 | 504.7854
ON | 14:55 | 1605 | 2.0663 | 841.7752 | 1.7219 | 705.8725 | 0.6724 | 505.7641
ON | 14:55 | 1610 | 1.9203 | 784.3943 | 1.9291 | 787.414 | 0.6729 | 506.052
ON | 14:55 | 1615 | 1.6164 | 664.9555 | 1.9083 | 779.2284 | 0.6642 | 501.0432
ON | 14:55 | 1620 | 1.8017 | 737.7821 | 1.7902 | 732.7513 | 0.6631 | 500.4099
ON | 14:55 | 1625 | 1.7689 | 724.8911 | 2.3948 | 970.6856 | 0.6713 | 505.1308
ON | 14:55 | 1630 | 1.6169 | 665.152 | 2.3538 | 954.5505 | 0.6724 | 505.7641
ON | 14:55 | 1635 | 1.6508 | 678.4754 | 5.0099 | 1999.8321 | 0.6707 | 504.7854
ON | 14:55 | 1640 | 1.7137 | 703.1964 | 3.3848 | 1360.2902 | 0.6806 | 510.485
ON | 14:56 | 1645 | 1.6683 | 685.3533 | 3.7543 | 1505.7033 | 0.6784 | 509.2184
ON | 14:56 | 1650 | 1.6388 | 673.7592 | 3.9768 | 1593.2659 | 0.6817 | 511.1183
ON | 14:56 | 1655 | 1.6093 | 662.1651 | 3.341 | 1343.0532 | 0.6745 | 506.9731
ON | 14:56 | 1660 | 1.8558 | 759.0445 | 2.356 | 955.4162 | 0.6806 | 510.485
ON | 14:56 | 1665 | 2.0745 | 844.998 | 1.858 | 759.4333 | 0.6762 | 507.9518
ON | 14:56 | 1670 | 2.3604 | 957.3624 | 2.1576 | 877.3379 | 0.6767 | 508.2397
ON | 14:56 | 1675 | 2.1505 | 874.8675 | 2.1597 | 878.1643 | 0.6795 | 509.8517
ON | 14:56 | 1680 | 1.8629 | 761.835 | 2.0122 | 820.1172 | 0.6795 | 509.8517
ON | 14:56 | 1685 | 1.8728 | 765.7259 | 1.6525 | 678.5609 | 0.6833 | 512.0395
ON | 14:56 | 1690 | 1.8247 | 746.8216 | 2.0018 | 816.0244 | 0.6866 | 513.9394
ON | 14:56 | 1695 | 1.8864 | 771.0709 | 2.2182 | 901.1864 | 0.6882 | 514.8605
ON | 14:56 | 1700 | 1.881 | 768.9486 | 1.8225 | 745.4626 | 0.6871 | 514.2272
ON | 14:57 | 1705 | 1.811 | 741.4372 | 1.8012 | 737.0803 | 0.6948 | 518.6603
ON | 14:57 | 1710 | 1.9843 | 809.5476 | 1.7552 | 718.9774 | 0.6942 | 518.3148
ON | 14:57 | 1715 | 1.9088 | 779.8746 | 1.8848 | 769.9802 | 0.7013 | 522.4024
ON | 14:57 | 1720 | 1.829 | 748.5116 | 1.6126 | 662.8586 | 0.7008 | 522.1146
ON | 14:57 | 1725 | 1.7766 | 727.9173 | 2.0996 | 854.5126 | 0.6948 | 518.6603
ON | 14:57 | 1730 | 1.8432 | 754.0925 | 1.9165 | 782.4554 | 0.6948 | 518.6603
ON | 14:57 | 1735 | 1.6727 | 687.0826 | 1.8531 | 757.505 | 0.7002 | 521.7692
ON | 14:57 | 1740 | 1.6864 | 692.467 | 2.0023 | 816.2211 | 0.6964 | 519.5814
ON | 14:57 | 1745 | 1.7656 | 723.5941 | 1.7552 | 718.9774 | 0.6953 | 518.9481
ON | 14:57 | 1750 | 1.5639 | 644.322 | 1.7864 | 731.2558 | 0.6937 | 518.027
ON | 14:57 | 1755 | 1.6306 | 670.5364 | 1.8525 | 757.2688 | 0.6948 | 518.6603
ON | 14:57 | 1760 | 1.6514 | 678.7112 | 2.4593 | 996.0689 | 0.6915 | 516.7604
ON | 14:58 | 1765 | 1.6508 | 678.4754 | 2.3773 | 963.7986 | 0.6844 | 512.6728
ON | 14:58 | 1770 | 1.6514 | 678.7112 | 3.7401 | 1500.1149 | 0.6827 | 511.694
ON | 14:58 | 1775 | 1.6519 | 678.9078 | 2.5151 | 1018.0285 | 0.6778 | 508.873
ON | 14:58 | 1780 | 1.799 | 736.721 | 2.3008 | 933.6929 | 0.6822 | 511.4062
ON | 14:58 | 1785 | 1.7377 | 712.6289 | 1.7006 | 697.4901 | 0.6838 | 512.3273
ON | 14:58 | 1790 | 1.5792 | 650.3352 | 1.8165 | 743.1014 | 0.6849 | 512.9606
ON | 14:58 | 1795 | 1.6366 | 672.8945 | 4.5545 | 1820.614 | 0.6844 | 512.6728
ON | 14:58 | 1800 | 1.9755 | 806.089 | 5.011 | 2000.265 | 0.6855 | 513.3061
ON | 14:58 | 1805 | 1.6607 | 682.3663 | 3.2104 | 1291.6569 | 0.6909 | 516.415
ON | 14:58 | 1810 | 1.6869 | 692.6634 | 2.5927 | 1048.5672 | 0.6904 | 516.1271
ON | 14:58 | 1815 | 1.7684 | 724.6945 | 2.432 | 985.3252 | 0.6849 | 512.9606
ON | 14:58 | 1820 | 2.0061 | 818.1154 | 1.8252 | 746.5252 | 0.6849 | 512.9606
ON | 14:59 | 1825 | 1.9766 | 806.5214 | 2.2335 | 907.2076 | 0.6806 | 510.485
ON | 14:59 | 1830 | 1.6907 | 694.1569 | 1.8072 | 739.4415 | 0.6729 | 506.052
ON | 14:59 | 1835 | 2.0029 | 816.8577 | 1.9881 | 810.6329 | 0.6767 | 508.2397
ON | 14:59 | 1840 | 1.735 | 711.5677 | 1.7531 | 718.151 | 0.6817 | 511.1183
ON | 14:59 | 1845 | 1.5984 | 657.8812 | 1.7574 | 719.8432 | 0.6767 | 508.2397
ON | 14:59 | 1850 | 1.6814 | 690.5018 | 1.934 | 789.3424 | 0.6833 | 512.0395
ON | 14:59 | 1855 | 1.729 | 709.2096 | 2.2997 | 933.2599 | 0.6751 | 507.3186
ON | 14:59 | 1860 | 1.6989 | 697.3797 | 2.4855 | 1006.3797 | 0.6795 | 509.8517
ON | 14:59 | 1865 | 1.6563 | 680.637 | 3.1071 | 1251.0041 | 0.674 | 506.6853
ON | 14:59 | 1870 | 1.7082 | 701.0348 | 2.2532 | 914.9603 | 0.6745 | 506.9731
ON | 14:59 | 1875 | 1.6678 | 685.1567 | 1.8558 | 758.5675 | 0.6773 | 508.5851
ON | 14:59 | 1880 | 1.77 | 725.3234 | 2.2428 | 910.8675 | 0.6745 | 506.9731
ON | 15:00 | 1885 | 1.7197 | 705.5545 | 2.1958 | 892.3712 | 0.6745 | 506.9731
ON | 15:00 | 1890 | 1.676 | 688.3795 | 1.747 | 715.7504 | 0.6735 | 506.3974
ON | 15:00 | 1895 | 1.9958 | 814.0673 | 1.6989 | 696.8211 | 0.6696 | 504.1521
ON | 15:00 | 1900 | 1.7602 | 721.4718 | 1.9887 | 810.869 | 0.6674 | 502.8855
ON | 15:00 | 1905 | 1.6869 | 692.6634 | 4.5032 | 1800.4253 | 0.6691 | 503.8642
ON | 15:00 | 1910 | 1.8558 | 759.0445 | 2.6184 | 1058.6812 | 0.6707 | 504.7854
ON | 15:00 | 1915 | 2.0455 | 833.6004 | 1.8514 | 756.836 | 0.6735 | 506.3974
ON | 15:00 | 1920 | 1.9537 | 797.5212 | 1.7159 | 703.5113 | 0.6691 | 503.8642
ON | 15:00 | 1925 | 2.0734 | 844.5657 | 2.1352 | 868.5226 | 0.668 | 503.2309
ON | 15:00 | 1930 | 1.7842 | 730.9043 | 2.0575 | 837.9445 | 0.668 | 503.2309
ON | 15:00 | 1935 | 1.9214 | 784.8266 | 3.0032 | 1210.1153 | 0.6696 | 504.1521
ON | 15:00 | 1940 | 1.9411 | 792.5691 | 3.6542 | 1466.3099 | 0.6653 | 501.6765
ON | 15:01 | 1945 | 1.6574 | 681.0694 | 2.2614 | 918.1873 | 0.6685 | 503.5188
ON | 15:01 | 1950 | 1.6995 | 697.6155 | 1.7312 | 709.5324 | 0.6696 | 504.1521
ON | 15:01 | 1955 | 2.286 | 928.1217 | 1.8985 | 775.3717 | 0.6691 | 503.8642
ON | 15:01 | 1960 | 1.7602 | 721.4718 | 3.1355 | 1262.1807 | 0.6729 | 506.052
ON | 15:01 | 1965 | 2.0548 | 837.2555 | 4.5513 | 1819.3546 | 0.6663 | 502.2522
ON | 15:01 | 1970 | 1.6907 | 694.1569 | 1.9569 | 798.3544 | 0.6767 | 508.2397
ON | 15:01 | 1975 | 1.7711 | 725.7557 | 1.946 | 794.0648 | 0.6707 | 504.7854
ON | 15:01 | 1980 | 1.5973 | 657.4489 | 2.0433 | 832.3562 | 0.6674 | 502.8855
ON | 15:01 | 1985 | 1.6197 | 666.2525 | 2.9502 | 1189.2577 | 0.6724 | 505.7641
ON | 15:01 | 1990 | 1.7678 | 724.4587 | 3.2842 | 1320.7 | 0.6724 | 505.7641
ON | 15:01 | 1995 | 1.6503 | 678.2789 | 1.7733 | 726.1005 | 0.6713 | 505.1308
ON | 15:01 | 2000 | 1.6689 | 685.5891 | 3.5624 | 1430.1829 | 0.674 | 506.6853
ON | 15:02 | 2005 | 1.6191 | 666.0167 | 3.9554 | 1584.8441 | 0.6691 | 503.8642
ON | 15:02 | 2010 | 1.9482 | 795.3596 | 1.9919 | 812.1283 | 0.6702 | 504.4975
ON | 15:02 | 2015 | 2.2303 | 906.2305 | 1.8186 | 743.9279 | 0.6691 | 503.8642
ON | 15:02 | 2020 | 2.0198 | 823.4998 | 1.7405 | 713.1924 | 0.6702 | 504.4975
ON | 15:02 | 2025 | 1.8979 | 775.5907 | 2.0302 | 827.2009 | 0.6685 | 503.5188
ON | 15:02 | 2030 | 1.6262 | 668.8071 | 2.1942 | 891.7415 | 0.6669 | 502.5977
ON | 15:02 | 2035 | 1.6432 | 675.4885 | 2.5517 | 1032.4321 | 0.6669 | 502.5977
ON | 15:02 | 2040 | 1.7104 | 701.8994 | 2.9644 | 1194.846 | 0.6669 | 502.5977
ON | 15:02 | 2045 | 1.6027 | 659.5712 | 2.0849 | 848.7275 | 0.6691 | 503.8642
ON | 15:02 | 2050 | 1.5923 | 655.4838 | 1.7552 | 718.9774 | 0.6653 | 501.6765
ON | 15:02 | 2055 | 1.6306 | 670.5364 | 2.6933 | 1088.1573 | 0.6653 | 501.6765
ON | 15:02 | 2060 | 1.5459 | 637.2476 | 4.97 | 1984.1297 | 0.662 | 499.7766
ON | 15:03 | 2065 | 1.7744 | 727.0527 | 4.3933 | 1757.1753 | 0.6663 | 502.2522
ON | 15:03 | 2070 | 2.0171 | 822.4387 | 1.7492 | 716.6162 | 0.6592 | 498.1646
ON | 15:03 | 2075 | 1.7421 | 714.3581 | 2.7304 | 1102.7577 | 0.6581 | 497.5313
ON | 15:03 | 2080 | 1.6257 | 668.6106 | 2.0849 | 848.7275 | 0.662 | 499.7766
ON | 15:03 | 2085 | 1.6016 | 659.1389 | 1.6798 | 689.3045 | 0.6642 | 501.0432
ON | 15:03 | 2090 | 1.8875 | 771.5033 | 1.9389 | 791.2707 | 0.6636 | 500.6978
ON | 15:03 | 2095 | 1.7722 | 726.188 | 4.9219 | 1965.2004 | 0.6663 | 502.2522
ON | 15:03 | 2100 | 1.7514 | 718.0132 | 2.116 | 860.9666 | 0.6642 | 501.0432
ON | 15:03 | 2105 | 1.7902 | 733.2624 | 4.413 | 1764.9281 | 0.6609 | 499.1433
ON | 15:03 | 2110 | 1.946 | 794.4949 | 2.2248 | 903.7838 | 0.6598 | 498.5101
ON | 15:03 | 2115 | 1.6842 | 691.6023 | 2.2827 | 926.5698 | 0.6674 | 502.8855
ON | 15:03 | 2120 | 1.7306 | 709.8384 | 3.1142 | 1253.7983 | 0.6718 | 505.4187
ON | 15:04 | 2125 | 1.8159 | 743.363 | 2.4303 | 984.6563 | 0.668 | 503.2309
ON | 15:04 | 2130 | 1.8203 | 745.0923 | 2.5069 | 1014.8015 | 0.6784 | 509.2184
ON | 15:04 | 2135 | 1.8186 | 744.4242 | 1.8602 | 760.2991 | 0.674 | 506.6853
ON | 15:04 | 2140 | 1.7268 | 708.3449 | 2.2089 | 897.5265 | 0.6751 | 507.3186
ON | 15:04 | 2145 | 1.8143 | 742.7342 | 1.7897 | 732.5545 | 0.6745 | 506.9731
ON | 15:04 | 2150 | 1.6071 | 661.3004 | 1.9482 | 794.9306 | 0.6784 | 509.2184
ON | 15:04 | 2155 | 1.6568 | 680.8335 | 1.9313 | 788.2798 | 0.6724 | 505.7641
ON | 15:04 | 2160 | 1.5973 | 657.4489 | 1.6809 | 689.7374 | 0.674 | 506.6853
ON | 15:04 | 2165 | 1.6011 | 658.9423 | 4.7136 | 1883.2262 | 0.6729 | 506.052
ON | 15:04 | 2170 | 1.6978 | 696.9474 | 2.0154 | 821.3765 | 0.6751 | 507.3186
ON | 15:04 | 2175 | 1.6754 | 688.1437 | 2.1198 | 862.4621 | 0.6751 | 507.3186
ON | 15:04 | 2180 | 1.571 | 647.1124 | 1.7525 | 717.9149 | 0.6751 | 507.3186
ON | 15:05 | 2185 | 1.6672 | 684.9209 | 1.641 | 674.0352 | 0.6751 | 507.3186
ON | 15:05 | 2190 | 2.0991 | 854.6663 | 2.0624 | 839.8729 | 0.6751 | 507.3186
ON | 15:05 | 2195 | 1.8318 | 749.612 | 1.6486 | 677.026 | 0.6702 | 504.4975
ON | 15:05 | 2200 | 1.5841 | 652.261 | 1.7793 | 728.4617 | 0.6767 | 508.2397
ON | 15:05 | 2205 | 1.8881 | 771.7391 | 1.6 | 657.9 | 0.674 | 506.6853
ON | 15:05 | 2210 | 1.8427 | 753.896 | 1.6415 | 674.2319 | 0.6735 | 506.3974
ON | 15:05 | 2215 | 1.9307 | 788.4817 | 1.6825 | 690.3671 | 0.6767 | 508.2397
ON | 15:05 | 2220 | 1.7268 | 708.3449 | 1.7121 | 702.0158 | 0.6762 | 507.9518
ON | 15:05 | 2225 | 1.6776 | 689.0084 | 1.6235 | 667.1482 | 0.6795 | 509.8517
ON | 15:05 | 2230 | 1.8285 | 748.3151 | 1.9231 | 785.0528 | 0.6811 | 510.7729
ON | 15:05 | 2235 | 1.5902 | 654.6584 | 3.3213 | 1335.3004 | 0.6729 | 506.052
ON | 15:05 | 2240 | 1.5317 | 631.6667 | 2.9923 | 1205.8258 | 0.6789 | 509.5063
ON | 15:06 | 2245 | 1.6951 | 695.8862 | 3.5466 | 1423.965 | 0.6729 | 506.052
ON | 15:06 | 2250 | 1.6115 | 663.0297 | 5.0104 | 2000.0287 | 0.6817 | 511.1183
ON | 15:06 | 2255 | 1.6448 | 676.1173 | 4.9552 | 1978.3055 | 0.6838 | 512.3273
ON | 15:06 | 2260 | 1.6366 | 672.8945 | 5.0115 | 2000.4617 | 0.6822 | 511.4062
ON | 15:06 | 2265 | 1.7208 | 705.9868 | 2.966 | 1195.4757 | 0.6838 | 512.3273
ON | 15:06 | 2270 | 1.8482 | 756.0575 | 3.5832 | 1438.3685 | 0.674 | 506.6853
ON | 15:06 | 2275 | 1.7629 | 722.533 | 2.6736 | 1080.4045 | 0.6789 | 509.5063
ON | 15:06 | 2280 | 1.6585 | 681.5017 | 2.667 | 1077.8072 | 0.6784 | 509.2184
ON | 15:06 | 2285 | 1.6295 | 670.1041 | 5.0099 | 1999.8321 | 0.6795 | 509.8517
ON | 15:06 | 2290 | 1.5716 | 647.3482 | 4.7082 | 1881.101 | 0.6827 | 511.694
ON | 15:06 | 2295 | 1.6137 | 663.8944 | 3.5482 | 1424.5946 | 0.6811 | 510.7729
ON | 15:06 | 2300 | 1.6262 | 668.8071 | 2.4812 | 1004.6874 | 0.6833 | 512.0395
ON | 15:07 | 2305 | 1.7449 | 715.4586 | 1.8668 | 762.8965 | 0.6866 | 513.9394
ON | 15:07 | 2310 | 1.7634 | 722.7295 | 1.8668 | 762.8965 | 0.6811 | 510.7729
ON | 15:07 | 2315 | 1.8651 | 762.6996 | 2.3779 | 964.0347 | 0.6838 | 512.3273
ON | 15:07 | 2320 | 1.782 | 730.0396 | 2.1515 | 874.9373 | 0.6789 | 509.5063
ON | 15:07 | 2325 | 1.6153 | 664.5232 | 3.1497 | 1267.7689 | 0.674 | 506.6853
ON | 15:07 | 2330 | 1.6935 | 695.2574 | 3.3612 | 1351.0027 | 0.6762 | 507.9518
ON | 15:07 | 2335 | 1.6814 | 690.5018 | 4.5731 | 1827.9338 | 0.6773 | 508.5851
ON | 15:07 | 2340 | 1.6804 | 690.1088 | 2.5801 | 1043.6086 | 0.68 | 510.1396
ON | 15:07 | 2345 | 1.6016 | 659.1389 | 3.8483 | 1542.696 | 0.6778 | 508.873
ON | 15:07 | 2350 | 1.8848 | 770.4421 | 3.0229 | 1217.8681 | 0.68 | 510.1396
ON | 15:07 | 2355 | 1.8498 | 756.6864 | 4.1375 | 1656.5077 | 0.6756 | 507.6064
ON | 15:07 | 2360 | 1.7514 | 718.0132 | 2.2445 | 911.5365 | 0.6784 | 509.2184
ON | 15:08 | 2365 | 1.7525 | 718.4456 | 3.5526 | 1426.3262 | 0.6817 | 511.1183
ON | 15:08 | 2370 | 2.0668 | 841.9718 | 4.3599 | 1744.031 | 0.6855 | 513.3061
ON | 15:08 | 2375 | 2.0029 | 816.8577 | 4.1222 | 1650.4866 | 0.6838 | 512.3273
ON | 15:08 | 2380 | 1.8498 | 756.6864 | 4.8115 | 1921.7537 | 0.6838 | 512.3273
ON | 15:08 | 2385 | 2.1494 | 874.4352 | 5.0121 | 2000.6979 | 0.6811 | 510.7729
ON | 15:08 | 2390 | 2.1576 | 877.6579 | 3.0437 | 1226.0537 | 0.6811 | 510.7729
ON | 15:08 | 2395 | 1.8367 | 751.5378 | 2.2357 | 908.0733 | 0.686 | 513.5939
OFF | 15:08 | 2400 | 1.6754 | 688.1437 | 2.7856 | 1124.481 | 0.6888 | 515.2059
OFF | 15:08 | 2405 | 1.8504 | 756.9222 | 2.18 | 886.1532 | 0.6844 | 512.6728
OFF | 15:08 | 2410 | 1.6224 | 667.3137 | 1.6213 | 666.2824 | 0.6844 | 512.6728
OFF | 15:08 | 2415 | 1.6246 | 668.1783 | 1.5885 | 653.3743 | 0.6789 | 509.5063
OFF | 15:08 | 2420 | 1.7514 | 718.0132 | 1.6344 | 671.4378 | 0.6751 | 507.3186
OFF | 15:09 | 2425 | 1.6415 | 674.8203 | 1.6415 | 674.2319 | 0.68 | 510.1396
OFF | 15:09 | 2430 | 1.6508 | 678.4754 | 1.7203 | 705.2428 | 0.6762 | 507.9518
OFF | 15:09 | 2435 | 1.6388 | 673.7592 | 1.6541 | 679.1905 | 0.6773 | 508.5851
OFF | 15:09 | 2440 | 1.6142 | 664.0909 | 1.8389 | 751.9167 | 0.6685 | 503.5188
OFF | 15:09 | 2445 | 1.5486 | 638.3088 | 1.7459 | 715.3175 | 0.6663 | 502.2522
OFF | 15:09 | 2450 | 1.5333 | 632.2956 | 1.8192 | 744.164 | 0.6691 | 503.8642
OFF | 15:09 | 2455 | 1.5273 | 629.9374 | 1.7848 | 730.6262 | 0.6691 | 503.8642
OFF | 15:09 | 2460 | 1.4606 | 603.723 | 1.8564 | 758.8037 | 0.6724 | 505.7641
OFF | 15:09 | 2465 | 1.5787 | 650.1387 | 1.9438 | 793.199 | 0.6702 | 504.4975
OFF | 15:09 | 2470 | 1.5136 | 624.5531 | 1.7372 | 711.8937 | 0.6718 | 505.4187
OFF | 15:09 | 2475 | 1.412 | 584.6222 | 1.5923 | 654.8698 | 0.6724 | 505.7641
OFF | 15:09 | 2480 | 1.3912 | 576.4474 | 1.6011 | 658.3329 | 0.6702 | 504.4975
OFF | 15:10 | 2485 | 1.401 | 580.299 | 1.5694 | 645.8577 | 0.662 | 499.7766
OFF | 15:10 | 2490 | 1.3999 | 579.8667 | 1.5196 | 626.2594 | 0.6685 | 503.5188
OFF | 15:10 | 2495 | 1.4054 | 582.0283 | 1.5371 | 633.1463 | 0.6663 | 502.2522
OFF | 15:10 | 2500 | 1.3633 | 565.4822 | 1.454 | 600.4432 | 0.6713 | 505.1308
OFF | 15:10 | 2505 | 1.3513 | 560.7659 | 1.4442 | 596.5865 | 0.6653 | 501.6765
OFF | 15:10 | 2510 | 1.3524 | 561.1982 | 1.4289 | 590.5653 | 0.6767 | 508.2397
OFF | 15:10 | 2515 | 1.3086 | 543.984 | 1.4289 | 590.5653 | 0.6707 | 504.7854
OFF | 15:10 | 2520 | 1.3086 | 543.984 | 1.4076 | 582.1829 | 0.6707 | 504.7854
OFF | 15:10 | 2525 | 1.3075 | 543.5516 | 1.4065 | 581.75 | 0.6735 | 506.3974
OFF | 15:10 | 2530 | 1.2922 | 537.5384 | 1.407 | 581.9468 | 0.6751 | 507.3186
OFF | 15:10 | 2535 | 1.3305 | 552.5911 | 1.4098 | 583.0487 | 0.674 | 506.6853
OFF | 15:10 | 2540 | 1.2851 | 534.748 | 1.4092 | 582.8125 | 0.6663 | 502.2522
OFF | 15:11 | 2545 | 1.2496 | 520.7958 | 1.5125 | 623.4653 | 0.6636 | 500.6978
OFF | 15:11 | 2550 | 1.2567 | 523.5862 | 1.9241 | 785.4463 | 0.6642 | 501.0432
OFF | 15:11 | 2555 | 1.2452 | 519.0665 | 1.5874 | 652.9414 | 0.6592 | 498.1646
OFF | 15:11 | 2560 | 1.2234 | 510.4987 | 1.5021 | 619.3724 | 0.6642 | 501.0432
OFF | 15:11 | 2565 | 1.242 | 517.8088 | 1.3802 | 571.3999 | 0.6598 | 498.5101
OFF | 15:11 | 2570 | 1.2392 | 516.7084 | 1.3207 | 547.9843 | 0.6538 | 495.0557
OFF | 15:11 | 2575 | 1.2316 | 513.7215 | 1.4622 | 603.6702 | 0.6581 | 497.5313
OFF | 15:11 | 2580 | 1.2556 | 523.1539 | 1.4426 | 595.9568 | 0.6581 | 497.5313
OFF | 15:11 | 2585 | 1.2496 | 520.7958 | 1.2693 | 527.7563 | 0.651 | 493.4437
OFF | 15:11 | 2590 | 1.2277 | 512.1887 | 1.3256 | 549.9126 | 0.6554 | 495.9769
OFF | 15:11 | 2595 | 1.2201 | 509.2017 | 1.9313 | 788.2798 | 0.6527 | 494.4224
OFF | 15:11 | 2600 | 1.2059 | 503.6208 | 1.5874 | 652.9414 | 0.6505 | 493.1559
OFF | 15:12 | 2605 | 1.1906 | 497.6076 | 1.7203 | 705.2428 | 0.6407 | 487.5138
OFF | 15:12 | 2610 | 1.2004 | 501.4592 | 2.0122 | 820.1172 | 0.6357 | 484.6352
OFF | 15:12 | 2615 | 1.1906 | 497.6076 | 1.5114 | 623.0323 | 0.6319 | 482.4475
OFF | 15:12 | 2620 | 1.19 | 497.3718 | 1.3715 | 567.9761 | 0.6363 | 484.9807
OFF | 15:12 | 2625 | 1.2135 | 506.6078 | 1.5393 | 634.0121 | 0.6423 | 488.435
OFF | 15:12 | 2630 | 1.1906 | 497.6076 | 1.3961 | 577.6572 | 0.6456 | 490.3348
OFF | 15:12 | 2635 | 1.1862 | 495.8783 | 1.4754 | 608.8649 | 0.6423 | 488.435
OFF | 15:12 | 2640 | 1.196 | 499.7299 | 1.3278 | 550.7784 | 0.645 | 489.9894
OFF | 15:12 | 2645 | 1.1742 | 491.1621 | 1.2562 | 522.6009 | 0.6439 | 489.3561
OFF | 15:12 | 2650 | 1.1605 | 485.7777 | 1.4262 | 589.5028 | 0.6445 | 489.7016
OFF | 15:12 | 2655 | 1.1938 | 498.8653 | 1.6842 | 691.0361 | 0.6396 | 486.8805
OFF | 15:12 | 2660 | 1.1627 | 486.6424 | 1.5393 | 634.0121 | 0.6352 | 484.3474
OFF | 15:13 | 2665 | 1.184 | 495.0137 | 1.3037 | 541.2941 | 0.6346 | 484.0019
OFF | 15:13 | 2670 | 1.1938 | 498.8653 | 1.2288 | 511.818 | 0.6374 | 485.6139
OFF | 15:13 | 2675 | 1.1687 | 489.0005 | 1.6246 | 667.5811 | 0.627 | 479.6264
OFF | 15:13 | 2680 | 1.1605 | 485.7777 | 1.4245 | 588.8337 | 0.6319 | 482.4475
OFF | 15:13 | 2685 | 1.1682 | 488.804 | 1.3737 | 568.8419 | 0.627 | 479.6264
OFF | 15:13 | 2690 | 1.1643 | 487.2712 | 1.453 | 600.0496 | 0.6319 | 482.4475
OFF | 15:13 | 2695 | 1.1381 | 476.9741 | 1.5442 | 635.9404 | 0.6292 | 480.893
OFF | 15:13 | 2700 | 1.1381 | 476.9741 | 1.5049 | 620.4743 | 0.6401 | 487.1684
OFF | 15:13 | 2705 | 1.1397 | 477.6029 | 1.465 | 604.7721 | 0.6341 | 483.7141
OFF | 15:13 | 2710 | 1.1457 | 479.961 | 1.2239 | 509.8896 | 0.6352 | 484.3474
OFF | 15:13 | 2715 | 1.1605 | 485.7777 | 1.2786 | 531.4162 | 0.6297 | 481.1809
OFF | 15:13 | 2720 | 1.1572 | 484.4807 | 1.2053 | 502.5698 | 0.6248 | 478.3599
OFF | 15:14 | 2725 | 1.1381 | 476.9741 | 1.3267 | 550.3455 | 0.627 | 479.6264
OFF | 15:14 | 2730 | 1.1441 | 479.3322 | 1.2835 | 533.3446 | 0.6215 | 476.46
OFF | 15:14 | 2735 | 1.1403 | 477.8387 | 1.2305 | 512.487 | 0.6221 | 476.8054
OFF | 15:14 | 2740 | 1.1457 | 479.961 | 1.1867 | 495.2499 | 0.6253 | 478.6477
OFF | 15:14 | 2745 | 1.1643 | 487.2712 | 1.1829 | 493.7544 | 0.6243 | 478.072
OFF | 15:14 | 2750 | 1.1507 | 481.9261 | 1.4262 | 589.5028 | 0.6259 | 478.9931
OFF | 15:14 | 2755 | 1.1736 | 490.9263 | 1.2288 | 511.818 | 0.6204 | 475.8267
OFF | 15:14 | 2760 | 1.1425 | 478.7034 | 1.172 | 489.4649 | 0.6133 | 471.7391
OFF | 15:14 | 2765 | 1.1523 | 482.5549 | 1.1725 | 489.6617 | 0.6199 | 475.5388
OFF | 15:14 | 2770 | 1.1414 | 478.271 | 1.172 | 489.4649 | 0.6155 | 473.0056
OFF | 15:14 | 2775 | 1.1299 | 473.7513 | 1.1889 | 496.1157 | 0.6155 | 473.0056
OFF | 15:14 | 2780 | 1.1206 | 470.0962 | 1.178 | 491.8261 | 0.6188 | 474.9055
OFF | 15:15 | 2785 | 1.1168 | 468.6027 | 1.1692 | 488.3629 | 0.6161 | 473.3511
OFF | 15:15 | 2790 | 1.119 | 469.4674 | 1.1583 | 484.0734 | 0.6155 | 473.0056
OFF | 15:15 | 2795 | 1.1119 | 466.6769 | 1.1463 | 479.3509 | 0.6188 | 474.9055
OFF | 15:15 | 2800 | 1.1244 | 471.5897 | 1.1365 | 475.4942 | 0.6199 | 475.5388
OFF | 15:15 | 2805 | 1.114 | 467.5023 | 1.1337 | 474.3923 | 0.6106 | 470.1846
OFF | 15:15 | 2810 | 1.0998 | 461.9214 | 1.1348 | 474.8252 | 0.6182 | 474.5601
OFF | 15:15 | 2815 | 1.0949 | 459.9956 | 1.1299 | 472.8968 | 0.6155 | 473.0056
OFF | 15:15 | 2820 | 1.0982 | 461.2925 | 1.1233 | 470.2995 | 0.6171 | 473.9268
OFF | 15:15 | 2825 | 1.0955 | 460.2314 | 1.1206 | 469.2369 | 0.6177 | 474.2722
OFF | 15:15 | 2830 | 1.0938 | 459.5633 | 1.119 | 468.6072 | 0.6226 | 477.0933
OFF | 15:15 | 2835 | 1.09 | 458.0698 | 1.119 | 468.6072 | 0.6161 | 473.3511
OFF | 15:15 | 2840 | 1.0834 | 455.4759 | 1.1129 | 466.2067 | 0.6084 | 468.918
OFF | 15:16 | 2845 | 1.0714 | 450.7596 | 1.1102 | 465.1441 | 0.6079 | 468.6302
OFF | 15:16 | 2850 | 1.0791 | 453.7859 | 1.1026 | 462.1532 | 0.6057 | 467.3636
OFF | 15:16 | 2855 | 1.0823 | 455.0435 | 1.1026 | 462.1532 | 0.6084 | 468.918
OFF | 15:16 | 2860 | 1.0774 | 453.1177 | 1.1026 | 462.1532 | 0.604 | 466.3849
OFF | 15:16 | 2865 | 1.0769 | 452.9212 | 1.102 | 461.9171 | 0.6002 | 464.1971
OFF | 15:16 | 2870 | 1.0758 | 452.4889 | 1.1009 | 461.4842 | 0.6057 | 467.3636
OFF | 15:16 | 2875 | 1.0692 | 449.895 | 1.0927 | 458.2572 | 0.6013 | 464.8304
OFF | 15:16 | 2880 | 1.0698 | 450.1308 | 1.0944 | 458.9262 | 0.5936 | 460.3974
OFF | 15:16 | 2885 | 1.0676 | 449.2662 | 1.0916 | 457.8242 | 0.5969 | 462.2973
OFF | 15:16 | 2890 | 1.0681 | 449.4627 | 1.0862 | 455.6991 | 0.5964 | 462.0094
OFF | 15:16 | 2895 | 1.0698 | 450.1308 | 1.0883 | 456.5256 | 0.5958 | 461.664
OFF | 15:16 | 2900 | 1.0676 | 449.2662 | 1.0851 | 455.2663 | 0.6002 | 464.1971
OFF | 15:17 | 2905 | 1.0616 | 446.908 | 1.0807 | 453.5347 | 0.6024 | 465.4637
OFF | 15:17 | 2910 | 1.0616 | 446.908 | 1.0791 | 452.905 | 0.6018 | 465.1183
OFF | 15:17 | 2915 | 1.0572 | 445.1787 | 1.0801 | 453.2986 | 0.6035 | 466.097
OFF | 15:17 | 2920 | 1.0588 | 445.8076 | 1.078 | 452.4721 | 0.6073 | 468.2847
OFF | 15:17 | 2925 | 1.0627 | 447.3404 | 1.0709 | 449.678 | 0.6035 | 466.097
OFF | 15:17 | 2930 | 1.0621 | 447.1046 | 1.0703 | 449.4419 | 0.604 | 466.3849
OFF | 15:17 | 2935 | 1.055 | 444.3141 | 1.0703 | 449.4419 | 0.6035 | 466.097
OFF | 15:17 | 2940 | 1.0539 | 443.8818 | 1.0703 | 449.4419 | 0.6029 | 465.7516
OFF | 15:17 | 2945 | 1.0512 | 442.8206 | 1.0698 | 449.2451 | 0.6029 | 465.7516
OFF | 15:17 | 2950 | 1.0512 | 442.8206 | 1.0676 | 448.3793 | 0.6057 | 467.3636
OFF | 15:17 | 2955 | 1.049 | 441.956 | 1.067 | 448.1432 | 0.6068 | 467.9969
OFF | 15:17 | 2960 | 1.049 | 441.956 | 1.0665 | 447.9464 | 0.6084 | 468.918
OFF | 15:18 | 2965 | 1.0501 | 442.3883 | 1.0659 | 447.7103 | 0.6046 | 466.7303
OFF | 15:18 | 2970 | 1.0506 | 442.5848 | 1.0637 | 446.8445 | 0.5997 | 463.9093
OFF | 15:18 | 2975 | 1.0501 | 442.3883 | 1.0659 | 447.7103 | 0.6013 | 464.8304
OFF | 15:18 | 2980 | 1.0577 | 445.3753 | 1.0665 | 447.9464 | 0.604 | 466.3849
OFF | 15:18 | 2985 | 1.0523 | 443.2529 | 1.0665 | 447.9464 | 0.5975 | 462.6427
OFF | 15:18 | 2990 | 1.0512 | 442.8206 | 1.0643 | 447.0806 | 0.6024 | 465.4637
OFF | 15:18 | 2995 | 1.0501 | 442.3883 | 1.0616 | 446.0181 | 0.6051 | 467.0182
OFF | 15:18 | 3000 | 1.0479 | 441.5236 | 1.0616 | 446.0181 | 0.6029 | 465.7516
OFF | 15:18 | 3005 | 1.0468 | 441.0913 | 1.0616 | 446.0181 | 0.5953 | 461.3761
OFF | 15:18 | 3010 | 1.0473 | 441.2878 | 1.0637 | 446.8445 | 0.5936 | 460.3974
OFF | 15:18 | 3015 | 1.049 | 441.956 | 1.0637 | 446.8445 | 0.5969 | 462.2973
OFF | 15:18 | 3020 | 1.0441 | 440.0302 | 1.0632 | 446.6477 | 0.598 | 462.9306
OFF | 15:19 | 3025 | 1.0479 | 441.5236 | 1.0577 | 444.4833 | 0.5991 | 463.5638
OFF | 15:19 | 3030 | 1.0463 | 440.8948 | 1.0572 | 444.2865 | 0.5975 | 462.6427
OFF | 15:19 | 3035 | 1.0424 | 439.362 | 1.0577 | 444.4833 | 0.6002 | 464.1971
OFF | 15:19 | 3040 | 1.0441 | 440.0302 | 1.0555 | 443.6175 | 0.6084 | 468.918
OFF | 15:19 | 3045 | 1.0463 | 440.8948 | 1.0566 | 444.0504 | 0.6018 | 465.1183
OFF | 15:19 | 3050 | 1.0441 | 440.0302 | 1.0588 | 444.9161 | 0.6035 | 466.097
OFF | 15:19 | 3055 | 1.0413 | 438.9297 | 1.0539 | 442.9878 | 0.604 | 466.3849
OFF | 15:19 | 3060 | 1.0375 | 437.4363 | 1.055 | 443.4207 | 0.5969 | 462.2973
OFF | 15:19 | 3065 | 1.0424 | 439.362 | 1.0545 | 443.2239 | 0.6013 | 464.8304
OFF | 15:19 | 3070 | 1.0441 | 440.0302 | 1.0545 | 443.2239 | 0.5953 | 461.3761
OFF | 15:19 | 3075 | 1.0435 | 439.7944 | 1.055 | 443.4207 | 0.5975 | 462.6427
OFF | 15:19 | 3080 | 1.0375 | 437.4363 | 1.0517 | 442.122 | 0.5958 | 461.664
OFF | 15:20 | 3085 | 1.0408 | 438.7332 | 1.0523 | 442.3581 | 0.6024 | 465.4637
OFF | 15:20 | 3090 | 1.0413 | 438.9297 | 1.0545 | 443.2239 | 0.5936 | 460.3974
OFF | 15:20 | 3095 | 1.037 | 437.2397 | 1.0523 | 442.3581 | 0.6013 | 464.8304
OFF | 15:20 | 3100 | 1.0392 | 438.1044 | 1.0534 | 442.7911 | 0.5909 | 458.8429
OFF | 15:20 | 3105 | 1.0408 | 438.7332 | 1.0512 | 441.9253 | 0.5964 | 462.0094
OFF | 15:20 | 3110 | 1.0381 | 437.6721 | 1.0501 | 441.4923 | 0.598 | 462.9306
OFF | 15:20 | 3115 | 1.0386 | 437.8686 | 1.0517 | 442.122 | 0.5997 | 463.9093
OFF | 15:20 | 3120 | 1.0381 | 437.6721 | 1.0495 | 441.2562 | 0.6046 | 466.7303
OFF | 15:20 | 3125 | 1.0397 | 438.3009 | 1.0506 | 441.6891 | 0.6018 | 465.1183
OFF | 15:20 | 3130 | 1.0392 | 438.1044 | 1.049 | 441.0595 | 0.5964 | 462.0094
OFF | 15:20 | 3135 | 1.0342 | 436.1393 | 1.0495 | 441.2562 | 0.6018 | 465.1183
OFF | 15:20 | 3140 | 1.043 | 439.5979 | 1.0495 | 441.2562 | 0.5953 | 461.3761
OFF | 15:21 | 3145 | 1.0392 | 438.1044 | 1.0473 | 440.3904 | 0.6008 | 464.5426
OFF | 15:21 | 3150 | 1.0435 | 439.7944 | 1.0484 | 440.8234 | 0.5931 | 460.1095
OFF | 15:21 | 3155 | 1.0337 | 435.9428 | 1.0468 | 440.1937 | 0.5936 | 460.3974
OFF | 15:21 | 3160 | 1.0348 | 436.3751 | 1.0479 | 440.6266 | 0.5991 | 463.5638
OFF | 15:21 | 3165 | 1.0331 | 435.707 | 1.0479 | 440.6266 | 0.5986 | 463.276
OFF | 15:21 | 3170 | 1.0326 | 435.5105 | 1.0468 | 440.1937 | 0.6062 | 467.6515
OFF | 15:21 | 3175 | 1.031 | 434.8816 | 1.0441 | 439.1311 | 0.6029 | 465.7516
OFF | 15:21 | 3180 | 1.0413 | 438.9297 | 1.0479 | 440.6266 | 0.6139 | 472.0845
OFF | 15:21 | 3185 | 1.0359 | 436.8074 | 1.0452 | 439.564 | 0.6029 | 465.7516
OFF | 15:21 | 3190 | 1.0424 | 439.362 | 1.0468 | 440.1937 | 0.6073 | 468.2847
OFF | 15:21 | 3195 | 1.0331 | 435.707 | 1.0457 | 439.7608 | 0.6018 | 465.1183
OFF | 15:21 | 3200 | 1.031 | 434.8816 | 1.0441 | 439.1311 | 0.61 | 469.8392
OFF | 15:22 | 3205 | 1.032 | 435.2746 | 1.0457 | 439.7608 | 0.6084 | 468.918
OFF | 15:22 | 3210 | 1.0359 | 436.8074 | 1.0457 | 439.7608 | 0.6008 | 464.5426
OFF | 15:22 | 3215 | 1.032 | 435.2746 | 1.0452 | 439.564 | 0.6079 | 468.6302
OFF | 15:22 | 3220 | 1.0299 | 434.4493 | 1.0446 | 439.3279 | 0.6013 | 464.8304
OFF | 15:22 | 3225 | 1.0282 | 433.7812 | 1.0457 | 439.7608 | 0.6079 | 468.6302
OFF | 15:22 | 3230 | 1.0271 | 433.3488 | 1.0435 | 438.895 | 0.6073 | 468.2847
OFF | 15:22 | 3235 | 1.0315 | 435.0781 | 1.0435 | 438.895 | 0.6073 | 468.2847
OFF | 15:22 | 3240 | 1.0299 | 434.4493 | 1.0468 | 440.1937 | 0.6024 | 465.4637
OFF | 15:22 | 3245 | 1.032 | 435.2746 | 1.0452 | 439.564 | 0.6018 | 465.1183
OFF | 15:22 | 3250 | 1.0304 | 434.6458 | 1.0435 | 438.895 | 0.6051 | 467.0182
OFF | 15:22 | 3255 | 1.031 | 434.8816 | 1.0419 | 438.2653 | 0.6068 | 467.9969
OFF | 15:22 | 3260 | 1.0359 | 436.8074 | 1.0441 | 439.1311 | 0.6046 | 466.7303
OFF | 15:23 | 3265 | 1.032 | 435.2746 | 1.043 | 438.6982 | 0.6024 | 465.4637
OFF | 15:23 | 3270 | 1.0337 | 435.9428 | 1.0419 | 438.2653 | 0.6002 | 464.1971
OFF | 15:23 | 3275 | 1.0337 | 435.9428 | 1.0435 | 438.895 | 0.598 | 462.9306
OFF | 15:23 | 3280 | 1.0326 | 435.5105 | 1.0452 | 439.564 | 0.5947 | 461.0307
OFF | 15:23 | 3285 | 1.0288 | 434.017 | 1.0446 | 439.3279 | 0.604 | 466.3849
OFF | 15:23 | 3290 | 1.0304 | 434.6458 | 1.0424 | 438.4621 | 0.5953 | 461.3761
OFF | 15:23 | 3295 | 1.0299 | 434.4493 | 1.0413 | 438.0292 | 0.6057 | 467.3636
OFF | 15:23 | 3300 | 1.0337 | 435.9428 | 1.0441 | 439.1311 | 0.6008 | 464.5426
OFF | 15:23 | 3305 | 1.0353 | 436.5716 | 1.0419 | 438.2653 | 0.6008 | 464.5426
OFF | 15:23 | 3310 | 1.0326 | 435.5105 | 1.0413 | 438.0292 | 0.5969 | 462.2973
OFF | 15:23 | 3315 | 1.0315 | 435.0781 | 1.0413 | 438.0292 | 0.6046 | 466.7303
OFF | 15:23 | 3320 | 1.032 | 435.2746 | 1.0402 | 437.5963 | 0.6008 | 464.5426
OFF | 15:24 | 3325 | 1.0288 | 434.017 | 1.0397 | 437.3995 | 0.6029 | 465.7516
OFF | 15:24 | 3330 | 1.0293 | 434.2135 | 1.0402 | 437.5963 | 0.6035 | 466.097
OFF | 15:24 | 3335 | 1.0392 | 438.1044 | 1.0424 | 438.4621 | 0.6073 | 468.2847
OFF | 15:24 | 3340 | 1.0315 | 435.0781 | 1.0402 | 437.5963 | 0.6018 | 465.1183
OFF | 15:24 | 3345 | 1.0337 | 435.9428 | 1.0397 | 437.3995 | 0.6051 | 467.0182
OFF | 15:24 | 3350 | 1.031 | 434.8816 | 1.0408 | 437.8324 | 0.5997 | 463.9093
OFF | 15:24 | 3355 | 1.0293 | 434.2135 | 1.0381 | 436.7699 | 0.6002 | 464.1971
OFF | 15:24 | 3360 | 1.0304 | 434.6458 | 1.0375 | 436.5338 | 0.6057 | 467.3636
OFF | 15:24 | 3365 | 1.0293 | 434.2135 | 1.0397 | 437.3995 | 0.598 | 462.9306
OFF | 15:24 | 3370 | 1.0315 | 435.0781 | 1.0408 | 437.8324 | 0.598 | 462.9306
OFF | 15:24 | 3375 | 1.0315 | 435.0781 | 1.0392 | 437.2027 | 0.5969 | 462.2973
OFF | 15:24 | 3380 | 1.0282 | 433.7812 | 1.0381 | 436.7699 | 0.5936 | 460.3974
OFF | 15:25 | 3385 | 1.0288 | 434.017 | 1.0381 | 436.7699 | 0.5986 | 463.276
OFF | 15:25 | 3390 | 1.0299 | 434.4493 | 1.0386 | 436.9666 | 0.5969 | 462.2973
OFF | 15:25 | 3395 | 1.0293 | 434.2135 | 1.0386 | 436.9666 | 0.6046 | 466.7303
OFF | 15:25 | 3400 | 1.0299 | 434.4493 | 1.0392 | 437.2027 | 0.5997 | 463.9093
OFF | 15:25 | 3405 | 1.0244 | 432.2877 | 1.0375 | 436.5338 | 0.5947 | 461.0307
OFF | 15:25 | 3410 | 1.0255 | 432.72 | 1.0397 | 437.3995 | 0.5964 | 462.0094
OFF | 15:25 | 3415 | 1.0288 | 434.017 | 1.0386 | 436.9666 | 0.5964 | 462.0094
OFF | 15:25 | 3420 | 1.0299 | 434.4493 | 1.0386 | 436.9666 | 0.6018 | 465.1183
OFF | 15:25 | 3425 | 1.0326 | 435.5105 | 1.0392 | 437.2027 | 0.6002 | 464.1971
OFF | 15:25 | 3430 | 1.0337 | 435.9428 | 1.0386 | 436.9666 | 0.6057 | 467.3636
OFF | 15:25 | 3435 | 1.031 | 434.8816 | 1.0375 | 436.5338 | 0.5991 | 463.5638
OFF | 15:25 | 3440 | 1.0293 | 434.2135 | 1.0381 | 436.7699 | 0.6073 | 468.2847
OFF | 15:26 | 3445 | 1.0304 | 434.6458 | 1.0364 | 436.1008 | 0.6024 | 465.4637
OFF | 15:26 | 3450 | 1.0277 | 433.5846 | 1.037 | 436.337 | 0.6057 | 467.3636
OFF | 15:26 | 3455 | 1.026 | 432.9165 | 1.0381 | 436.7699 | 0.6051 | 467.0182
OFF | 15:26 | 3460 | 1.0304 | 434.6458 | 1.0386 | 436.9666 | 0.6046 | 466.7303
OFF | 15:26 | 3465 | 1.0228 | 431.6588 | 1.0381 | 436.7699 | 0.6073 | 468.2847
OFF | 15:26 | 3470 | 1.0304 | 434.6458 | 1.0375 | 436.5338 | 0.6051 | 467.0182
OFF | 15:26 | 3475 | 1.0288 | 434.017 | 1.0386 | 436.9666 | 0.6073 | 468.2847
OFF | 15:26 | 3480 | 1.0293 | 434.2135 | 1.0364 | 436.1008 | 0.6008 | 464.5426
OFF | 15:26 | 3485 | 1.0271 | 433.3488 | 1.0375 | 436.5338 | 0.6008 | 464.5426
OFF | 15:26 | 3490 | 1.0282 | 433.7812 | 1.0364 | 436.1008 | 0.6018 | 465.1183
OFF | 15:26 | 3495 | 1.0304 | 434.6458 | 1.0375 | 436.5338 | 0.5931 | 460.1095
OFF | 15:26 | 3500 | 1.0249 | 432.4842 | 1.0392 | 437.2027 | 0.5975 | 462.6427
OFF | 15:27 | 3505 | 1.026 | 432.9165 | 1.0353 | 435.668 | 0.5975 | 462.6427
OFF | 15:27 | 3510 | 1.0238 | 432.0519 | 1.0375 | 436.5338 | 0.6008 | 464.5426
OFF | 15:27 | 3515 | 1.0249 | 432.4842 | 1.0364 | 436.1008 | 0.5931 | 460.1095
OFF | 15:27 | 3520 | 1.0271 | 433.3488 | 1.0381 | 436.7699 | 0.6013 | 464.8304
OFF | 15:27 | 3525 | 1.0255 | 432.72 | 1.037 | 436.337 | 0.5986 | 463.276
OFF | 15:27 | 3530 | 1.0255 | 432.72 | 1.0359 | 435.9041 | 0.5991 | 463.5638
OFF | 15:27 | 3535 | 1.0288 | 434.017 | 1.0348 | 435.4712 | 0.5964 | 462.0094
OFF | 15:27 | 3540 | 1.0288 | 434.017 | 1.0353 | 435.668 | 0.6002 | 464.1971
OFF | 15:27 | 3545 | 1.0271 | 433.3488 | 1.0375 | 436.5338 | 0.5915 | 459.1884
OFF | 15:27 | 3550 | 1.0255 | 432.72 | 1.0381 | 436.7699 | 0.5958 | 461.664
OFF | 15:27 | 3555 | 1.026 | 432.9165 | 1.037 | 436.337 | 0.5986 | 463.276
OFF | 15:27 | 3560 | 1.0277 | 433.5846 | 1.0359 | 435.9041 | 0.6008 | 464.5426
OFF | 15:28 | 3565 | 1.0266 | 433.1523 | 1.0359 | 435.9041 | 0.6013 | 464.8304
OFF | 15:28 | 3570 | 1.0277 | 433.5846 | 1.0331 | 434.8022 | 0.5975 | 462.6427
OFF | 15:28 | 3575 | 1.0288 | 434.017 | 1.0353 | 435.668 | 0.6029 | 465.7516
OFF | 15:28 | 3580 | 1.0277 | 433.5846 | 1.0348 | 435.4712 | 0.5947 | 461.0307
OFF | 15:28 | 3585 | 1.0282 | 433.7812 | 1.0364 | 436.1008 | 0.5947 | 461.0307
OFF | 15:28 | 3590 | 1.0364 | 437.0039 | 1.0326 | 434.6054 | 0.5964 | 462.0094
OFF | 15:28 | 3595 | 1.0315 | 435.0781 | 1.0364 | 436.1008 | 0.5942 | 460.7428

## CO2 Concentration Averages
Gas Off (pre-test)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 429.0918 | 432.2343 | 458.3646
Gas On (steady-state)
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
Concentration (ppm): | 730.9139 | 1071.2235 | 507.943
Standard Deviation: | 67.6265 | 395.703 | 4.6515
Standard Deviation of Average: | 15.1217 | 88.4819 | 1.0401
95% Confidence Interval | 29.6386 | 173.4245 | 2.0386
Percent Increase
| A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
| 70.3398 | 147.834 | 10.8164

## Rotometer Readings
(Reading 1)
Temperature (°C) | 28.4
Temperature (k) | 301.55
P_atm (hPa) | 973
P_atm (psi) | 14.1122
dV | 0.31
P_flow (psi) | 0.062
Reading | 79
Corresponding Flowrate (table) (lpm) | 5.325
Actual Flowrate (lpm) | 5.1643
(Reading 2)
Temperature (°C) | 28.4
Temperature (k) | 301.55
P_atm (hPa) | 973
P_atm (psi) | 14.1122
dV | 0.31
P_flow (psi) | 0.062
Reading | 79
Corresponding Flowrate (table) (lpm) | 5.325
Actual Flowrate (lpm) | 5.1643
(Reading 3)
Temperature (°C) | 28.4
Temperature (k) | 301.55
P_atm (hPa) | 973
P_atm (psi) | 14.1122
dV | 0.31
P_flow (psi) | 0.062
Reading | 79
Corresponding Flowrate (table) (lpm) | 5.325
Actual Flowrate (lpm) | 5.1643