## Data & Charts
%INJECTION STATUS | TIME | TIME (s) | A-1 CO2 conc (DCV) | A-1 CO2 conc (PPM) | A-2 CO2 conc (DCV) | A-2 CO2 conc (PPM) | A-4 CO2 conc (DCV) | A-4 CO2 conc (PPM) | Exhaust Flow (ft/min) | Exhaust Flow (CFM) | Avg Exhaust Flow (SS Gas ON) (CFM) | Helium Injection (computer) (lpm) | Sample Time (s) | Measured CO2 Injection (lpm) | Measured CO2 Injection (CFM) | Theoretical Exhaust Concentration (PPM)
OFF | 12:47 | 0 | 1.0058 | 424.9775 | 1.0173 | 428.5842 | 0.5723 | 448.1346 | 1852 | 161.618 | 155.1457 | 3.07 | 600 | 4.9966 | 0.17645 | 1529.5594
OFF | 12:47 | 5 | 1.008 | 425.8422 | 1.0178 | 428.781 | 0.5767 | 450.6677 | 1854 | 161.7925 |  | Helium Injection (computer) (CFM) | 1500 | 4.9627 | 0.17526 | 1548.3709
OFF | 12:47 | 10 | 1.0074 | 425.6064 | 1.0167 | 428.3481 | 0.574 | 449.1133 | 1854 | 161.7925 |  | 0.10842 | 2400 | 4.9627 | 0.17526 | 1563.9932
OFF | 12:47 | 15 | 1.0091 | 426.2745 | 1.0178 | 428.781 | 0.5767 | 450.6677 | 1853 | 161.7053
OFF | 12:47 | 20 | 1.0091 | 426.2745 | 1.0162 | 428.1513 | 0.5816 | 453.4888 | 1857 | 162.0543
OFF | 12:47 | 25 | 1.0096 | 426.471 | 1.0178 | 428.781 | 0.574 | 449.1133 | 1860 | 162.3161
OFF | 12:48 | 30 | 0.9992 | 422.3836 | 1.0173 | 428.5842 | 0.5789 | 451.9343 | 1854 | 161.7925
OFF | 12:48 | 35 | 1.0135 | 428.0038 | 1.0178 | 428.781 | 0.5811 | 453.2009 | 1852 | 161.618
OFF | 12:48 | 40 | 1.0107 | 426.9033 | 1.0173 | 428.5842 | 0.5783 | 451.5889 | 1853 | 161.7053
OFF | 12:48 | 45 | 1.008 | 425.8422 | 1.0178 | 428.781 | 0.5811 | 453.2009 | 1853 | 161.7053
OFF | 12:48 | 50 | 1.008 | 425.8422 | 1.0167 | 428.3481 | 0.5729 | 448.48 | 1850 | 161.4435
OFF | 12:48 | 55 | 1.0107 | 426.9033 | 1.0184 | 429.0171 | 0.5794 | 452.2222 | 1847 | 161.1817
OFF | 12:48 | 60 | 1.0102 | 426.7068 | 1.0184 | 429.0171 | 0.5745 | 449.4012 | 1850 | 161.4435
OFF | 12:48 | 65 | 1.0129 | 427.768 | 1.0167 | 428.3481 | 0.5789 | 451.9343 | 1849 | 161.3562
OFF | 12:48 | 70 | 1.014 | 428.2003 | 1.0184 | 429.0171 | 0.5778 | 451.301 | 1849 | 161.3562
OFF | 12:48 | 75 | 1.0118 | 427.3357 | 1.0178 | 428.781 | 0.5751 | 449.7466 | 1846 | 161.0944
OFF | 12:48 | 80 | 1.0124 | 427.5715 | 1.0195 | 429.45 | 0.5794 | 452.2222 | 1849 | 161.3562
OFF | 12:49 | 85 | 1.0036 | 424.1129 | 1.0178 | 428.781 | 0.5865 | 456.3098 | 1851 | 161.5307
OFF | 12:49 | 90 | 1.0124 | 427.5715 | 1.02 | 429.6468 | 0.5833 | 454.4675 | 1848 | 161.2689
OFF | 12:49 | 95 | 1.0118 | 427.3357 | 1.02 | 429.6468 | 0.5833 | 454.4675 | 1848 | 161.2689
OFF | 12:49 | 100 | 1.0074 | 425.6064 | 1.0195 | 429.45 | 0.5865 | 456.3098 | 1850 | 161.4435
OFF | 12:49 | 105 | 1.002 | 423.484 | 1.0206 | 429.8829 | 0.5871 | 456.6552 | 1851 | 161.5307
OFF | 12:49 | 110 | 1.008 | 425.8422 | 1.0184 | 429.0171 | 0.5893 | 457.9218 | 1849 | 161.3562
OFF | 12:49 | 115 | 1.0064 | 425.2133 | 1.0189 | 429.2139 | 0.5854 | 455.6765 | 1850 | 161.4435
OFF | 12:49 | 120 | 1.0069 | 425.4098 | 1.0189 | 429.2139 | 0.5816 | 453.4888 | 1846 | 161.0944
OFF | 12:49 | 125 | 1.0085 | 426.0387 | 1.0195 | 429.45 | 0.5778 | 451.301 | 1846 | 161.0944
OFF | 12:49 | 130 | 1.0053 | 424.781 | 1.0178 | 428.781 | 0.5789 | 451.9343 | 1848 | 161.2689
OFF | 12:49 | 135 | 1.0064 | 425.2133 | 1.0189 | 429.2139 | 0.5762 | 450.3799 | 1846 | 161.0944
OFF | 12:49 | 140 | 1.0091 | 426.2745 | 1.0189 | 429.2139 | 0.5751 | 449.7466 | 1845 | 161.0071
OFF | 12:49 | 145 | 1.0102 | 426.7068 | 1.0189 | 429.2139 | 0.5745 | 449.4012 | 1846 | 161.0944
OFF | 12:50 | 150 | 1.0064 | 425.2133 | 1.0173 | 428.5842 | 0.5734 | 448.7679 | 1848 | 161.2689
OFF | 12:50 | 155 | 1.0091 | 426.2745 | 1.0206 | 429.8829 | 0.5762 | 450.3799 | 1845 | 161.0071
OFF | 12:50 | 160 | 1.008 | 425.8422 | 1.0173 | 428.5842 | 0.5827 | 454.122 | 1846 | 161.0944
OFF | 12:50 | 165 | 1.008 | 425.8422 | 1.0173 | 428.5842 | 0.58 | 452.5676 | 1841 | 160.6581
OFF | 12:50 | 170 | 1.0156 | 428.8291 | 1.0189 | 429.2139 | 0.5794 | 452.2222 | 1844 | 160.9199
OFF | 12:50 | 175 | 1.0096 | 426.471 | 1.0184 | 429.0171 | 0.5756 | 450.0344 | 1844 | 160.9199
OFF | 12:50 | 180 | 1.008 | 425.8422 | 1.0195 | 429.45 | 0.5865 | 456.3098 | 1845 | 161.0071
OFF | 12:50 | 185 | 1.008 | 425.8422 | 1.0184 | 429.0171 | 0.5767 | 450.6677 | 1844 | 160.9199
OFF | 12:50 | 190 | 1.0074 | 425.6064 | 1.0178 | 428.781 | 0.5805 | 452.8555 | 1844 | 160.9199
OFF | 12:50 | 195 | 1.0064 | 425.2133 | 1.0189 | 429.2139 | 0.58 | 452.5676 | 1842 | 160.7453
OFF | 12:50 | 200 | 1.0053 | 424.781 | 1.0162 | 428.1513 | 0.5778 | 451.301 | 1843 | 160.8326
OFF | 12:51 | 205 | 1.0074 | 425.6064 | 1.0189 | 429.2139 | 0.5789 | 451.9343 | 1844 | 160.9199
OFF | 12:51 | 210 | 1.008 | 425.8422 | 1.0189 | 429.2139 | 0.58 | 452.5676 | 1847 | 161.1817
OFF | 12:51 | 215 | 1.0102 | 426.7068 | 1.0189 | 429.2139 | 0.5767 | 450.6677 | 1845 | 161.0071
OFF | 12:51 | 220 | 1.0064 | 425.2133 | 1.0173 | 428.5842 | 0.5756 | 450.0344 | 1843 | 160.8326
OFF | 12:51 | 225 | 1.0085 | 426.0387 | 1.0167 | 428.3481 | 0.5778 | 451.301 | 1843 | 160.8326
OFF | 12:51 | 230 | 1.0156 | 428.8291 | 1.0184 | 429.0171 | 0.5778 | 451.301 | 1843 | 160.8326
OFF | 12:51 | 235 | 1.0091 | 426.2745 | 1.0173 | 428.5842 | 0.5827 | 454.122 | 1842 | 160.7453
OFF | 12:51 | 240 | 1.0151 | 428.6326 | 1.0184 | 429.0171 | 0.5827 | 454.122 | 1843 | 160.8326
OFF | 12:51 | 245 | 1.0173 | 429.4972 | 1.0184 | 429.0171 | 0.5805 | 452.8555 | 1846 | 161.0944
OFF | 12:51 | 250 | 1.0107 | 426.9033 | 1.0162 | 428.1513 | 0.5827 | 454.122 | 1842 | 160.7453
OFF | 12:51 | 255 | 1.0091 | 426.2745 | 1.0184 | 429.0171 | 0.5833 | 454.4675 | 1843 | 160.8326
OFF | 12:51 | 260 | 1.0091 | 426.2745 | 1.0184 | 429.0171 | 0.5854 | 455.6765 | 1844 | 160.9199
OFF | 12:51 | 265 | 1.0074 | 425.6064 | 1.0178 | 428.781 | 0.5865 | 456.3098 | 1843 | 160.8326
OFF | 12:52 | 270 | 1.008 | 425.8422 | 1.0195 | 429.45 | 0.5876 | 456.9431 | 1841 | 160.6581
OFF | 12:52 | 275 | 1.008 | 425.8422 | 1.0184 | 429.0171 | 0.5854 | 455.6765 | 1843 | 160.8326
OFF | 12:52 | 280 | 1.0074 | 425.6064 | 1.0173 | 428.5842 | 0.5865 | 456.3098 | 1841 | 160.6581
OFF | 12:52 | 285 | 1.0091 | 426.2745 | 1.0162 | 428.1513 | 0.5915 | 459.1884 | 1836 | 160.2217
OFF | 12:52 | 290 | 1.0091 | 426.2745 | 1.0178 | 428.781 | 0.5871 | 456.6552 | 1841 | 160.6581
OFF | 12:52 | 295 | 1.0091 | 426.2745 | 1.0162 | 428.1513 | 0.5882 | 457.2885 | 1839 | 160.4835
OFF | 12:52 | 300 | 1.0064 | 425.2133 | 1.0167 | 428.3481 | 0.5822 | 453.8342 | 1840 | 160.5708
OFF | 12:52 | 305 | 1.0069 | 425.4098 | 1.0146 | 427.5217 | 0.5865 | 456.3098 | 1840 | 160.5708
OFF | 12:52 | 310 | 1.0058 | 424.9775 | 1.0173 | 428.5842 | 0.5838 | 454.7553 | 1845 | 161.0071
OFF | 12:52 | 315 | 1.0058 | 424.9775 | 1.0162 | 428.1513 | 0.5811 | 453.2009 | 1841 | 160.6581
OFF | 12:52 | 320 | 1.0036 | 424.1129 | 1.0173 | 428.5842 | 0.5844 | 455.1008 | 1842 | 160.7453
OFF | 12:52 | 325 | 1.0036 | 424.1129 | 1.0173 | 428.5842 | 0.5751 | 449.7466 | 1841 | 160.6581
OFF | 12:53 | 330 | 1.0047 | 424.5452 | 1.0184 | 429.0171 | 0.5734 | 448.7679 | 1839 | 160.4835
OFF | 12:53 | 335 | 1.0047 | 424.5452 | 1.0156 | 427.9152 | 0.5783 | 451.5889 | 1838 | 160.3963
OFF | 12:53 | 340 | 1.0036 | 424.1129 | 1.0167 | 428.3481 | 0.5772 | 450.9556 | 1837 | 160.309
OFF | 12:53 | 345 | 1.0053 | 424.781 | 1.0178 | 428.781 | 0.5723 | 448.1346 | 1838 | 160.3963
OFF | 12:53 | 350 | 1.002 | 423.484 | 1.0146 | 427.5217 | 0.5712 | 447.5013 | 1838 | 160.3963
OFF | 12:53 | 355 | 0.9992 | 422.3836 | 1.0156 | 427.9152 | 0.5712 | 447.5013 | 1833 | 159.9599
OFF | 12:53 | 360 | 1.0009 | 423.0517 | 1.014 | 427.2856 | 0.5751 | 449.7466 | 1835 | 160.1345
OFF | 12:53 | 365 | 1.0042 | 424.3487 | 1.0146 | 427.5217 | 0.5734 | 448.7679 | 1837 | 160.309
OFF | 12:53 | 370 | 1.0025 | 423.6806 | 1.0129 | 426.8527 | 0.58 | 452.5676 | 1839 | 160.4835
OFF | 12:53 | 375 | 0.9921 | 419.5931 | 1.0151 | 427.7185 | 0.58 | 452.5676 | 1839 | 160.4835
OFF | 12:53 | 380 | 0.9976 | 421.7548 | 1.0135 | 427.0888 | 0.5767 | 450.6677 | 1838 | 160.3963
OFF | 12:54 | 385 | 0.9987 | 422.1871 | 1.0124 | 426.6559 | 0.574 | 449.1133 | 1840 | 160.5708
OFF | 12:54 | 390 | 1.0031 | 423.9164 | 1.0129 | 426.8527 | 0.574 | 449.1133 | 1841 | 160.6581
OFF | 12:54 | 395 | 0.9998 | 422.6194 | 1.0113 | 426.223 | 0.5778 | 451.301 | 1843 | 160.8326
OFF | 12:54 | 400 | 0.9982 | 421.9906 | 1.0124 | 426.6559 | 0.5707 | 447.2134 | 1842 | 160.7453
OFF | 12:54 | 405 | 0.9982 | 421.9906 | 1.0107 | 425.9869 | 0.58 | 452.5676 | 1841 | 160.6581
OFF | 12:54 | 410 | 0.9943 | 420.4578 | 1.0118 | 426.4198 | 0.5778 | 451.301 | 1842 | 160.7453
OFF | 12:54 | 415 | 0.9889 | 418.3355 | 1.0118 | 426.4198 | 0.5816 | 453.4888 | 1841 | 160.6581
OFF | 12:54 | 420 | 0.9954 | 420.8901 | 1.0102 | 425.7901 | 0.5772 | 450.9556 | 1845 | 161.0071
OFF | 12:54 | 425 | 1.0036 | 424.1129 | 1.0113 | 426.223 | 0.5833 | 454.4675 | 1840 | 160.5708
OFF | 12:54 | 430 | 1.0003 | 422.8159 | 1.0118 | 426.4198 | 0.5805 | 452.8555 | 1841 | 160.6581
OFF | 12:54 | 435 | 0.9976 | 421.7548 | 1.0113 | 426.223 | 0.5794 | 452.2222 | 1844 | 160.9199
OFF | 12:54 | 440 | 0.9949 | 420.6936 | 1.0113 | 426.223 | 0.5822 | 453.8342 | 1842 | 160.7453
OFF | 12:54 | 445 | 1.0014 | 423.2482 | 1.0096 | 425.554 | 0.5778 | 451.301 | 1843 | 160.8326
OFF | 12:55 | 450 | 0.9992 | 422.3836 | 1.0107 | 425.9869 | 0.5772 | 450.9556 | 1845 | 161.0071
OFF | 12:55 | 455 | 0.9976 | 421.7548 | 1.0124 | 426.6559 | 0.568 | 445.659 | 1841 | 160.6581
OFF | 12:55 | 460 | 1.002 | 423.484 | 1.0102 | 425.7901 | 0.5674 | 445.3135 | 1839 | 160.4835
OFF | 12:55 | 465 | 1.0014 | 423.2482 | 1.0102 | 425.7901 | 0.5723 | 448.1346 | 1836 | 160.2217
OFF | 12:55 | 470 | 0.9992 | 422.3836 | 1.0113 | 426.223 | 0.5756 | 450.0344 | 1832 | 159.8727
OFF | 12:55 | 475 | 0.9998 | 422.6194 | 1.0102 | 425.7901 | 0.5751 | 449.7466 | 1828 | 159.5236
OFF | 12:55 | 480 | 0.9954 | 420.8901 | 1.0124 | 426.6559 | 0.5789 | 451.9343 | 1830 | 159.6981
OFF | 12:55 | 485 | 0.9987 | 422.1871 | 1.0091 | 425.3572 | 0.574 | 449.1133 | 1832 | 159.8727
OFF | 12:55 | 490 | 0.9965 | 421.3224 | 1.0096 | 425.554 | 0.569 | 446.2347 | 1830 | 159.6981
OFF | 12:55 | 495 | 1.0009 | 423.0517 | 1.0107 | 425.9869 | 0.5751 | 449.7466 | 1833 | 159.9599
OFF | 12:55 | 500 | 1.0014 | 423.2482 | 1.0091 | 425.3572 | 0.5718 | 447.8467 | 1834 | 160.0472
OFF | 12:56 | 505 | 0.9992 | 422.3836 | 1.0118 | 426.4198 | 0.574 | 449.1133 | 1834 | 160.0472
OFF | 12:56 | 510 | 0.9982 | 421.9906 | 1.0107 | 425.9869 | 0.574 | 449.1133 | 1833 | 159.9599
OFF | 12:56 | 515 | 0.996 | 421.1259 | 1.0102 | 425.7901 | 0.5756 | 450.0344 | 1832 | 159.8727
OFF | 12:56 | 520 | 0.9921 | 419.5931 | 1.0085 | 425.1211 | 0.5729 | 448.48 | 1833 | 159.9599
OFF | 12:56 | 525 | 0.9927 | 419.8289 | 1.0085 | 425.1211 | 0.5794 | 452.2222 | 1834 | 160.0472
OFF | 12:56 | 530 | 0.9949 | 420.6936 | 1.0085 | 425.1211 | 0.5822 | 453.8342 | 1834 | 160.0472
OFF | 12:56 | 535 | 0.9987 | 422.1871 | 1.0102 | 425.7901 | 0.5805 | 452.8555 | 1828 | 159.5236
OFF | 12:56 | 540 | 0.9949 | 420.6936 | 1.0064 | 424.2947 | 0.5816 | 453.4888 | 1833 | 159.9599
OFF | 12:56 | 545 | 0.9954 | 420.8901 | 1.008 | 424.9243 | 0.5794 | 452.2222 | 1832 | 159.8727
OFF | 12:56 | 550 | 0.9932 | 420.0255 | 1.0069 | 424.4914 | 0.5844 | 455.1008 | 1828 | 159.5236
OFF | 12:56 | 555 | 1.002 | 423.484 | 1.008 | 424.9243 | 0.5822 | 453.8342 | 1828 | 159.5236
OFF | 12:56 | 560 | 0.9971 | 421.5582 | 1.0085 | 425.1211 | 0.5833 | 454.4675 | 1833 | 159.9599
OFF | 12:56 | 565 | 0.9965 | 421.3224 | 1.0064 | 424.2947 | 0.5893 | 457.9218 | 1829 | 159.6109
OFF | 12:57 | 570 | 0.9954 | 420.8901 | 1.0058 | 424.0585 | 0.5822 | 453.8342 | 1826 | 159.3491
OFF | 12:57 | 575 | 0.9938 | 420.2613 | 1.0058 | 424.0585 | 0.5789 | 451.9343 | 1827 | 159.4363
OFF | 12:57 | 580 | 0.9949 | 420.6936 | 1.0064 | 424.2947 | 0.5778 | 451.301 | 1824 | 159.1745
OFF | 12:57 | 585 | 0.9943 | 420.4578 | 1.0064 | 424.2947 | 0.5707 | 447.2134 | 1826 | 159.3491
OFF | 12:57 | 590 | 0.9965 | 421.3224 | 1.0069 | 424.4914 | 0.5767 | 450.6677 | 1829 | 159.6109
OFF | 12:57 | 595 | 0.9965 | 421.3224 | 1.0058 | 424.0585 | 0.5707 | 447.2134 | 1826 | 159.3491
ON | 12:57 | 600 | 0.9976 | 421.7548 | 1.0069 | 424.4914 | 0.5767 | 450.6677 | 1824 | 159.1745
ON | 12:57 | 605 | 0.9982 | 421.9906 | 1.0118 | 426.4198 | 0.5772 | 450.9556 | 1832 | 159.8727
ON | 12:57 | 610 | 0.996 | 421.1259 | 1.0069 | 424.4914 | 0.5756 | 450.0344 | 1833 | 159.9599
ON | 12:57 | 615 | 0.9943 | 420.4578 | 1.0096 | 425.554 | 0.5734 | 448.7679 | 1832 | 159.8727
ON | 12:57 | 620 | 0.9949 | 420.6936 | 1.0074 | 424.6882 | 0.568 | 445.659 | 1832 | 159.8727
ON | 12:58 | 625 | 0.9949 | 420.6936 | 1.1299 | 472.8968 | 0.5756 | 450.0344 | 1830 | 159.6981
ON | 12:58 | 630 | 0.9916 | 419.3966 | 1.7979 | 735.7816 | 0.5756 | 450.0344 | 1831 | 159.7854
ON | 12:58 | 635 | 0.9927 | 419.8289 | 2.6944 | 1088.5902 | 0.5734 | 448.7679 | 1829 | 159.6109
ON | 12:58 | 640 | 0.9949 | 420.6936 | 3.8472 | 1542.2631 | 0.5723 | 448.1346 | 1828 | 159.5236
ON | 12:58 | 645 | 0.9932 | 420.0255 | 4.2047 | 1682.9536 | 0.5762 | 450.3799 | 1828 | 159.5236
ON | 12:58 | 650 | 0.9927 | 419.8289 | 5.0072 | 1998.7694 | 0.5756 | 450.0344 | 1827 | 159.4363
ON | 12:58 | 655 | 0.9943 | 420.4578 | 5.011 | 2000.265 | 0.574 | 449.1133 | 1826 | 159.3491
ON | 12:58 | 660 | 0.9932 | 420.0255 | 5.011 | 2000.265 | 0.574 | 449.1133 | 1826 | 159.3491
ON | 12:58 | 665 | 0.9943 | 420.4578 | 5.0137 | 2001.3275 | 0.5712 | 447.5013 | 1825 | 159.2618
ON | 12:58 | 670 | 0.9954 | 420.8901 | 5.0115 | 2000.4617 | 0.5701 | 446.868 | 1826 | 159.3491
ON | 12:58 | 675 | 0.9965 | 421.3224 | 5.0115 | 2000.4617 | 0.5729 | 448.48 | 1822 | 159
ON | 12:58 | 680 | 0.9976 | 421.7548 | 5.0121 | 2000.6979 | 0.5811 | 453.2009 | 1824 | 159.1745
ON | 12:58 | 685 | 0.9982 | 421.9906 | 5.0104 | 2000.0287 | 0.5772 | 450.9556 | 1825 | 159.2618
ON | 12:59 | 690 | 0.9943 | 420.4578 | 5.0099 | 1999.8321 | 0.5767 | 450.6677 | 1822 | 159
ON | 12:59 | 695 | 0.9927 | 419.8289 | 5.0115 | 2000.4617 | 0.574 | 449.1133 | 1822 | 159
ON | 12:59 | 700 | 0.9889 | 418.3355 | 5.0104 | 2000.0287 | 0.5745 | 449.4012 | 1825 | 159.2618
ON | 12:59 | 705 | 0.9965 | 421.3224 | 5.0115 | 2000.4617 | 0.5783 | 451.5889 | 1823 | 159.0873
ON | 12:59 | 710 | 0.996 | 421.1259 | 5.011 | 2000.265 | 0.5707 | 447.2134 | 1824 | 159.1745
ON | 12:59 | 715 | 0.9987 | 422.1871 | 5.0121 | 2000.6979 | 0.574 | 449.1133 | 1825 | 159.2618
ON | 12:59 | 720 | 1.0014 | 423.2482 | 5.011 | 2000.265 | 0.5783 | 451.5889 | 1824 | 159.1745
ON | 12:59 | 725 | 1.002 | 423.484 | 5.011 | 2000.265 | 0.5844 | 455.1008 | 1821 | 158.9127
ON | 12:59 | 730 | 1.0036 | 424.1129 | 5.0121 | 2000.6979 | 0.5816 | 453.4888 | 1821 | 158.9127
ON | 12:59 | 735 | 1.0014 | 423.2482 | 5.011 | 2000.265 | 0.5854 | 455.6765 | 1821 | 158.9127
ON | 12:59 | 740 | 1.0025 | 423.6806 | 5.011 | 2000.265 | 0.5772 | 450.9556 | 1822 | 159
ON | 13:00 | 745 | 1.0058 | 424.9775 | 5.0126 | 2000.8946 | 0.5811 | 453.2009 | 1819 | 158.7382
ON | 13:00 | 750 | 1.0009 | 423.0517 | 5.0121 | 2000.6979 | 0.5827 | 454.122 | 1816 | 158.4764
ON | 13:00 | 755 | 1.0014 | 423.2482 | 5.0143 | 2001.5636 | 0.5794 | 452.2222 | 1822 | 159
ON | 13:00 | 760 | 0.9987 | 422.1871 | 5.0121 | 2000.6979 | 0.5762 | 450.3799 | 1818 | 158.6509
ON | 13:00 | 765 | 1.0069 | 425.4098 | 5.0099 | 1999.8321 | 0.5789 | 451.9343 | 1817 | 158.5637
ON | 13:00 | 770 | 1.0053 | 424.781 | 5.011 | 2000.265 | 0.5794 | 452.2222 | 1818 | 158.6509
ON | 13:00 | 775 | 1.0064 | 425.2133 | 5.0099 | 1999.8321 | 0.5718 | 447.8467 | 1819 | 158.7382
ON | 13:00 | 780 | 1.0047 | 424.5452 | 5.0099 | 1999.8321 | 0.5783 | 451.5889 | 1819 | 158.7382
ON | 13:00 | 785 | 1.0058 | 424.9775 | 5.0115 | 2000.4617 | 0.5816 | 453.4888 | 1819 | 158.7382
ON | 13:00 | 790 | 1.0058 | 424.9775 | 5.011 | 2000.265 | 0.5762 | 450.3799 | 1822 | 159
ON | 13:00 | 795 | 1.0047 | 424.5452 | 5.0121 | 2000.6979 | 0.5822 | 453.8342 | 1820 | 158.8255
ON | 13:00 | 800 | 1.0053 | 424.781 | 5.0104 | 2000.0287 | 0.5762 | 450.3799 | 1817 | 158.5637
ON | 13:00 | 805 | 1.0053 | 424.781 | 5.0099 | 1999.8321 | 0.574 | 449.1133 | 1819 | 158.7382
ON | 13:01 | 810 | 1.0074 | 425.6064 | 5.0121 | 2000.6979 | 0.574 | 449.1133 | 1814 | 158.3019
ON | 13:01 | 815 | 1.0047 | 424.5452 | 5.0104 | 2000.0287 | 0.5794 | 452.2222 | 1815 | 158.3891
ON | 13:01 | 820 | 1.0025 | 423.6806 | 5.0115 | 2000.4617 | 0.5756 | 450.0344 | 1814 | 158.3019
ON | 13:01 | 825 | 1.0091 | 426.2745 | 5.0115 | 2000.4617 | 0.5778 | 451.301 | 1816 | 158.4764
ON | 13:01 | 830 | 0.9998 | 422.6194 | 5.0121 | 2000.6979 | 0.58 | 452.5676 | 1812 | 158.1273
ON | 13:01 | 835 | 1.002 | 423.484 | 5.0099 | 1999.8321 | 0.5718 | 447.8467 | 1813 | 158.2146
ON | 13:01 | 840 | 1.0042 | 424.3487 | 5.0104 | 2000.0287 | 0.5751 | 449.7466 | 1816 | 158.4764
ON | 13:01 | 845 | 1.0014 | 423.2482 | 5.0104 | 2000.0287 | 0.5712 | 447.5013 | 1813 | 158.2146
ON | 13:01 | 850 | 1.0014 | 423.2482 | 5.011 | 2000.265 | 0.5729 | 448.48 | 1811 | 158.0401
ON | 13:01 | 855 | 1.0047 | 424.5452 | 5.0115 | 2000.4617 | 0.5772 | 450.9556 | 1813 | 158.2146
ON | 13:01 | 860 | 1.0058 | 424.9775 | 5.0115 | 2000.4617 | 0.5756 | 450.0344 | 1816 | 158.4764
ON | 13:02 | 865 | 1.0064 | 425.2133 | 5.0088 | 1999.3992 | 0.5745 | 449.4012 | 1815 | 158.3891
ON | 13:02 | 870 | 1.0096 | 426.471 | 5.0115 | 2000.4617 | 0.5789 | 451.9343 | 1811 | 158.0401
ON | 13:02 | 875 | 1.0053 | 424.781 | 5.0132 | 2001.1307 | 0.5789 | 451.9343 | 1811 | 158.0401
ON | 13:02 | 880 | 1.0003 | 422.8159 | 5.0121 | 2000.6979 | 0.5745 | 449.4012 | 1812 | 158.1273
ON | 13:02 | 885 | 1.002 | 423.484 | 5.0121 | 2000.6979 | 0.5783 | 451.5889 | 1812 | 158.1273
ON | 13:02 | 890 | 1.0064 | 425.2133 | 5.011 | 2000.265 | 0.5811 | 453.2009 | 1816 | 158.4764
ON | 13:02 | 895 | 1.0074 | 425.6064 | 5.0104 | 2000.0287 | 0.5751 | 449.7466 | 1816 | 158.4764
ON | 13:02 | 900 | 1.0042 | 424.3487 | 5.011 | 2000.265 | 0.5838 | 454.7553 | 1813 | 158.2146
ON | 13:02 | 905 | 1.0053 | 424.781 | 5.0099 | 1999.8321 | 0.5816 | 453.4888 | 1814 | 158.3019
ON | 13:02 | 910 | 1.0053 | 424.781 | 5.0104 | 2000.0287 | 0.5849 | 455.3886 | 1814 | 158.3019
ON | 13:02 | 915 | 1.0113 | 427.1391 | 5.0104 | 2000.0287 | 0.58 | 452.5676 | 1814 | 158.3019
ON | 13:02 | 920 | 0.9992 | 422.3836 | 5.0143 | 2001.5636 | 0.5811 | 453.2009 | 1815 | 158.3891
ON | 13:02 | 925 | 0.9987 | 422.1871 | 5.0104 | 2000.0287 | 0.58 | 452.5676 | 1814 | 158.3019
ON | 13:03 | 930 | 0.9976 | 421.7548 | 5.011 | 2000.265 | 0.5783 | 451.5889 | 1812 | 158.1273
ON | 13:03 | 935 | 0.9987 | 422.1871 | 5.0104 | 2000.0287 | 0.5794 | 452.2222 | 1814 | 158.3019
ON | 13:03 | 940 | 0.9982 | 421.9906 | 5.0126 | 2000.8946 | 0.5827 | 454.122 | 1811 | 158.0401
ON | 13:03 | 945 | 0.9987 | 422.1871 | 5.0115 | 2000.4617 | 0.574 | 449.1133 | 1812 | 158.1273
ON | 13:03 | 950 | 1.0003 | 422.8159 | 5.0115 | 2000.4617 | 0.58 | 452.5676 | 1808 | 157.7783
ON | 13:03 | 955 | 0.9982 | 421.9906 | 5.0099 | 1999.8321 | 0.574 | 449.1133 | 1807 | 157.691
ON | 13:03 | 960 | 1.0053 | 424.781 | 5.011 | 2000.265 | 0.5712 | 447.5013 | 1807 | 157.691
ON | 13:03 | 965 | 0.9971 | 421.5582 | 5.0115 | 2000.4617 | 0.5767 | 450.6677 | 1808 | 157.7783
ON | 13:03 | 970 | 0.9987 | 422.1871 | 5.0121 | 2000.6979 | 0.5751 | 449.7466 | 1812 | 158.1273
ON | 13:03 | 975 | 0.9943 | 420.4578 | 5.0104 | 2000.0287 | 0.5734 | 448.7679 | 1810 | 157.9528
ON | 13:03 | 980 | 1.0031 | 423.9164 | 5.0104 | 2000.0287 | 0.5734 | 448.7679 | 1810 | 157.9528
ON | 13:04 | 985 | 0.9954 | 420.8901 | 5.0126 | 2000.8946 | 0.5701 | 446.868 | 1809 | 157.8655
ON | 13:04 | 990 | 0.9965 | 421.3224 | 5.0115 | 2000.4617 | 0.569 | 446.2347 | 1809 | 157.8655
ON | 13:04 | 995 | 0.9998 | 422.6194 | 5.0121 | 2000.6979 | 0.574 | 449.1133 | 1808 | 157.7783
ON | 13:04 | 1000 | 0.9998 | 422.6194 | 5.0121 | 2000.6979 | 0.5729 | 448.48 | 1809 | 157.8655
ON | 13:04 | 1005 | 0.9894 | 418.532 | 5.0121 | 2000.6979 | 0.5712 | 447.5013 | 1809 | 157.8655
ON | 13:04 | 1010 | 1.0009 | 423.0517 | 5.0104 | 2000.0287 | 0.5729 | 448.48 | 1807 | 157.691
ON | 13:04 | 1015 | 1.0003 | 422.8159 | 5.0121 | 2000.6979 | 0.5718 | 447.8467 | 1811 | 158.0401
ON | 13:04 | 1020 | 1.0025 | 423.6806 | 5.0126 | 2000.8946 | 0.5701 | 446.868 | 1810 | 157.9528
ON | 13:04 | 1025 | 0.9998 | 422.6194 | 5.0104 | 2000.0287 | 0.568 | 445.659 | 1807 | 157.691
ON | 13:04 | 1030 | 1.0058 | 424.9775 | 5.011 | 2000.265 | 0.574 | 449.1133 | 1804 | 157.4292
ON | 13:04 | 1035 | 0.9998 | 422.6194 | 5.0115 | 2000.4617 | 0.5712 | 447.5013 | 1807 | 157.691
ON | 13:04 | 1040 | 1.0003 | 422.8159 | 5.011 | 2000.265 | 0.5718 | 447.8467 | 1809 | 157.8655
ON | 13:04 | 1045 | 0.9971 | 421.5582 | 5.0104 | 2000.0287 | 0.5734 | 448.7679 | 1808 | 157.7783
ON | 13:05 | 1050 | 1.002 | 423.484 | 5.011 | 2000.265 | 0.5712 | 447.5013 | 1808 | 157.7783
ON | 13:05 | 1055 | 0.9982 | 421.9906 | 5.0088 | 1999.3992 | 0.5734 | 448.7679 | 1810 | 157.9528
ON | 13:05 | 1060 | 0.9992 | 422.3836 | 5.0104 | 2000.0287 | 0.5778 | 451.301 | 1810 | 157.9528
ON | 13:05 | 1065 | 0.9965 | 421.3224 | 5.011 | 2000.265 | 0.5762 | 450.3799 | 1809 | 157.8655
ON | 13:05 | 1070 | 0.9987 | 422.1871 | 5.0104 | 2000.0287 | 0.5772 | 450.9556 | 1807 | 157.691
ON | 13:05 | 1075 | 0.9992 | 422.3836 | 5.0099 | 1999.8321 | 0.5751 | 449.7466 | 1805 | 157.5165
ON | 13:05 | 1080 | 0.9976 | 421.7548 | 5.0121 | 2000.6979 | 0.5756 | 450.0344 | 1804 | 157.4292
ON | 13:05 | 1085 | 0.9976 | 421.7548 | 5.0115 | 2000.4617 | 0.5762 | 450.3799 | 1805 | 157.5165
ON | 13:05 | 1090 | 0.9987 | 422.1871 | 5.0126 | 2000.8946 | 0.5767 | 450.6677 | 1803 | 157.3419
ON | 13:05 | 1095 | 0.9998 | 422.6194 | 5.0137 | 2001.3275 | 0.5783 | 451.5889 | 1806 | 157.6037
ON | 13:05 | 1100 | 0.9987 | 422.1871 | 5.0115 | 2000.4617 | 0.5811 | 453.2009 | 1810 | 157.9528
ON | 13:06 | 1105 | 0.9943 | 420.4578 | 5.0099 | 1999.8321 | 0.5811 | 453.2009 | 1810 | 157.9528
ON | 13:06 | 1110 | 0.9954 | 420.8901 | 5.0115 | 2000.4617 | 0.5822 | 453.8342 | 1808 | 157.7783
ON | 13:06 | 1115 | 0.9976 | 421.7548 | 5.0115 | 2000.4617 | 0.5838 | 454.7553 | 1806 | 157.6037
ON | 13:06 | 1120 | 0.9987 | 422.1871 | 5.0137 | 2001.3275 | 0.5811 | 453.2009 | 1807 | 157.691
ON | 13:06 | 1125 | 0.9982 | 421.9906 | 5.0126 | 2000.8946 | 0.5816 | 453.4888 | 1809 | 157.8655
ON | 13:06 | 1130 | 0.9938 | 420.2613 | 5.011 | 2000.265 | 0.5854 | 455.6765 | 1803 | 157.3419
ON | 13:06 | 1135 | 0.996 | 421.1259 | 5.0115 | 2000.4617 | 0.5838 | 454.7553 | 1804 | 157.4292
ON | 13:06 | 1140 | 0.9971 | 421.5582 | 5.0104 | 2000.0287 | 0.5783 | 451.5889 | 1809 | 157.8655
ON | 13:06 | 1145 | 0.9938 | 420.2613 | 5.0115 | 2000.4617 | 0.5778 | 451.301 | 1808 | 157.7783
ON | 13:06 | 1150 | 0.9905 | 418.9643 | 5.0115 | 2000.4617 | 0.5783 | 451.5889 | 1810 | 157.9528
ON | 13:06 | 1155 | 0.991 | 419.1608 | 5.0121 | 2000.6979 | 0.574 | 449.1133 | 1811 | 158.0401
ON | 13:06 | 1160 | 0.9971 | 421.5582 | 5.011 | 2000.265 | 0.5794 | 452.2222 | 1803 | 157.3419
ON | 13:06 | 1165 | 0.9982 | 421.9906 | 5.011 | 2000.265 | 0.5756 | 450.0344 | 1805 | 157.5165
ON | 13:07 | 1170 | 0.9954 | 420.8901 | 5.0099 | 1999.8321 | 0.5756 | 450.0344 | 1803 | 157.3419
ON | 13:07 | 1175 | 0.9998 | 422.6194 | 5.0115 | 2000.4617 | 0.5794 | 452.2222 | 1803 | 157.3419
ON | 13:07 | 1180 | 0.9976 | 421.7548 | 5.0121 | 2000.6979 | 0.5734 | 448.7679 | 1807 | 157.691
ON | 13:07 | 1185 | 0.9943 | 420.4578 | 5.0104 | 2000.0287 | 0.5751 | 449.7466 | 1807 | 157.691
ON | 13:07 | 1190 | 0.9949 | 420.6936 | 5.0154 | 2001.9965 | 0.5789 | 451.9343 | 1804 | 157.4292
ON | 13:07 | 1195 | 0.9889 | 418.3355 | 5.0132 | 2001.1307 | 0.569 | 446.2347 | 1802 | 157.2547
ON | 13:07 | 1200 | 0.9971 | 421.5582 | 5.0115 | 2000.4617 | 0.5707 | 447.2134 | 1802 | 157.2547
ON | 13:07 | 1205 | 0.9998 | 422.6194 | 5.0115 | 2000.4617 | 0.5701 | 446.868 | 1801 | 157.1674
ON | 13:07 | 1210 | 0.9916 | 419.3966 | 5.0104 | 2000.0287 | 0.569 | 446.2347 | 1797 | 156.8183
ON | 13:07 | 1215 | 1.0003 | 422.8159 | 5.0104 | 2000.0287 | 0.5652 | 444.0469 | 1797 | 156.8183
ON | 13:07 | 1220 | 0.9932 | 420.0255 | 5.011 | 2000.265 | 0.5669 | 445.0257 | 1799 | 156.9929
ON | 13:08 | 1225 | 0.9998 | 422.6194 | 5.0115 | 2000.4617 | 0.5701 | 446.868 | 1800 | 157.0801
ON | 13:08 | 1230 | 0.9998 | 422.6194 | 5.0121 | 2000.6979 | 0.568 | 445.659 | 1802 | 157.2547
ON | 13:08 | 1235 | 0.9971 | 421.5582 | 5.0115 | 2000.4617 | 0.569 | 446.2347 | 1803 | 157.3419
ON | 13:08 | 1240 | 0.991 | 419.1608 | 5.0093 | 1999.596 | 0.5674 | 445.3135 | 1801 | 157.1674
ON | 13:08 | 1245 | 0.9949 | 420.6936 | 5.0093 | 1999.596 | 0.5674 | 445.3135 | 1799 | 156.9929
ON | 13:08 | 1250 | 0.9932 | 420.0255 | 5.011 | 2000.265 | 0.5663 | 444.6802 | 1798 | 156.9056
ON | 13:08 | 1255 | 0.991 | 419.1608 | 5.0126 | 2000.8946 | 0.569 | 446.2347 | 1798 | 156.9056
ON | 13:08 | 1260 | 0.9927 | 419.8289 | 5.0115 | 2000.4617 | 0.563 | 442.7804 | 1800 | 157.0801
ON | 13:08 | 1265 | 0.9932 | 420.0255 | 5.0115 | 2000.4617 | 0.563 | 442.7804 | 1799 | 156.9929
ON | 13:08 | 1270 | 0.99 | 418.7678 | 5.0099 | 1999.8321 | 0.5696 | 446.5801 | 1797 | 156.8183
ON | 13:08 | 1275 | 0.9932 | 420.0255 | 5.0115 | 2000.4617 | 0.5636 | 443.1258 | 1800 | 157.0801
ON | 13:08 | 1280 | 0.9949 | 420.6936 | 5.011 | 2000.265 | 0.5641 | 443.4137 | 1800 | 157.0801
ON | 13:08 | 1285 | 0.9927 | 419.8289 | 5.0099 | 1999.8321 | 0.5696 | 446.5801 | 1797 | 156.8183
ON | 13:09 | 1290 | 0.9927 | 419.8289 | 5.0104 | 2000.0287 | 0.568 | 445.659 | 1795 | 156.6438
ON | 13:09 | 1295 | 0.9916 | 419.3966 | 5.011 | 2000.265 | 0.5685 | 445.9468 | 1795 | 156.6438
ON | 13:09 | 1300 | 0.991 | 419.1608 | 5.0104 | 2000.0287 | 0.5658 | 444.3924 | 1797 | 156.8183
ON | 13:09 | 1305 | 0.9954 | 420.8901 | 5.0121 | 2000.6979 | 0.5729 | 448.48 | 1797 | 156.8183
ON | 13:09 | 1310 | 0.991 | 419.1608 | 5.0099 | 1999.8321 | 0.5707 | 447.2134 | 1794 | 156.5565
ON | 13:09 | 1315 | 0.9932 | 420.0255 | 5.011 | 2000.265 | 0.5641 | 443.4137 | 1795 | 156.6438
ON | 13:09 | 1320 | 0.9921 | 419.5931 | 5.0099 | 1999.8321 | 0.568 | 445.659 | 1797 | 156.8183
ON | 13:09 | 1325 | 0.9938 | 420.2613 | 5.0083 | 1999.2023 | 0.5658 | 444.3924 | 1798 | 156.9056
ON | 13:09 | 1330 | 0.9927 | 419.8289 | 5.0121 | 2000.6979 | 0.5707 | 447.2134 | 1801 | 157.1674
ON | 13:09 | 1335 | 0.9921 | 419.5931 | 5.0115 | 2000.4617 | 0.5723 | 448.1346 | 1799 | 156.9929
ON | 13:09 | 1340 | 0.9938 | 420.2613 | 5.0115 | 2000.4617 | 0.5745 | 449.4012 | 1796 | 156.7311
ON | 13:10 | 1345 | 0.996 | 421.1259 | 5.0104 | 2000.0287 | 0.5712 | 447.5013 | 1798 | 156.9056
ON | 13:10 | 1350 | 0.9954 | 420.8901 | 5.0115 | 2000.4617 | 0.5718 | 447.8467 | 1798 | 156.9056
ON | 13:10 | 1355 | 0.9971 | 421.5582 | 5.0126 | 2000.8946 | 0.5723 | 448.1346 | 1794 | 156.5565
ON | 13:10 | 1360 | 1.0014 | 423.2482 | 5.0121 | 2000.6979 | 0.5685 | 445.9468 | 1791 | 156.2947
ON | 13:10 | 1365 | 1.0042 | 424.3487 | 5.0104 | 2000.0287 | 0.5652 | 444.0469 | 1792 | 156.382
ON | 13:10 | 1370 | 0.9971 | 421.5582 | 5.011 | 2000.265 | 0.5641 | 443.4137 | 1793 | 156.4693
ON | 13:10 | 1375 | 0.9982 | 421.9906 | 5.0115 | 2000.4617 | 0.5647 | 443.7591 | 1791 | 156.2947
ON | 13:10 | 1380 | 0.9971 | 421.5582 | 5.0104 | 2000.0287 | 0.5674 | 445.3135 | 1787 | 155.9457
ON | 13:10 | 1385 | 0.9992 | 422.3836 | 5.0115 | 2000.4617 | 0.5718 | 447.8467 | 1787 | 155.9457
ON | 13:10 | 1390 | 0.9987 | 422.1871 | 5.0115 | 2000.4617 | 0.5669 | 445.0257 | 1791 | 156.2947
ON | 13:10 | 1395 | 0.9971 | 421.5582 | 5.0115 | 2000.4617 | 0.5674 | 445.3135 | 1791 | 156.2947
ON | 13:10 | 1400 | 0.9987 | 422.1871 | 5.0126 | 2000.8946 | 0.5701 | 446.868 | 1792 | 156.382
ON | 13:10 | 1405 | 0.9992 | 422.3836 | 5.0126 | 2000.8946 | 0.5734 | 448.7679 | 1790 | 156.2075
ON | 13:11 | 1410 | 0.9982 | 421.9906 | 5.011 | 2000.265 | 0.5707 | 447.2134 | 1788 | 156.0329
ON | 13:11 | 1415 | 0.9982 | 421.9906 | 5.0099 | 1999.8321 | 0.5729 | 448.48 | 1788 | 156.0329
ON | 13:11 | 1420 | 0.9987 | 422.1871 | 5.0115 | 2000.4617 | 0.5674 | 445.3135 | 1788 | 156.0329
ON | 13:11 | 1425 | 0.9971 | 421.5582 | 5.011 | 2000.265 | 0.5707 | 447.2134 | 1783 | 155.5966
ON | 13:11 | 1430 | 0.9992 | 422.3836 | 5.0104 | 2000.0287 | 0.5734 | 448.7679 | 1782 | 155.5093
ON | 13:11 | 1435 | 0.9965 | 421.3224 | 5.0093 | 1999.596 | 0.5729 | 448.48 | 1784 | 155.6839
ON | 13:11 | 1440 | 1.0036 | 424.1129 | 5.0093 | 1999.596 | 0.574 | 449.1133 | 1785 | 155.7711
ON | 13:11 | 1445 | 1.0014 | 423.2482 | 5.0104 | 2000.0287 | 0.5718 | 447.8467 | 1787 | 155.9457
ON | 13:11 | 1450 | 0.9992 | 422.3836 | 5.011 | 2000.265 | 0.5805 | 452.8555 | 1785 | 155.7711
ON | 13:11 | 1455 | 1.0014 | 423.2482 | 5.0115 | 2000.4617 | 0.5762 | 450.3799 | 1787 | 155.9457
ON | 13:11 | 1460 | 0.9971 | 421.5582 | 5.0104 | 2000.0287 | 0.5789 | 451.9343 | 1788 | 156.0329
ON | 13:12 | 1465 | 1.0003 | 422.8159 | 5.0104 | 2000.0287 | 0.5767 | 450.6677 | 1788 | 156.0329
ON | 13:12 | 1470 | 1.0009 | 423.0517 | 5.011 | 2000.265 | 0.5822 | 453.8342 | 1787 | 155.9457
ON | 13:12 | 1475 | 0.9976 | 421.7548 | 5.011 | 2000.265 | 0.5816 | 453.4888 | 1786 | 155.8584
ON | 13:12 | 1480 | 1.0003 | 422.8159 | 5.0104 | 2000.0287 | 0.5822 | 453.8342 | 1788 | 156.0329
ON | 13:12 | 1485 | 1.0025 | 423.6806 | 5.0099 | 1999.8321 | 0.5783 | 451.5889 | 1789 | 156.1202
ON | 13:12 | 1490 | 0.9987 | 422.1871 | 5.0121 | 2000.6979 | 0.5816 | 453.4888 | 1788 | 156.0329
ON | 13:12 | 1495 | 0.996 | 421.1259 | 5.0115 | 2000.4617 | 0.5767 | 450.6677 | 1784 | 155.6839
ON | 13:12 | 1500 | 0.9954 | 420.8901 | 5.0132 | 2001.1307 | 0.5778 | 451.301 | 1780 | 155.3348
ON | 13:12 | 1505 | 1.0031 | 423.9164 | 5.0104 | 2000.0287 | 0.5816 | 453.4888 | 1784 | 155.6839
ON | 13:12 | 1510 | 0.9992 | 422.3836 | 5.0121 | 2000.6979 | 0.5789 | 451.9343 | 1786 | 155.8584
ON | 13:12 | 1515 | 0.9987 | 422.1871 | 5.011 | 2000.265 | 0.58 | 452.5676 | 1790 | 156.2075
ON | 13:12 | 1520 | 0.9971 | 421.5582 | 5.0115 | 2000.4617 | 0.5745 | 449.4012 | 1789 | 156.1202
ON | 13:12 | 1525 | 0.9949 | 420.6936 | 5.0104 | 2000.0287 | 0.58 | 452.5676 | 1788 | 156.0329
ON | 13:13 | 1530 | 0.9949 | 420.6936 | 5.0104 | 2000.0287 | 0.5778 | 451.301 | 1789 | 156.1202
ON | 13:13 | 1535 | 0.9965 | 421.3224 | 5.0121 | 2000.6979 | 0.5805 | 452.8555 | 1788 | 156.0329
ON | 13:13 | 1540 | 0.9971 | 421.5582 | 5.0104 | 2000.0287 | 0.5767 | 450.6677 | 1788 | 156.0329
ON | 13:13 | 1545 | 0.9943 | 420.4578 | 5.0088 | 1999.3992 | 0.5762 | 450.3799 | 1788 | 156.0329
ON | 13:13 | 1550 | 0.996 | 421.1259 | 5.0121 | 2000.6979 | 0.5751 | 449.7466 | 1789 | 156.1202
ON | 13:13 | 1555 | 1.0031 | 423.9164 | 5.011 | 2000.265 | 0.5723 | 448.1346 | 1791 | 156.2947
ON | 13:13 | 1560 | 0.9938 | 420.2613 | 5.0104 | 2000.0287 | 0.5723 | 448.1346 | 1793 | 156.4693
ON | 13:13 | 1565 | 0.99 | 418.7678 | 5.0104 | 2000.0287 | 0.5772 | 450.9556 | 1789 | 156.1202
ON | 13:13 | 1570 | 0.9921 | 419.5931 | 5.0115 | 2000.4617 | 0.5701 | 446.868 | 1791 | 156.2947
ON | 13:13 | 1575 | 0.9921 | 419.5931 | 5.011 | 2000.265 | 0.5701 | 446.868 | 1788 | 156.0329
ON | 13:13 | 1580 | 0.9916 | 419.3966 | 5.0104 | 2000.0287 | 0.5745 | 449.4012 | 1788 | 156.0329
ON | 13:14 | 1585 | 0.9905 | 418.9643 | 5.0088 | 1999.3992 | 0.5778 | 451.301 | 1784 | 155.6839
ON | 13:14 | 1590 | 0.9992 | 422.3836 | 5.011 | 2000.265 | 0.5729 | 448.48 | 1782 | 155.5093
ON | 13:14 | 1595 | 0.9921 | 419.5931 | 5.0115 | 2000.4617 | 0.5756 | 450.0344 | 1781 | 155.4221
ON | 13:14 | 1600 | 0.996 | 421.1259 | 5.011 | 2000.265 | 0.5756 | 450.0344 | 1783 | 155.5966
ON | 13:14 | 1605 | 0.9954 | 420.8901 | 5.011 | 2000.265 | 0.5669 | 445.0257 | 1782 | 155.5093
ON | 13:14 | 1610 | 0.9943 | 420.4578 | 5.0088 | 1999.3992 | 0.574 | 449.1133 | 1785 | 155.7711
ON | 13:14 | 1615 | 0.99 | 418.7678 | 5.0126 | 2000.8946 | 0.568 | 445.659 | 1781 | 155.4221
ON | 13:14 | 1620 | 0.9949 | 420.6936 | 5.0104 | 2000.0287 | 0.5718 | 447.8467 | 1781 | 155.4221
ON | 13:14 | 1625 | 0.9927 | 419.8289 | 5.0121 | 2000.6979 | 0.5685 | 445.9468 | 1782 | 155.5093
ON | 13:14 | 1630 | 0.9932 | 420.0255 | 5.0126 | 2000.8946 | 0.5707 | 447.2134 | 1783 | 155.5966
ON | 13:14 | 1635 | 0.9943 | 420.4578 | 5.011 | 2000.265 | 0.5723 | 448.1346 | 1782 | 155.5093
ON | 13:14 | 1640 | 0.9938 | 420.2613 | 5.011 | 2000.265 | 0.5756 | 450.0344 | 1786 | 155.8584
ON | 13:14 | 1645 | 0.99 | 418.7678 | 5.0104 | 2000.0287 | 0.5718 | 447.8467 | 1787 | 155.9457
ON | 13:15 | 1650 | 0.9927 | 419.8289 | 5.0099 | 1999.8321 | 0.574 | 449.1133 | 1786 | 155.8584
ON | 13:15 | 1655 | 0.9954 | 420.8901 | 5.0093 | 1999.596 | 0.5696 | 446.5801 | 1785 | 155.7711
ON | 13:15 | 1660 | 0.9943 | 420.4578 | 5.011 | 2000.265 | 0.5729 | 448.48 | 1786 | 155.8584
ON | 13:15 | 1665 | 0.991 | 419.1608 | 5.0099 | 1999.8321 | 0.5663 | 444.6802 | 1785 | 155.7711
ON | 13:15 | 1670 | 0.9987 | 422.1871 | 5.0099 | 1999.8321 | 0.5729 | 448.48 | 1781 | 155.4221
ON | 13:15 | 1675 | 0.9921 | 419.5931 | 5.011 | 2000.265 | 0.5685 | 445.9468 | 1775 | 154.8985
ON | 13:15 | 1680 | 0.9932 | 420.0255 | 5.0104 | 2000.0287 | 0.5729 | 448.48 | 1780 | 155.3348
ON | 13:15 | 1685 | 0.9943 | 420.4578 | 5.0115 | 2000.4617 | 0.5696 | 446.5801 | 1780 | 155.3348
ON | 13:15 | 1690 | 0.9927 | 419.8289 | 5.0077 | 1998.9662 | 0.569 | 446.2347 | 1778 | 155.1603
ON | 13:15 | 1695 | 0.9927 | 419.8289 | 5.0115 | 2000.4617 | 0.5734 | 448.7679 | 1778 | 155.1603
ON | 13:15 | 1700 | 0.9905 | 418.9643 | 5.011 | 2000.265 | 0.5685 | 445.9468 | 1778 | 155.1603
ON | 13:16 | 1705 | 0.9949 | 420.6936 | 5.0115 | 2000.4617 | 0.5783 | 451.5889 | 1779 | 155.2475
ON | 13:16 | 1710 | 0.9927 | 419.8289 | 5.011 | 2000.265 | 0.5805 | 452.8555 | 1779 | 155.2475
ON | 13:16 | 1715 | 0.9927 | 419.8289 | 5.0104 | 2000.0287 | 0.5734 | 448.7679 | 1780 | 155.3348
ON | 13:16 | 1720 | 0.9976 | 421.7548 | 5.0093 | 1999.596 | 0.5734 | 448.7679 | 1784 | 155.6839
ON | 13:16 | 1725 | 0.9971 | 421.5582 | 5.0115 | 2000.4617 | 0.5778 | 451.301 | 1781 | 155.4221
ON | 13:16 | 1730 | 0.996 | 421.1259 | 5.0126 | 2000.8946 | 0.5772 | 450.9556 | 1782 | 155.5093
ON | 13:16 | 1735 | 0.9932 | 420.0255 | 5.0099 | 1999.8321 | 0.5767 | 450.6677 | 1780 | 155.3348
ON | 13:16 | 1740 | 0.9954 | 420.8901 | 5.011 | 2000.265 | 0.5751 | 449.7466 | 1778 | 155.1603
ON | 13:16 | 1745 | 0.9927 | 419.8289 | 5.0088 | 1999.3992 | 0.5707 | 447.2134 | 1779 | 155.2475
ON | 13:16 | 1750 | 0.9916 | 419.3966 | 5.0104 | 2000.0287 | 0.5767 | 450.6677 | 1776 | 154.9857
ON | 13:16 | 1755 | 0.9987 | 422.1871 | 5.0099 | 1999.8321 | 0.5745 | 449.4012 | 1774 | 154.8112
ON | 13:16 | 1760 | 0.9965 | 421.3224 | 5.0115 | 2000.4617 | 0.5767 | 450.6677 | 1777 | 155.073
ON | 13:16 | 1765 | 0.9872 | 417.6674 | 5.0121 | 2000.6979 | 0.5745 | 449.4012 | 1779 | 155.2475
ON | 13:17 | 1770 | 0.9932 | 420.0255 | 5.0115 | 2000.4617 | 0.5745 | 449.4012 | 1779 | 155.2475
ON | 13:17 | 1775 | 0.9949 | 420.6936 | 5.0099 | 1999.8321 | 0.5723 | 448.1346 | 1780 | 155.3348
ON | 13:17 | 1780 | 1.0025 | 423.6806 | 5.011 | 2000.265 | 0.5723 | 448.1346 | 1781 | 155.4221
ON | 13:17 | 1785 | 0.9965 | 421.3224 | 5.0132 | 2001.1307 | 0.5756 | 450.0344 | 1774 | 154.8112
ON | 13:17 | 1790 | 0.9889 | 418.3355 | 5.011 | 2000.265 | 0.5734 | 448.7679 | 1773 | 154.7239
ON | 13:17 | 1795 | 0.9921 | 419.5931 | 5.0115 | 2000.4617 | 0.5652 | 444.0469 | 1774 | 154.8112
ON | 13:17 | 1800 | 0.9927 | 419.8289 | 5.0104 | 2000.0287 | 0.5674 | 445.3135 | 1771 | 154.5494
ON | 13:17 | 1805 | 0.9938 | 420.2613 | 5.0115 | 2000.4617 | 0.569 | 446.2347 | 1774 | 154.8112
ON | 13:17 | 1810 | 0.9938 | 420.2613 | 5.0104 | 2000.0287 | 0.5701 | 446.868 | 1776 | 154.9857
ON | 13:17 | 1815 | 0.991 | 419.1608 | 5.0121 | 2000.6979 | 0.5745 | 449.4012 | 1772 | 154.6367
ON | 13:17 | 1820 | 0.991 | 419.1608 | 5.0121 | 2000.6979 | 0.5696 | 446.5801 | 1772 | 154.6367
ON | 13:18 | 1825 | 0.9932 | 420.0255 | 5.0104 | 2000.0287 | 0.574 | 449.1133 | 1773 | 154.7239
ON | 13:18 | 1830 | 0.9965 | 421.3224 | 5.0115 | 2000.4617 | 0.5641 | 443.4137 | 1773 | 154.7239
ON | 13:18 | 1835 | 0.9943 | 420.4578 | 5.0104 | 2000.0287 | 0.5718 | 447.8467 | 1771 | 154.5494
ON | 13:18 | 1840 | 0.9949 | 420.6936 | 5.0093 | 1999.596 | 0.5734 | 448.7679 | 1772 | 154.6367
ON | 13:18 | 1845 | 0.991 | 419.1608 | 5.011 | 2000.265 | 0.5707 | 447.2134 | 1775 | 154.8985
ON | 13:18 | 1850 | 0.9927 | 419.8289 | 5.0115 | 2000.4617 | 0.5778 | 451.301 | 1776 | 154.9857
ON | 13:18 | 1855 | 0.9916 | 419.3966 | 5.0115 | 2000.4617 | 0.568 | 445.659 | 1773 | 154.7239
ON | 13:18 | 1860 | 0.9943 | 420.4578 | 5.011 | 2000.265 | 0.5762 | 450.3799 | 1769 | 154.3749
ON | 13:18 | 1865 | 0.991 | 419.1608 | 5.0132 | 2001.1307 | 0.5772 | 450.9556 | 1771 | 154.5494
ON | 13:18 | 1870 | 0.99 | 418.7678 | 5.0104 | 2000.0287 | 0.5734 | 448.7679 | 1774 | 154.8112
ON | 13:18 | 1875 | 0.9894 | 418.532 | 5.0104 | 2000.0287 | 0.5751 | 449.7466 | 1773 | 154.7239
ON | 13:18 | 1880 | 0.9921 | 419.5931 | 5.0115 | 2000.4617 | 0.5701 | 446.868 | 1773 | 154.7239
ON | 13:18 | 1885 | 0.9823 | 415.7415 | 5.011 | 2000.265 | 0.5674 | 445.3135 | 1777 | 155.073
ON | 13:19 | 1890 | 0.9894 | 418.532 | 5.0104 | 2000.0287 | 0.5745 | 449.4012 | 1777 | 155.073
ON | 13:19 | 1895 | 0.996 | 421.1259 | 5.011 | 2000.265 | 0.5745 | 449.4012 | 1777 | 155.073
ON | 13:19 | 1900 | 0.9943 | 420.4578 | 5.0093 | 1999.596 | 0.5767 | 450.6677 | 1778 | 155.1603
ON | 13:19 | 1905 | 0.9878 | 417.9032 | 5.011 | 2000.265 | 0.5772 | 450.9556 | 1776 | 154.9857
ON | 13:19 | 1910 | 0.99 | 418.7678 | 5.0099 | 1999.8321 | 0.5772 | 450.9556 | 1770 | 154.4621
ON | 13:19 | 1915 | 0.991 | 419.1608 | 5.011 | 2000.265 | 0.574 | 449.1133 | 1767 | 154.2003
ON | 13:19 | 1920 | 0.9883 | 418.0997 | 5.0121 | 2000.6979 | 0.5729 | 448.48 | 1772 | 154.6367
ON | 13:19 | 1925 | 0.9894 | 418.532 | 5.0115 | 2000.4617 | 0.574 | 449.1133 | 1769 | 154.3749
ON | 13:19 | 1930 | 0.9932 | 420.0255 | 5.0121 | 2000.6979 | 0.5712 | 447.5013 | 1770 | 154.4621
ON | 13:19 | 1935 | 0.9828 | 415.9381 | 5.0126 | 2000.8946 | 0.569 | 446.2347 | 1772 | 154.6367
ON | 13:19 | 1940 | 0.9905 | 418.9643 | 5.0115 | 2000.4617 | 0.5745 | 449.4012 | 1772 | 154.6367
ON | 13:20 | 1945 | 0.9921 | 419.5931 | 5.0126 | 2000.8946 | 0.5707 | 447.2134 | 1771 | 154.5494
ON | 13:20 | 1950 | 0.9916 | 419.3966 | 5.0132 | 2001.1307 | 0.5772 | 450.9556 | 1772 | 154.6367
ON | 13:20 | 1955 | 0.9938 | 420.2613 | 5.0099 | 1999.8321 | 0.5767 | 450.6677 | 1773 | 154.7239
ON | 13:20 | 1960 | 1.0064 | 425.2133 | 5.011 | 2000.265 | 0.5805 | 452.8555 | 1775 | 154.8985
ON | 13:20 | 1965 | 1.0031 | 423.9164 | 5.0088 | 1999.3992 | 0.5745 | 449.4012 | 1777 | 155.073
ON | 13:20 | 1970 | 0.9938 | 420.2613 | 5.0104 | 2000.0287 | 0.5767 | 450.6677 | 1773 | 154.7239
ON | 13:20 | 1975 | 0.99 | 418.7678 | 5.0121 | 2000.6979 | 0.5762 | 450.3799 | 1773 | 154.7239
ON | 13:20 | 1980 | 0.9965 | 421.3224 | 5.011 | 2000.265 | 0.5734 | 448.7679 | 1766 | 154.1131
ON | 13:20 | 1985 | 0.9982 | 421.9906 | 5.011 | 2000.265 | 0.5718 | 447.8467 | 1771 | 154.5494
ON | 13:20 | 1990 | 0.9949 | 420.6936 | 5.0099 | 1999.8321 | 0.5734 | 448.7679 | 1769 | 154.3749
ON | 13:20 | 1995 | 0.9965 | 421.3224 | 5.0132 | 2001.1307 | 0.5756 | 450.0344 | 1773 | 154.7239
ON | 13:20 | 2000 | 0.9921 | 419.5931 | 5.0104 | 2000.0287 | 0.5729 | 448.48 | 1775 | 154.8985
ON | 13:20 | 2005 | 0.9949 | 420.6936 | 5.0115 | 2000.4617 | 0.5756 | 450.0344 | 1775 | 154.8985
ON | 13:21 | 2010 | 0.9927 | 419.8289 | 5.0121 | 2000.6979 | 0.5772 | 450.9556 | 1770 | 154.4621
ON | 13:21 | 2015 | 0.996 | 421.1259 | 5.011 | 2000.265 | 0.5794 | 452.2222 | 1764 | 153.9385
ON | 13:21 | 2020 | 0.9927 | 419.8289 | 5.0104 | 2000.0287 | 0.5756 | 450.0344 | 1768 | 154.2876
ON | 13:21 | 2025 | 0.9954 | 420.8901 | 5.011 | 2000.265 | 0.5816 | 453.4888 | 1769 | 154.3749
ON | 13:21 | 2030 | 0.9938 | 420.2613 | 5.0115 | 2000.4617 | 0.5789 | 451.9343 | 1767 | 154.2003
ON | 13:21 | 2035 | 1.0025 | 423.6806 | 5.0132 | 2001.1307 | 0.5751 | 449.7466 | 1767 | 154.2003
ON | 13:21 | 2040 | 0.9971 | 421.5582 | 5.011 | 2000.265 | 0.5734 | 448.7679 | 1766 | 154.1131
ON | 13:21 | 2045 | 0.996 | 421.1259 | 5.0115 | 2000.4617 | 0.574 | 449.1133 | 1766 | 154.1131
ON | 13:21 | 2050 | 0.9954 | 420.8901 | 5.0093 | 1999.596 | 0.5718 | 447.8467 | 1768 | 154.2876
ON | 13:21 | 2055 | 0.9965 | 421.3224 | 5.0093 | 1999.596 | 0.5778 | 451.301 | 1768 | 154.2876
ON | 13:21 | 2060 | 0.9943 | 420.4578 | 5.0104 | 2000.0287 | 0.5712 | 447.5013 | 1768 | 154.2876
ON | 13:22 | 2065 | 0.9932 | 420.0255 | 5.0099 | 1999.8321 | 0.5723 | 448.1346 | 1766 | 154.1131
ON | 13:22 | 2070 | 0.996 | 421.1259 | 5.0115 | 2000.4617 | 0.5772 | 450.9556 | 1766 | 154.1131
ON | 13:22 | 2075 | 0.9943 | 420.4578 | 5.011 | 2000.265 | 0.5712 | 447.5013 | 1770 | 154.4621
ON | 13:22 | 2080 | 0.9921 | 419.5931 | 5.011 | 2000.265 | 0.5756 | 450.0344 | 1770 | 154.4621
ON | 13:22 | 2085 | 0.9932 | 420.0255 | 5.0121 | 2000.6979 | 0.5674 | 445.3135 | 1772 | 154.6367
ON | 13:22 | 2090 | 0.9971 | 421.5582 | 5.0121 | 2000.6979 | 0.5707 | 447.2134 | 1770 | 154.4621
ON | 13:22 | 2095 | 0.9828 | 415.9381 | 5.0126 | 2000.8946 | 0.5701 | 446.868 | 1768 | 154.2876
ON | 13:22 | 2100 | 0.99 | 418.7678 | 5.0121 | 2000.6979 | 0.5723 | 448.1346 | 1771 | 154.5494
ON | 13:22 | 2105 | 0.991 | 419.1608 | 5.011 | 2000.265 | 0.5723 | 448.1346 | 1771 | 154.5494
ON | 13:22 | 2110 | 0.9976 | 421.7548 | 5.0121 | 2000.6979 | 0.5718 | 447.8467 | 1772 | 154.6367
ON | 13:22 | 2115 | 0.996 | 421.1259 | 5.0121 | 2000.6979 | 0.5767 | 450.6677 | 1775 | 154.8985
ON | 13:22 | 2120 | 0.9927 | 419.8289 | 5.0132 | 2001.1307 | 0.5745 | 449.4012 | 1771 | 154.5494
ON | 13:22 | 2125 | 0.9921 | 419.5931 | 5.011 | 2000.265 | 0.5723 | 448.1346 | 1767 | 154.2003
ON | 13:23 | 2130 | 0.9932 | 420.0255 | 5.0099 | 1999.8321 | 0.5756 | 450.0344 | 1766 | 154.1131
ON | 13:23 | 2135 | 0.9949 | 420.6936 | 5.0115 | 2000.4617 | 0.5778 | 451.301 | 1766 | 154.1131
ON | 13:23 | 2140 | 1.0009 | 423.0517 | 5.0115 | 2000.4617 | 0.574 | 449.1133 | 1767 | 154.2003
ON | 13:23 | 2145 | 0.9971 | 421.5582 | 5.0115 | 2000.4617 | 0.5756 | 450.0344 | 1767 | 154.2003
ON | 13:23 | 2150 | 0.9938 | 420.2613 | 5.0099 | 1999.8321 | 0.5772 | 450.9556 | 1769 | 154.3749
ON | 13:23 | 2155 | 0.9938 | 420.2613 | 5.0104 | 2000.0287 | 0.5729 | 448.48 | 1767 | 154.2003
ON | 13:23 | 2160 | 0.9971 | 421.5582 | 5.0104 | 2000.0287 | 0.5794 | 452.2222 | 1768 | 154.2876
ON | 13:23 | 2165 | 0.9938 | 420.2613 | 5.0099 | 1999.8321 | 0.5751 | 449.7466 | 1765 | 154.0258
ON | 13:23 | 2170 | 0.9954 | 420.8901 | 5.0099 | 1999.8321 | 0.5778 | 451.301 | 1768 | 154.2876
ON | 13:23 | 2175 | 0.9982 | 421.9906 | 5.0115 | 2000.4617 | 0.5751 | 449.7466 | 1768 | 154.2876
ON | 13:23 | 2180 | 0.9976 | 421.7548 | 5.0115 | 2000.4617 | 0.5822 | 453.8342 | 1768 | 154.2876
ON | 13:24 | 2185 | 0.9971 | 421.5582 | 5.0132 | 2001.1307 | 0.5789 | 451.9343 | 1768 | 154.2876
ON | 13:24 | 2190 | 0.9949 | 420.6936 | 5.011 | 2000.265 | 0.5751 | 449.7466 | 1767 | 154.2003
ON | 13:24 | 2195 | 0.9965 | 421.3224 | 5.0121 | 2000.6979 | 0.5723 | 448.1346 | 1764 | 153.9385
ON | 13:24 | 2200 | 0.9976 | 421.7548 | 5.011 | 2000.265 | 0.5718 | 447.8467 | 1764 | 153.9385
ON | 13:24 | 2205 | 0.9998 | 422.6194 | 5.0126 | 2000.8946 | 0.5734 | 448.7679 | 1765 | 154.0258
ON | 13:24 | 2210 | 0.9992 | 422.3836 | 5.0115 | 2000.4617 | 0.5783 | 451.5889 | 1769 | 154.3749
ON | 13:24 | 2215 | 0.9938 | 420.2613 | 5.0099 | 1999.8321 | 0.5701 | 446.868 | 1771 | 154.5494
ON | 13:24 | 2220 | 1.0003 | 422.8159 | 5.0121 | 2000.6979 | 0.5772 | 450.9556 | 1772 | 154.6367
ON | 13:24 | 2225 | 0.9976 | 421.7548 | 5.011 | 2000.265 | 0.569 | 446.2347 | 1771 | 154.5494
ON | 13:24 | 2230 | 1.0025 | 423.6806 | 5.0093 | 1999.596 | 0.569 | 446.2347 | 1767 | 154.2003
ON | 13:24 | 2235 | 0.9998 | 422.6194 | 5.0115 | 2000.4617 | 0.5734 | 448.7679 | 1768 | 154.2876
ON | 13:24 | 2240 | 0.9943 | 420.4578 | 5.0104 | 2000.0287 | 0.5745 | 449.4012 | 1766 | 154.1131
ON | 13:24 | 2245 | 1.0003 | 422.8159 | 5.011 | 2000.265 | 0.5794 | 452.2222 | 1764 | 153.9385
ON | 13:25 | 2250 | 0.9976 | 421.7548 | 5.011 | 2000.265 | 0.5658 | 444.3924 | 1764 | 153.9385
ON | 13:25 | 2255 | 0.9976 | 421.7548 | 5.0104 | 2000.0287 | 0.5718 | 447.8467 | 1763 | 153.8513
ON | 13:25 | 2260 | 1.002 | 423.484 | 5.0104 | 2000.0287 | 0.5734 | 448.7679 | 1766 | 154.1131
ON | 13:25 | 2265 | 0.9992 | 422.3836 | 5.0115 | 2000.4617 | 0.5685 | 445.9468 | 1767 | 154.2003
ON | 13:25 | 2270 | 0.9976 | 421.7548 | 5.0104 | 2000.0287 | 0.5696 | 446.5801 | 1766 | 154.1131
ON | 13:25 | 2275 | 0.9971 | 421.5582 | 5.0121 | 2000.6979 | 0.5674 | 445.3135 | 1765 | 154.0258
ON | 13:25 | 2280 | 0.9949 | 420.6936 | 5.0104 | 2000.0287 | 0.5707 | 447.2134 | 1763 | 153.8513
ON | 13:25 | 2285 | 0.9976 | 421.7548 | 5.0104 | 2000.0287 | 0.5767 | 450.6677 | 1762 | 153.764
ON | 13:25 | 2290 | 0.9998 | 422.6194 | 5.0115 | 2000.4617 | 0.5707 | 447.2134 | 1762 | 153.764
ON | 13:25 | 2295 | 0.9987 | 422.1871 | 5.0126 | 2000.8946 | 0.5641 | 443.4137 | 1759 | 153.5022
ON | 13:25 | 2300 | 1.0003 | 422.8159 | 5.0115 | 2000.4617 | 0.5701 | 446.868 | 1759 | 153.5022
ON | 13:26 | 2305 | 0.9982 | 421.9906 | 5.0104 | 2000.0287 | 0.5669 | 445.0257 | 1762 | 153.764
ON | 13:26 | 2310 | 0.996 | 421.1259 | 5.0115 | 2000.4617 | 0.5685 | 445.9468 | 1763 | 153.8513
ON | 13:26 | 2315 | 0.9949 | 420.6936 | 5.011 | 2000.265 | 0.5745 | 449.4012 | 1766 | 154.1131
ON | 13:26 | 2320 | 0.9965 | 421.3224 | 5.0115 | 2000.4617 | 0.5729 | 448.48 | 1763 | 153.8513
ON | 13:26 | 2325 | 0.9943 | 420.4578 | 5.0115 | 2000.4617 | 0.5756 | 450.0344 | 1760 | 153.5895
ON | 13:26 | 2330 | 0.9943 | 420.4578 | 5.0115 | 2000.4617 | 0.5718 | 447.8467 | 1755 | 153.1531
ON | 13:26 | 2335 | 0.9971 | 421.5582 | 5.0104 | 2000.0287 | 0.5734 | 448.7679 | 1756 | 153.2404
ON | 13:26 | 2340 | 0.9976 | 421.7548 | 5.0121 | 2000.6979 | 0.5696 | 446.5801 | 1758 | 153.4149
ON | 13:26 | 2345 | 0.9949 | 420.6936 | 5.0121 | 2000.6979 | 0.5762 | 450.3799 | 1756 | 153.2404
ON | 13:26 | 2350 | 0.9971 | 421.5582 | 5.011 | 2000.265 | 0.5723 | 448.1346 | 1760 | 153.5895
ON | 13:26 | 2355 | 0.9971 | 421.5582 | 5.0099 | 1999.8321 | 0.5789 | 451.9343 | 1756 | 153.2404
ON | 13:26 | 2360 | 1.002 | 423.484 | 5.0104 | 2000.0287 | 0.5838 | 454.7553 | 1756 | 153.2404
ON | 13:26 | 2365 | 0.9982 | 421.9906 | 5.0115 | 2000.4617 | 0.5833 | 454.4675 | 1753 | 152.9786
ON | 13:27 | 2370 | 0.9992 | 422.3836 | 5.0104 | 2000.0287 | 0.5778 | 451.301 | 1754 | 153.0659
ON | 13:27 | 2375 | 1.0009 | 423.0517 | 5.0121 | 2000.6979 | 0.5871 | 456.6552 | 1753 | 152.9786
ON | 13:27 | 2380 | 1.0031 | 423.9164 | 5.0115 | 2000.4617 | 0.5805 | 452.8555 | 1756 | 153.2404
ON | 13:27 | 2385 | 0.9976 | 421.7548 | 5.0104 | 2000.0287 | 0.5811 | 453.2009 | 1757 | 153.3277
ON | 13:27 | 2390 | 1.0003 | 422.8159 | 5.0121 | 2000.6979 | 0.5827 | 454.122 | 1756 | 153.2404
ON | 13:27 | 2395 | 1.0003 | 422.8159 | 5.0088 | 1999.3992 | 0.5816 | 453.4888 | 1758 | 153.4149
OFF | 13:27 | 2400 | 0.9976 | 421.7548 | 5.0104 | 2000.0287 | 0.5844 | 455.1008 | 1757 | 153.3277
OFF | 13:27 | 2405 | 1.0025 | 423.6806 | 5.0115 | 2000.4617 | 0.5811 | 453.2009 | 1754 | 153.0659
OFF | 13:27 | 2410 | 1.0036 | 424.1129 | 5.0088 | 1999.3992 | 0.5767 | 450.6677 | 1755 | 153.1531
OFF | 13:27 | 2415 | 1.0003 | 422.8159 | 5.011 | 2000.265 | 0.5833 | 454.4675 | 1756 | 153.2404
OFF | 13:27 | 2420 | 0.9998 | 422.6194 | 5.011 | 2000.265 | 0.58 | 452.5676 | 1755 | 153.1531
OFF | 13:28 | 2425 | 1.0003 | 422.8159 | 5.0104 | 2000.0287 | 0.5822 | 453.8342 | 1751 | 152.8041
OFF | 13:28 | 2430 | 1.0031 | 423.9164 | 5.0104 | 2000.0287 | 0.5789 | 451.9343 | 1754 | 153.0659
OFF | 13:28 | 2435 | 0.9992 | 422.3836 | 5.0121 | 2000.6979 | 0.5811 | 453.2009 | 1747 | 152.455
OFF | 13:28 | 2440 | 0.9992 | 422.3836 | 4.4857 | 1793.5384 | 0.5865 | 456.3098 | 1752 | 152.8913
OFF | 13:28 | 2445 | 1.0031 | 423.9164 | 4.4228 | 1768.7847 | 0.5778 | 451.301 | 1751 | 152.8041
OFF | 13:28 | 2450 | 0.9998 | 422.6194 | 3.7761 | 1514.2824 | 0.5816 | 453.4888 | 1754 | 153.0659
OFF | 13:28 | 2455 | 1.002 | 423.484 | 3.5269 | 1416.2122 | 0.5756 | 450.0344 | 1754 | 153.0659
OFF | 13:28 | 2460 | 1.0053 | 424.781 | 3.2618 | 1311.8848 | 0.5849 | 455.3886 | 1755 | 153.1531
OFF | 13:28 | 2465 | 0.9992 | 422.3836 | 2.9261 | 1179.7734 | 0.5783 | 451.5889 | 1756 | 153.2404
OFF | 13:28 | 2470 | 0.9949 | 420.6936 | 2.6479 | 1070.2906 | 0.5789 | 451.9343 | 1753 | 152.9786
OFF | 13:28 | 2475 | 0.996 | 421.1259 | 2.309 | 936.9199 | 0.5778 | 451.301 | 1749 | 152.6295
OFF | 13:28 | 2480 | 0.9954 | 420.8901 | 2.1138 | 860.1009 | 0.5751 | 449.7466 | 1750 | 152.7168
OFF | 13:28 | 2485 | 0.9982 | 421.9906 | 1.9334 | 789.1062 | 0.58 | 452.5676 | 1751 | 152.8041
OFF | 13:29 | 2490 | 0.9992 | 422.3836 | 1.8219 | 745.2265 | 0.58 | 452.5676 | 1750 | 152.7168
OFF | 13:29 | 2495 | 1.0036 | 424.1129 | 1.6798 | 689.3045 | 0.5805 | 452.8555 | 1749 | 152.6295
OFF | 13:29 | 2500 | 1.0025 | 423.6806 | 1.5978 | 657.0342 | 0.5833 | 454.4675 | 1749 | 152.6295
OFF | 13:29 | 2505 | 0.9998 | 422.6194 | 1.5027 | 619.6085 | 0.5827 | 454.122 | 1748 | 152.5423
OFF | 13:29 | 2510 | 0.9982 | 421.9906 | 1.4355 | 593.1627 | 0.5783 | 451.5889 | 1747 | 152.455
OFF | 13:29 | 2515 | 1.0003 | 422.8159 | 1.354 | 561.0891 | 0.5778 | 451.301 | 1745 | 152.2805
OFF | 13:29 | 2520 | 0.9982 | 421.9906 | 1.2999 | 539.7987 | 0.5789 | 451.9343 | 1747 | 152.455
OFF | 13:29 | 2525 | 0.9998 | 422.6194 | 1.2862 | 534.4072 | 0.5811 | 453.2009 | 1751 | 152.8041
OFF | 13:29 | 2530 | 0.9998 | 422.6194 | 1.231 | 512.6837 | 0.5838 | 454.7553 | 1750 | 152.7168
OFF | 13:29 | 2535 | 0.9982 | 421.9906 | 1.1862 | 495.0532 | 0.586 | 456.0219 | 1746 | 152.3677
OFF | 13:29 | 2540 | 0.9965 | 421.3224 | 1.1911 | 496.9815 | 0.5822 | 453.8342 | 1748 | 152.5423
OFF | 13:30 | 2545 | 0.9943 | 420.4578 | 1.1447 | 478.7213 | 0.5827 | 454.122 | 1749 | 152.6295
OFF | 13:30 | 2550 | 0.9971 | 421.5582 | 1.1403 | 476.9897 | 0.5767 | 450.6677 | 1748 | 152.5423
OFF | 13:30 | 2555 | 0.9987 | 422.1871 | 1.1211 | 469.4337 | 0.5794 | 452.2222 | 1748 | 152.5423
OFF | 13:30 | 2560 | 0.996 | 421.1259 | 1.0993 | 460.8545 | 0.5767 | 450.6677 | 1746 | 152.3677
OFF | 13:30 | 2565 | 0.9938 | 420.2613 | 1.0889 | 456.7617 | 0.5816 | 453.4888 | 1746 | 152.3677
OFF | 13:30 | 2570 | 0.9954 | 420.8901 | 1.0758 | 451.6063 | 0.5778 | 451.301 | 1742 | 152.0187
OFF | 13:30 | 2575 | 0.9954 | 420.8901 | 1.067 | 448.1432 | 0.5827 | 454.122 | 1744 | 152.1932
OFF | 13:30 | 2580 | 0.9938 | 420.2613 | 1.0627 | 446.451 | 0.5805 | 452.8555 | 1744 | 152.1932
OFF | 13:30 | 2585 | 0.9954 | 420.8901 | 1.0545 | 443.2239 | 0.5783 | 451.5889 | 1743 | 152.1059
OFF | 13:30 | 2590 | 0.9982 | 421.9906 | 1.0528 | 442.5549 | 0.5833 | 454.4675 | 1746 | 152.3677
OFF | 13:30 | 2595 | 0.9927 | 419.8289 | 1.0495 | 441.2562 | 0.5811 | 453.2009 | 1749 | 152.6295
OFF | 13:30 | 2600 | 0.9932 | 420.0255 | 1.0441 | 439.1311 | 0.5778 | 451.301 | 1748 | 152.5423
OFF | 13:30 | 2605 | 0.9938 | 420.2613 | 1.043 | 438.6982 | 0.5827 | 454.122 | 1746 | 152.3677
OFF | 13:31 | 2610 | 0.9921 | 419.5931 | 1.0397 | 437.3995 | 0.5762 | 450.3799 | 1745 | 152.2805
OFF | 13:31 | 2615 | 0.9949 | 420.6936 | 1.0359 | 435.9041 | 0.5789 | 451.9343 | 1743 | 152.1059
OFF | 13:31 | 2620 | 0.9938 | 420.2613 | 1.0337 | 435.0383 | 0.5762 | 450.3799 | 1745 | 152.2805
OFF | 13:31 | 2625 | 0.9943 | 420.4578 | 1.0299 | 433.5428 | 0.5756 | 450.0344 | 1745 | 152.2805
OFF | 13:31 | 2630 | 1.0009 | 423.0517 | 1.0299 | 433.5428 | 0.5669 | 445.0257 | 1743 | 152.1059
OFF | 13:31 | 2635 | 0.996 | 421.1259 | 1.026 | 432.008 | 0.5718 | 447.8467 | 1742 | 152.0187
OFF | 13:31 | 2640 | 0.9932 | 420.0255 | 1.0228 | 430.7487 | 0.5712 | 447.5013 | 1745 | 152.2805
OFF | 13:31 | 2645 | 0.991 | 419.1608 | 1.0222 | 430.5126 | 0.5696 | 446.5801 | 1746 | 152.3677
OFF | 13:31 | 2650 | 0.9943 | 420.4578 | 1.0244 | 431.3784 | 0.5734 | 448.7679 | 1745 | 152.2805
OFF | 13:31 | 2655 | 0.9971 | 421.5582 | 1.0228 | 430.7487 | 0.5707 | 447.2134 | 1740 | 151.8441
OFF | 13:31 | 2660 | 0.9949 | 420.6936 | 1.0255 | 431.8113 | 0.5756 | 450.0344 | 1742 | 152.0187
OFF | 13:32 | 2665 | 0.9921 | 419.5931 | 1.0222 | 430.5126 | 0.5712 | 447.5013 | 1744 | 152.1932
OFF | 13:32 | 2670 | 0.9938 | 420.2613 | 1.0206 | 429.8829 | 0.5767 | 450.6677 | 1747 | 152.455
OFF | 13:32 | 2675 | 0.9932 | 420.0255 | 1.0184 | 429.0171 | 0.5751 | 449.7466 | 1747 | 152.455
OFF | 13:32 | 2680 | 0.991 | 419.1608 | 1.0167 | 428.3481 | 0.5685 | 445.9468 | 1748 | 152.5423
OFF | 13:32 | 2685 | 0.9938 | 420.2613 | 1.0162 | 428.1513 | 0.5723 | 448.1346 | 1747 | 152.455
OFF | 13:32 | 2690 | 0.9921 | 419.5931 | 1.0173 | 428.5842 | 0.5652 | 444.0469 | 1745 | 152.2805
OFF | 13:32 | 2695 | 0.9949 | 420.6936 | 1.0178 | 428.781 | 0.5685 | 445.9468 | 1745 | 152.2805
OFF | 13:32 | 2700 | 0.9927 | 419.8289 | 1.0151 | 427.7185 | 0.5745 | 449.4012 | 1747 | 152.455
OFF | 13:32 | 2705 | 0.9894 | 418.532 | 1.0151 | 427.7185 | 0.5778 | 451.301 | 1745 | 152.2805
OFF | 13:32 | 2710 | 0.99 | 418.7678 | 1.0129 | 426.8527 | 0.5762 | 450.3799 | 1744 | 152.1932
OFF | 13:32 | 2715 | 0.9927 | 419.8289 | 1.0146 | 427.5217 | 0.5729 | 448.48 | 1742 | 152.0187
OFF | 13:32 | 2720 | 0.9916 | 419.3966 | 1.0167 | 428.3481 | 0.5723 | 448.1346 | 1740 | 151.8441
OFF | 13:32 | 2725 | 0.9932 | 420.0255 | 1.0151 | 427.7185 | 0.5745 | 449.4012 | 1743 | 152.1059
OFF | 13:33 | 2730 | 0.9921 | 419.5931 | 1.0146 | 427.5217 | 0.5641 | 443.4137 | 1745 | 152.2805
OFF | 13:33 | 2735 | 0.9916 | 419.3966 | 1.0151 | 427.7185 | 0.5718 | 447.8467 | 1743 | 152.1059
OFF | 13:33 | 2740 | 0.9921 | 419.5931 | 1.0146 | 427.5217 | 0.5658 | 444.3924 | 1742 | 152.0187
OFF | 13:33 | 2745 | 0.9921 | 419.5931 | 1.0124 | 426.6559 | 0.569 | 446.2347 | 1741 | 151.9314
OFF | 13:33 | 2750 | 0.9894 | 418.532 | 1.0146 | 427.5217 | 0.5723 | 448.1346 | 1742 | 152.0187
OFF | 13:33 | 2755 | 0.9889 | 418.3355 | 1.0129 | 426.8527 | 0.5641 | 443.4137 | 1744 | 152.1932
OFF | 13:33 | 2760 | 0.9878 | 417.9032 | 1.0124 | 426.6559 | 0.563 | 442.7804 | 1741 | 151.9314
OFF | 13:33 | 2765 | 0.9927 | 419.8289 | 1.0129 | 426.8527 | 0.557 | 439.326 | 1740 | 151.8441
OFF | 13:33 | 2770 | 0.9867 | 417.4708 | 1.0135 | 427.0888 | 0.5537 | 437.4261 | 1743 | 152.1059
OFF | 13:33 | 2775 | 0.9889 | 418.3355 | 1.0124 | 426.6559 | 0.5592 | 440.5926 | 1746 | 152.3677
OFF | 13:33 | 2780 | 0.9878 | 417.9032 | 1.0124 | 426.6559 | 0.5581 | 439.9593 | 1745 | 152.2805
OFF | 13:34 | 2785 | 0.9878 | 417.9032 | 1.0135 | 427.0888 | 0.5614 | 441.8592 | 1744 | 152.1932
OFF | 13:34 | 2790 | 0.9872 | 417.6674 | 1.0124 | 426.6559 | 0.5647 | 443.7591 | 1740 | 151.8441
OFF | 13:34 | 2795 | 0.9916 | 419.3966 | 1.0113 | 426.223 | 0.5663 | 444.6802 | 1743 | 152.1059
OFF | 13:34 | 2800 | 0.9878 | 417.9032 | 1.0113 | 426.223 | 0.563 | 442.7804 | 1746 | 152.3677
OFF | 13:34 | 2805 | 0.9861 | 417.235 | 1.0102 | 425.7901 | 0.5641 | 443.4137 | 1745 | 152.2805
OFF | 13:34 | 2810 | 0.9861 | 417.235 | 1.0113 | 426.223 | 0.5696 | 446.5801 | 1744 | 152.1932
OFF | 13:34 | 2815 | 0.9839 | 416.3704 | 1.0118 | 426.4198 | 0.5718 | 447.8467 | 1742 | 152.0187
OFF | 13:34 | 2820 | 0.9839 | 416.3704 | 1.0102 | 425.7901 | 0.5712 | 447.5013 | 1743 | 152.1059
OFF | 13:34 | 2825 | 0.9839 | 416.3704 | 1.0107 | 425.9869 | 0.5701 | 446.868 | 1742 | 152.0187
OFF | 13:34 | 2830 | 0.985 | 416.8027 | 1.0096 | 425.554 | 0.5718 | 447.8467 | 1742 | 152.0187
OFF | 13:34 | 2835 | 0.9878 | 417.9032 | 1.0096 | 425.554 | 0.569 | 446.2347 | 1743 | 152.1059
OFF | 13:34 | 2840 | 0.9883 | 418.0997 | 1.0074 | 424.6882 | 0.5707 | 447.2134 | 1744 | 152.1932
OFF | 13:34 | 2845 | 0.9894 | 418.532 | 1.0118 | 426.4198 | 0.563 | 442.7804 | 1744 | 152.1932
OFF | 13:35 | 2850 | 0.9856 | 417.0385 | 1.0107 | 425.9869 | 0.5652 | 444.0469 | 1745 | 152.2805
OFF | 13:35 | 2855 | 0.9878 | 417.9032 | 1.0085 | 425.1211 | 0.5734 | 448.7679 | 1741 | 151.9314
OFF | 13:35 | 2860 | 0.9883 | 418.0997 | 1.0124 | 426.6559 | 0.5772 | 450.9556 | 1736 | 151.4951
OFF | 13:35 | 2865 | 0.9905 | 418.9643 | 1.0124 | 426.6559 | 0.5701 | 446.868 | 1735 | 151.4078
OFF | 13:35 | 2870 | 0.991 | 419.1608 | 1.0102 | 425.7901 | 0.574 | 449.1133 | 1737 | 151.5823
OFF | 13:35 | 2875 | 0.9883 | 418.0997 | 1.0129 | 426.8527 | 0.574 | 449.1133 | 1738 | 151.6696
OFF | 13:35 | 2880 | 0.9894 | 418.532 | 1.014 | 427.2856 | 0.5751 | 449.7466 | 1737 | 151.5823
OFF | 13:35 | 2885 | 0.9927 | 419.8289 | 1.0113 | 426.223 | 0.574 | 449.1133 | 1733 | 151.2333
OFF | 13:35 | 2890 | 0.9927 | 419.8289 | 1.0135 | 427.0888 | 0.5783 | 451.5889 | 1734 | 151.3205
OFF | 13:35 | 2895 | 0.99 | 418.7678 | 1.0102 | 425.7901 | 0.5751 | 449.7466 | 1736 | 151.4951
OFF | 13:35 | 2900 | 0.9927 | 419.8289 | 1.0118 | 426.4198 | 0.574 | 449.1133 | 1737 | 151.5823
OFF | 13:36 | 2905 | 0.9938 | 420.2613 | 1.0118 | 426.4198 | 0.5707 | 447.2134 | 1737 | 151.5823
OFF | 13:36 | 2910 | 0.9927 | 419.8289 | 1.0129 | 426.8527 | 0.5767 | 450.6677 | 1737 | 151.5823
OFF | 13:36 | 2915 | 0.9921 | 419.5931 | 1.0129 | 426.8527 | 0.5783 | 451.5889 | 1738 | 151.6696
OFF | 13:36 | 2920 | 0.9921 | 419.5931 | 1.0124 | 426.6559 | 0.5767 | 450.6677 | 1736 | 151.4951
OFF | 13:36 | 2925 | 0.9949 | 420.6936 | 1.0107 | 425.9869 | 0.5816 | 453.4888 | 1738 | 151.6696
OFF | 13:36 | 2930 | 0.9932 | 420.0255 | 1.0129 | 426.8527 | 0.5794 | 452.2222 | 1738 | 151.6696
OFF | 13:36 | 2935 | 0.9878 | 417.9032 | 1.0124 | 426.6559 | 0.5734 | 448.7679 | 1737 | 151.5823
OFF | 13:36 | 2940 | 0.9921 | 419.5931 | 1.0151 | 427.7185 | 0.5696 | 446.5801 | 1737 | 151.5823
OFF | 13:36 | 2945 | 0.9927 | 419.8289 | 1.0151 | 427.7185 | 0.5723 | 448.1346 | 1737 | 151.5823
OFF | 13:36 | 2950 | 0.9927 | 419.8289 | 1.0118 | 426.4198 | 0.574 | 449.1133 | 1739 | 151.7569
OFF | 13:36 | 2955 | 0.9801 | 414.8769 | 1.0129 | 426.8527 | 0.5707 | 447.2134 | 1738 | 151.6696
OFF | 13:36 | 2960 | 0.9932 | 420.0255 | 1.0129 | 426.8527 | 0.5762 | 450.3799 | 1741 | 151.9314
OFF | 13:36 | 2965 | 0.9916 | 419.3966 | 1.0129 | 426.8527 | 0.5778 | 451.301 | 1736 | 151.4951
OFF | 13:37 | 2970 | 0.9916 | 419.3966 | 1.0146 | 427.5217 | 0.5767 | 450.6677 | 1736 | 151.4951
OFF | 13:37 | 2975 | 0.9921 | 419.5931 | 1.0135 | 427.0888 | 0.5805 | 452.8555 | 1736 | 151.4951
OFF | 13:37 | 2980 | 0.99 | 418.7678 | 1.0124 | 426.6559 | 0.5783 | 451.5889 | 1733 | 151.2333
OFF | 13:37 | 2985 | 0.9878 | 417.9032 | 1.0124 | 426.6559 | 0.5871 | 456.6552 | 1736 | 151.4951
OFF | 13:37 | 2990 | 0.9927 | 419.8289 | 1.0107 | 425.9869 | 0.5794 | 452.2222 | 1735 | 151.4078
OFF | 13:37 | 2995 | 0.9916 | 419.3966 | 1.0129 | 426.8527 | 0.5794 | 452.2222 | 1734 | 151.3205
OFF | 13:37 | 3000 | 0.9938 | 420.2613 | 1.0124 | 426.6559 | 0.5816 | 453.4888 | 1734 | 151.3205
OFF | 13:37 | 3005 | 0.9927 | 419.8289 | 1.0118 | 426.4198 | 0.5762 | 450.3799 | 1733 | 151.2333
OFF | 13:37 | 3010 | 0.9883 | 418.0997 | 1.0124 | 426.6559 | 0.5844 | 455.1008 | 1732 | 151.146
OFF | 13:37 | 3015 | 0.9905 | 418.9643 | 1.0118 | 426.4198 | 0.5811 | 453.2009 | 1735 | 151.4078
OFF | 13:37 | 3020 | 0.9938 | 420.2613 | 1.0113 | 426.223 | 0.5751 | 449.7466 | 1732 | 151.146
OFF | 13:38 | 3025 | 0.9894 | 418.532 | 1.0107 | 425.9869 | 0.5833 | 454.4675 | 1730 | 150.9715
OFF | 13:38 | 3030 | 0.9845 | 416.6062 | 1.0124 | 426.6559 | 0.5794 | 452.2222 | 1734 | 151.3205
OFF | 13:38 | 3035 | 0.9883 | 418.0997 | 1.0107 | 425.9869 | 0.5816 | 453.4888 | 1736 | 151.4951
OFF | 13:38 | 3040 | 0.9883 | 418.0997 | 1.0107 | 425.9869 | 0.58 | 452.5676 | 1735 | 151.4078
OFF | 13:38 | 3045 | 0.99 | 418.7678 | 1.0107 | 425.9869 | 0.5794 | 452.2222 | 1737 | 151.5823
OFF | 13:38 | 3050 | 0.99 | 418.7678 | 1.008 | 424.9243 | 0.58 | 452.5676 | 1734 | 151.3205
OFF | 13:38 | 3055 | 0.9949 | 420.6936 | 1.0113 | 426.223 | 0.58 | 452.5676 | 1734 | 151.3205
OFF | 13:38 | 3060 | 0.9943 | 420.4578 | 1.0124 | 426.6559 | 0.5811 | 453.2009 | 1734 | 151.3205
OFF | 13:38 | 3065 | 0.9916 | 419.3966 | 1.008 | 424.9243 | 0.58 | 452.5676 | 1731 | 151.0587
OFF | 13:38 | 3070 | 0.9982 | 421.9906 | 1.0085 | 425.1211 | 0.5783 | 451.5889 | 1733 | 151.2333
OFF | 13:38 | 3075 | 0.99 | 418.7678 | 1.0085 | 425.1211 | 0.5767 | 450.6677 | 1734 | 151.3205
OFF | 13:38 | 3080 | 0.9927 | 419.8289 | 1.0102 | 425.7901 | 0.5783 | 451.5889 | 1731 | 151.0587
OFF | 13:38 | 3085 | 0.9954 | 420.8901 | 1.0096 | 425.554 | 0.5772 | 450.9556 | 1731 | 151.0587
OFF | 13:39 | 3090 | 0.9883 | 418.0997 | 1.0102 | 425.7901 | 0.5712 | 447.5013 | 1735 | 151.4078
OFF | 13:39 | 3095 | 0.9889 | 418.3355 | 1.0096 | 425.554 | 0.5718 | 447.8467 | 1733 | 151.2333
OFF | 13:39 | 3100 | 0.9889 | 418.3355 | 1.0069 | 424.4914 | 0.568 | 445.659 | 1737 | 151.5823
OFF | 13:39 | 3105 | 0.991 | 419.1608 | 1.008 | 424.9243 | 0.5685 | 445.9468 | 1742 | 152.0187
OFF | 13:39 | 3110 | 0.9883 | 418.0997 | 1.0074 | 424.6882 | 0.5674 | 445.3135 | 1730 | 150.9715
OFF | 13:39 | 3115 | 0.9894 | 418.532 | 1.0096 | 425.554 | 0.5729 | 448.48 | 1729 | 150.8842
OFF | 13:39 | 3120 | 0.9883 | 418.0997 | 1.0069 | 424.4914 | 0.5756 | 450.0344 | 1731 | 151.0587
OFF | 13:39 | 3125 | 0.9872 | 417.6674 | 1.0074 | 424.6882 | 0.5729 | 448.48 | 1732 | 151.146
OFF | 13:39 | 3130 | 0.9878 | 417.9032 | 1.0074 | 424.6882 | 0.5701 | 446.868 | 1734 | 151.3205
OFF | 13:39 | 3135 | 0.9932 | 420.0255 | 1.008 | 424.9243 | 0.5696 | 446.5801 | 1734 | 151.3205
OFF | 13:39 | 3140 | 0.9872 | 417.6674 | 1.0069 | 424.4914 | 0.5685 | 445.9468 | 1733 | 151.2333
OFF | 13:40 | 3145 | 0.9889 | 418.3355 | 1.0064 | 424.2947 | 0.5696 | 446.5801 | 1737 | 151.5823
OFF | 13:40 | 3150 | 0.9883 | 418.0997 | 1.0058 | 424.0585 | 0.5636 | 443.1258 | 1742 | 152.0187
OFF | 13:40 | 3155 | 0.9872 | 417.6674 | 1.0091 | 425.3572 | 0.5756 | 450.0344 | 1743 | 152.1059
OFF | 13:40 | 3160 | 0.9932 | 420.0255 | 1.0069 | 424.4914 | 0.5696 | 446.5801 | 1743 | 152.1059
OFF | 13:40 | 3165 | 0.9867 | 417.4708 | 1.0074 | 424.6882 | 0.5723 | 448.1346 | 1744 | 152.1932
OFF | 13:40 | 3170 | 0.9861 | 417.235 | 1.0058 | 424.0585 | 0.569 | 446.2347 | 1741 | 151.9314
OFF | 13:40 | 3175 | 0.9878 | 417.9032 | 1.008 | 424.9243 | 0.5723 | 448.1346 | 1738 | 151.6696
OFF | 13:40 | 3180 | 0.985 | 416.8027 | 1.0064 | 424.2947 | 0.5647 | 443.7591 | 1736 | 151.4951
OFF | 13:40 | 3185 | 0.9894 | 418.532 | 1.0064 | 424.2947 | 0.5701 | 446.868 | 1737 | 151.5823
OFF | 13:40 | 3190 | 0.9856 | 417.0385 | 1.0058 | 424.0585 | 0.5718 | 447.8467 | 1737 | 151.5823
OFF | 13:40 | 3195 | 0.9938 | 420.2613 | 1.0047 | 423.6256 | 0.5707 | 447.2134 | 1734 | 151.3205
OFF | 13:40 | 3200 | 0.9916 | 419.3966 | 1.0047 | 423.6256 | 0.5745 | 449.4012 | 1736 | 151.4951
OFF | 13:40 | 3205 | 0.9878 | 417.9032 | 1.0064 | 424.2947 | 0.5751 | 449.7466 | 1736 | 151.4951
OFF | 13:41 | 3210 | 0.9894 | 418.532 | 1.0058 | 424.0585 | 0.5701 | 446.868 | 1733 | 151.2333
OFF | 13:41 | 3215 | 0.99 | 418.7678 | 1.0031 | 422.996 | 0.5685 | 445.9468 | 1729 | 150.8842
OFF | 13:41 | 3220 | 0.9867 | 417.4708 | 1.0053 | 423.8618 | 0.568 | 445.659 | 1730 | 150.9715
OFF | 13:41 | 3225 | 0.9878 | 417.9032 | 1.0031 | 422.996 | 0.5718 | 447.8467 | 1731 | 151.0587
OFF | 13:41 | 3230 | 0.9889 | 418.3355 | 1.0025 | 422.7599 | 0.5734 | 448.7679 | 1730 | 150.9715
OFF | 13:41 | 3235 | 0.9867 | 417.4708 | 1.0064 | 424.2947 | 0.5712 | 447.5013 | 1728 | 150.7969
OFF | 13:41 | 3240 | 0.9861 | 417.235 | 1.0047 | 423.6256 | 0.574 | 449.1133 | 1728 | 150.7969
OFF | 13:41 | 3245 | 0.9878 | 417.9032 | 1.0047 | 423.6256 | 0.5712 | 447.5013 | 1728 | 150.7969
OFF | 13:41 | 3250 | 0.9894 | 418.532 | 1.0053 | 423.8618 | 0.5718 | 447.8467 | 1731 | 151.0587
OFF | 13:41 | 3255 | 0.9889 | 418.3355 | 1.0047 | 423.6256 | 0.5762 | 450.3799 | 1729 | 150.8842
OFF | 13:41 | 3260 | 0.9878 | 417.9032 | 1.0053 | 423.8618 | 0.5767 | 450.6677 | 1730 | 150.9715
OFF | 13:42 | 3265 | 0.985 | 416.8027 | 1.0053 | 423.8618 | 0.5767 | 450.6677 | 1731 | 151.0587
OFF | 13:42 | 3270 | 0.9861 | 417.235 | 1.0042 | 423.4289 | 0.5718 | 447.8467 | 1730 | 150.9715
OFF | 13:42 | 3275 | 0.985 | 416.8027 | 1.0042 | 423.4289 | 0.5729 | 448.48 | 1728 | 150.7969
OFF | 13:42 | 3280 | 0.9845 | 416.6062 | 1.0058 | 424.0585 | 0.574 | 449.1133 | 1730 | 150.9715
OFF | 13:42 | 3285 | 0.9861 | 417.235 | 1.0025 | 422.7599 | 0.5718 | 447.8467 | 1727 | 150.7097
OFF | 13:42 | 3290 | 0.9872 | 417.6674 | 1.002 | 422.5631 | 0.5745 | 449.4012 | 1728 | 150.7969
OFF | 13:42 | 3295 | 0.985 | 416.8027 | 1.0031 | 422.996 | 0.5734 | 448.7679 | 1732 | 151.146
OFF | 13:42 | 3300 | 0.9845 | 416.6062 | 1.0036 | 423.1927 | 0.568 | 445.659 | 1730 | 150.9715
OFF | 13:42 | 3305 | 0.9856 | 417.0385 | 1.0014 | 422.327 | 0.574 | 449.1133 | 1730 | 150.9715
OFF | 13:42 | 3310 | 0.9872 | 417.6674 | 1.0025 | 422.7599 | 0.5663 | 444.6802 | 1729 | 150.8842
OFF | 13:42 | 3315 | 0.9867 | 417.4708 | 1.0025 | 422.7599 | 0.5669 | 445.0257 | 1729 | 150.8842
OFF | 13:42 | 3320 | 0.9779 | 414.0123 | 1.002 | 422.5631 | 0.5663 | 444.6802 | 1730 | 150.9715
OFF | 13:42 | 3325 | 0.9757 | 413.1476 | 1.002 | 422.5631 | 0.5636 | 443.1258 | 1726 | 150.6224
OFF | 13:43 | 3330 | 0.9818 | 415.545 | 1.0009 | 422.1302 | 0.5701 | 446.868 | 1725 | 150.5351
OFF | 13:43 | 3335 | 0.9785 | 414.2481 | 1.0025 | 422.7599 | 0.5641 | 443.4137 | 1725 | 150.5351
OFF | 13:43 | 3340 | 0.9823 | 415.7415 | 1.0014 | 422.327 | 0.5625 | 442.4925 | 1724 | 150.4479
OFF | 13:43 | 3345 | 0.9839 | 416.3704 | 1.0014 | 422.327 | 0.5608 | 441.5138 | 1724 | 150.4479
OFF | 13:43 | 3350 | 0.9828 | 415.9381 | 1.0003 | 421.8941 | 0.569 | 446.2347 | 1723 | 150.3606
OFF | 13:43 | 3355 | 0.9845 | 416.6062 | 0.9998 | 421.6973 | 0.5707 | 447.2134 | 1726 | 150.6224
OFF | 13:43 | 3360 | 0.9861 | 417.235 | 1.0003 | 421.8941 | 0.568 | 445.659 | 1724 | 150.4479
OFF | 13:43 | 3365 | 0.99 | 418.7678 | 0.9982 | 421.0676 | 0.5723 | 448.1346 | 1727 | 150.7097
OFF | 13:43 | 3370 | 0.9823 | 415.7415 | 1.0003 | 421.8941 | 0.5729 | 448.48 | 1728 | 150.7969
OFF | 13:43 | 3375 | 0.9839 | 416.3704 | 1.0014 | 422.327 | 0.5723 | 448.1346 | 1727 | 150.7097
OFF | 13:43 | 3380 | 0.9839 | 416.3704 | 1.0003 | 421.8941 | 0.5729 | 448.48 | 1728 | 150.7969
OFF | 13:44 | 3385 | 0.9878 | 417.9032 | 1.0003 | 421.8941 | 0.569 | 446.2347 | 1728 | 150.7969
OFF | 13:44 | 3390 | 0.9861 | 417.235 | 0.9998 | 421.6973 | 0.5701 | 446.868 | 1728 | 150.7969
OFF | 13:44 | 3395 | 0.9872 | 417.6674 | 0.9998 | 421.6973 | 0.5674 | 445.3135 | 1726 | 150.6224
OFF | 13:44 | 3400 | 0.9861 | 417.235 | 1.0031 | 422.996 | 0.5669 | 445.0257 | 1726 | 150.6224
OFF | 13:44 | 3405 | 0.9861 | 417.235 | 0.9982 | 421.0676 | 0.569 | 446.2347 | 1729 | 150.8842
OFF | 13:44 | 3410 | 0.9796 | 414.6804 | 0.9987 | 421.2644 | 0.5658 | 444.3924 | 1730 | 150.9715
OFF | 13:44 | 3415 | 0.9812 | 415.3092 | 0.9976 | 420.8315 | 0.5674 | 445.3135 | 1727 | 150.7097
OFF | 13:44 | 3420 | 0.9839 | 416.3704 | 0.9982 | 421.0676 | 0.5663 | 444.6802 | 1725 | 150.5351
OFF | 13:44 | 3425 | 0.9834 | 416.1739 | 0.9976 | 420.8315 | 0.5652 | 444.0469 | 1726 | 150.6224
OFF | 13:44 | 3430 | 0.9812 | 415.3092 | 0.9987 | 421.2644 | 0.5603 | 441.2259 | 1726 | 150.6224
OFF | 13:44 | 3435 | 0.9828 | 415.9381 | 0.9987 | 421.2644 | 0.5636 | 443.1258 | 1726 | 150.6224
OFF | 13:44 | 3440 | 0.9807 | 415.1127 | 0.9987 | 421.2644 | 0.5614 | 441.8592 | 1729 | 150.8842
OFF | 13:44 | 3445 | 0.9812 | 415.3092 | 0.9976 | 420.8315 | 0.5625 | 442.4925 | 1727 | 150.7097
OFF | 13:45 | 3450 | 0.9834 | 416.1739 | 0.9971 | 420.6347 | 0.5669 | 445.0257 | 1724 | 150.4479
OFF | 13:45 | 3455 | 0.985 | 416.8027 | 0.9992 | 421.4612 | 0.5652 | 444.0469 | 1721 | 150.1861
OFF | 13:45 | 3460 | 0.9872 | 417.6674 | 0.9992 | 421.4612 | 0.5669 | 445.0257 | 1723 | 150.3606
OFF | 13:45 | 3465 | 0.9839 | 416.3704 | 0.9982 | 421.0676 | 0.5712 | 447.5013 | 1726 | 150.6224
OFF | 13:45 | 3470 | 0.9872 | 417.6674 | 0.9965 | 420.3986 | 0.5734 | 448.7679 | 1729 | 150.8842
OFF | 13:45 | 3475 | 0.9845 | 416.6062 | 0.9987 | 421.2644 | 0.5772 | 450.9556 | 1725 | 150.5351
OFF | 13:45 | 3480 | 0.9845 | 416.6062 | 0.9987 | 421.2644 | 0.5729 | 448.48 | 1724 | 150.4479
OFF | 13:45 | 3485 | 0.9883 | 418.0997 | 0.9982 | 421.0676 | 0.569 | 446.2347 | 1724 | 150.4479
OFF | 13:45 | 3490 | 0.9834 | 416.1739 | 0.9982 | 421.0676 | 0.5751 | 449.7466 | 1722 | 150.2733
OFF | 13:45 | 3495 | 0.9807 | 415.1127 | 0.9976 | 420.8315 | 0.568 | 445.659 | 1720 | 150.0988
OFF | 13:45 | 3500 | 0.9839 | 416.3704 | 0.9965 | 420.3986 | 0.5712 | 447.5013 | 1722 | 150.2733
OFF | 13:46 | 3505 | 0.9703 | 411.0253 | 0.9998 | 421.6973 | 0.5652 | 444.0469 | 1724 | 150.4479
OFF | 13:46 | 3510 | 0.9812 | 415.3092 | 0.9976 | 420.8315 | 0.5751 | 449.7466 | 1724 | 150.4479
OFF | 13:46 | 3515 | 0.9818 | 415.545 | 0.9976 | 420.8315 | 0.5712 | 447.5013 | 1722 | 150.2733
OFF | 13:46 | 3520 | 0.9818 | 415.545 | 0.9982 | 421.0676 | 0.5756 | 450.0344 | 1725 | 150.5351
OFF | 13:46 | 3525 | 0.9818 | 415.545 | 0.996 | 420.2018 | 0.5734 | 448.7679 | 1724 | 150.4479
OFF | 13:46 | 3530 | 0.9812 | 415.3092 | 0.9965 | 420.3986 | 0.5751 | 449.7466 | 1723 | 150.3606
OFF | 13:46 | 3535 | 0.9796 | 414.6804 | 0.9971 | 420.6347 | 0.5696 | 446.5801 | 1725 | 150.5351
OFF | 13:46 | 3540 | 0.9812 | 415.3092 | 0.9971 | 420.6347 | 0.5718 | 447.8467 | 1724 | 150.4479
OFF | 13:46 | 3545 | 0.9818 | 415.545 | 0.9971 | 420.6347 | 0.5701 | 446.868 | 1723 | 150.3606
OFF | 13:46 | 3550 | 0.9823 | 415.7415 | 0.9982 | 421.0676 | 0.5745 | 449.4012 | 1723 | 150.3606
OFF | 13:46 | 3555 | 0.9779 | 414.0123 | 0.9971 | 420.6347 | 0.5707 | 447.2134 | 1725 | 150.5351
OFF | 13:46 | 3560 | 0.9807 | 415.1127 | 0.9954 | 419.9657 | 0.5723 | 448.1346 | 1720 | 150.0988
OFF | 13:46 | 3565 | 0.985 | 416.8027 | 0.996 | 420.2018 | 0.5701 | 446.868 | 1720 | 150.0988
OFF | 13:47 | 3570 | 0.9823 | 415.7415 | 0.9965 | 420.3986 | 0.5658 | 444.3924 | 1718 | 149.9243
OFF | 13:47 | 3575 | 0.9801 | 414.8769 | 0.996 | 420.2018 | 0.5707 | 447.2134 | 1717 | 149.837
OFF | 13:47 | 3580 | 0.9828 | 415.9381 | 0.9971 | 420.6347 | 0.5685 | 445.9468 | 1720 | 150.0988
OFF | 13:47 | 3585 | 0.9807 | 415.1127 | 0.9954 | 419.9657 | 0.5696 | 446.5801 | 1722 | 150.2733
OFF | 13:47 | 3590 | 0.9823 | 415.7415 | 0.9965 | 420.3986 | 0.569 | 446.2347 | 1720 | 150.0988
OFF | 13:47 | 3595 | 0.9818 | 415.545 | 0.9965 | 420.3986 | 0.5718 | 447.8467 | 1721 | 150.1861

## CO2 Concentration Averages
Gas Off (pre-test)
A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
424.2455 | 427.582 | 451.907
Gas On (steady-state)
A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
420.8882 | 2000.2734 | 449.2067
Percent Increase
A-1 (Cabin Near ISOPASS) | A-2 (Inside ISOPASS) | A-4 (Cabin Far Away From ISOPASS)
-0.79137 | 367.8104 | -0.59754

## Rotometer Readings
(Reading 1)
Temperature (°C) | 28.7
Temperature (k) | 301.85
P_atm (hPa) | 973
P_atm (psi) | 14.1122
dV | 0.3
P_flow (psi) | 0.06
Reading | 76.5
Corresponding Flowrate (table) (lpm) | 5.155
Actual Flowrate (lpm) | 4.9966
(Reading 2)
Temperature (°C) | 28.7
Temperature (k) | 301.85
P_atm (hPa) | 973
P_atm (psi) | 14.1122
dV | 0.3
P_flow (psi) | 0.06
Reading | 76
Corresponding Flowrate (table) (lpm) | 5.12
Actual Flowrate (lpm) | 4.9627
(Reading 3)
Temperature (°C) | 28.7
Temperature (k) | 301.85
P_atm (hPa) | 973
P_atm (psi) | 14.1122
dV | 0.3
P_flow (psi) | 0.06
Reading | 76
Corresponding Flowrate (table) (lpm) | 5.12
Actual Flowrate (lpm) | 4.9627