## Min_Fan_Speed_40%_Repeat
LogDat2 Data File
Model Number: | RVA501
Serial Number: | RVA501733005
Test ID: | 13
Test Abbreviation: | Test 013
Start Date: | 2018-03-22
Start Time: | 13:35
Duration (dd:hh:mm:ss): | 0:01:00:20
Log Interval (mm:ss): | 0:05
Number of points: | 724
Notes: | Test 013
Reading Type | Actual
| Temperature | Entered | 70.0deg F
Statistics | Channel: | Vel
| Units: | ft/min
| Average: | 1160
| Minimum: | 1131
| Time of Minimum: | 14:35
| Date of Minimum: | 2018-03-22
| Maximum: | 1188
| Time of Maximum: | 13:35
| Date of Maximum: | 2018-03-22
Calibration | Meter: | 2017-08-17
Calibration | Sensor:
Cal. Date
Date | Time | Vel |  | Average at SS gas on
MM/dd/yyyy | hh:mm:ss | ft/min |  | ft/min
2018-03-22 | 13:35 | 1182 |  | 1160.3135
2018-03-22 | 13:35 | 1183
2018-03-22 | 13:35 | 1185
2018-03-22 | 13:35 | 1187
2018-03-22 | 13:35 | 1186
2018-03-22 | 13:35 | 1188
2018-03-22 | 13:35 | 1185
2018-03-22 | 13:35 | 1183
2018-03-22 | 13:35 | 1186
2018-03-22 | 13:36 | 1186
2018-03-22 | 13:36 | 1185
2018-03-22 | 13:36 | 1186
2018-03-22 | 13:36 | 1186
2018-03-22 | 13:36 | 1187
2018-03-22 | 13:36 | 1185
2018-03-22 | 13:36 | 1185
2018-03-22 | 13:36 | 1183
2018-03-22 | 13:36 | 1181
2018-03-22 | 13:36 | 1179
2018-03-22 | 13:36 | 1179
2018-03-22 | 13:36 | 1180
2018-03-22 | 13:36 | 1180
2018-03-22 | 13:37 | 1179
2018-03-22 | 13:37 | 1180
2018-03-22 | 13:37 | 1182
2018-03-22 | 13:37 | 1185
2018-03-22 | 13:37 | 1186
2018-03-22 | 13:37 | 1187
2018-03-22 | 13:37 | 1184
2018-03-22 | 13:37 | 1186
2018-03-22 | 13:37 | 1185
2018-03-22 | 13:37 | 1183
2018-03-22 | 13:37 | 1183
2018-03-22 | 13:38 | 1181
2018-03-22 | 13:38 | 1180
2018-03-22 | 13:38 | 1182
2018-03-22 | 13:38 | 1180
2018-03-22 | 13:38 | 1178
2018-03-22 | 13:38 | 1178
2018-03-22 | 13:38 | 1179
2018-03-22 | 13:38 | 1176
2018-03-22 | 13:38 | 1174
2018-03-22 | 13:38 | 1174
2018-03-22 | 13:38 | 1174
2018-03-22 | 13:38 | 1177
2018-03-22 | 13:38 | 1172
2018-03-22 | 13:39 | 1175
2018-03-22 | 13:39 | 1178
2018-03-22 | 13:39 | 1178
2018-03-22 | 13:39 | 1176
2018-03-22 | 13:39 | 1175
2018-03-22 | 13:39 | 1174
2018-03-22 | 13:39 | 1172
2018-03-22 | 13:39 | 1176
2018-03-22 | 13:39 | 1178
2018-03-22 | 13:39 | 1181
2018-03-22 | 13:39 | 1182
2018-03-22 | 13:40 | 1181
2018-03-22 | 13:40 | 1180
2018-03-22 | 13:40 | 1178
2018-03-22 | 13:40 | 1175
2018-03-22 | 13:40 | 1173
2018-03-22 | 13:40 | 1171
2018-03-22 | 13:40 | 1167
2018-03-22 | 13:40 | 1166
2018-03-22 | 13:40 | 1169
2018-03-22 | 13:40 | 1170
2018-03-22 | 13:40 | 1170
2018-03-22 | 13:40 | 1168
2018-03-22 | 13:40 | 1170
2018-03-22 | 13:41 | 1166
2018-03-22 | 13:41 | 1169
2018-03-22 | 13:41 | 1170
2018-03-22 | 13:41 | 1171
2018-03-22 | 13:41 | 1170
2018-03-22 | 13:41 | 1166
2018-03-22 | 13:41 | 1169
2018-03-22 | 13:41 | 1171
2018-03-22 | 13:41 | 1171
2018-03-22 | 13:41 | 1171
2018-03-22 | 13:41 | 1170
2018-03-22 | 13:42 | 1172
2018-03-22 | 13:42 | 1168
2018-03-22 | 13:42 | 1167
2018-03-22 | 13:42 | 1169
2018-03-22 | 13:42 | 1171
2018-03-22 | 13:42 | 1170
2018-03-22 | 13:42 | 1171
2018-03-22 | 13:42 | 1176
2018-03-22 | 13:42 | 1175
2018-03-22 | 13:42 | 1174
2018-03-22 | 13:42 | 1171
2018-03-22 | 13:42 | 1177
2018-03-22 | 13:42 | 1176
2018-03-22 | 13:43 | 1179
2018-03-22 | 13:43 | 1178
2018-03-22 | 13:43 | 1172
2018-03-22 | 13:43 | 1173
2018-03-22 | 13:43 | 1169
2018-03-22 | 13:43 | 1166
2018-03-22 | 13:43 | 1168
2018-03-22 | 13:43 | 1168
2018-03-22 | 13:43 | 1169
2018-03-22 | 13:43 | 1166
2018-03-22 | 13:43 | 1168
2018-03-22 | 13:44 | 1168
2018-03-22 | 13:44 | 1162
2018-03-22 | 13:44 | 1160
2018-03-22 | 13:44 | 1160
2018-03-22 | 13:44 | 1169
2018-03-22 | 13:44 | 1173
2018-03-22 | 13:44 | 1168
2018-03-22 | 13:44 | 1168
2018-03-22 | 13:44 | 1168
2018-03-22 | 13:44 | 1170
2018-03-22 | 13:44 | 1167
2018-03-22 | 13:44 | 1167
2018-03-22 | 13:44 | 1170
2018-03-22 | 13:45 | 1173
2018-03-22 | 13:45 | 1172
2018-03-22 | 13:45 | 1173
2018-03-22 | 13:45 | 1173
2018-03-22 | 13:45 | 1172
2018-03-22 | 13:45 | 1171
2018-03-22 | 13:45 | 1171
2018-03-22 | 13:45 | 1169
2018-03-22 | 13:45 | 1169
2018-03-22 | 13:45 | 1171
2018-03-22 | 13:45 | 1169
2018-03-22 | 13:46 | 1171
2018-03-22 | 13:46 | 1169
2018-03-22 | 13:46 | 1168
2018-03-22 | 13:46 | 1169
2018-03-22 | 13:46 | 1169
2018-03-22 | 13:46 | 1169
2018-03-22 | 13:46 | 1167
2018-03-22 | 13:46 | 1168
2018-03-22 | 13:46 | 1168
2018-03-22 | 13:46 | 1167
2018-03-22 | 13:46 | 1164
2018-03-22 | 13:46 | 1160
2018-03-22 | 13:46 | 1161
2018-03-22 | 13:47 | 1162
2018-03-22 | 13:47 | 1163
2018-03-22 | 13:47 | 1162
2018-03-22 | 13:47 | 1160
2018-03-22 | 13:47 | 1161
2018-03-22 | 13:47 | 1160
2018-03-22 | 13:47 | 1160
2018-03-22 | 13:47 | 1159
2018-03-22 | 13:47 | 1159
2018-03-22 | 13:47 | 1164
2018-03-22 | 13:47 | 1163
2018-03-22 | 13:48 | 1162
2018-03-22 | 13:48 | 1163
2018-03-22 | 13:48 | 1166
2018-03-22 | 13:48 | 1166
2018-03-22 | 13:48 | 1165
2018-03-22 | 13:48 | 1164
2018-03-22 | 13:48 | 1166
2018-03-22 | 13:48 | 1165
2018-03-22 | 13:48 | 1166
2018-03-22 | 13:48 | 1167
2018-03-22 | 13:48 | 1167
2018-03-22 | 13:48 | 1166
2018-03-22 | 13:48 | 1166
2018-03-22 | 13:49 | 1166
2018-03-22 | 13:49 | 1167
2018-03-22 | 13:49 | 1168
2018-03-22 | 13:49 | 1166
2018-03-22 | 13:49 | 1163
2018-03-22 | 13:49 | 1162
2018-03-22 | 13:49 | 1162
2018-03-22 | 13:49 | 1159
2018-03-22 | 13:49 | 1160
2018-03-22 | 13:49 | 1166
2018-03-22 | 13:49 | 1170
2018-03-22 | 13:50 | 1168
2018-03-22 | 13:50 | 1165
2018-03-22 | 13:50 | 1165
2018-03-22 | 13:50 | 1163
2018-03-22 | 13:50 | 1163
2018-03-22 | 13:50 | 1165
2018-03-22 | 13:50 | 1165
2018-03-22 | 13:50 | 1165
2018-03-22 | 13:50 | 1162
2018-03-22 | 13:50 | 1164
2018-03-22 | 13:50 | 1166
2018-03-22 | 13:50 | 1166
2018-03-22 | 13:50 | 1166
2018-03-22 | 13:51 | 1165
2018-03-22 | 13:51 | 1167
2018-03-22 | 13:51 | 1165
2018-03-22 | 13:51 | 1162
2018-03-22 | 13:51 | 1163
2018-03-22 | 13:51 | 1163
2018-03-22 | 13:51 | 1161
2018-03-22 | 13:51 | 1163
2018-03-22 | 13:51 | 1165
2018-03-22 | 13:51 | 1166
2018-03-22 | 13:51 | 1167
2018-03-22 | 13:52 | 1164
2018-03-22 | 13:52 | 1162
2018-03-22 | 13:52 | 1160
2018-03-22 | 13:52 | 1162
2018-03-22 | 13:52 | 1161
2018-03-22 | 13:52 | 1160
2018-03-22 | 13:52 | 1158
2018-03-22 | 13:52 | 1157
2018-03-22 | 13:52 | 1161
2018-03-22 | 13:52 | 1166
2018-03-22 | 13:52 | 1168
2018-03-22 | 13:52 | 1168
2018-03-22 | 13:52 | 1168
2018-03-22 | 13:53 | 1167
2018-03-22 | 13:53 | 1166
2018-03-22 | 13:53 | 1167
2018-03-22 | 13:53 | 1165
2018-03-22 | 13:53 | 1168
2018-03-22 | 13:53 | 1167
2018-03-22 | 13:53 | 1167
2018-03-22 | 13:53 | 1170
2018-03-22 | 13:53 | 1170
2018-03-22 | 13:53 | 1167
2018-03-22 | 13:53 | 1165
2018-03-22 | 13:54 | 1167
2018-03-22 | 13:54 | 1167
2018-03-22 | 13:54 | 1166
2018-03-22 | 13:54 | 1167
2018-03-22 | 13:54 | 1170
2018-03-22 | 13:54 | 1168
2018-03-22 | 13:54 | 1169
2018-03-22 | 13:54 | 1171
2018-03-22 | 13:54 | 1171
2018-03-22 | 13:54 | 1170
2018-03-22 | 13:54 | 1172
2018-03-22 | 13:54 | 1171
2018-03-22 | 13:54 | 1171
2018-03-22 | 13:55 | 1171
2018-03-22 | 13:55 | 1170
2018-03-22 | 13:55 | 1171
2018-03-22 | 13:55 | 1171
2018-03-22 | 13:55 | 1176
2018-03-22 | 13:55 | 1178
2018-03-22 | 13:55 | 1180
2018-03-22 | 13:55 | 1180
2018-03-22 | 13:55 | 1176
2018-03-22 | 13:55 | 1175
2018-03-22 | 13:55 | 1175
2018-03-22 | 13:56 | 1173
2018-03-22 | 13:56 | 1172
2018-03-22 | 13:56 | 1174
2018-03-22 | 13:56 | 1173
2018-03-22 | 13:56 | 1176
2018-03-22 | 13:56 | 1177
2018-03-22 | 13:56 | 1175
2018-03-22 | 13:56 | 1175
2018-03-22 | 13:56 | 1176
2018-03-22 | 13:56 | 1175
2018-03-22 | 13:56 | 1172
2018-03-22 | 13:56 | 1172
2018-03-22 | 13:56 | 1172
2018-03-22 | 13:57 | 1170
2018-03-22 | 13:57 | 1171
2018-03-22 | 13:57 | 1167
2018-03-22 | 13:57 | 1167
2018-03-22 | 13:57 | 1169
2018-03-22 | 13:57 | 1170
2018-03-22 | 13:57 | 1169
2018-03-22 | 13:57 | 1169
2018-03-22 | 13:57 | 1168
2018-03-22 | 13:57 | 1170
2018-03-22 | 13:57 | 1172
2018-03-22 | 13:58 | 1171
2018-03-22 | 13:58 | 1169
2018-03-22 | 13:58 | 1168
2018-03-22 | 13:58 | 1168
2018-03-22 | 13:58 | 1167
2018-03-22 | 13:58 | 1167
2018-03-22 | 13:58 | 1167
2018-03-22 | 13:58 | 1167
2018-03-22 | 13:58 | 1169
2018-03-22 | 13:58 | 1167
2018-03-22 | 13:58 | 1166
2018-03-22 | 13:58 | 1167
2018-03-22 | 13:58 | 1167
2018-03-22 | 13:59 | 1167
2018-03-22 | 13:59 | 1167
2018-03-22 | 13:59 | 1166
2018-03-22 | 13:59 | 1165
2018-03-22 | 13:59 | 1165
2018-03-22 | 13:59 | 1164
2018-03-22 | 13:59 | 1164
2018-03-22 | 13:59 | 1162
2018-03-22 | 13:59 | 1163
2018-03-22 | 13:59 | 1162
2018-03-22 | 13:59 | 1163
2018-03-22 | 14:00 | 1162
2018-03-22 | 14:00 | 1161
2018-03-22 | 14:00 | 1161
2018-03-22 | 14:00 | 1163
2018-03-22 | 14:00 | 1162
2018-03-22 | 14:00 | 1159
2018-03-22 | 14:00 | 1160
2018-03-22 | 14:00 | 1160
2018-03-22 | 14:00 | 1161
2018-03-22 | 14:00 | 1162
2018-03-22 | 14:00 | 1164
2018-03-22 | 14:00 | 1163
2018-03-22 | 14:00 | 1163
2018-03-22 | 14:01 | 1163
2018-03-22 | 14:01 | 1164
2018-03-22 | 14:01 | 1163
2018-03-22 | 14:01 | 1163
2018-03-22 | 14:01 | 1161
2018-03-22 | 14:01 | 1161
2018-03-22 | 14:01 | 1161
2018-03-22 | 14:01 | 1162
2018-03-22 | 14:01 | 1162
2018-03-22 | 14:01 | 1162
2018-03-22 | 14:01 | 1162
2018-03-22 | 14:02 | 1161
2018-03-22 | 14:02 | 1161
2018-03-22 | 14:02 | 1162
2018-03-22 | 14:02 | 1161
2018-03-22 | 14:02 | 1158
2018-03-22 | 14:02 | 1157
2018-03-22 | 14:02 | 1158
2018-03-22 | 14:02 | 1159
2018-03-22 | 14:02 | 1160
2018-03-22 | 14:02 | 1161
2018-03-22 | 14:02 | 1160
2018-03-22 | 14:02 | 1162
2018-03-22 | 14:02 | 1162
2018-03-22 | 14:03 | 1161
2018-03-22 | 14:03 | 1159
2018-03-22 | 14:03 | 1159
2018-03-22 | 14:03 | 1161
2018-03-22 | 14:03 | 1162
2018-03-22 | 14:03 | 1160
2018-03-22 | 14:03 | 1155
2018-03-22 | 14:03 | 1157
2018-03-22 | 14:03 | 1157
2018-03-22 | 14:03 | 1156
2018-03-22 | 14:03 | 1155
2018-03-22 | 14:04 | 1157
2018-03-22 | 14:04 | 1156
2018-03-22 | 14:04 | 1153
2018-03-22 | 14:04 | 1152
2018-03-22 | 14:04 | 1151
2018-03-22 | 14:04 | 1152
2018-03-22 | 14:04 | 1156
2018-03-22 | 14:04 | 1154
2018-03-22 | 14:04 | 1154
2018-03-22 | 14:04 | 1156
2018-03-22 | 14:04 | 1155
2018-03-22 | 14:04 | 1158
2018-03-22 | 14:04 | 1159
2018-03-22 | 14:05 | 1162
2018-03-22 | 14:05 | 1164
2018-03-22 | 14:05 | 1163
2018-03-22 | 14:05 | 1165
2018-03-22 | 14:05 | 1162
2018-03-22 | 14:05 | 1160
2018-03-22 | 14:05 | 1158
2018-03-22 | 14:05 | 1158
2018-03-22 | 14:05 | 1157
2018-03-22 | 14:05 | 1158
2018-03-22 | 14:05 | 1157
2018-03-22 | 14:06 | 1156
2018-03-22 | 14:06 | 1158
2018-03-22 | 14:06 | 1157
2018-03-22 | 14:06 | 1157
2018-03-22 | 14:06 | 1155
2018-03-22 | 14:06 | 1155
2018-03-22 | 14:06 | 1155
2018-03-22 | 14:06 | 1156
2018-03-22 | 14:06 | 1157
2018-03-22 | 14:06 | 1158
2018-03-22 | 14:06 | 1155
2018-03-22 | 14:06 | 1155
2018-03-22 | 14:06 | 1153
2018-03-22 | 14:07 | 1156
2018-03-22 | 14:07 | 1157
2018-03-22 | 14:07 | 1156
2018-03-22 | 14:07 | 1157
2018-03-22 | 14:07 | 1158
2018-03-22 | 14:07 | 1160
2018-03-22 | 14:07 | 1159
2018-03-22 | 14:07 | 1157
2018-03-22 | 14:07 | 1155
2018-03-22 | 14:07 | 1154
2018-03-22 | 14:07 | 1152
2018-03-22 | 14:08 | 1152
2018-03-22 | 14:08 | 1151
2018-03-22 | 14:08 | 1151
2018-03-22 | 14:08 | 1151
2018-03-22 | 14:08 | 1150
2018-03-22 | 14:08 | 1149
2018-03-22 | 14:08 | 1149
2018-03-22 | 14:08 | 1150
2018-03-22 | 14:08 | 1150
2018-03-22 | 14:08 | 1149
2018-03-22 | 14:08 | 1147
2018-03-22 | 14:08 | 1147
2018-03-22 | 14:09 | 1150
2018-03-22 | 14:09 | 1148
2018-03-22 | 14:09 | 1147
2018-03-22 | 14:09 | 1150
2018-03-22 | 14:09 | 1152
2018-03-22 | 14:09 | 1151
2018-03-22 | 14:09 | 1150
2018-03-22 | 14:09 | 1151
2018-03-22 | 14:09 | 1152
2018-03-22 | 14:09 | 1152
2018-03-22 | 14:09 | 1152
2018-03-22 | 14:09 | 1150
2018-03-22 | 14:09 | 1150
2018-03-22 | 14:10 | 1151
2018-03-22 | 14:10 | 1149
2018-03-22 | 14:10 | 1151
2018-03-22 | 14:10 | 1151
2018-03-22 | 14:10 | 1150
2018-03-22 | 14:10 | 1152
2018-03-22 | 14:10 | 1152
2018-03-22 | 14:10 | 1153
2018-03-22 | 14:10 | 1153
2018-03-22 | 14:10 | 1156
2018-03-22 | 14:10 | 1156
2018-03-22 | 14:11 | 1153
2018-03-22 | 14:11 | 1150
2018-03-22 | 14:11 | 1151
2018-03-22 | 14:11 | 1153
2018-03-22 | 14:11 | 1152
2018-03-22 | 14:11 | 1150
2018-03-22 | 14:11 | 1151
2018-03-22 | 14:11 | 1149
2018-03-22 | 14:11 | 1148
2018-03-22 | 14:11 | 1148
2018-03-22 | 14:11 | 1149
2018-03-22 | 14:11 | 1150
2018-03-22 | 14:11 | 1151
2018-03-22 | 14:12 | 1150
2018-03-22 | 14:12 | 1148
2018-03-22 | 14:12 | 1146
2018-03-22 | 14:12 | 1145
2018-03-22 | 14:12 | 1145
2018-03-22 | 14:12 | 1145
2018-03-22 | 14:12 | 1147
2018-03-22 | 14:12 | 1147
2018-03-22 | 14:12 | 1149
2018-03-22 | 14:12 | 1149
2018-03-22 | 14:12 | 1149
2018-03-22 | 14:13 | 1150
2018-03-22 | 14:13 | 1152
2018-03-22 | 14:13 | 1155
2018-03-22 | 14:13 | 1158
2018-03-22 | 14:13 | 1159
2018-03-22 | 14:13 | 1159
2018-03-22 | 14:13 | 1158
2018-03-22 | 14:13 | 1160
2018-03-22 | 14:13 | 1159
2018-03-22 | 14:13 | 1158
2018-03-22 | 14:13 | 1159
2018-03-22 | 14:13 | 1160
2018-03-22 | 14:13 | 1162
2018-03-22 | 14:14 | 1161
2018-03-22 | 14:14 | 1159
2018-03-22 | 14:14 | 1159
2018-03-22 | 14:14 | 1159
2018-03-22 | 14:14 | 1157
2018-03-22 | 14:14 | 1159
2018-03-22 | 14:14 | 1159
2018-03-22 | 14:14 | 1157
2018-03-22 | 14:14 | 1160
2018-03-22 | 14:14 | 1160
2018-03-22 | 14:14 | 1158
2018-03-22 | 14:15 | 1158
2018-03-22 | 14:15 | 1159
2018-03-22 | 14:15 | 1159
2018-03-22 | 14:15 | 1157
2018-03-22 | 14:15 | 1157
2018-03-22 | 14:15 | 1158
2018-03-22 | 14:15 | 1158
2018-03-22 | 14:15 | 1156
2018-03-22 | 14:15 | 1155
2018-03-22 | 14:15 | 1158
2018-03-22 | 14:15 | 1157
2018-03-22 | 14:15 | 1158
2018-03-22 | 14:15 | 1160
2018-03-22 | 14:16 | 1160
2018-03-22 | 14:16 | 1159
2018-03-22 | 14:16 | 1160
2018-03-22 | 14:16 | 1157
2018-03-22 | 14:16 | 1156
2018-03-22 | 14:16 | 1155
2018-03-22 | 14:16 | 1155
2018-03-22 | 14:16 | 1158
2018-03-22 | 14:16 | 1159
2018-03-22 | 14:16 | 1158
2018-03-22 | 14:16 | 1156
2018-03-22 | 14:17 | 1156
2018-03-22 | 14:17 | 1158
2018-03-22 | 14:17 | 1158
2018-03-22 | 14:17 | 1160
2018-03-22 | 14:17 | 1158
2018-03-22 | 14:17 | 1157
2018-03-22 | 14:17 | 1156
2018-03-22 | 14:17 | 1158
2018-03-22 | 14:17 | 1160
2018-03-22 | 14:17 | 1162
2018-03-22 | 14:17 | 1163
2018-03-22 | 14:17 | 1162
2018-03-22 | 14:17 | 1162
2018-03-22 | 14:18 | 1161
2018-03-22 | 14:18 | 1162
2018-03-22 | 14:18 | 1162
2018-03-22 | 14:18 | 1160
2018-03-22 | 14:18 | 1161
2018-03-22 | 14:18 | 1161
2018-03-22 | 14:18 | 1159
2018-03-22 | 14:18 | 1156
2018-03-22 | 14:18 | 1157
2018-03-22 | 14:18 | 1161
2018-03-22 | 14:18 | 1162
2018-03-22 | 14:19 | 1160
2018-03-22 | 14:19 | 1159
2018-03-22 | 14:19 | 1158
2018-03-22 | 14:19 | 1160
2018-03-22 | 14:19 | 1165
2018-03-22 | 14:19 | 1169
2018-03-22 | 14:19 | 1172
2018-03-22 | 14:19 | 1170
2018-03-22 | 14:19 | 1167
2018-03-22 | 14:19 | 1165
2018-03-22 | 14:19 | 1165
2018-03-22 | 14:19 | 1164
2018-03-22 | 14:19 | 1161
2018-03-22 | 14:20 | 1159
2018-03-22 | 14:20 | 1161
2018-03-22 | 14:20 | 1162
2018-03-22 | 14:20 | 1160
2018-03-22 | 14:20 | 1158
2018-03-22 | 14:20 | 1157
2018-03-22 | 14:20 | 1156
2018-03-22 | 14:20 | 1153
2018-03-22 | 14:20 | 1155
2018-03-22 | 14:20 | 1157
2018-03-22 | 14:20 | 1157
2018-03-22 | 14:21 | 1156
2018-03-22 | 14:21 | 1154
2018-03-22 | 14:21 | 1155
2018-03-22 | 14:21 | 1155
2018-03-22 | 14:21 | 1154
2018-03-22 | 14:21 | 1154
2018-03-22 | 14:21 | 1155
2018-03-22 | 14:21 | 1157
2018-03-22 | 14:21 | 1158
2018-03-22 | 14:21 | 1157
2018-03-22 | 14:21 | 1153
2018-03-22 | 14:21 | 1151
2018-03-22 | 14:21 | 1151
2018-03-22 | 14:22 | 1149
2018-03-22 | 14:22 | 1150
2018-03-22 | 14:22 | 1149
2018-03-22 | 14:22 | 1149
2018-03-22 | 14:22 | 1150
2018-03-22 | 14:22 | 1151
2018-03-22 | 14:22 | 1151
2018-03-22 | 14:22 | 1150
2018-03-22 | 14:22 | 1151
2018-03-22 | 14:22 | 1153
2018-03-22 | 14:22 | 1151
2018-03-22 | 14:22 | 1150
2018-03-22 | 14:23 | 1151
2018-03-22 | 14:23 | 1150
2018-03-22 | 14:23 | 1150
2018-03-22 | 14:23 | 1153
2018-03-22 | 14:23 | 1153
2018-03-22 | 14:23 | 1155
2018-03-22 | 14:23 | 1157
2018-03-22 | 14:23 | 1155
2018-03-22 | 14:23 | 1154
2018-03-22 | 14:23 | 1158
2018-03-22 | 14:23 | 1161
2018-03-22 | 14:24 | 1164
2018-03-22 | 14:24 | 1162
2018-03-22 | 14:24 | 1159
2018-03-22 | 14:24 | 1156
2018-03-22 | 14:24 | 1154
2018-03-22 | 14:24 | 1152
2018-03-22 | 14:24 | 1154
2018-03-22 | 14:24 | 1157
2018-03-22 | 14:24 | 1158
2018-03-22 | 14:24 | 1156
2018-03-22 | 14:24 | 1156
2018-03-22 | 14:24 | 1155
2018-03-22 | 14:24 | 1154
2018-03-22 | 14:25 | 1154
2018-03-22 | 14:25 | 1153
2018-03-22 | 14:25 | 1153
2018-03-22 | 14:25 | 1155
2018-03-22 | 14:25 | 1155
2018-03-22 | 14:25 | 1155
2018-03-22 | 14:25 | 1156
2018-03-22 | 14:25 | 1155
2018-03-22 | 14:25 | 1156
2018-03-22 | 14:25 | 1158
2018-03-22 | 14:25 | 1159
2018-03-22 | 14:26 | 1157
2018-03-22 | 14:26 | 1155
2018-03-22 | 14:26 | 1152
2018-03-22 | 14:26 | 1154
2018-03-22 | 14:26 | 1155
2018-03-22 | 14:26 | 1156
2018-03-22 | 14:26 | 1156
2018-03-22 | 14:26 | 1156
2018-03-22 | 14:26 | 1150
2018-03-22 | 14:26 | 1149
2018-03-22 | 14:26 | 1148
2018-03-22 | 14:26 | 1147
2018-03-22 | 14:26 | 1149
2018-03-22 | 14:27 | 1147
2018-03-22 | 14:27 | 1147
2018-03-22 | 14:27 | 1147
2018-03-22 | 14:27 | 1151
2018-03-22 | 14:27 | 1153
2018-03-22 | 14:27 | 1154
2018-03-22 | 14:27 | 1151
2018-03-22 | 14:27 | 1152
2018-03-22 | 14:27 | 1151
2018-03-22 | 14:27 | 1149
2018-03-22 | 14:27 | 1148
2018-03-22 | 14:28 | 1148
2018-03-22 | 14:28 | 1147
2018-03-22 | 14:28 | 1146
2018-03-22 | 14:28 | 1147
2018-03-22 | 14:28 | 1147
2018-03-22 | 14:28 | 1147
2018-03-22 | 14:28 | 1147
2018-03-22 | 14:28 | 1149
2018-03-22 | 14:28 | 1150
2018-03-22 | 14:28 | 1147
2018-03-22 | 14:28 | 1148
2018-03-22 | 14:28 | 1149
2018-03-22 | 14:28 | 1149
2018-03-22 | 14:29 | 1148
2018-03-22 | 14:29 | 1146
2018-03-22 | 14:29 | 1144
2018-03-22 | 14:29 | 1145
2018-03-22 | 14:29 | 1147
2018-03-22 | 14:29 | 1149
2018-03-22 | 14:29 | 1150
2018-03-22 | 14:29 | 1149
2018-03-22 | 14:29 | 1150
2018-03-22 | 14:29 | 1152
2018-03-22 | 14:29 | 1150
2018-03-22 | 14:30 | 1148
2018-03-22 | 14:30 | 1148
2018-03-22 | 14:30 | 1150
2018-03-22 | 14:30 | 1147
2018-03-22 | 14:30 | 1145
2018-03-22 | 14:30 | 1144
2018-03-22 | 14:30 | 1143
2018-03-22 | 14:30 | 1142
2018-03-22 | 14:30 | 1141
2018-03-22 | 14:30 | 1143
2018-03-22 | 14:30 | 1145
2018-03-22 | 14:30 | 1144
2018-03-22 | 14:30 | 1143
2018-03-22 | 14:31 | 1143
2018-03-22 | 14:31 | 1145
2018-03-22 | 14:31 | 1143
2018-03-22 | 14:31 | 1142
2018-03-22 | 14:31 | 1143
2018-03-22 | 14:31 | 1142
2018-03-22 | 14:31 | 1143
2018-03-22 | 14:31 | 1144
2018-03-22 | 14:31 | 1143
2018-03-22 | 14:31 | 1143
2018-03-22 | 14:31 | 1143
2018-03-22 | 14:32 | 1141
2018-03-22 | 14:32 | 1139
2018-03-22 | 14:32 | 1138
2018-03-22 | 14:32 | 1139
2018-03-22 | 14:32 | 1142
2018-03-22 | 14:32 | 1146
2018-03-22 | 14:32 | 1142
2018-03-22 | 14:32 | 1140
2018-03-22 | 14:32 | 1140
2018-03-22 | 14:32 | 1140
2018-03-22 | 14:32 | 1139
2018-03-22 | 14:32 | 1140
2018-03-22 | 14:32 | 1141
2018-03-22 | 14:33 | 1140
2018-03-22 | 14:33 | 1140
2018-03-22 | 14:33 | 1140
2018-03-22 | 14:33 | 1140
2018-03-22 | 14:33 | 1140
2018-03-22 | 14:33 | 1140
2018-03-22 | 14:33 | 1140
2018-03-22 | 14:33 | 1143
2018-03-22 | 14:33 | 1143
2018-03-22 | 14:33 | 1140
2018-03-22 | 14:33 | 1137
2018-03-22 | 14:34 | 1138
2018-03-22 | 14:34 | 1137
2018-03-22 | 14:34 | 1137
2018-03-22 | 14:34 | 1137
2018-03-22 | 14:34 | 1136
2018-03-22 | 14:34 | 1137
2018-03-22 | 14:34 | 1136
2018-03-22 | 14:34 | 1135
2018-03-22 | 14:34 | 1133
2018-03-22 | 14:34 | 1133
2018-03-22 | 14:34 | 1133
2018-03-22 | 14:34 | 1133
2018-03-22 | 14:34 | 1133
2018-03-22 | 14:35 | 1132
2018-03-22 | 14:35 | 1133
2018-03-22 | 14:35 | 1132
2018-03-22 | 14:35 | 1131
2018-03-22 | 14:35 | 1131
2018-03-22 | 14:35 | 1134