## Table_S3_Standards
Table S3. Standards for Trace Elements by ICP-MS, University of Southampton
			JB-3 (Basalt)				JA-2 (Andesite)
			Geological Survey of Japan				Geological Survey of Japan
			Reference values from Govindaraju K, 1994*	Measured average (prepared and analysed as unknown during 9 analysis sessions)	SD		Reference values from GeoReM prefered 2016**	Measured average (prepared and analysed as unknown during 9 analysis sessions)	SD

Li	ppm		7.20	7.60	0.132		29.18	29.86	0.454
Sc	ppm		33.80	33.81	0.305		18.93	17.96	0.221
V	ppm		378.00	384.99	5.538		119.70	112.99	6.794
Cr	ppm		59.00	55.83	2.760		424.80	404.92	7.369
Co	ppm		35.00	35.68	0.246		28.33	27.67	0.179
Ni	ppm		37.00	36.80	0.375		136.00	124.94	1.284
Cu	ppm		196.00	189.79	1.451		29.00	30.46	0.346
Zn	ppm		103.00	107.03	7.025		64.50	62.99	3.663
Rb	ppm		14.40	14.41	0.283		69.80	73.40	1.691
Sr	ppm		395.00	410.39	2.578		245.80	249.04	2.183
Y	ppm		26.90	25.95	0.193		16.89	17.07	0.092
Zr	ppm		99.00	92.42	0.586		108.50	114.29	0.775
Nb	ppm		2.47	2.04	0.016		9.30	9.22	0.065
Cs	ppm		0.94	0.94	0.009		4.78	5.13	0.080
Ba	ppm		245.00	231.29	10.582		308.40	312.97	15.388
La	ppm		8.36	8.39	0.047		15.46	16.18	0.084
Ce	ppm		21.30	20.99	0.101		32.86	33.43	0.225
Pr	ppm		3.23	3.23	0.012		3.69	3.78	0.019
Nd	ppm		15.60	15.56	0.087		14.04	14.40	0.074
Sm	ppm		4.23	4.21	0.035		3.03	3.08	0.028
Eu	ppm		1.31	1.32	0.012		0.89	0.91	0.009
Gd	ppm		4.53	4.62	0.058		3.01	3.05	0.036
Tb	ppm		0.75	0.75	0.008		0.48	0.49	0.006
Dy	ppm		4.53	4.53	0.045		2.85	2.93	0.033
Ho	ppm		0.90	0.94	0.010		0.59	0.61	0.006
Er	ppm		2.58	2.66	0.025		1.68	1.73	0.019
Tm	ppm		0.39	0.39	0.004		0.25	0.26	0.004
Yb	ppm		2.55	2.49	0.020		1.65	1.67	0.015
Lu	ppm		0.38	0.38	0.002		0.25	0.25	0.002
Hf	ppm		2.70	2.70	0.025		2.84	2.98	0.021
Ta	ppm		0.15	0.15	0.020		0.65	0.68	0.059
Pb	ppm		5.50	5.01	0.114		18.88	19.82	0.361
Th	ppm		1.30	1.27	0.030		4.80	4.95	0.072
U	ppm		0.46	0.47	0.003		2.18	2.29	0.023