## Table S3 Standards
Table S3. Standards for Trace Elements by ICP-MS, University of Southampton
|  | JB-3 (Basalt) |  |  | JA-2 (Andesite)
|  | Geological Survey of Japan |  |  | Geological Survey of Japan
|  | Reference values from Govindaraju K, 1994* | Measured average (prepared and analysed as unknown during 9 analysis sessions) | SD | Reference values from GeoReM prefered 2016** | Measured average (prepared and analysed as unknown during 9 analysis sessions) | SD
Li | ppm | 7.2 | 7.5971 | 0.13203 | 29.18 | 29.8556 | 0.45382
Sc | ppm | 33.8 | 33.8111 | 0.30473 | 18.93 | 17.96 | 0.22142
V | ppm | 378 | 384.9889 | 5.5384 | 119.7 | 112.9889 | 6.7942
Cr | ppm | 59 | 55.8289 | 2.7599 | 424.8 | 404.9222 | 7.3693
Co | ppm | 35 | 35.6778 | 0.2457 | 28.33 | 27.6678 | 0.17922
Ni | ppm | 37 | 36.7978 | 0.37536 | 136 | 124.9444 | 1.2837
Cu | ppm | 196 | 189.7889 | 1.4512 | 29 | 30.4611 | 0.34628
Zn | ppm | 103 | 107.0333 | 7.025 | 64.5 | 62.9922 | 3.6634
Rb | ppm | 14.4 | 14.4067 | 0.28324 | 69.8 | 73.3967 | 1.691
Sr | ppm | 395 | 410.3889 | 2.5775 | 245.8 | 249.0444 | 2.183
Y | ppm | 26.9 | 25.9511 | 0.19329 | 16.89 | 17.0667 | 0.092466
Zr | ppm | 99 | 92.4211 | 0.58642 | 108.5 | 114.2889 | 0.77531
Nb | ppm | 2.47 | 2.0428 | 0.016331 | 9.3 | 9.2204 | 0.065183
Cs | ppm | 0.94 | 0.93933 | 0.0090139 | 4.78 | 5.1342 | 0.080187
Ba | ppm | 245 | 231.2889 | 10.5821 | 308.4 | 312.9667 | 15.3882
La | ppm | 8.36 | 8.3893 | 0.047109 | 15.46 | 16.1778 | 0.084229
Ce | ppm | 21.3 | 20.9889 | 0.10105 | 32.86 | 33.4333 | 0.22489
Pr | ppm | 3.23 | 3.2286 | 0.01178 | 3.691 | 3.7834 | 0.019269
Nd | ppm | 15.6 | 15.56 | 0.086891 | 14.04 | 14.3967 | 0.073993
Sm | ppm | 4.23 | 4.2058 | 0.034716 | 3.032 | 3.0761 | 0.027886
Eu | ppm | 1.31 | 1.32 | 0.011533 | 0.893 | 0.91122 | 0.0094178
Gd | ppm | 4.53 | 4.6202 | 0.05771 | 3.013 | 3.0491 | 0.036371
Tb | ppm | 0.75 | 0.74556 | 0.0084426 | 0.4786 | 0.48767 | 0.0059372
Dy | ppm | 4.53 | 4.5261 | 0.045267 | 2.851 | 2.9273 | 0.032837
Ho | ppm | 0.9 | 0.94089 | 0.010422 | 0.591 | 0.60667 | 0.0055453
Er | ppm | 2.58 | 2.6582 | 0.024999 | 1.676 | 1.7294 | 0.019178
Tm | ppm | 0.393 | 0.38722 | 0.0044096 | 0.2546 | 0.25878 | 0.0035629
Yb | ppm | 2.55 | 2.4922 | 0.019842 | 1.645 | 1.6707 | 0.015395
Lu | ppm | 0.38 | 0.37611 | 0.0022048 | 0.2549 | 0.25411 | 0.0019003
Hf | ppm | 2.7 | 2.7001 | 0.024877 | 2.838 | 2.9758 | 0.021022
Ta | ppm | 0.14983 | 0.14578 | 0.019569 | 0.652 | 0.67644 | 0.058545
Pb | ppm | 5.5 | 5.0076 | 0.11357 | 18.88 | 19.8156 | 0.36118
Th | ppm | 1.3 | 1.2692 | 0.030462 | 4.8 | 4.9536 | 0.072239
U | ppm | 0.46 | 0.47267 | 0.0025981 | 2.182 | 2.2883 | 0.022809