## Overall Result
Local Effective Ventilation Rates For Entire Cabin
| Row 1 | Row 2 | Row 3 | Row 4 | Row 5
Aisle | 0.50455 | 0.50024 | 0.51643 | 0.49735 | 0.48399
[6 empty] | Average | 0.50051
[6 empty] | Standard Dev | 0.010514
[6 empty] | High | 0.51643
[6 empty] | Low | 0.48399
Local Ventilation Effectiveness
Volume of Cabin |  | 1100 | ft3 | Volumetric Flow Rate
Volume of Seats |  | 80 | ft3 | 600 | cfm
Volume of Manikins |  | 75.7 | ft3
Total Cabin Volume |  | 944.3 | ft3 | Q/V | 0.63539
| Row 1 | Row 2 | Row 3 | Row 4 | Row 5
Aisle | 0.79408 | 0.78729 | 0.81278 | 0.78274 | 0.76173
[6 empty] | Average | 0.78772
[6 empty] | Standard Dev | 0.016547
[6 empty] | High | 0.81278
[6 empty] | Low | 0.76173

## Repeats Data
Repeat 1 | [7 empty] | Repeat 2
Local Effective Ventilation Rates For Entire Cabin | [7 empty] | Local Effective Ventilation Rates For Entire Cabin
| Row 1 | Row 2 | Row 3 | Row 4 | Row 5 |  |  |  | Row 1 | Row 2 | Row 3 | Row 4 | Row 5
Aisle | 0.49342 | 0.51009 | 0.49393 | 0.50431 | 0.46715 |  |  | Aisle | 0.51569 | 0.49038 | 0.53893 | 0.49038 | 0.50084
[6 empty] | Average | 0.49378 | [6 empty] | Average | 0.50724
[6 empty] | Standard Dev | 0.014738 | [6 empty] | Standard Dev | 0.018358
[6 empty] | High | 0.51009 | [6 empty] | High | 0.53893
[6 empty] | Low | 0.46715 | [6 empty] | Low | 0.49038
Local Ventilation Effectiveness | [7 empty] | Local Ventilation Effectiveness
Volume of Cabin |  | 1100 | ft3 | Volumetric Flow Rate |  |  |  | Volume of Cabin |  | 1100 | ft3 | Volumetric Flow Rate
Volume of Seats |  | 80 | ft3 | 600 | cfm |  |  | Volume of Seats |  | 80 | ft3 | 600 | cfm
Volume of Manikins |  | 75.7 | ft3 |  |  |  |  | Volume of Manikins |  | 75.7 | ft3
Total Cabin Volume |  | 944.3 | ft3 | Q/V | 0.63539 |  |  | Total Cabin Volume |  | 944.3 | ft3 | Q/V | 0.63539
| Row 1 | Row 2 | Row 3 | Row 4 | Row 5 |  |  |  | Row 1 | Row 2 | Row 3 | Row 4 | Row 5
Aisle | 0.77656 | 0.8028 | 0.77737 | 0.7937 | 0.73522 |  |  | Aisle | 0.8116 | 0.77178 | 0.84819 | 0.77178 | 0.78823
[6 empty] | Average | 0.77713 | [6 empty] | Average | 0.79832
[6 empty] | Standard Dev | 0.023196 | [6 empty] | Standard Dev | 0.028892
[6 empty] | High | 0.8028 | [6 empty] | High | 0.84819
[6 empty] | Low | 0.73522 | [6 empty] | Low | 0.77178
Comparison of the data from the two repeats
| Deviation of EL of repeat 1 from mean | [7 empty] | Deviation of EL of repeat 2 from mean
| Row 1 | Row 2 | Row 3 | Row 4 | Row 5 |  |  |  | Row 1 | Row 2 | Row 3 | Row 4 | Row 5
Aisle | -0.00056946 | 0.025671 | 0.00023705 | 0.016569 | -0.041908 |  |  | Aisle | 0.013287 | -0.026536 | 0.049871 | -0.026536 | -0.010086