## Overall Result
Local Effective Ventilation Rates For Entire Cabin
| A | B | C | D | E | F
Row 1 | 0.51698 | 0.53291 | 0.54158 | 0.52479 | 0.52167 | 0.52123
Row 2 | 0.48965 | 0.5094 | 0.52098 | 0.5124 | 0.50187 | 0.4905 | Average | 0.50727
Row 3 | 0.48637 | 0.49244 | 0.50381 | 0.51574 | 0.50923 | 0.50829 | Standard Dev | 0.01372
Row 4 | 0.4861 | 0.48956 | 0.48922 | 0.50832 | 0.51599 | 0.50151 | High | 0.54158
Row 5 | 0.5063 | 0.49742 | 0.50198 | 0.515 | 0.50106 | 0.50581 | Low | 0.4861
Local Ventilation Effectiveness
Volume of Cabin |  | 1100 | ft3 | Volumetric Flow Rate
Volume of Seats |  | 80 | ft3 | 600 | cfm
Volume of Manikins |  | 75.7 | ft3
Total Cabin Volume |  | 944.3 | ft3 | Q/V | 0.63539
| A | B | C | D | E | F
Row 1 | 0.81364 | 0.83871 | 0.85235 | 0.82593 | 0.82102 | 0.82033
Row 2 | 0.77062 | 0.80171 | 0.81994 | 0.80644 | 0.78986 | 0.77197 | Average | 0.79836
Row 3 | 0.76547 | 0.77501 | 0.79291 | 0.81169 | 0.80144 | 0.79996 | Standard Dev | 0.021594
Row 4 | 0.76503 | 0.77049 | 0.76995 | 0.80001 | 0.81208 | 0.78929 | High | 0.85235
Row 5 | 0.79683 | 0.78286 | 0.79003 | 0.81053 | 0.78858 | 0.79606 | Low | 0.76503

## Repeats Data
Repeat 1 | [10 empty] | Repeat 2 | [8 empty] | Repeat 3
Local Effective Ventilation Rates For Entire Cabin | [10 empty] | Local Effective Ventilation Rates For Entire Cabin | [8 empty] | Local Effective Ventilation Rates For Entire Cabin
| A | B | C | D | E | F | [5 empty] | A | B | C | D | E | F |  |  |  | A | B | C | D | E | F
Row 1 | 0.50523 | 0.52851 | 0.53426 | 0.55578 | 0.52507 | 0.51393 |  |  |  |  | Row 1 | 0.53655 | 0.53464 | 0.54388 | 0.49831 | 0.52075 | 0.51309 |  |  | Row 1 | 0.50917 | 0.53558 | 0.54659 | 0.52027 | 0.51918 | 0.53667
Row 2 | 0.45086 | 0.52158 | 0.52845 | 0.52762 | 0.52563 | 0.51006 | Average | 0.50684 |  |  | Row 2 | 0.50122 | 0.5118 | 0.50316 | 0.5179 | 0.50094 | 0.47768 | Average | 0.50177 | Row 2 | 0.51686 | 0.49482 | 0.53133 | 0.49168 | 0.47904 | 0.48377 | Average | 0.5132
Row 3 | 0.46896 | 0.49567 | 0.4909 | 0.50872 | 0.50695 | 0.49456 | Standard Dev | 0.020292 |  |  | Row 3 | 0.49083 | 0.4931 | 0.51021 | 0.5237 | 0.51642 | 0.51134 | Standard Dev | 0.020678 | Row 3 | 0.49932 | 0.48854 | 0.51032 | 0.5148 | 0.50431 | 0.51896 | Standard Dev | 0.016539
Row 4 | 0.50628 | 0.50962 | 0.49895 | 0.51612 | 0.50644 | 0.48079 | High | 0.55578 |  |  | Row 4 | 0.45268 | 0.46288 | 0.46539 | 0.48595 | 0.51279 | 0.50697 | High | 0.54388 | Row 4 | 0.49932 | 0.49619 | 0.50332 | 0.52288 | 0.52874 | 0.51677 | High | 0.54659
Row 5 | 0.50521 | 0.49128 | 0.49381 | 0.51548 | 0.50215 | 0.48627 | Low | 0.45086 |  |  | Row 5 | 0.49892 | 0.48876 | 0.49412 | 0.50223 | 0.48478 | 0.49197 | Low | 0.45268 | Row 5 | 0.51475 | 0.51222 | 0.51799 | 0.52729 | 0.51624 | 0.5392 | Low | 0.47904
Local Ventilation Effectiveness | [10 empty] | Local Ventilation Effectiveness | [8 empty] | Local Ventilation Effectiveness
Volume of Cabin |  | 1100 | ft3 | Volumetric Flow Rate | [6 empty] | Volume of Cabin |  | 1100 | ft3 | Volumetric Flow Rate |  |  |  |  | Volume of Cabin |  | 1100 | ft3 | Volumetric Flow Rate
Volume of Seats |  | 80 | ft3 | 600 | cfm | [5 empty] | Volume of Seats |  | 80 | ft3 | 600 | cfm |  |  |  | Volume of Seats |  | 80 | ft3 | 600 | cfm
Volume of Manikins |  | 75.7 | ft3 | [7 empty] | Volume of Manikins |  | 75.7 | ft3 | [5 empty] | Volume of Manikins |  | 75.7 | ft3
Total Cabin Volume |  | 944.3 | ft3 | Q/V | 0.63539 | [5 empty] | Total Cabin Volume |  | 944.3 | ft3 | Q/V | 0.63539 |  |  |  | Total Cabin Volume |  | 944.3 | ft3 | Q/V | 0.63539
| A | B | C | D | E | F | [5 empty] | A | B | C | D | E | F |  |  |  | A | B | C | D | E | F
Row 1 | 0.79514 | 0.83179 | 0.84084 | 0.87471 | 0.82637 | 0.80884 |  |  |  |  | Row 1 | 0.84444 | 0.84144 | 0.85598 | 0.78426 | 0.81958 | 0.80752 |  |  | Row 1 | 0.80134 | 0.84291 | 0.86025 | 0.81882 | 0.81711 | 0.84463
Row 2 | 0.70958 | 0.82088 | 0.83169 | 0.83039 | 0.82726 | 0.80276 | Average | 0.79768 |  |  | Row 2 | 0.78884 | 0.80549 | 0.79189 | 0.8151 | 0.7884 | 0.75178 | Average | 0.7897 | Row 2 | 0.81345 | 0.77877 | 0.83622 | 0.77383 | 0.75393 | 0.76137 | Average | 0.8077
Row 3 | 0.73807 | 0.7801 | 0.7726 | 0.80064 | 0.79785 | 0.77836 | Standard Dev | 0.031937 |  |  | Row 3 | 0.77249 | 0.77606 | 0.80298 | 0.82422 | 0.81276 | 0.80476 | Standard Dev | 0.032543 | Row 3 | 0.78584 | 0.76888 | 0.80316 | 0.81021 | 0.7937 | 0.81676 | Standard Dev | 0.026029
Row 4 | 0.7968 | 0.80205 | 0.78526 | 0.81229 | 0.79705 | 0.75668 | High | 0.87471 |  |  | Row 4 | 0.71245 | 0.7285 | 0.73244 | 0.7648 | 0.80705 | 0.79789 | High | 0.85598 | Row 4 | 0.78585 | 0.78092 | 0.79214 | 0.82293 | 0.83214 | 0.81331 | High | 0.86025
Row 5 | 0.79512 | 0.7732 | 0.77718 | 0.81129 | 0.7903 | 0.76531 | Low | 0.70958 |  |  | Row 5 | 0.78522 | 0.76923 | 0.77767 | 0.79043 | 0.76296 | 0.77428 | Low | 0.71245 | Row 5 | 0.81014 | 0.80615 | 0.81524 | 0.82987 | 0.81247 | 0.84861 | Low | 0.75393
Comparison of Repeat 1 and Repeat 2 Data
| Deviation of EL of repeat 1 from mean | [6 empty] | Deviation of EL of repeat 2 from mean
| A | B | C | D | E | F |  |  | A | B | C | D | E | F
Row 1 | -0.0025371 | 0.034113 | 0.043156 | 0.077029 | 0.028692 | 0.011161 |  | Row 1 | 0.054748 | 0.05174 | 0.066284 | -0.0054389 | 0.029884 | 0.017821
Row 2 | -0.0881 | 0.023204 | 0.034014 | 0.032706 | 0.029582 | 0.0050755 |  | Row 2 | -0.00085379 | 0.015789 | 0.0021974 | 0.025399 | -0.0013014 | -0.037913
Row 3 | -0.059613 | -0.017578 | -0.025084 | 0.0029642 | 0.00017411 | -0.019321 |  | Row 3 | -0.017205 | -0.013641 | 0.013288 | 0.034522 | 0.023061 | 0.015062
Row 4 | -0.00087817 | 0.0043706 | -0.012421 | 0.014612 | -0.00063348 | -0.041001 |  | Row 4 | -0.077249 | -0.061193 | -0.057257 | -0.024899 | 0.017357 | 0.0081973
Row 5 | -0.0025617 | -0.024483 | -0.020501 | 0.013606 | -0.0073762 | -0.032372 |  | Row 5 | -0.0044739 | -0.020467 | -0.012029 | 0.00072878 | -0.026738 | -0.015419
Comparison of Repeat 2 and Repeat 3 Data
| Deviation of EL of repeat 3 from mean | [6 empty] | Deviation of EL of repeat 2 from mean
| A | B | C | D | E | F |  |  | A | B | C | D | E | F
Row 1 | -0.0063541 | 0.035208 | 0.052548 | 0.01112 | 0.0094092 | 0.036932 |  | Row 1 | 0.054748 | 0.05174 | 0.066284 | -0.0054389 | 0.029884 | 0.017821
Row 2 | 0.0057489 | -0.02893 | 0.02852 | -0.033869 | -0.053765 | -0.046331 |  | Row 2 | -0.00085379 | 0.015789 | 0.0021974 | 0.025399 | -0.0013014 | -0.037913
Row 3 | -0.021859 | -0.038815 | -0.00454 | 0.0025095 | -0.013994 | 0.0090633 |  | Row 3 | -0.017205 | -0.013641 | 0.013288 | 0.034522 | 0.023061 | 0.015062
Row 4 | -0.021847 | -0.026779 | -0.015555 | 0.015235 | 0.024443 | 0.0056133 |  | Row 4 | -0.077249 | -0.061193 | -0.057257 | -0.024899 | 0.017357 | 0.0081973
Row 5 | 0.0024378 | -0.0015454 | 0.0075393 | 0.02217 | 0.0047735 | 0.040912 |  | Row 5 | -0.0044739 | -0.020467 | -0.012029 | 0.00072878 | -0.026738 | -0.015419
Comparison of Repeat 1 and Repeat 3 Data
| Deviation of EL of repeat 1 from mean | [6 empty] | Deviation of EL of repeat 3 from mean
| A | B | C | D | E | F |  |  | A | B | C | D | E | F
Row 1 | -0.0025371 | 0.034113 | 0.043156 | 0.077029 | 0.028692 | 0.011161 |  | Row 1 | -0.0063541 | 0.035208 | 0.052548 | 0.01112 | 0.0094092 | 0.036932
Row 2 | -0.0881 | 0.023204 | 0.034014 | 0.032706 | 0.029582 | 0.0050755 |  | Row 2 | 0.0057489 | -0.02893 | 0.02852 | -0.033869 | -0.053765 | -0.046331
Row 3 | -0.059613 | -0.017578 | -0.025084 | 0.0029642 | 0.00017411 | -0.019321 |  | Row 3 | -0.021859 | -0.038815 | -0.00454 | 0.0025095 | -0.013994 | 0.0090633
Row 4 | -0.00087817 | 0.0043706 | -0.012421 | 0.014612 | -0.00063348 | -0.041001 |  | Row 4 | -0.021847 | -0.026779 | -0.015555 | 0.015235 | 0.024443 | 0.0056133
Row 5 | -0.0025617 | -0.024483 | -0.020501 | 0.013606 | -0.0073762 | -0.032372 |  | Row 5 | 0.0024378 | -0.0015454 | 0.0075393 | 0.02217 | 0.0047735 | 0.040912