## Overall Result
Average/Overall Local Effective Ventilation Rates
| A | B | C | D | E | F | G
Row 1 | 0.40854 | 0.42698 | 0.43475 | 0.422 | 0.42932 | 0.44369 | 0.45256
Row 2 | 0.4536 | 0.43746 | 0.43794 | 0.44834 | 0.44704 | 0.46717 | 0.42221
Row 3 | 0.42943 | 0.42124 | 0.43129 | 0.43456 | 0.42226 | 0.42697 | 0.40709
Row 4 | 0.43966 | 0.4393 | 0.42947 | 0.4658 | 0.43968 | 0.42891 | 0.41991
Row 5 | 0.41161 | 0.4255 | 0.41816 | 0.43969 | 0.4247 | 0.43923 | 0.42364 | Average | 0.42577
Row 6 | 0.41741 | 0.45179 | 0.41023 | 0.43533 | 0.42493 | 0.40395 | 0.41903 | Standard Dev | 0.015081
Row 7 | 0.42235 | 0.4257 | 0.40449 | 0.43629 | 0.44068 | 0.42614 | 0.43141
Row 8 | 0.41314 | 0.4108 | 0.40168 | 0.4291 | 0.42311 | 0.4191 | 0.40402 | High | 0.46717
Row 9 | 0.41556 | 0.42334 | 0.40491 | 0.4358 | 0.40507 | 0.42832 | 0.42347 | Low | 0.39044
Row 10 | 0.43742 | 0.41755 | 0.39629 | 0.41833 | 0.41386 | 0.43251 | 0.43073
Row 11 | 0.43784 | 0.40356 | 0.41405 | 0.39044 | 0.43206 | 0.40382 | 0.41904
Local Ventilation Effectiveness
Volume of Cabin |  | 3210 | ft3 | Volumetric Flow Rate
Volume of Seats |  | 220 | ft3 | 1400 | cfm
Volume of Manikins |  | 190 | ft3
Total Cabin Volume |  | 2800 | ft3 | Q/V | 0.5
| A | B | C | D | E | F | G
Row 1 | 0.81708 | 0.85396 | 0.8695 | 0.844 | 0.85864 | 0.88738 | 0.90512
Row 2 | 0.90721 | 0.87491 | 0.87588 | 0.89667 | 0.89409 | 0.93433 | 0.84442
Row 3 | 0.85886 | 0.84248 | 0.86258 | 0.86913 | 0.84453 | 0.85393 | 0.81419
Row 4 | 0.87931 | 0.8786 | 0.85893 | 0.93161 | 0.87935 | 0.85782 | 0.83982
Row 5 | 0.82322 | 0.851 | 0.83632 | 0.87937 | 0.84939 | 0.87847 | 0.84727 | Average | 0.85154
Row 6 | 0.83483 | 0.90359 | 0.82047 | 0.87065 | 0.84986 | 0.8079 | 0.83805 | Standard Dev | 0.030162
Row 7 | 0.8447 | 0.8514 | 0.80897 | 0.87258 | 0.88137 | 0.85228 | 0.86281
Row 8 | 0.82629 | 0.82161 | 0.80336 | 0.8582 | 0.84622 | 0.8382 | 0.80804 | High | 0.93433
Row 9 | 0.83112 | 0.84668 | 0.80981 | 0.87161 | 0.81014 | 0.85663 | 0.84694 | Low | 0.78089
Row 10 | 0.87484 | 0.8351 | 0.79259 | 0.83666 | 0.82772 | 0.86501 | 0.86146
Row 11 | 0.87567 | 0.80712 | 0.82809 | 0.78089 | 0.86413 | 0.80764 | 0.83808

## Repeats Data
Repeat 1 | [9 empty] | Repeat 2
Local Effective Ventilation Rates | [9 empty] | Local Effective Ventilation Rates
| A | B | C | D | E | F | G |  |  |  | A | B | C | D | E | F | G
Row 1 | 0.39414 | 0.4246 | 0.41521 | 0.40993 | 0.41528 | 0.42471 | 0.44251 |  |  | Row 1 | 0.42294 | 0.42936 | 0.4543 | 0.43407 | 0.44335 | 0.46267 | 0.46261
Row 2 | 0.44058 | 0.42078 | 0.42892 | 0.4382 | 0.44218 | 0.44638 | 0.43432 |  |  | Row 2 | 0.46663 | 0.45413 | 0.44696 | 0.45847 | 0.4519 | 0.48795 | 0.4101
Row 3 | 0.44073 | 0.41248 | 0.44663 | 0.43822 | 0.45436 | 0.44124 | 0.40001 |  |  | Row 3 | 0.41813 | 0.43 | 0.41595 | 0.4309 | 0.39017 | 0.4127 | 0.41418
Row 4 | 0.46301 | 0.44365 | 0.43795 | 0.46193 | 0.44419 | 0.41994 | 0.3969 | Average | 0.42806 | Row 4 | 0.4163 | 0.43495 | 0.42098 | 0.46968 | 0.43516 | 0.43788 | 0.44292 | Average | 0.42348
Row 5 | 0.42563 | 0.43508 | 0.42913 | 0.45012 | 0.43807 | 0.44751 | 0.4633 | Standard Dev | 0.021002 | Row 5 | 0.39759 | 0.41591 | 0.40719 | 0.42925 | 0.41132 | 0.43096 | 0.38397 | Standard Dev | 0.023033
Row 6 | 0.4323 | 0.46999 | 0.39426 | 0.44731 | 0.42289 | 0.44047 | 0.39606 |  |  | Row 6 | 0.40252 | 0.4336 | 0.4262 | 0.42334 | 0.42697 | 0.36743 | 0.44199
Row 7 | 0.42433 | 0.45219 | 0.38409 | 0.44828 | 0.44145 | 0.44399 | 0.43148 | High | 0.48032 | Row 7 | 0.42037 | 0.39921 | 0.42489 | 0.42429 | 0.43992 | 0.40829 | 0.43133 | High | 0.48795
Row 8 | 0.41326 | 0.42409 | 0.40991 | 0.48032 | 0.45126 | 0.41376 | 0.39216 | Low | 0.38409 | Row 8 | 0.41302 | 0.39752 | 0.39345 | 0.37788 | 0.39496 | 0.42444 | 0.41589 | Low | 0.36743
Row 9 | 0.42658 | 0.41889 | 0.41067 | 0.4412 | 0.41682 | 0.42998 | 0.43968 |  |  | Row 9 | 0.40454 | 0.42778 | 0.39915 | 0.4304 | 0.39333 | 0.42665 | 0.40726
Row 10 | 0.45368 | 0.38931 | 0.38712 | 0.40657 | 0.39184 | 0.44416 | 0.43747 |  |  | Row 10 | 0.42116 | 0.44579 | 0.40547 | 0.43009 | 0.43588 | 0.42085 | 0.42399
Row 11 | 0.40887 | 0.40518 | 0.40875 | 0.39905 | 0.41723 | 0.42204 | 0.42393 |  |  | Row 11 | 0.4668 | 0.40194 | 0.41934 | 0.38184 | 0.4469 | 0.3856 | 0.41415
Local Ventilation Effectiveness | [9 empty] | Local Ventilation Effectiveness
| Volume of Cabin |  | 3210 | ft3 | Volumetric Flow Rate | [5 empty] | Volume of Cabin |  | 3210 | ft3 | Volumetric Flow Rate
| Volume of Seats |  | 220 | ft3 | 1400 | cfm |  |  |  |  | Volume of Seats |  | 220 | ft3 | 1400 | cfm
| Volume of Manikins |  | 190 | ft3 | [6 empty] | Volume of Manikins |  | 190 | ft3
| Total Cabin Volume |  | 2800 | ft3 | Q/V | 0.5 |  |  |  |  | Total Cabin Volume |  | 2800 | ft3 | Q/V | 0.5
| A | B | C | D | E | F | G |  |  |  | A | B | C | D | E | F | G
Row 1 | 0.78828 | 0.8492 | 0.83042 | 0.81986 | 0.83057 | 0.84942 | 0.88502 |  |  | Row 1 | 0.84588 | 0.85872 | 0.90859 | 0.86814 | 0.88671 | 0.92534 | 0.92522
Row 2 | 0.88116 | 0.84157 | 0.85784 | 0.87641 | 0.88437 | 0.89277 | 0.86864 |  |  | Row 2 | 0.93326 | 0.90825 | 0.89392 | 0.91694 | 0.90381 | 0.9759 | 0.8202
Row 3 | 0.88145 | 0.82497 | 0.89326 | 0.87645 | 0.90873 | 0.88247 | 0.80001 |  |  | Row 3 | 0.83627 | 0.86 | 0.8319 | 0.8618 | 0.78033 | 0.82539 | 0.82836
Row 4 | 0.92602 | 0.88729 | 0.87591 | 0.92386 | 0.88838 | 0.83987 | 0.79381 |  |  | Row 4 | 0.8326 | 0.8699 | 0.84196 | 0.93935 | 0.87032 | 0.87577 | 0.88584
Row 5 | 0.85126 | 0.87017 | 0.85826 | 0.90024 | 0.87613 | 0.89501 | 0.9266 | Average | 0.85612 | Row 5 | 0.79518 | 0.83183 | 0.81438 | 0.8585 | 0.82265 | 0.86192 | 0.76795 | Average | 0.84696
Row 6 | 0.86461 | 0.93997 | 0.78852 | 0.89463 | 0.84577 | 0.88093 | 0.79211 | Standard Dev | 0.042005 | Row 6 | 0.80505 | 0.8672 | 0.85241 | 0.84668 | 0.85395 | 0.73486 | 0.88399 | Standard Dev | 0.046066
Row 7 | 0.84866 | 0.90438 | 0.76817 | 0.89657 | 0.88291 | 0.88799 | 0.86296 |  |  | Row 7 | 0.84075 | 0.79842 | 0.84978 | 0.84858 | 0.87983 | 0.81658 | 0.86266
Row 8 | 0.82653 | 0.84818 | 0.81982 | 0.96064 | 0.90252 | 0.82751 | 0.78431 | High | 0.96064 | Row 8 | 0.82604 | 0.79503 | 0.78691 | 0.75576 | 0.78992 | 0.84889 | 0.83177 | High | 0.9759
Row 9 | 0.85317 | 0.83779 | 0.82133 | 0.8824 | 0.83363 | 0.85997 | 0.87936 | Low | 0.76817 | Row 9 | 0.80908 | 0.85557 | 0.79829 | 0.86081 | 0.78665 | 0.85329 | 0.81453 | Low | 0.73486
Row 10 | 0.90736 | 0.77861 | 0.77425 | 0.81314 | 0.78367 | 0.88832 | 0.87494 |  |  | Row 10 | 0.84233 | 0.89158 | 0.81093 | 0.86018 | 0.87176 | 0.84171 | 0.84799
Row 11 | 0.81774 | 0.81036 | 0.8175 | 0.7981 | 0.83445 | 0.84409 | 0.84786 |  |  | Row 11 | 0.9336 | 0.80388 | 0.83869 | 0.76368 | 0.8938 | 0.7712 | 0.8283
Comparison of the data from the two repeats
| Deviation of Repeat 1 Values from Mean | [8 empty] | Deviation of Repeat 2 Values from Mean
| A | B | C | D | E | F | G |  |  |  | A | B | C | D | E | F | G
Row 1 | -0.06784 | -0.0069246 | -0.025705 | -0.036263 | -0.025557 | -0.0067027 | 0.028902 |  |  | Row 1 | -0.0010812 | 0.011758 | 0.061631 | 0.021182 | 0.039747 | 0.078381 | 0.078262
Row 2 | 0.025038 | -0.014553 | 0.0017215 | 0.020282 | 0.028247 | 0.036643 | 0.012515 |  |  | Row 2 | 0.086295 | 0.061293 | 0.046964 | 0.069982 | 0.056849 | 0.12894 | -0.026762
Row 3 | 0.025329 | -0.031154 | 0.037139 | 0.020326 | 0.052605 | 0.026352 | -0.056108 |  |  | Row 3 | -0.010693 | 0.013039 | -0.015058 | 0.014843 | -0.066629 | -0.02157 | -0.018602
Row 4 | 0.069902 | 0.031171 | 0.019783 | 0.067742 | 0.03226 | -0.01625 | -0.062316 |  |  | Row 4 | -0.014365 | 0.022937 | -0.0050021 | 0.092391 | 0.02336 | 0.028807 | 0.038882
Row 5 | -0.0048581 | 0.014044 | 0.0021382 | 0.04412 | 0.020011 | 0.038889 | 0.070477 |  |  | Row 5 | -0.051781 | -0.015134 | -0.032582 | 0.011543 | -0.024314 | 0.01496 | -0.079014
Row 6 | 0.0084858 | 0.083851 | -0.067601 | 0.038503 | -0.010348 | 0.02481 | -0.064009 |  |  | Row 6 | -0.041912 | 0.02024 | 0.0054481 | -0.0002799 | 0.0069872 | -0.1121 | 0.037029
Row 7 | -0.007467 | 0.048259 | -0.08795 | 0.040443 | 0.026784 | 0.031863 | 0.0068424 |  |  | Row 7 | -0.0062149 | -0.048546 | 0.0028145 | 0.0016243 | 0.032871 | -0.03038 | 0.015695
Row 8 | -0.029595 | -0.0079439 | -0.036303 | 0.10452 | 0.0464 | -0.028609 | -0.071809 |  |  | Row 8 | -0.020917 | -0.051929 | -0.060054 | -0.0912 | -0.057039 | 0.0019266 | -0.015189
Row 9 | -0.0029529 | -0.018336 | -0.034788 | 0.026281 | -0.022489 | 0.0038459 | 0.023233 |  |  | Row 9 | -0.037883 | 0.0086078 | -0.04867 | 0.013847 | -0.06031 | 0.0063312 | -0.032431
Row 10 | 0.051233 | -0.077509 | -0.081876 | -0.042984 | -0.072448 | 0.032199 | 0.018814 |  |  | Row 10 | -0.0046316 | 0.044621 | -0.03603 | 0.013215 | 0.024803 | -0.0052556 | 0.0010266
Row 11 | -0.038379 | -0.045758 | -0.038623 | -0.058026 | -0.021672 | -0.012036 | -0.008265 |  |  | Row 11 | 0.086637 | -0.043079 | -0.0082734 | -0.083279 | 0.046839 | -0.075763 | -0.018657